| Molecular confocal laser endomicroscopy: A novel technique for in vivo cellular characterization of gastrointestinal lesions John Gásdal Karstensen, Pia Helene Klausen, Adrian Saftoiu, Peter Vilmann |
| --- |
| CITATION | Karstensen JG, Klausen PH, Saftoiu A, Vilmann P. Molecular confocal laser endomicroscopy: A novel technique for in vivo cellular characterization of gastrointestinal lesions. World J Gastroenterol 2014; 20(24): 7794-7800 |
| URL | http://www.wjgnet.com/1007-9327/full/v20/i24/7794.htm |
| DOI | http://dx.doi.org/10.3748/wjg.v20.i24.7794 |
| OPEN ACCESS | Articles published by this Open-Access journal are distributed under the terms of the Creative Commons Attribution Non-commercial License, which permits use, distribution, and reproduction in any medium, provided the original work is properly cited, the use is non commercial and is otherwise in compliance with the license. |
| CORE TIP | Confocal laser endomicroscopy (CLE) enables cellular visualization during on-going endoscopy. Lately, the method has been further refined by using fluorescent labelled molecular probes for estimation of receptors in carcinomas, illumination of subtle lesions and assessment of the affinity of drugs to specific lesions. This article presents the method of molecular CLE and gives a review of the current applications and drawbacks. |
| KEY WORDS | Confocal laser endomicroscopy; Endoscopy imaging; Colorectal carcinoma; Barrett’s esophagus; Gastric carcinoma; Inflammatory bowel disease |
| COPYRIGHT | © 2014 Baishideng Publishing Group Inc. All rights reserved. |
| COPYRIGHT LICENSE | Order reprints or request permissions: bpgoffice@wjgnet.com |
| NAME OF JOURNAL | World Journal of Gastroenterology |
| ISSN | 1007-9327 (print) 2219-2840 (online) |
| PUBLISHER | Baishideng Publishing Group Co., Limited, Flat C, 23/F., Lucky Plaza, 315-321 Lockhart Road, Wan Chai, Hong Kong, China |
| WEBSITE | http://www.wjgnet.com |

Name of journal: World Journal of Gastroenterology

ESPS Manuscript NO: 6844

Columns: TOPIC HIGHLIGHT

Molecular confocal laser endomicroscopy: A novel technique for in vivo cellular characterization of gastrointestinal lesions

John Gásdal Karstensen, Pia Helene Klausen, Adrian Saftoiu, Peter Vilmann

John Gásdal Karstensen, Pia Helene Klausen, Adrian Saftoiu, Peter Vilmann, Gastro Unit, Division of Endoscopy, Copenhagen University Hospital Herlev, 2730 Herlev, Denmark

Adrian Saftoiu, Research Center of Gastroenterology and Hepatology Craiova, University of Medicine and Pharmacy of Craiova, 200349 Dolj, Romania

Author contributions: Karstensen JG, Klausen PH, Saftoiu A and Vilmann P contributed to the manuscript.

Supported by ERC-like nr. 7/2012 “Real-time Evaluation of Treatment Effects in Advanced Colorectal Carcinoma (REACT)”, project ID PNII-CT-ERC-2012-1, financed by the Executive Agency for Higher Education, Research, Development and Innovation Funding (CNCS-UEFISCDI), Romanian National Authority for Scientific Research, Ministry of National Education, ROMANIA; Establishment of confocal laser endomicroscopy in Copenhagen was possible due to the generous contributions of A.P. Møller and Chastine McKinney Møllers Foundation, Foundation Jochum, The Toyota Foundation and the Foundation of Aase and Ejnar Danielsen; The Foundation of Arvid Nilsson and The Lundbeck Foundation supported the activity of JGK and AS, respectively

Correspondence to: Adrian Saftoiu, MD, Phd, MSc, FASGE, Professor of Diagnostic and Therapeutic Techniques in Gastroenterology, Research Center of Gastroenterology and Hepatology, University of Medicine and Pharmacy Craiova, str. Petru Rares 4, Craiova, 200349 Dolj, Romania. adrian.saftoiu@umfcv.ro

Telephone: +40-744-823355  Fax: +40-251-310287

Received: October 28, 2013    Revised: January 14, 2014    Accepted: March 19, 2014

Published online: June 28, 2014

Abstract

While flexible endoscopy is essential for macroscopic evaluation, confocal laser endomicroscopy (CLE) has recently emerged as an endoscopic method enabling visualization at a cellular level. Two systems are currently available, one based on miniprobes that can be inserted via a conventional endoscope or via a needle guided by endoscopic ultrasound. The second system has a confocal microscope integrated into the distal part of an endoscope. By adding molecular probes like fluorescein conjugated antibodies or fluorescent peptides to this procedure (either topically or systemically administered during on-going endoscopy), a novel world of molecular evaluation opens up. The method of molecular CLE could potentially be used for estimating the expression of important receptors in carcinomas, subsequently resulting in immediate individualization of treatment regimens, but also for improving the diagnostic accuracy of endoscopic procedures by identifying otherwise invisible mucosal lesions. Furthermore, studies have shown that fluorescein labelled drugs can be used to estimate the affinity of the drug to a target organ, which probably can be correlated to the efficacy of the drug. However, several of the studies in this research field have been conducted in animal facilities or in vitro, while only a limited number of trials have actually been carried out in vivo. Therefore, safety issues still needs further evaluations. This review will present an overview of the implications and pitfalls, as well as future challenges of molecular CLE in gastrointestinal diseases.

© 2014 Baishideng Publishing Group Inc. All rights reserved.

Key words: Confocal laser endomicroscopy; Endoscopy imaging; Colorectal carcinoma; Barrett’s esophagus; Gastric carcinoma; Inflammatory bowel disease

Core tip: Confocal laser endomicroscopy (CLE) enables cellular visualization during on-going endoscopy. Lately, the method has been further refined by using fluorescent labelled molecular probes for estimation of receptors in carcinomas, illumination of subtle lesions and assessment of the affinity of drugs to specific lesions. This article presents the method of molecular CLE and gives a review of the current applications and drawbacks.

Karstensen JG, Klausen PH, Saftoiu A, Vilmann P. Molecular confocal laser endomicroscopy: A novel technique for in vivo cellular characterization of gastrointestinal lesions. World J Gastroenterol 2014; 20(24): 7794-7800  Available from: URL: http://www.wjgnet.com/1007-9327/full/v20/i24/7794.htm  DOI: http://dx.doi.org/10.3748/wjg.v20.i24.7794

INTRODUCTION

Flexible endoscopy is crucial in diagnosing and treating gastrointestinal disorders. The first fiber optical endoscopy was performed in 1955 and during the 1970’s and 1980’s the method became widely accepted and used for upper as well as lower gastrointestinal indications[1]. Flexible endoscopy is constantly undergoing technical refinements with chromoendoscopy increasing the ability of detecting subtle mucosal lesions. The main endoscopy companies have mimicked this technique by the introduction of narrow band imaging (Olympus, Tokyo, Japan), Fujinon intelligent color enhancement (Fujinon, Tokyo, Japan), and i-Scan (Pentax, Tokyo, Japan)[2]. However, a cellular evaluation is still needed to diagnose subtle mucosal lesions.

Confocal laser endomicroscopy (CLE), initially described in 2004, offers a magnification level of 1000-fold, which enables examination at a cellular level[3]. A CLE system consists of a laser source with a defined wavelength of 488 nm. The light is focused on a single spot at a precise depth in the mucosa and recaptured through a pinhole as all unfocused light is left out. As CLE is dependent on fluorescence, an intravenous (iv) fluorescent agent has to be administered prior to the investigation, with fluorescein being already approved as an off-label agent for gastrointestinal tract disorders. Alternatively, acriflavine can be administered topically during the procedure. CLE has been widely approved for identification of dysplastic lesions in Barrett’s esophagus, for discriminating inflamed from malignant strictures in the common bile duct and for real-time pathological evaluation of colorectal polyps[4-6].

Currently, two CLE systems are clinically available. One is endoscope based (eCLE), where a confocal microscope is integrated in the tip of the endoscope (EC-3870CIFKTM, Pentax Tokyo, Japan). The resolution is high (1024 × 1024 pixels, with a lateral resolution of 0.7 m) and the depth variable from 0 to 250 m. The second system is probe-based (pCLE) and has various miniprobes available that all can pass through the working channel of the endoscope (esophago-gastric, colonic and cholangio miniprobes). Here, the resolution is somewhat lower and the depth is fixed at a certain level for the different miniprobes, but a high frame rate makes acquisition of movie sequences possible (8 frames/s). Very few head-to-head trials have been conducted comparing the two systems[7], but in daily practice the eCLE system has the advantage of a superior resolution and the variable depth, whereas the pCLE system can be used on demand and has applications for the common bile duct and lately also for extraluminal applications, based on needle guided CLE (nCLE) fibers[8]. To perform CLE and interpret the images special training is required for the endoscopist as well as a close collaboration with a pathologist. When performed in a research setting, inter- and intra-observer variability can be estimated by correlating the CLE results with standard histology from biopsy specimens.

As described, CLE is able to provide a pathological diagnosis based on the morphology appearance of the tissue. Finally, molecular imaging of mucosal lesions has been added using different molecular probes in conjunction with CLE equipment (mCLE). Several techniques have been applied, all of them aiming at characterizing the examined lesions on a molecular level and thereby providing new information in real-time during the endoscopic procedure. Although numerous questions are to be answered in relation to these techniques, the method has the potential to evolve into a whole new area of research, ultimately leading to individualization of anti-angiogenic or anti-inflammatory treatment (tailored therapy). If a given agent is aimed at a specific cellular receptor in a given lesion, a detection and estimation of the representation of the receptor could possibly be correlated to the efficacy of the agent enhancing individual treatment.

This review will focus on the different techniques used for mCLE in the gastrointestinal tract, and will give an overview of the possible molecular and gastrointestinal targets (Table 1).

REVIEW CRITERIA

PubMed, Embase and Web of Science were searched using the terms “confocal laser endomicroscopy” or “endomicroscopy” or “mCLE” and “molecular”. Only gastroenterological full-text papers using CLE were included. Abstracts until United European Gastroenterology Week 2012 and Digestive Disease Week until 2013 were searched, but only abstracts, which could contribute to this paper were included.

RESEARCH

The idea of molecular imaging during endoscopic examination is not new. During the late 90s several groups worked intensively at this aim introducing fluorescence, autofluorescence or laser induced endoscopic methods. Thus, in 2003, fluorescein-labelled monoclonal antibodies against carcinoembryonic antigens could be identified examining colonic neoplasias with conventional colonoscopy equipped with a narrow-band filter[9,10]. The trial was in vivo and no adverse events or immunological side effects in relation the topical administration of the monoclonal mouse antibodies were registered. After the introduction of CLE, the method of using targeted probes evolved, and the use of fluorescent-labelled antibodies in combination with CLE grew rapidly. The principle is that a fluorescent agent is conjugated to a probe aimed at a target molecule of interest. This composite can either by applied directly in the lesion, topically or systemic. Antibodies have been widely used; they have high specificity and are easy to label with a fluorescent agent (Figures 1 and 2). Main problems are the immunogenic nature of antibodies, long half-life in serum and slow penetration into diseased mucosa due to their high molecular weight. In addition, these will not cross the plasma membrane unless a permeabilizing agent is used. Thus, antibodies are mainly used for detection of membrane-associated proteins. Furthermore, antibodies are expensive to produce in high amounts. To overcome these problems, specific peptides can also be used. Peptides are easy to produce in large amounts, thus reducing production cost. Identification of a targeted peptide by phage display with preferred binding to premalignant colonic tissue and subsequent detection with CLE in vivo was initially reported by Hsiung et al[11]. The identified peptide showed high specificity towards the malignant cells. Since binding and selection of the peptide was verified by intact tissue panning, the specific target was unknown[11]. A recent paper published by Sturm et al[12] took this technique further and evaluated a peptide with specific binding affinity towards human esophageal neoplasia in patients with high specificity and no adverse effects. The authors have preliminary identified the target using mass spectrometry. Reports describing other probes such as aptamers, affibodies and nanoparticles are emerging and we are probably just witnessing the beginning of this era[13-16].

CHARACTERIZATION OF NEOPLASMS

One of the obvious applications of mCLE is the opportunity of a precise molecular characterization of a certain lesion, which can possibly lead to individualization of treatment. While Muldoon et al[17] presented a study estimating the expression of human epidermal growth factor receptor 2 (HER-2) and epidermal growth factor receptor (EGFR) receptors in cell cultures using a fiber-optic miniprobe based microendoscopy system constructed by the research group, Goetz and colleagues presented the technique using the eCLE system, which is commercially available today[10]. Using intravenously administered fluorescein isothiocyanate (FITC)-labelled anti-EGFR antibodies in a human-mouse colorectal carcinomas (CRC) xenograft model, a differentiation of the EGFR expression in tumours could be estimated. Furthermore, it was demonstrated that the technique could be used for distinction between neoplastic and non-neoplastic human tissue, when applying the labelled anti-EGFR antibodies topically to human colonic specimens ex vivo. For imaging, a rigid handheld CLE endoscope (FIVE1, Optiscan, Australia) was used. The protype has the same imaging characteristics as the eCLE systems, but is easier to use in animal and ex vivo experiments[10]. Another possible therapeutic target is vascular endothelial growth factor (VEGF) where a trial applying a similar technique as previously described demonstrated that molecular imaging was possible in murine tumour, xenograft models as well as in human surgical CRC specimens. The results were controlled by immunohistochemistry (IHC) and fluorescence microscopy[18].

A small study including two healthy pigs assessed the distribution of EGFR receptors and survivin in the esophagus and the gastric mucosa using pCLE[19]. Another study from the same group, evaluated whether a similar method was feasible using needle-based confocal laser endomicroscopy (nCLE) for extraluminal investigation of the pancreas in conjunction with topical administration of anti-human EGFR-fluorescein conjugated monoclonal antibodies and anti-human surviving-fluorescein conjugated monoclonal antibodies. Although the number of pigs was limited, the technique was feasible[20]. However, resolution of the pictures obtained is rather low and there are no specificity controls shown for the EGFR staining. In general, the experience of mCLE using pCLE and nCLE is limited, mainly due to the relatively low resolution of the system, especially when applying the nCLE fibers.

MG7-antigen is a recently identified tumour-associated antigen, which is expressed in the majority of gastric carcinomas being related to a worse outcome when it is positive[21]. An estimation of the MG7-antigen could be made using xeno-models and surgical specimens, when fluorescently labelled MG7 antibodies were administered in the lesion and subsequently examined with CLE[22]. In this way, a possible predictor of worse outcome can be estimated during the initial investigation of the gastric lesion. Moreover, in case of a lesion with a large tumour surface, biopsies can subsequently be targeted to avoid false negative histology.

All of the procedures mentioned in the above were conducted either in animal models or in human tissue ex vivo, but in 2012 Liu et al[23] performed the technique in vivo, demonstrating that topically applied Alexa-Fluor 488 conjugated anti-EGFR monoclonal mouse antibody, could facilitate an estimation of EGFR expression in CRC or adenomas using CLE. And most important, no immunological adverse events were registered in the 37 patients included and no human anti-mouse antibodies were found in the serum samples taken from a subgroup of patients 4-6 wk after the procedure.

IMPROVEMENT OF DIAGNOSTIC ACCURACY

Morphology can be assessed by CLE, but discrimination between microscopic changes could be further improved by adding a molecular staining. In Barrett′s esophagus the mucosal changes can be spread over a long segment and practically be invisible. Sturm and colleagues sprayed a FITC-labelled protein specific for esophageal neoplasia on the Barrett’s mucosa while performing a segment gastroscopy with CLE[24]. The procedure was in vivo and when using this technique the sensitivity and specificity for neoplastic lesions in Barrett’s and squamous epithelium was found to be 75% and 97%, respectively[12]. There were no adverse events in relation to administration of the protein. Similar results were reported using the FITC-labelled MUC2-antibody, which is only expressed on the surface of goblet cells. The examination was made on biopsy specimens and in this trial, the accuracy for detection of Barrett’s esophagus was 97.2%[25]. If these results can be reproduced in vivo, the diagnostic accuracy of the examination could improve significantly.

In an ex vivo study on colonic biopsies adding a specific Clostridium difficile (C. difficile) probe, it was found that the bacteria could be localized and identified. Whether this trial can improve the diagnostic accuracy, when investigating inflamed colonic mucosa with the suspicion of C. difficile infection remain to be seen[26]. In our group, we used fluorescently labelled anti-CD31 antibodies, an endothelial marker, and CLE for identification of vessels in colorectal adenocarcinomas (Figure 3)[27]. The development of new vessels plays a vital role in carcinogenesis and we could clearly visualize the vessels within the tumours and estimate their shape and vascular density within the tumours in comparison with normal tissue. The trial was performed ex vivo and the technique can be used not only for discriminating neoplasia from healthy tissue, but possibly also for monitoring antiangiogenic treatment.

ASSESSMENT OF THE AFFINITY TO SPECIFIC DRUGS

Cetuximab is a monoclonal antibody that specifically blocks the extracellular component of the EGFR receptor and is currently being used in the treatment of colorectal neoplasms and in selective cases of gastric carcinomas[28-31]. In two trials investigating the technique using cetuximab treatment and cetuximab conjugated to Alexa-Fluor 488 in murine xenograft models with human CRC or gastric cancer, it was found that an estimation of expression was possible using CLE. Moreover, in the CRC trial, it was found that the tumours with a strong signal for cetuximab had slower tumour progression and longer survival. In other words, it was shown that in CRC as well as in the gastric cancer trial, an early response to treatment could be predicted[32,33].

The technique of conjugating drugs and estimating the affinity to a specific target can possibly have a major impact on treatment stratification. In a clinical phase 1 trial, Atreya et al[34] used topically applied FITC-labelled adalimumab in Crohn patients naïve to adalimumab therapy and found a strong correlation between the affinity of the drug to the membrane bound TNF-alpha receptors in the bowel and the efficacy of the therapy. The procedures were in vivo and no serious adverse events were reported in the 25 patients included in the study. Although only published in abstract form, the preliminary results from this trial are promising, as the study is not only aimed at evaluating the feasibility of the method, but also at the ability of predicting the outcome of a given therapy.

Bevacizumab, an antiangiogenic drug aimed at the VEGF receptor, is commonly used in CRC treatment[35,36]. After conjugating the drug to Alexa-Fluor 488 and injecting it in a CRC xenograft model or topically applying it on fresh biopsy specimens from human CRC patients, the VEGF expression could be assessed using IHC as a gold standard[37]. These results are only preliminary, and the final results from the study will show if a strong CLE signal can predict the outcome of the bevacizumab therapy in CRC models or human.

PITFALLS AND FUTURE CHALLENGES

In order to implement mCLE, some considerations are needed. Tumour cells may have higher membrane permeability since cancer cells often have impaired plasma membrane integrity. Thus, the targeted antibodies may possibly penetrate the plasma membrane in the tumour cells if there is an intracellular localization of the protein of interest. In addition to expression from the plasma membrane, mCLE will also detect binding of the labelled antibody inside the tumour cells and thus generate a higher signal, which is not due to higher membrane associated expression of the protein. Another consequence of a raised permeability is the possibility of triggering systemic immunological side-effects when topically administering antibody conjugates. Only a limited number of trials have been carried out in vivo, therefore attention should be drawn continuously to possible immunological adverse events.

Furthermore, it is crucial that trials using targeted antibodies have proper controls such as blocking peptides and isotype controls, in order for mCLE to have a clinical impact. Although it seems to be a minor problem, registration for autofluorescence before adding fluorescein-labelled probes must also be required, when examining tissue. This can be easily taken into account by establishing a proper cut-off for the intensity of the laser light, which has to minimize tissue autofluorescence. The interpretation of the images obtained by mCLE can be challenging, thus the endoscopist would benefit from experience with conventional CLE as well as a close collaboration with a pathologist.

The administration of peptides seems safe in the studies published so far[11,12]. While the designed peptides have a high specificity and affinity for the lesions, it is a drawback that the precise binding site was unknown in the work published by Hsiung et al[11]. The report recently published by Sturm et al[12] preliminarily identified the target protein for the administered peptide and the results are very promising. Thus, designed peptides may very well be the futures probe. Future studies will have to address this issue.

CONCLUSION

Molecular confocal laser endomicroscopy is a novel method that allows for visualization of cellular processes in real-time by combining a variety of either molecular probes or peptides with fluorescent ex vivo or in animal models. However, the method has recently also shown feasible for in vivo human applications and a huge potential for both diagnostic as well as therapeutic gastrointestinal applications has opened up in the near future. Estimation of VEGF and EGFR in colorectal and gastric carcinomas may be used for tailored oncological treatments as well as for prediction of treatment outcomes of biological therapy in inflammatory bowel disease. Further studies are needed to ensure the safety and to establish the final indications of mCLE.

REFERENCES

1	Hirschowitz BI, Curtiss LE, Peters CW, Pollard HM. Demonstration of a new gastroscope, the fiberscope. Gastroenterology 1958; 35: 50; discussion 51-53 [PMID: 13562387]

2	Goetz M. Real-time histology in colonoscopy. Gastroenterol Clin North Am 2013; 42: 567-575 [PMID: 23931860 DOI: 10.1016/j.gtc.2013.05.004]

3	Yarza P, Spröer C, Swiderski J, Mrotzek N, Spring S, Tindall BJ, Gronow S, Pukall R, Klenk HP, Lang E, Verbarg S, Crouch A, Lilburn T, Beck B, Unosson C, Cardew S, Moore ER, Gomila M, Nakagawa Y, Janssens D, De Vos P, Peiren J, Suttels T, Clermont D, Bizet C, Sakamoto M, Iida T, Kudo T, Kosako Y, Oshida Y, Ohkuma M, R Arahal D, Spieck E, Pommerening Roeser A, Figge M, Park D, Buchanan P, Cifuentes A, Munoz R, Euzéby JP, Schleifer KH, Ludwig W, Amann R, Glöckner FO, Rosselló-Móra R. Sequencing orphan species initiative (SOS): Filling the gaps in the 16S rRNA gene sequence database for all species with validly published names. Syst Appl Microbiol 2013; 36: 69-73 [PMID: 23410935 DOI: 10.1016/j.syapm.2012.12.006]

4	Qumseya BJ, Wang H, Badie N, Uzomba RN, Parasa S, White DL, Wolfsen H, Sharma P, Wallace MB. Advanced imaging technologies increase detection of dysplasia and neoplasia in patients with Barrett’s esophagus: a meta-analysis and systematic review. Clin Gastroenterol Hepatol 2013; 11: 1562-70.e1-2 [PMID: 23851020 DOI: 10.1016/j.cgh.2013.06.017]

5	Shahid MW, Buchner AM, Heckman MG, Krishna M, Raimondo M, Woodward T, Wallace MB. Diagnostic accuracy of probe-based confocal laser endomicroscopy and narrow band imaging for small colorectal polyps: a feasibility study. Am J Gastroenterol 2012; 107: 231-239 [PMID: 22068663 DOI: 10.1038/ajg.2011.376]

6	Meining A, Shah RJ, Slivka A, Pleskow D, Chuttani R, Stevens PD, Becker V, Chen YK. Classification of probe-based confocal laser endomicroscopy findings in pancreaticobiliary strictures. Endoscopy 2012; 44: 251-257 [PMID: 22261749 DOI: 10.1055/s-0031-1291545]

7	Gorospe EC, Leggett CL, Sun G, Anderson MA, Gupta M, Penfield JD, Lutzke L, Lewis JT, Wong Kee Song LM, Wang KK. Diagnostic performance of two confocal endomicroscopy systems in detecting Barrett’s dysplasia: a pilot study using a novel bioprobe in ex vivo tissue. Gastrointest Endosc 2012; 76: 933-938 [PMID: 22980290 DOI: 10.1016/j.gie.2012.07.005]

8	Konda VJ, Aslanian HR, Wallace MB, Siddiqui UD, Hart J, Waxman I. First assessment of needle-based confocal laser endomicroscopy during EUS-FNA procedures of the pancreas (with videos). Gastrointest Endosc 2011; 74: 1049-1060 [PMID: 21924718 DOI: 10.1016/j.gie.2011.07.018]

9	Keller R, Winde G, Terpe HJ, Foerster EC, Domschke W. Fluorescence endoscopy using a fluorescein-labeled monoclonal antibody against carcinoembryonic antigen in patients with colorectal carcinoma and adenoma. Endoscopy 2002; 34: 801-807 [PMID: 12244502 DOI: 10.1055/s-2002-34254]

10	Goetz M, Ziebart A, Foersch S, Vieth M, Waldner MJ, Delaney P, Galle PR, Neurath MF, Kiesslich R. In vivo molecular imaging of colorectal cancer with confocal endomicroscopy by targeting epidermal growth factor receptor. Gastroenterology 2010; 138: 435-446 [PMID: 19852961 DOI: 10.1053/j.gastro.2009.10.032]

11	Hsiung PL, Hardy J, Friedland S, Soetikno R, Du CB, Wu AP, Sahbaie P, Crawford JM, Lowe AW, Contag CH, Wang TD. Detection of colonic dysplasia in vivo using a targeted heptapeptide and confocal microendoscopy. Nat Med 2008; 14: 454-458 [PMID: 18345013 DOI: 10.1038/nm1692]

12	Sturm MB, Joshi BP, Lu S, Piraka C, Khondee S, Elmunzer BJ, Kwon RS, Beer DG, Appelman HD, Turgeon DK, Wang TD. Targeted imaging of esophageal neoplasia with a fluorescently labeled peptide: first-in-human results. Sci Transl Med 2013; 5: 184ra61 [PMID: 23658246 DOI: 10.1126/scitranslmed.3004733]

13	Chen Y, Zhang Y, Liang W, Li X. Gold nanocages as contrast agents for two-photon luminescence endomicroscopy imaging. Nanomedicine 2012; 8: 1267-1270 [PMID: 22841912 DOI: 10.1016/j.nano.2012.07.003]

14	Portnoy E, Lecht S, Lazarovici P, Danino D, Magdassi S. Cetuximab-labeled liposomes containing near-infrared probe for in vivo imaging. Nanomedicine 2011; 7: 480-488 [PMID: 21272665 DOI: 10.1016/j.nano.2011.01.001]

15	Schmidt C, Lautenschlaeger C, Collnot EM, Schumann M, Bojarski C, Schulzke JD, Lehr CM, Stallmach A. Nano- and microscaled particles for drug targeting to inflamed intestinal mucosa: a first in vivo study in human patients. J Control Release 2013; 165: 139-145 [PMID: 23127508 DOI: 10.1016/j.jconrel.2012.10.019]

16	Atreya R, Goetz M. Molecular imaging in gastroenterology. Nat Rev Gastroenterol Hepatol 2013; 10: 704-712 [PMID: 23856892 DOI: 10.1038/nrgastro.2013.125]

17	Muldoon TJ, Pierce MC, Nida DL, Williams MD, Gillenwater A, Richards-Kortum R. Subcellular-resolution molecular imaging within living tissue by fiber microendoscopy. Opt Express 2007; 15: 16413-16423 [PMID: 19550931]

18	Foersch S, Kiesslich R, Waldner MJ, Delaney P, Galle PR, Neurath MF, Goetz M. Molecular imaging of VEGF in gastrointestinal cancer in vivo using confocal laser endomicroscopy. Gut 2010; 59: 1046-1055 [PMID: 20639250 DOI: 10.1136/gut.2009.202986]

19	Nakai Y, Shinoura S, Ahluwalia A, Tarnawski AS, Chang KJ. Molecular imaging of epidermal growth factor-receptor and survivin in vivo in porcine esophageal and gastric mucosae using probe-based confocal laser-induced endomicroscopy: proof of concept. J Physiol Pharmacol 2012; 63: 303-307 [PMID: 22791645]

20	Nakai Y, Shinoura S, Ahluwalia A, Tarnawski AS, Chang KJ. In vivo visualization of epidermal growth factor receptor and survivin expression in porcine pancreas using endoscopic ultrasound guided fine needle imaging with confocal laser-induced endomicroscopy. J Physiol Pharmacol 2012; 63: 577-580 [PMID: 23388473]

21	Zeng Z, Fu S, Hu P, Zhao L, Zhang H, Tang X, Yang X, Zeng Z. The diagnostic value of monoclonal gastric cancer 7 antigen: a systematic review with meta-analysis. Clin Exp Med 2013; Epub ahead of print [PMID: 23797567 DOI: 10.1007/s10238-013-0246-5]

22	Li Z, Zuo XL, Li CQ, Zhou CJ, Liu J, Goetz M, Kiesslich R, Wu KC, Fan DM, Li YQ. In vivo molecular imaging of gastric cancer by targeting MG7 antigen with confocal laser endomicroscopy. Endoscopy 2013; 45: 79-85 [PMID: 23364839 DOI: 10.1055/s-0032-1325762]

23	Liu J, Zuo X, Li C, Yu T, Gu X, Zhou C, Li Z, Goetz M, Kiesslich R, Li Y. In vivo molecular imaging of epidermal growth factor receptor in patients with colorectal neoplasia using confocal laser endomicroscopy. Cancer Lett 2013; 330: 200-207 [PMID: 23220286 DOI: 10.1016/j.canlet.2012.11.044]

24	Sturm MB, Piraka C, Elmunzer BJ, Kwon RS, Joshi BP, Appelman HD, Turgeon DK, Wang TD. In vivo molecular imaging of Barrett’s esophagus with confocal laser endomicroscopy. Gastroenterology 2013; 145: 56-58 [PMID: 23684943 DOI: 10.1053/j.gastro.2013.05.008]

25	Neumann VM, Gunther C, Neurath MF, Atreya R. Molecular imaging with fluorescent MUC2 antibodies for highly specific diagnosis of barrett’s esophagus. Gastroenterology 2013; 144 (5 Suppl 1): S691

26	Neumann H, Günther C, Vieth M, Grauer M, Wittkopf N, Mudter J, Becker C, Schoerner C, Atreya R, Neurath MF. Confocal laser endomicroscopy for in vivo diagnosis of Clostridium difficile associated colitis - a pilot study. PLoS One 2013; 8: e58753 [PMID: 23527018 DOI: 10.1371/journal.pone.0058753]

27	Cârţână T, Săftoiu A, Gruionu LG, Gheonea DI, Pirici D, Georgescu CV, Ciocâlteu A, Gruionu G. Confocal laser endomicroscopy for the morphometric evaluation of microvessels in human colorectal cancer using targeted anti-CD31 antibodies. PLoS One 2012; 7: e52815 [PMID: 23285192 DOI: 10.1371/journal.pone.0052815]

28	Delbaldo C, Pierga JY, Dieras V, Faivre S, Laurence V, Vedovato JC, Bonnay M, Mueser M, Nolting A, Kovar A, Raymond E. Pharmacokinetic profile of cetuximab (Erbitux) alone and in combination with irinotecan in patients with advanced EGFR-positive adenocarcinoma. Eur J Cancer 2005; 41: 1739-1745 [PMID: 16051481 DOI: 10.1016/j.ejca.2005.04.029]

29	Humblet Y. Cetuximab: an IgG(1) monoclonal antibody for the treatment of epidermal growth factor receptor-expressing tumours. Expert Opin Pharmacother 2004; 5: 1621-1633 [PMID: 15212612 DOI: 10.1517/14656566.5.7.1621]

30	Cunningham D, Humblet Y, Siena S, Khayat D, Bleiberg H, Santoro A, Bets D, Mueser M, Harstrick A, Verslype C, Chau I, Van Cutsem E. Cetuximab monotherapy and cetuximab plus irinotecan in irinotecan-refractory metastatic colorectal cancer. N Engl J Med 2004; 351: 337-345 [PMID: 15269313 DOI: 10.1056/NEJMoa033025]

31	Lordick F, Luber B, Lorenzen S, Hegewisch-Becker S, Folprecht G, Wöll E, Decker T, Endlicher E, Röthling N, Schuster T, Keller G, Fend F, Peschel C. Cetuximab plus oxaliplatin/leucovorin/5-fluorouracil in first-line metastatic gastric cancer: a phase II study of the Arbeitsgemeinschaft Internistische Onkologie (AIO). Br J Cancer 2010; 102: 500-505 [PMID: 20068568 DOI: 10.1038/sj.bjc.6605521]

32	Hoetker MS, Kiesslich R, Diken M, Moehler M, Galle PR, Li Y, Goetz M. Molecular in vivo imaging of gastric cancer in a human-murine xenograft model: targeting epidermal growth factor receptor. Gastrointest Endosc 2012; 76: 612-620 [PMID: 22771099 DOI: 10.1016/j.gie.2012.05.013]

33	Goetz M, Hoetker MS, Diken M, Galle PR, Kiesslich R. In vivo molecular imaging with cetuximab, an anti-EGFR antibody, for prediction of response in xenograft models of human colorectal cancer. Endoscopy 2013; 45: 469-477 [PMID: 23580409 DOI: 10.1055/s-0032-1326361]

34	Atreya NH, Neufert C, Waldner MJ, Zopf Y, Willma M, App C, Munster T, Kessler H, Maas S, Gebhardt B, Heimke-Brinck R, Reuter E, Dorje F, Rau TT, Wang TD, Kiesslich R, Vieth M, Hannappel E, Neurath MF. In vivo molecular imaging using fluorescent anti-TNF antibodies and confocal laser endomicroscopy predicts response to anti-TNF therapy in crohn’s disease. Gastroenterology 2013; 144 (5 Suppl 1): S85-S86

35	Infante JR, Reid TR, Cohn AL, Edenfield WJ, Cescon TP, Hamm JT, Malik IA, Rado TA, McGee PJ, Richards DA, Tarazi J, Rosbrook B, Kim S, Cartwright TH. Axitinib and/or bevacizumab with modified FOLFOX-6 as first-line therapy for metastatic colorectal cancer: a randomized phase 2 study. Cancer 2013; 119: 2555-2563 [PMID: 23605883 DOI: 10.1002/cncr.28112]

36	Hurwitz H, Fehrenbacher L, Novotny W, Cartwright T, Hainsworth J, Heim W, Berlin J, Baron A, Griffing S, Holmgren E, Ferrara N, Fyfe G, Rogers B, Ross R, Kabbinavar F. Bevacizumab plus irinotecan, fluorouracil, and leucovorin for metastatic colorectal cancer. N Engl J Med 2004; 350: 2335-2342 [PMID: 15175435 DOI: 10.1056/NEJMoa032691]

37	Foersch KR, Hoetker MS, Galle PR, Neurath MF, Goetz M. In vivo immunohistochemistry with labeled bevacizumab using confocal laser endomicroscopy in models of human colorectal cancer. Gastroenterology 2011; 140 (5 Suppl 1): S10

P- Reviewers: Goetze TO, Teramoto-Matsubara OT, Xu JM    S- Editor: Qi Y    L- Editor: A    E- Editor: Zhang DN

FIGURE LEGENDS

Figure 1  Molecular imaging with labelled antibodies using the confocal laser endomicroscopy system. Antibodies (blue) labelled with a fluorochrome (FITC or Alexa-Fluor 488) (green) bind to a specific target (red triangles) expressed on the plasma membrane of cells in the mucosal layer in the gastrointestinal tract (purple). The confocal laser endomicroscopy (CLE) scope (black and blue tube) excites the fluorochrome with a defined wavelength of 488 nm (yellow). Light is subsequently emitted and detected by the CLE scope.

Figure 2  In vivo epidermal growth factor receptor staining in a human colorectal cancer xenograft (SW480) after intratumoural injection of fluorescein isothiocyanate-labelled anti-epidermal growth factor receptor-antibody. The edge length is 475 m. Courtesy of Dr. M. Hoetker and Prof. M. Goetz, Tuebingen, Germany.

Figure 3  Molecular confocal laser endomicroscopy staining with Alexa-Fluor 488 labelled anti-CD31 antibodies. As CD31 is an endothelial marker, the structures seen in the image are microvessels in a colonic adenocarcinoma.

# Text boxes

Table 1  Different techniques used for confocal laser endomicroscopy in the gastrointestinal tract

| Ref. | Design | No | Target | Composite | Administration | CLE system |
| --- | --- | --- | --- | --- | --- | --- |
| Hsiung et al[11] (2008) | In vivo | 26 | Colorectal adenomas | Fluorescein-labelled septapeptides | Topical | Probe-based |
| Foersch et al[18] (2010) | Animal, and ex vivo | 25 and 14 | CRC | Alexa-Fluor 488-labelled VEGF-antibodies | Intravenous and topical | Endoscope-based |
| Goetz et al[10] (2010) | Animal and ex vivo | 68 and 16 | CRC | FITC-labelled anti-EGFR-antibodies | Intravenous and topical | Endoscope-based |
| Foersch et al[37] (2011) | Animal and ex vivo | 12 and 4 | CRC | Alexa-Fluor 488-labelled bevacizumab | Intravenous and topical | Endoscope-based |
| Liu et al[23] (2012) | In vivo | 37 | CRC and adenomas | Alexa-Fluor 488-labelled anti-EGFR-antibodies | Topical | Endoscope-based |
| Cârţână et al[27] (2012) | Ex vivo | 4 | CRC | Alexa-Fluor 488-labelled anti-CD31-antibodies | Topical | Endoscope-based |
| Nakai et al[19] (2012) | Animal | 2 | Healthy esophageal and gastric mucosa | Fluorescein conjugated anti-EGFR-antibodies and anti-survivin-antibodies | Submucosal or topical | Probe-based |
| Hoetker et al[32] | Animal | 26 | Gastric cancer | FITC-labelled anti-EGFR1-antibodies or Alexa-Fluor 488-labelled cetuximab | Intravenous | Endoscope-based |
| Nakai et al[20] (2012) | Animal | 2 | Healthy pancreas | FITC-labelled anti-EGFR1-antibodies or Alexa-Fluor 488-labelled cetuximab | Intravital | Needle-based |
| Atreya et al[34] (2013) | In vivo | 25 | Colonic mucosa in Crohn’s disease | FITC-labelled adalimumab | Topical | Endoscope-based |
| Neumann et al[26] (2013) | Ex vivo | 2 | Colonic mucosa in Clostridium difficile associated colitis | Fluorescein-labelled Clostridium difficile specific probe | Topical | Endoscope-based |
| Li et al[22] (2013) | Animal and ex vivo | 20 and 23 | Gastric cancer | Alexa-Fluor 488-labelled anti-MG7-Ag-antibodies | Intracardial and topical | Endoscope-based |
| Goetz et al[33] (2013) | Animal | 44 | CRC | FITC-labelled anti-EGFR-antibodies or Alexa-Fluor 488-labelled cetuximab | Intravenous | Endoscope-based |
| Neumann et al[25] (2013) | Ex vivo | N/A | Barrett’s esophagus | FITC-labelled Muc2-antibodies | Topical | N/A |
| Sturm et al[12] (2013) | In vivo | 25 | Barrett’s esophagus | FITC-labelled peptides | Topical | Probe-based |

CRC: Colorectal carcinomas; FLUOS: 5(6)-carboxyfluorescein-N-hydroxy-succinimide ester; CEA: Carcinoembryonic antigen; VEGF: Vascular endothelial growth factor; FITC: Fluorescein isothiocyanate; EGFR: Epidermal growth factor receptor; N/A: Not available; CLE: Confocal laser endomicroscopy.