Name of journal: World Journal of Gastroenterology

ESPS Manuscript NO: 6960

Columns: TOPIC HIGHLIGHT

WJG 20th Anniversary Special Issues (5): Colorectal cancer

Enteral stents for the management of malignant colorectal obstruction

Kaplan J et al. Stents for colon obstruction

Jeremy Kaplan, Anna Strongin, Douglas Adler, Ali A Siddiqui

Jeremy Kaplan, Anna Strongin, Ali A Siddiqui, Division of Gastroenterology and Hepatology, Department of Internal Medicine, Thomas Jefferson University Hospital, Philadelphia, PA 19107, United States

Douglas Adler, Division of Gastroenterology and Hepatology, Department of Internal Medicine, University of Utah, Salt Lake City, UT 84132, United States

Author contributions: Kaplan J, Strongin A, Adler D and Siddiqui AA equally contributed to this work and wrote the manuscript.

Supported by (Entirely) Thomas Jefferson University Hospital and University of Utah through existing intramural funds and salary support

Correspondence to: Ali A Siddiqui, MD, Associate Professor, Division of Gastroenterology and Hepatology, Department of Internal Medicine, Thomas Jefferson University Hospital, 132 S. 10th Street, Main Bldg Suite 585, Philadelphia, PA 19107, United States. ali.siddiqui@jefferson.edu

Telephone: +1-215-9550218 	Fax: +1-215-9559555

Received: October 30, 2014 		Revised: January 22, 2014

Accepted: June 12, 2014

Published online:

Abstract

Colorectal cancer (CRC) is the 3rd most common cancer in the United States with more than 10000 new cases diagnosed annually. Approximately 20% of patients with CRC will have distant metastasis at time of diagnosis, making them poor candidates for primary surgical resection. Similarly, 8%-25% of patients with CRC will present with bowel obstruction and will require palliative therapy. Emergent surgical decompression has a high mortality and morbidity, and often leads to a colostomy which impairs the patient’s quality of life. In the last decade, there has been an increasing use of colonic stents for palliative therapy to relieve malignant colonic obstruction. Colonic stents have been shown to be effective and safe to treat obstruction from CRC, and are now the therapy of choice in this scenario. In the setting of an acute bowel obstruction in patients with potentially resectable colon cancer, stents may be used to delay surgery and thus allow for decompression, adequate bowel preparation, and optimization of the patient’s condition for curative surgical intervention. An overall complication rate (major and minor) of up to 25% has been associated with the procedure. Long term failure of stents may result from stent migration and tumor ingrowth. In the majority of cases, repeat stenting or surgical intervention can successfully overcome these adverse effects.

© 2014 Baishideng Publishing Group Inc. All rights reserved.

Key words: Colorectal cancer; Colonic obstruction; Self expanding metal stents; Intestinal obstruction/etiology; Intestinal obstruction/mortality; Intestinal Obstruction/surgery; Survival rate

Core tip: Colonic stents are of benefit both as a bridge to surgery and as definitive therapy for colorectal obstruction in a large group of patients. Careful patient selection is required. Patients should be carefully managed in conjunction with the oncologist and surgeon. Endoscopists should also be vigilant for acute and delayed complications associated with colonic stent deployment.

Kaplan J, Strongin A, Adler D, Siddiqui AA. Enteral stents for the management of malignant colorectal obstruction. World J Gastroenterol 2014; In press

INTRODUCTION

A common complication of colorectal neoplasms is malignant large bowel obstruction. In the past, this complication was primarily managed with surgical resection; however, over the past 20 years endoscopic stenting has become an alternative, non-surgical approach. The first studies demonstrating successful stenting of the colon to relieve malignancy-related obstruction were done in the early 1990s[1,2]. Since that time, the use of self-expanding metal stents (SEMS) has been implemented more frequently both as a bridge to surgical resection, as well as for palliation in advanced colorectal cancer and in patients who are poor surgical candidates. This review will discuss the types of stents currently available on the market, techniques for placement, indications, and adverse effects of colonic stenting in colorectal cancer.

TYPES OF SEMS

Currently, there are over a dozen different types of colonic SEMS available commercially worldwide (Table 1). These stents can be covered, partially covered, or uncovered and range from 20-30mm in diameter with lengths of 6-18 cm. In the United States, only uncovered stents are approved for use in the large bowel, primarily because they have been shown to have a lower rate of migration when compared to covered stents. Studies have shown a migration rate among patients who received uncovered stent was 0%-2% as compared to 20%-40% among those with covered stents[1-4]. Uncovered stents may have a lower risk of other complications, such as stent fracture, failure of expansion, and loss of stent function[4,5]. Additionally, using uncovered stents improves the success rate of post-stent colonoscopies, which can be performed to evaluate for synchronous tumors following the diagnosis of colorectal cancer[6]. Finally, uncovered stents may be technically easier to deploy into more distal areas of obstruction, because they tend to use a smaller delivery systems and are less rigid.

The one major disadvantage of uncovered stents is the higher frequency of tumor ingrowth, which can precipitate stent occlusion[1,2,4]. Recent research has focused on developing colonic stents that would maintain their position, but also have the ability to prevent significant tumor in-growth. Moon et al[7] looked at outcomes of using a novel double-layered combination covered stent, with an internal membrane to prevent tumor in-growth and an external uncovered wire that should embed itself into the surrounding tumor. However, this stent, still showed an increased rate of migration when compared to uncovered stent, although not as high as documented in prior studies. Therefore, further innovation is necessary to design a stent that is a combination of covered and uncovered components to optimize its efficacy.

INDICATIONS FOR SEMS PLACEMENT

The high frequency with which colorectal cancer presents with malignant obstruction has created a growing use for self-expanding metal stents as palliation for malignant colonic obstruction as well as a bridge to surgery. Palliative stents offer the advantage of sparing patients surgical intervention which frequently results in colostomy. In patients for whom emergent surgical resection is planned, SEMS have been utilized as an efficacious method of delaying surgery and therefore reducing operative risk. Endoscopic stenting allows bowel decompression and sparing the patient emergent surgical decompression which carries a mortality rate as high as 30%[8]. The low rate of morbidity and mortality associated with endoscopic colonic decompression when compared to surgery is therefore an attractive option.

Following the initial determination of the location and nature of the obstruction, a colonoscopy should be performed. Visualization of the site of obstruction provides the opportunity for a tissue biopsy as well as assessment of the potential for stent placement. Other considerations include the length of the stricture as well as the presence of an extrinsic versus intrinsic mass. If the colonoscope is easily passed through the site of obstruction, there is an increased risk for stent migration[9]. Stent placement is contraindicated in patients with perforation, intra-abdominal abscess, intestinal ischemia, or uncorrectable coagulopathy[10]. Placement of stents within 3-4 cm of the anal sphincter is not contraindicated but may be associated with increased incontinence and pain after placement, although in some patients a low lying stent in the rectum is their only clinical alternative to colostomy[11].

Palliative stents in patients with unresectable colorectal obstruction

Multiple comorbidities and metastatic disease are frequent contra-indications for surgical intervention to relieve malignant small bowel obstruction. In such situations, colonic stenting has been shown to be a safe and effective alternative approach for palliation[12]. In a retrospective, five-center study, Manes et al[13] looked at 201 patients with malignant large bowel obstruction who underwent palliative stenting and documented a 91.5% technical success rate and an 89.7% clinical success rate, defined as colonic decompression after 72 h. Another prospective study found a technical success rate of 95% and clinical success rate of 81%, which was defined as continued stent patency 6 months after initial placement[14].

Although outcomes with SEMS appear to be quite good, there are few studies that directly compare colonic stenting with surgical resection. The data that is available indicates that utilizing SEMS confers certain benefits over surgical intervention, although the data pertaining to long term morbidity and mortality remains equivocal. Law et al[15] found that patients who underwent palliative colonic stenting had fewer admissions to the ICU and a lower likelihood of ultimately requiring resection with stoma creation as compared to the group that underwent surgery initially. Several other studies also showed statistically significant reduction in length of hospitalization, fewer short term complications, and decreased frequency of the need for stoma formation[15-17]. However, none of these studies showed any difference in overall survival between the two groups.

Colonic stents as a bridge to surgery

In the setting of an acute bowel obstruction in patients with potentially resectable colon cancer, stents may be used to delay surgery and thus allow for decompression, adequate bowel preparation, and optimization of the patient’s condition for curative surgical intervention. Systematic reviews of stent placement as bridge to surgery have shown a technical success rate of 85%-92%[18]. Watt et al[19] performed a meta-analysis that included 88 studies and 1785 patients with 1845 stents placed. A total of 782 (43%) had stent placement as a bridge to surgery. Technical success and clinical success were reported to be 96.2% and 92% respectively. Data also suggests that placing colonic stents as a bridge to surgery increased the likelihood that the resection and re-anastomosis could be done as a one-stage procedure without the need for stoma formation when compared to an emergent operation. These studies documented that the one-step surgery was successful in 65%-73% of patients[20,21].

Few studies have compared colonic stenting as a bridge to surgery with emergent surgical decompression. Ng et al[21] performed a case-matched study of 20 patients who underwent SEMS as a bridge to surgery compared to 40 patients who had emergent surgical decompression. Patients in the stent group had statistically higher rates of primary anastomosis and shorter hospital and ICU stays. No difference was seen in mortality rates between the two groups.

In patients undergoing stent placement as a bridge to surgery in which it is later determined that surgery will not take place, the colonic stent may stay in place as a palliative measure. The benefits afforded by delaying surgery must be weighed against potential complications of stent placement which include such risks as perforation, bleeding, and stent migration. A study by Pirlet et al[22] comparing the stenting to surgery was stopped prematurely due to high rates of perforations in the stent group. A further source of uncertainty is whether stenting confers a survival benefit and decreased rate of stoma placement at 30 days. Further randomized control studies will be needed to determine the comparative clinical success of emergent surgery versus stenting as a bridge to surgery.

Techniques for stent placement

Colonic stent placement is a safe technique for the relief of large bowel obstruction secondary to malignancy. Recent studies have shown technical success rates that were close to 100% and clinical success rates, determined by the effective and persistent relief of the obstruction, of 85%-91%[23-25]. However, the complexity of the procedure can be significantly increased if the colon cannot be prepped before the intervention, if the obstruction is complete, and if the culprit lesion is located within a flexure or area of angulation. Additionally, the complexity of colonic stenting frequently requires the use of ERCP equipment and studies have shown that advanced endoscopists with pancreatico-biliary experience tend to have fewer complications and better outcomes[26]. Colonic stent placement can be performed by endoscopic guidance either using through-the-scope (TTS) or over-the wire (OTW) delivery systems. The former is ideal when using smaller diameter stents and for proximal lesions that cannot be accessed without an endoscope. The latter allows the delivery of larger stents and is most applicable in cases of rectosigmoid obstruction.

The TTS approach has been shown to be safe and effective both in right-sided and left-sided colonic lesions (Figure 1)[27,28]. Almost all colonic stent deployed today use the TTS approach. Initially, an attempt should be made to pass the endoscope through the obstructing lesion, as this can facilitate the positioning of the guidewire and determination of the stricture length. The SEMS delivery system can then be passed over the guidewire and the stent deployed under direct endoscopic visualization. If the endoscope cannot be advanced beyond the obstruction, a hydrophilic biliary guidewire can be advanced through a biliary catheter to cannulate the lesion. Once fluoroscopy confirms that the guidewire has passed through the entirety of the obstruction and emerged on the proximal side, the stent is deployed[28]. The biliary catheters can also be used to aid in measurement of stricture length. One approach is to inflate the catheter balloon and position it at the distal end of the stricture. Subsequently, contrast is injected through the catheter and fluoroscopy is used to visualize the length of the stricture. Alternatively, the biliary catheter can be advanced all the way through the lesion and the balloon inflated. The catheter is then pulled back until resistance is met, indicating that it is now abutting the proximal end of the lesion. The endoscopist marks this point on the catheter by grasping it at the biopsy port exit point with his fingers. Then, the balloon is deflated and the catheter continues to be withdrawn until the balloon is visualized emerging at the distal end of the lesion. The distance between this point and the point marked by the endoscopist’s fingers represents the length of the stricture[28]. Once the length of the stricture is determined, an appropriate SEMS needs to be selected. The ideal stent needs to extend at least 1-2 cm beyond the edge of the lesion on both proximal and distal ends to ensure that it will properly deploy and stay in place. When positioning the stent, the endoscopist needs to take into account shortening that occurs during deployment, as well as the rebound effect that occurs when the sheath is removed from the stent. After deployment, proper positioning is confirmed radiographically by an “hourglass” shape of the stent, with the ends beyond the obstruction fully expanded and the middle cinched by pressure from the lesion. Contrast can also be injected through the stent to confirm patency.

If the target lesion is in a difficult to reach location, such as a flexure or within an angulation of the colon, the endoscope may not be able to be positioned in a way that would allow successful passage of the guidewire. In such a situation a biliary sphincterotome can aid in the cannulation of the obstructing lesion[29-31]. The guidewire is loaded through the sphincterotome, which can then be rotated and bent in different directions until it positions the guidewire at an angle that would allow it to effectively traverse the extent of the obstructing lesion.

If the colonic obstruction is located in the descending colon, the non through-the-scope (OTW) approach can be used. This approach can be executed either under endoscopic guidance or with the aid of fluoroscopy. If the former method is used, rather than passing the SEMS through the working channel of the endoscope, the stent delivery system is advanced over a stiff guidewire, while the endoscope is passed next to it. This allows for direct visualization in order to make sure that the stent is properly deployed in the correct location. When this technique is employed, a colonoscope, which has a smaller diameter and is more flexible as compared to an upper endoscope, should be used. If the endoscopist chooses to use fluoroscopy, he or she first needs to mark the distal and proximal ends of the strictures with something that would be radiographically visible. Once this is done, the SEMS delivery system can be advanced over the guidewire to the site predetermined by the markers and deployed under fluoroscopic guidance.

Complications of SEMS

While self-expanding metal stents have been successfully used as a bridge to surgery in malignant obstruction of the colon as well as palliation, an overall complication rate (major and minor) of up to 25% has been associated with the procedure[18].

Vemulapalli et al[17] found more late-term complications in the stent group as compared to the surgical group, although this difference did not reach statistical significance. This finding was supported by data from several other studies that found that the late term complications in patients who received palliative SEMS was 24%-51%[17,26,32,33]. Factors that increased the risk of complications included operator experience, stent type, type of stricture, and tumor location as well as patient-related factors which include concommitant use of chemotherapy (specifically Avastin) and radiation. Complications may be grouped into minor and major categories

Minor complications of self-expanding metal stent placement

Bleeding, tenesmus, and pain are commonly reported following stent placement. Pain categorized as severe is seen in 5% of patients following stent placement. Pain and alterations in bowel habits is most often seen when stents are placed within 5 cm of the anal verge. Similarly, late-onset of tenesmus, pain, incontinence, and foreign body sensation may be seen with stent migration into the anorectal area[11,34]. However, Song et al demonstrated that these symptoms typically resolve within 1 week or were responsive to analgesia.

Clinically mild bleeding is the most commonly-seen complication following SEMS placement with a reported incidence of 8%-12%. Bleeding can be attributed to friable mucosa associated with intrinsic masses as well as ulcerations and erosion and almost always resolves with conservative management[29]. Later bleeding can usually be attributed to ulcerations/erosions in the colonic mucosa.

Major complications

Stent migration: The incidence of covered stent migration significantly exceeds that of uncovered stents (50% vs 36%). Park et al[4] demonstrated that the lower rate of uncovered stent migration can be attributed to an increased rate of tumor ingrowth/infiltration. While frequently an adverse incidence, stent migration may herald improvement in a colonic stricture secondary to a response to therapy. Endoscopic removal of a covered stent may be performed in cases in which stent migration to the anorectal area results in pain or irritation. In the case of uncovered stent migration, argon plasma coagulation combined with rat-tooth forceps has been used[35]. Avoidance of stent migration is frequently achieved by placing the stent in the center of the stricture (or slightly above) and ensuring that it projects 2 to 4 cm proximally and distally into normal colon[18].

Perforation: The most serious complication of colonic SEMS placement is perforation, which has a reported mortality rate of 0.8% per stented patient[30]. Higher rates of complications have been reported in certain types of patients including those undergoing chemotherapy[36-38]. Small et al[16] reported an increased complication rate of 34.8% in patients receiving bevacizumab following stenting as compared to a 22.8% in untreated patients. This association may have also contributed to the high perforation rate in the stented group that lead to the premature termination of the only randomized controlled trial that attempted to compare outcomes between surgical intervention and SEMS in stage IV colon cancer patients on chemotherapy[35]. Chemotherapeutic agents, in particular bevacizumab, have been linked to an increased risk of colonic perforation[35].

Tumor overgrowth and ingrowth

Delayed stent obstruction due to tumor ingrowth or overgrowth is the most common complication following stent placement, with a reported incidence of up to 10%[10,37]. As the described above, the rate of tumor ingrowth is reduced with the use of covered stents. However, these SEMS have not been approved for use in the United States due to a higher risk of stent migration. Management options for stent re-obstruction include ablation, argon plasma coagulation, surgery and stenting. Repeat stenting with a stent-within-stent approach is the most common treatment approach and is almost always successful[39-42]. Far less common is stent failure secondary to stent collapse or stent fracture. Forshaw et al demonstrated an increased incidence of stent fracture when used to treat benign obstructions[38].

Operator factors: As is seen with a multitude of different medical procedures, operator experience is inversely related to rates of complications in the placement of SEMS[34]. Colonic stenting is frequently performed on patients with extensive co-morbidities in acute settings. Consequently, the insufflation of air and manipulation of the different apparatuses will often result in higher rates of colonic perforation, the most serious complication associated with stent placement[9,10,37,43]. Some authors have advocated use of carbon dioxide during colonic stenting as a preventive measure to reduce the risk of perforation.

Patient-related factors

Higher rates of complication including treatment failure have been observed in patients with extrinsic lesions[36]. Similarly, patients with longer segments of obstruction requiring stents longer than 10 cm had shorter event-free survival[44]. This can be attributed to the increased difficulty of placing these SEMS. Nonetheless, dilation of the bowel prior to stent deployment is not advisable given the risk of tumor fracture. Data regarding complication rates related to tumor location have been conflicting with no strong indication that SEMS placement in the right colon is unsafe.

CONCLUSION

Self-expanding metal stents are increasingly being used as palliation and as bridge to surgery in patients with malignant obstruction of the colon. With high technical and clinical success rates, endoscopic stenting provides a viable alternative to surgery. When used for these purposes colonic stents have the potential to decrease morbidity and cost as well as increase patient quality of life. Further randomized control studies will be needed to compare the efficacy of SEMS placement to traditional surgical approaches in the treatment of malignant obstructions.

Numerous studies have demonstrated a low incidence of complications associated with SEMS placement. The majority of reported adverse events are minor and self-limiting including pain and bleeding. Colonic perforation remains the most serious complication. Long term failure of stents may result from stent migration and tumor ingrowth. In the majority of cases, repeat stenting or surgical intervention can successfully overcome these adverse effects.

REFERENCES

1 Choi JH, Lee YJ, Kim ES, Choi JH, Cho KB, Park KS, Jang BK, Chung WJ, Hwang JS. Covered self-expandable metal stents are more associated with complications in the management of malignant colorectal obstruction. Surg Endosc 2013; 27: 3220-3227 [PMID: 23494513 DOI: 10.1007/s00464-013-2897-4]

2 Zhang Y, Shi J, Shi B, Song CY, Xie WF, Chen YX. Comparison of efficacy between uncovered and covered self-expanding metallic stents in malignant large bowel obstruction: a systematic review and meta-analysis. Colorectal Dis 2012; 14: e367-e374 [PMID: 22540666 DOI: 10.1111/j.1463-1318.2012.03056.x]

3 Lee KM, Shin SJ, Hwang JC, Cheong JY, Yoo BM, Lee KJ, Hahm KB, Kim JH, Cho SW. Comparison of uncovered stent with covered stent for treatment of malignant colorectal obstruction. Gastrointest Endosc 2007; 66: 931-936 [PMID: 17767930]

4 Park S, Cheon JH, Park JJ, Moon CM, Hong SP, Lee SK, Kim TI, Kim WH. Comparison of efficacies between stents for malignant colorectal obstruction: a randomized, prospective study. Gastrointest Endosc 2010; 72: 304-310 [PMID: 20561619 DOI: 10.1016/j.gie.2010.02.046]

5 Choi JS, Choo SW, Park KB, Shin SW, Yoo SY, Kim JH, Do YS. Interventional management of malignant colorectal obstruction: use of covered and uncovered stents. Korean J Radiol 2007; 8: 57-63 [PMID: 17277564]

6 Lim SG, Lee KJ, Suh KW, Oh SY, Kim SS, Yoo JH, Wi JO. Preoperative colonoscopy for detection of synchronous neoplasms after insertion of self-expandable metal stents in occlusive colorectal cancer: comparison of covered and uncovered stents. Gut Liver 2013; 7: 311-316 [PMID: 23710312 DOI: 10.5009/gnl.2013.7.3.311]

7 Moon CM, Kim TI, Lee MS, Ko BM, Kim HS, Lee KM, Byeon JS, Kim YS. Comparison of a newly designed double-layered combination covered stent and D-weave uncovered stent for decompression of obstructive colorectal cancer: a prospective multicenter study. Dis Colon Rectum 2010; 53: 1190-1196 [PMID: 20628284 DOI: 10.1007/DCR.0b013e3181e28847]

8 Riedl S, Wiebelt H, Bergmann U, Hermanek P. [Postoperative complications and fatalities in surgical therapy of colon carcinoma. Results of the German multicenter study by the Colorectal Carcinoma Study Group]. Chirurg 1995; 66: 597-606 [PMID: 7664589]

9 Repici A, de Paula Pessoa Ferreira D. Expandable metal stents for malignant colorectal strictures. Gastrointest Endosc Clin N Am 2011; 21: 511-33, ix [PMID: 21684468 DOI: 10.1016/j.giec.2011.04.005]

10 Baron TH. Colonic stenting: technique, technology, and outcomes for malignant and benign disease. Gastrointest Endosc Clin N Am 2005; 15: 757-771 [PMID: 16278137 DOI: 10.1016/j.giec.2005.08.005]

11 Song HY, Kim JH, Kim KR, Shin JH, Kim HC, Yu CS, Kim JC. Malignant rectal obstruction within 5 cm of the anal verge: is there a role for expandable metallic stent placement? Gastrointest Endosc 2008; 68: 713-720 [PMID: 18561924 DOI: 10.1016/j.gie.2007.12.051]

12 Shrivastava V, Tariq O, Tiam R, Nyhsen C, Marsh R. Palliation of obstructing malignant colonic lesions using self-expanding metal stents: a single-center experience. Cardiovasc Intervent Radiol 2008; 31: 931-936 [PMID: 18379839 DOI: 10.1007/s00270-008-9328-2]

13 Manes G, de Bellis M, Fuccio L, Repici A, Masci E, Ardizzone S, Mangiavillano B, Carlino A, Rossi GB, Occhipinti P, Cennamo V. Endoscopic palliation in patients with incurable malignant colorectal obstruction by means of self-expanding metal stent: analysis of results and predictors of outcomes in a large multicenter series. Arch Surg 2011; 146: 1157-1162 [PMID: 22006874 DOI: 10.1001/archsurg.2011.233]

14 Repici A, Fregonese D, Costamagna G, Dumas R, Kähler G, Meisner S, Giovannini M, Freeman J, Petruziello L, Hervoso C, Comunale S, Faroux R. Ultraflex precision colonic stent placement for palliation of malignant colonic obstruction: a prospective multicenter study. Gastrointest Endosc 2007; 66: 920-927 [PMID: 17904133 DOI: 10.1016/j.gie.2007.03.1042]

15 Law WL, Choi HK, Chu KW. Comparison of stenting with emergency surgery as palliative treatment for obstructing primary left-sided colorectal cancer. Br J Surg 2003; 90: 1429-1433 [PMID: 14598426 DOI: 10.1002/bjs.4311]

16 Faragher IG, Chaitowitz IM, Stupart DA. Long-term results of palliative stenting or surgery for incurable obstructing colon cancer. Colorectal Dis 2008; 10: 668-672 [PMID: 18266885 DOI: 10.1111/j.1463-1318.2007.01446.x]

17 Vemulapalli R, Lara LF, Sreenarasimhaiah J, Harford WV, Siddiqui AA. A comparison of palliative stenting or emergent surgery for obstructing incurable colon cancer. Dig Dis Sci 2010; 55: 1732-1737 [PMID: 19693667 DOI: 10.1007/s10620-009-0945-7]

18 Sebastian S, Johnston S, Geoghegan T, Torreggiani W, Buckley M. Pooled analysis of the efficacy and safety of self-expanding metal stenting in malignant colorectal obstruction. Am J Gastroenterol 2004; 99: 2051-2057 [PMID: 15447772 DOI: 10.1111/j.1572-0241.2004.40017.x]

19 Watt AM, Faragher IG, Griffin TT, Rieger NA, Maddern GJ. Self-expanding metallic stents for relieving malignant colorectal obstruction: a systematic review. Ann Surg 2007; 246: 24-30 [PMID: 17592286 DOI: 10.1097/01.sla.0000261124.72687.72]

20 Cirocchi R, Farinella E, Trastulli S, Desiderio J, Listorti C, Boselli C, Parisi A, Noya G, Sagar J. Safety and efficacy of endoscopic colonic stenting as a bridge to surgery in the management of intestinal obstruction due to left colon and rectal cancer: a systematic review and meta-analysis. Surg Oncol 2013; 22: 14-21 [PMID: 23183301 DOI: 10.1016/j.suronc.2012.10.003]

21 Ng KC, Law WL, Lee YM, Choi HK, Seto CL, Ho JW. Self-expanding metallic stent as a bridge to surgery versus emergency resection for obstructing left-sided colorectal cancer: a case-matched study. J Gastrointest Surg 2006; 10: 798-803 [PMID: 16769535 DOI: 10.1016/j.gassur.2006.02.006]

22 Pirlet IA, Slim K, Kwiatkowski F, Michot F, Millat BL. Emergency preoperative stenting versus surgery for acute left-sided malignant colonic obstruction: a multicenter randomized controlled trial. Surg Endosc 2011; 25: 1814-1821 [PMID: 21170659 DOI: 10.1007/s00464-010-1471-6]

23 Im JP, Kim SG, Kang HW, Kim JS, Jung HC, Song IS. Clinical outcomes and patency of self-expanding metal stents in patients with malignant colorectal obstruction: a prospective single center study. Int J Colorectal Dis 2008; 23: 789-794 [PMID: 18443807 DOI: 10.1007/s00384-008-0477-1]

24 Khot UP, Lang AW, Murali K, Parker MC. Systematic review of the efficacy and safety of colorectal stents. Br J Surg 2002; 89: 1096-1102 [PMID: 12190673 DOI: 10.1046.1046/j.1365-2168.2002.02148.x]

25 Repici A, Adler DG, Gibbs CM, Malesci A, Preatoni P, Baron TH. Stenting of the proximal colon in patients with malignant large bowel obstruction: techniques and outcomes. Gastrointest Endosc 2007; 66: 940-944 [PMID: 17963881 DOI: 10.1016/j.gie.2007.04.032]

26 Small AJ, Coelho-Prabhu N, Baron TH. Endoscopic placement of self-expandable metal stents for malignant colonic obstruction: long-term outcomes and complication factors. Gastrointest Endosc 2010; 71: 560-572 [PMID: 20189515 DOI: 10.1016/j.gie.2009.10.012]

27 Luigiano C, Ferrara F, Fabbri C, Ghersi S, Bassi M, Billi P, Polifemo AM, Landi P, Cennamo V, Consolo P, Morace C, Alibrandi A, D'Imperio N. Through-the-scope large diameter self-expanding metal stent placement as a safe and effective technique for palliation of malignant colorectal obstruction: a single center experience with a long-term follow-up. Scand J Gastroenterol 2011; 46: 591-596 [PMID: 21271788 DOI: 10.3109/00365521.2011.551886]

28 Tal AO, Friedrich-Rust M, Bechstein WO, Woeste G, Trojan J, Zeuzem S, Sarrazin C, Albert JG. Self-expandable metal stent for malignant colonic obstruction: outcome in proximal vs. left sided tumor localization. Z Gastroenterol 2013; 51: 551-557 [PMID: 23740354 DOI: 10.1055/s-0032-1325564]

29 Armstrong EM, Fox BM. Assistance of colorectal stent insertion by sphincterotome. Dis Colon Rectum 2007; 50: 399-400 [PMID: 17216143 DOI: 10.1007/s10350-006-0715-y]

30 Rosés L, González Ramírez A, Lancho Seco A, Soto Iglesias S, Santos Blanco E, Avila S. A new use for the rotatable sphincterotome as an aid for stenting malignant gastrointestinal tract stenoses. Endoscopy 2004; 36: 1132 [PMID: 15578315 DOI: 10.1055/s-s-2004-825981]

31 Vázquez-Iglesias JL, Gonzalez-Conde B, Vázquez-Millán MA, Estévez-Prieto E, Alonso-Aguirre P. Self-expandable stents in malignant colonic obstruction: insertion assisted with a sphincterotome in technically difficult cases. Gastrointest Endosc 2005; 62: 436-437 [PMID: 16111965 DOI: 10.1016/j-gie.2005.04.028]

32 Fernández-Esparrach G, Bordas JM, Giráldez MD, Ginès A, Pellisé M, Sendino O, Martínez-Pallí G, Castells A, Llach J. Severe complications limit long-term clinical success of self-expanding metal stents in patients with obstructive colorectal cancer. Am J Gastroenterol 2010; 105: 1087-1093 [PMID: 19935785 DOI: 10.1038/ajg.2009.660]

33 Huhtinen H, Varpe P, Karvonen J, Rantala A, Grönroos JM. Late complications related to palliative stenting in patients with obstructing colorectal cancer. Minim Invasive Ther Allied Technol 2013; 22: 352-358 [PMID: 23758091 DOI: 10.3109/13645706.2013.797911]

34 Lopera JE, De Gregorio MA. Fluoroscopic management of complications after colorectal stent placement. Gut Liver 2010; 4 Suppl 1: S9-S18 [PMID: 21103302 DOI: 10.5009/gnl.2010.4.S1.S9]

35 Rao KV, Beri GD, Wang WW. Trimming of a migrated metal stent for malignant colonic stricture using argon plasma coagulation. World J Gastrointest Endosc 2010; 2: 75-76 [PMID: 21160694 DOI: 10.4253/wjge.v2.i2.75]

36 Keswani RN, Azar RR, Edmundowicz SA, Zhang Q, Ammar T, Banerjee B, Early DS, Jonnalagadda SS. Stenting for malignant colonic obstruction: a comparison of efficacy and complications in colonic versus extracolonic malignancy. Gastrointest Endosc 2009; 69: 675-680 [PMID: 19251009 DOI: 10.1016/j.gie.2008.09.009]

37 van Hooft JE, Bemelman WA, Breumelhof R, Siersema PD, Kruyt PM, van der Linde K, Veenendaal RA, Verhulst ML, Marinelli AW, Gerritsen JJ, van Berkel AM, Timmer R, Grubben MJ, Scholten P, Geraedts AA, Oldenburg B, Sprangers MA, Bossuyt PM, Fockens P. Colonic stenting as bridge to surgery versus emergency surgery for management of acute left-sided malignant colonic obstruction: a multicenter randomized trial (Stent-in 2 study). BMC Surg 2007; 7: 12 [PMID: 17608947 DOI: 10.1186/1471-2482-7-12]

38 van Hooft JE, Fockens P, Marinelli AW, Timmer R, van Berkel AM, Bossuyt PM, Bemelman WA. Early closure of a multicenter randomized clinical trial of endoscopic stenting versus surgery for stage IV left-sided colorectal cancer. Endoscopy 2008; 40: 184-191 [PMID: 18322873 DOI: 10.1055/s-2007-995426]

39 Baron TH. Interventional palliative strategies for malignant bowel obstruction. Curr Oncol Rep 2009; 11: 293-297 [PMID: 19508834 DOI: 10.1007/s11912-009-0041-3]

40 Del Piano M, Ballarè M, Montino F, Todesco A, Orsello M, Magnani C, Garello E. Endoscopy or surgery for malignant GI outlet obstruction? Gastrointest Endosc 2005; 61: 421-426 [PMID: 15758914 DOI: 10.1016/S0016-5107(04)02757-9]

41 Soriano A, Davis MP. Malignant bowel obstruction: individualized treatment near the end of life. Cleve Clin J Med 2011; 78: 197-206 [PMID: 21364165 DOI: 10.3949/ccjm.78a.10052]

42 Turner J, Cummin T, Bennett A, Swift G, Green J. Stents and stentability: treatment for malignant bowel obstruction. Br J Hosp Med (Lond) 2008; 69: 676-680 [PMID: 19186604]

43 Baron TH, Kozarek RA. Endoscopic stenting of colonic tumours. Best Pract Res Clin Gastroenterol 2004; 18: 209-229 [PMID: 15123093 DOI: 10.1016/S1521-6918(03)00098-2]

44 Jung MK, Park SY, Jeon SW, Cho CM, Tak WY, Kweon YO, Kim SK, Choi YH, Kim GC, Ryeom HK. Factors associated with the long-term outcome of a self-expandable colon stent used for palliation of malignant colorectal obstruction. Surg Endosc 2010; 24: 525-530 [PMID: 19597776 DOI: 10.1007/s00464-009-0604-2]

P-Reviewers: Sofi A S-Editor: Qi Y  L-Editor:  E-Editor:

Figure 1 Through-the-scope approach has been shown to be safe and effective both in right-sided and left-sided colonic lesions. A: The patient presented with an obstructing colon cancer who was evaluated for an endoscopic colonic stent; B: The endoscope was passed to the site of the obstructive tumor and a 0.035 inch teflonated guide wire was passed across the stricture under endoscopic and fluoroscopic guidance. C: A catheter was subsequently passed over the guidewire; D: A colonic self-expanding metal stent (SEMS) was used to decompress the colon. The stent was placed so as to extend at least 2 cm on each end beyond the tumor margin. After the stent was deployed, the position was assessed by endoscopic and fluoroscopic visualization.

A

B

C

D

Table 1 Commercially available self-expandable metal stent for malignant colonic obstruction

| Manufacturer Model | Delivery System | Diameter (mm) | Flares/ Flanges | Length (mm) | Covered/ Uncovered |
| --- | --- | --- | --- | --- | --- |
| WallFlex1 (Boston Scientific) | TTS | 22/27 | Present | 60, 90, 120 | Uncovered |
| Ultraflex Precision1 (Boston Scientific) | OTW | 25/30 | Present | 57, 87, 117 | Uncovered |
| Wallstent endoprosthesis1 (Boston Scientific) | TTS | 20, 22; no flare | Absent | 60, 90 | Uncovered |
| D-Enteral Colonic Stent (Taewoong Medical) | TTS/OTW | 18, 20, 22, 24, 26 | Absent | 60, 80, 100, 120, 140, 150 | Uncovered |
| Comvi Colonic Stent (Taewoong Medical) | TTS/OTW | 18, 20, 22, 24, 26, 28; | Absent | 60, 80, 100, 120 | Partially Covered |
| S-Enteral Colonic Stent (Taewoong Medical) | TTS/OTW | 18, 20, 22, 24, 26, 28 | Present | 60, 80, 100, 120, 140, 150, 230 | Fully and Partially Covered |
| Evolution Colonic Stent (Cook Endoscopy) | TTS | 25 | Present | 60, 80, 100 | Uncovered |
| Colonic Z-Stent1 (Cook Endoscopy) | TTS | 25 | Present | 40, 60, 80, 100, 120 | Uncovered |
| Hanarostent (M.I.Tech) | TTS/OTW | 20, 22, 24 | Present | 60, 70, 80, 90, 100, 110, 120, 130, 140, 150, 160, 170, 180 | Uncovered, Fully Covered |
| Enterella (ELLA-CS) | OTW | 22, 25, 30 | Absent | 75, 82, 88, 90, 112, 113, 123, 135, 136 | Uncovered, Covered |
| Bonastent (EndoChoice) | TTS | 22, 24, 26 | Absent | 60, 80, 100 | Uncovered, Partially Covered |
| Aixstent (Leufen Medical) | TTS/OTW | 25, 30 | Present | 80, 100 | Uncovered, Partially Covered |
| Micro-Tech (MICRO-TECH Europe) | TTS/OTW | 20, 25, 30 | Present | 60, 80, 100, 120 | Uncovered, Partially Covered, Fully Covered |

1Colonic stents availabe in the United States. TTS: Through-the-scope.