Name of journal: World Journal of Gastroenterology

ESPS Manuscript NO: 765

Columns: REVIEW

Diagnosis of bowel diseases: The role of imaging and ultrasonography

Roccarina D et al. Intestinal imaging

Davide Roccarina, Matteo Garcovich, Maria Elena Ainora, Gianluigi Caracciolo, Francesca Ponziani, Antonio Gasbarrini, Maria Assunta Zocco

Davide Roccarina, Matteo Garcovich, Maria Elena Ainora, Gianluigi Caracciolo, Francesca Ponziani, Antonio Gasbarrini, Maria Assunta Zocco, Department of Internal Medicine, Catholic University of Rome, 00168 Rome, Italy

Author contributions: Roccarina D wrote the review; Garcovich M, Ainora ME, Caracciolo G, Ponziani F, Gasbarrini A and Zocco MA contributed equally to the overall guidelines and inspiration; Garcovich M also revised the English manuscript.

Correspondence to: Dr. Davide Roccarina, Department of Internal Medicine, Catholic University of Rome, Largo A. Gemelli, 8, 00168 Rome, Italy. davideroccarina@gmail.com

Telephone: +39-6-3015 6018 Fax: +39-6-30157249

Received: October 10, 2012 Revised: December 18, 2012

Accepted:  December 22, 2012

Published online:

Abstract

Examinations with a visualisation of the anatomy and pathology of the gastrointestinal (GI) tract are often necessary for the diagnosis of GI diseases. Traditional radiology played a crucial role for many years. Endoscopy, despite some limitations, remains the main technique in the differential diagnosis and treatment of GI diseases. In the last decades, the introduction of, and advances in, non-invasive cross-sectional imaging modalities, including ultrasound (US), computed tomography (CT), positron-emission tomography (PET), and magnetic resonance imaging (MRI), as well as improvements in the resolution of imaging data, the acquisition of 3D images, and the introduction of contrast-enhancement, have modified the approach to the examination of the GI tract. Moreover, additional co-registration techniques, such as PET-CT and PET-MRI, allow multimodal data acquisition with better sensitivity and specificity in the study of tissue pathology. US has had a growing role in the development and application of the techniques for diagnosis and management of GI diseases because it is inexpensive, non-invasive, and more comfortable for the patient, and it has sufficient diagnostic accuracy to provide the clinician with image data of high temporal and spatial resolution. Moreover, Doppler and contrast-enhanced ultrasound (CEUS) add important information about blood flow. This article provides a general review of the current literature regarding imaging modalities used for the evaluation of bowel diseases, highlighting the role of US and recent developments in CEUS.

© 2012 Baishideng. All rights reserved.

Key words: Gastrointestinal tract; Bowel; Imaging; Ultrasound; Colour-doppler; Contrast-enhancement; Time-intensity curve

Roccarina D, Garcovich M, Ainora ME, Caracciolo G, Ponziani F, Gasbarrini A, Zocco MA. Diagnosis of bowel diseases: The role of imaging and ultrasonography

Available from:

DOI:

INTRODUCTION

Endoscopy remains the main technique for the diagnosis of gastrointestinal (GI) tract diseases because it allows a direct visualisation of the mucosa and the possibility of taking samples for histological analysis. Moreover, in recent years, improvements in endoscopic techniques have also made it possible to use endoscopy for interventions in some diseases of the GI tract. However, endoscopy has some limitations due to its invasiveness and the difficulty of examining the small bowel, and it does not allow the visualisation of extra-intestinal structures that may be involved.

For many years, traditional radiological techniques played a crucial role in the diagnosis of small bowel diseases. In the last decades, the introduction of, and improvements in, non-invasive cross-sectional imaging techniques including ultrasound (US), computed tomography (CT), positron-emission tomography (PET) and magnetic resonance imaging (MRI), have changed the diagnostic approach to the GI tract[1]. The high resolution of imaging data, ability of acquire 3D images, enhancement of tissues and additional co-registration techniques (PET-CT, PET-MRI) have improved the diagnostic classification of tissue pathology and performance in terms of sensitivity, specificity and accuracy, depending on the specific method and equipment used, the section of the GI tract investigated, the patient’s constitution and preparation, and the type of pathology being studied[2].

In the last two decades, among the cross-sectional imaging techniques, US has had a growing role in the development and application of techniques for diagnosis of GI diseases because it is cheap, non-invasive, and more comfortable for the patient, and it has sufficient diagnostic accuracy to provide the clinician with high temporal and spatial resolution image data. Moreover, Doppler and contrast-enhanced ultrasound (CEUS) contribute important information about blood flow.

This article provides a general review of the current literature regarding imaging modalities used for the evaluation of bowel diseases, highlighting the role of US and recent developments in CEUS.

CONVENTIONAL RADIOLOGICAL EXAMINATIONS

Plain-film radiography remains the first-line of investigation in the acute setting. Non-contrast radiography is useful in the initial assessment of various GI diseases, including bowel perforation, obstruction, volvulus, and toxic megacolon[3].

When detailed luminal evaluation is required, fluoroscopic barium or water-soluble single- and double-contrast studies are the modalities of choice. These techniques are able to visualise transit time, peristalsis, luminal emptying and pathological changes such as stenosis, dilatation, luminal filling defects and external compression. Moreover, double-contrast examinations allow detailed visualisation of the mucosa and the detection of inflammatory and neoplastic changes in the intestine[4].

Barium swallow studies remain the main investigational tool for dysphagia, allowing direct evaluation and inspection of the oesophageal mucosa and gastro-oesophageal junction, an objective measurement of oesophageal contractibility, assessment of reflux and identification of the presence of strictures, pouches, and hiatal hernia[5]. With respect to the small intestine, fluoroscopic imaging techniques such as small bowel barium follow-through and conventional enteroclysis are able to detect subtle mucosal abnormalities such as fistulous tracts, adhesions and, more rarely, intraluminal lesions. Functional information about transit time and peristalsis can also be ascertained.

Water-soluble, single-contrast oral studies are generally performed in the immediate post-operative period to assess anastomotic integrity, due to the potential for free intra-abdominal barium to induce peritonitis[6].

However, fluoroscopic imaging has several disadvantages: first, it only allows indirect detection of alterations of the small bowel, with no information on deeper wall layers and extramural diseases extension; and second, its sensitivity for detecting marginal changes is low compared to direct inspection of the mucosa.

CROSS-SECTIONAL IMAGING

Computed tomography

The development of multi-detector computed tomography (MD-CT) scanners with rapid acquisition of thin slices and multi-planar reconstructions allows a detailed investigation of intestinal loops[7]. In particular, non-contrast-enhanced CT scanning is replacing plain-film radiography in the evaluation of acute abdominal disease such as intestinal perforation or obstruction[8]. Intravenous contrast enhancement together with distension of the intestinal lumen by water or positive contrast agents is very useful in the detection of inflammatory and neoplastic intestinal pathologies (fistula, abscess, and phlegmon)  as well as in the evaluation of extra-intestinal involvement  (mesenteric lymph nodes)[9] .

MD-CT colonography, also known as virtual endoscopy, is a new technique to study the large intestine that is able to detect colonic polyps greater than 6 mm with a similar accuracy to conventional colonography[10-12]. Similarly to CT, it is also important in the detection of extra-colonic pathology[13,14] .

For these reasons, this technique may replace traditional double-contrast examinations as a non-invasive screening test or in acute colonic inflammatory processes when other approaches are contraindicated due to the high perforation risk[2].

MRI

MRI is generally considered the gold standard examination for TNM staging of rectal cancers because it allows an exact visualisation of the rectal wall and perirectal fat infiltration[15].

Moreover, MRI is the preferred technique in inflammatory bowel diseases (IBD) because it is able to examine the entire small intestine without radiation hazards[9,16]. It can detect luminal (stenoses and fissures), mural (wall thickening and wall enhancement after gadolinium administration) and exoenteric (mesenteric inflammation, fibrofatty proliferation, lymph adenopathy, hypervascularity, abscesses and fistulas) pathologies[16-20]. In particular, MRI is more sensitive than other techniques in the evaluation of anorectal fistulas[20].

Finally, the administration of intravenous contrast agent and the consequent detection of hypervascular areas are useful in distinguishing between active and inactive disease[17,21,22].

US

Among the cross-sectional imaging techniques, US is less invasive, more comfortable for the patient and has a significant diagnostic accuracy[23].

The normal bowel wall appears as a multi-layered area with hyperechoic bowel contents at the centre. Five distinct layers can be observed on sonography: an inner hyperechoic layer, the interface between the mucosa and the bowel contents; a second hyperechoic layer, the deep mucosa; a third hyperechoic layer the submucosa; a fourth hypoechoic layer, the muscle proper; and a last outer hyperechoic layer, the serosa and the serosal fat[24] .

The average wall thickness of the normal gut is 2-4 mm and the US appearance depends not only on the structure of the individual segment but also, more importantly, on its contents and degree of distension. The bowel may be collapsed, containing only a small amount of mucus (mucus pattern), or it may contain fluid or gas (respectively, fluid and gas patterns). The mucus pattern appears as a target with a highly reflective core of mucus. The fluid pattern gives a tubular appearance on a longitudinal section and a rounded pattern on a cross-section. In the gas pattern, only the proximal side of the bowel wall is visible due to beam attenuation by gas (Figure 1).

The jejunum has valvulae conniventes, which produce a ladder pattern, and the ileum has a smooth, featureless wall. The site of the studied bowel must also be inferred from the location of the bowel loop.

The large bowel wall thickness is < 4 mm; it has similar characteristics to the small bowel, but it can be distinguished by its location in paracolic regions and by the presence of haustra.

Similarly to the other cross-sectional imaging techniques, US is able to evaluate intestinal findings, such as the bowel wall (in particular, its thickness, layers and perfusion), peristalsis, compressibility, rigidity and extra-intestinal structures, such as perienteric fatty tissues, mesenteric lymph nodes and adjacent organs[25-29].

US and bowel diseases

The most frequent pathological aspects found by sonography in intestinal diseases are wall thickening, mucosal abnormalities, the absence of peristalsis, mesenteric thickening, lymph nodes enlargement, vascular alterations, and extra-intestinal complications[30].

Morphological changes of the bowel wall

Bowel-wall thickening can be found in inflammatory, infectious, ischemic (but only in later stages) and neoplastic diseases. Usually, in inflammation and infections, the wall thickening is regular with preserved stratification, whereas in tumours, the thickness is irregular with loss of normal stratification[31] (Figure 2).

IBD: Crohn’s disease and ulcerative colitis: The classic sonographic feature of the Crohn’s disease (CD) is the “target” sign on transverse images, which means a strong echogenic centre surrounded by a relatively sonolucent rim of more than 5 mm. In a longitudinal section, the sonographic feature is the “sandwich” sign. In CD, transmural inflammation or fibrosis can lead to complete circumferential loss of the typical gut wall layers, which results in a thick hypoechoic rim more than 5 mm. Strictures appear as marked thickenings of the gut wall with a fixed hyperechoic narrowed lumen, dilatation and hyperperistalsis of the proximal gut[32] (Figure 3).

In expert hands, the distribution of frank lesions of inflammatory bowel disease can be determined with a sensitivity of 73%-87%[33]. In ulcerative colitis, the sensitivity reaches 89%, and the specificity reaches 100%[34].

Differentiation between CD and ulcerative colitis based on sonographic findings is based on the location of the disease, the presence of skip lesions and the presence of pericolic abscesses. Bowel-wall thickening is usually less marked in ulcerative colitis with preserved stratification. However, definitive differential diagnosis is difficult on transabdominal sonography[35-37].

Acute terminal ileitis: Acute terminal ileitis is frequently caused by Yersinia species but also by Campylobacter and Salmonella. Tuberculous enteritis and Behcet’s disease may also affect the ileo-cecal region.

The reported sonographic features include hypoechogenic mural thickening of the terminal ileum and cecum between 6 and 10 mm, with hypoechoic swollen ileal folds in the edematous mucosa, and these findings should be related to clinical and laboratory data[38,39].

Appendicitis: The typical finding of acute appendicitis on a transverse cross-section is the target sign with a hyperechoic centre, an inner hyperechoic ring and an external, thicker hypoechoic ring. In sagittal images, the inflamed appendix is seen as a blind-end, non-compressible tubular structure. Focal or circumferential loss of the inner layer of echoes usually indicates gangrenous inflammation and ulceration of the submucosa. Several studies achieved sensitivities of 80%-93% and specificities of 94%-100% in the sonographic workup of acute appendicitis[40,41].

Graded compression sonography has gained widespread acceptance as a useful technique for the examination of patients with atypical signs of appendicitis[42].

The diagnosis can be established with confidence if the appendix is non-compressible, shows no peristalsis, and measures more than 6 mm in diameter on axial images, as well as if compression leads to a localised pain response[43].

A statistically significant association has been found between perforation and two sonographic findings: loculated pericecal fluid and loss of the echogenic submucosa[44].

Small bowel tumours: The gut is the most common extranodal site of lymphoma after stomach[45]. Eighty percent of gastrointestinal lymphomas have B-cell origins. In patients with underlying celiac disease, however, a T-lymphocyte origin predominates. In most patients, the US appearance is characterised by transmural hypoechoic wall thickening up to 4 cm in diameter with loss of normal stratification and a central hypoechoic region. This pattern is known as the “pseudokidney” sign[46,47].

Isolated mucosal involvement is rare and leads to hyperechoic thickening of the mucosa. Sonographic patterns favouring the diagnosis of a non-Hodgkin’s lymphoma over adenocarcinoma are transmural, circumferential, hypoechoic wall thickening with preserved peristalsis, lack of intestinal obstruction, involvement of a long stretch of the gut and the presence of multiple prominent lymph nodes[48].

Carcinoid is the most frequent small bowel tumour and occurs in 80% of cases in the distal ileum. Usually, small bowel carcinoids appear as hypoechoic, homogenous, predominantly intraluminal masses with smooth intraluminal contours. The tumour is attached to the wall with a broad base, leading to interruption of the submucosa and thickening of the muscolaris propria[49].

Pseudomembranous colitis: The sonographic findings of pseudomembranous colitis (PC) have been described in a number of reports. Striking thickening of the colonic wall with a wide inner circle of heterogeneous medium echogenicity surrounded by a narrow hypoechoic muscularis propria is found in all patients, reflecting the submucosal oedema. The lumen of the colon is almost completely effaced by the mural oedema, and 64%-77% of patients have ascites[50,51].

Diverticulitis: The sensitivity of US in the diagnosis of acute colonic diverticulitis ranges from 84% to 100% in different studies and is similar to the sensitivity of CT. US features of diverticulitis are the presence of colonic outpouchings associated with bowel-wall thickening and severe local pain induced by graded compression.

Diverticula are round or oval echogenic foci observed in or next to the gut wall, mostly with internal acoustic shadowing[52-56] (Figure 4).

Colonic carcinoma: There are two possible sonographic appearances of colonic carcinoma. The first one is a localised hypoechoic mass up to 10 cm or more with an irregular shape, lobulated contours and a cluster of high-amplitude echoes (the intramural gas) located eccentrically. The second appearance is a segmental and irregular thickening that could be eccentric or circumferential but is less evident than the first type. The central echo clusters are small because the diseased lumen is usually narrow. This type frequently leads to colonic obstruction. Rectal carcinoma is observed only when the bladder is well-filled[57-60].

Shirahama et al[61] described four sonographic findings associated with colonic carcinoma in 90% of patients: localised colonic wall thickening with heterogeneous low echogenicity, irregular contour, lack of movement on real-time scanning, and the absence of the layered appearance of the colonic wall. However, negative findings during sonographic examination do not rule out the diagnosis of colonic carcinoma because small masses and overlying bowel gas can lead to false-negative results. Because of these limitations, abdominal sonography cannot be an effective screening technique in colon cancer[57,62].

Intussusception: Intussusception has a characteristic appearance, and it is usually not mistaken for other bowel abnormalities. Transverse sections reveal a swirled pattern of alternating hyperechogenicity and hypoechogenicity, representing alternating layers of mucosa, muscularis, and serosa: the “doughnut” or “bull’s eye” sign[63,64]. On longitudinal sections, alternating loops of bowel and a loop-within-loop have a sandwich-like appearance (pseudokidney sign). The outer hypoechoic ring is formed by the intussuscipiens and the everted returning limb of the intussusceptum with their mucosal surfaces face-to-face. The centre of the intussusception varies with the scan level. At the apex, the centre is hypoechoic because of the entering limb of the intussusceptum. At the base, the entering bowel wall forms a hypoechoic centre that is surrounded by the hyperechoic mesentery[65,66].

Perfusion of the bowel wall: the role of colour-power Doppler and CEUS

Colour and power Doppler techniques may provide additional information about the macrovascularisation of the bowel wall. In particular, colour and power-doppler may be helpful in differentiating among ischemia, inflammation and cancer neovascularisation. The differential diagnosis is possible because ischemia is characterised by few or no signals, inflammation is characterized by several signals with low resistivity index (RI) (< 60) and symmetric thickening, and cancer neovascularization is characterized by several signals with a high RI (> 60) and asymmetric thickening[67].

CEUS has recently gained increasing attention because it clearly improves the visualisation of perfusion in various tissues. The development of second-generation, contrast-enhancing agents used in low-mechanical-index harmonic US has enabled real-time assessment of the microvascular circulation and quantification of bowel vascularity[68-70].

US contrast agents consist of micro-bubbles (1-7 micrometres), often made of a phospholipid shell with a gaseous content, that are given intravenously and excreted through the lungs. Obviously, the individual capillaries cannot be discerned, but the micro-bubble content gives rise to a signal “wash” with an intensity that is proportional to the micro-bubble concentration and thus to the blood volume in the portion of the tissue[71]. This technique has led to important new applications for US. The essential tool is the transit or wash-in , wash-out curve, often referred to as a time-intensity curve (TIC), in which the time course of the transit of micro-bubbles is measured, hence the term “dynamic contrast-enhanced US” (DCE-US). Two categories of information are available from these TICs: results, that depend on timing events such as the arrival time and the time to peak enhancement, and results that depend on the amount of enhancement detected such as the peak enhancement and the area under the TIC.

Such micro-bubble studies have been used to assess inflammatory diseases, giving important information about the severity of the inflammation and its response to therapy[72-83].

IBD: CD and ulcerative colitis: IBD is associated with hypervascularity of the bowel wall during active disease.

In patients with CD, CEUS is useful for assess the pattern of the neovascularisation within the intestinal layers, allowing better discrimination between active and inactive disease, between inflammatory and fibrotic strictures, and between inflammatory pseudo-tumours and abscesses[84-89].

In particular, Serra et al[84] prospectively evaluated the vascularisation of the thickened terminal ileum in CD patients using CEUS and compared the clinical activity as measured by the CD activity index (CDAI) with the CEUS findings. They used two parameters to assess the vascularisation of the bowel wall: a semi-quantitative method, the pattern of enhancement; and a quantitative method, the E/W ratio, which is the ratio between the major thickness of the enhanced layer (E) and the thickness of the entire wall section (W).  The results showed a significant correlation between CDAI and the pattern of enhancement. In particular, the frequency of active patients (CDAI > 150) was significantly related to the enhancement of the entire wall section and the submucosal enhancement. A positive correlation was observed between the E/W ratio and the CDAI values[84].

Migaleddu et al[90] demonstrated that DCE-US might help in characterising bowel-wall thickening by differentiating fibrosis, oedema and inflammatory neovascularisation and may help to grade disease activity by assessing the presence, initial site, direction and distribution of enhancement.

De Franco et al[91] assessed microvascular activation in the thickened terminal ileal wall in patients with CD using CE-US and evaluated its correlation with a composite index of CD activity (CICDA), the CDAI and the simplified endoscopic score for CD (SES-CD). In this study, unlike the two previously discussed studies, the authors evaluated the mural microvascularity with a quantitative method, analysing software-plotted time-enhancement intensity curves to determine the maximum peak intensity (MPI) and wash-in slop coefficient (β). The MPI and β coefficient were significantly increased in patients with CICDA, CDAI and SES-CD scores indicative of active disease[91].

The introduction of new drugs such as immunomodulators, or biological therapies such as monoclonal anti-TNF alpha antibodies in the treatment of CD has led to a need for non-invasive methods to assess the efficacy of pharmacologic treatment. A recent study demonstrated that CEUS could be suitable for evaluating changes in bowel wall vascularisation during anti-inflammatory therapy[92]. In this study, all of the kinetic parameters (slope, time to peak, and area under the curve) developed from TICs showed significant changes after treatment and were correlated with the CDAI score.

Acute appendicitis, acute terminal ileitis, diverticulitis, colitis: In these inflammatory pathologies, especially in the early stages, it is possible to find increased vascularisation with both colour-doppler and CEUS techniques. The presence of visible hyperaemia or increased flow in the hypoechoic muscular layer of the bowel wall may be a marker of appendicitis, whereas increased flow in the mucosal layer most likely represents enteritis. Increased flow in the fat surrounding the appendix is indicative of transmural extension of the inflammation with mesenteric response. The absence of blood flow indicates gangrenous change or paracolic abscess formation[93].

Ischemic disease: In chronic ischemia of the small bowel, stenotic or occlusive lesions in the celiac and/or mesenteric arteries are found, and patients typically have postprandial epigastric pain and weight loss. In acute ischemia, during the first hour, little or no signal from colour-doppler or echo-enhancing contrast US can be observed. If the ischemia has lasted few hours, dilated bowel loops and a thickened bowel wall can be observed, but these signs are non-specific, and the examination is often made difficult by increasing amounts of intraluminal air.

However, Doppler scanning is not the method of choice for diagnosing acute ischemia of the small bowel because it does not permit the evaluation of the compensatory collateral circulation and distal embolisation. Thus, angiography must be performed for a definite diagnosis[94,95].

Neoplastic disease: Colour-Doppler and CEUS are not the techniques of choice for the diagnosis of tumours or to differentiate between benign and malignant neoplasias, but, beacause the tumours are often highly vascularised, these techniques may be helpful to differentiate between tumours and other benign lesions such as abscesses, cysts, and hematomas.

A finding of arterial enhancement with rapid wash-out on CEUS or arterial signs with an RI > 60 on Doppler are highly indicative of a malignant lesion. DCE US with time-intensity curves has recently been used to evaluate tumour responses to anti-vascular therapy[83].

Extra-intestinal structures: perienteric fatty tissue, mesenteric lymph nodes and adjacent organs

Several intestinal pathologies may involve other structures around the diseased segment such as perienteric fatty tissue, mesenteric lymph nodes, and adjacent or distant organs. The discovery of these findings by US may be helpful for the correct diagnosis.

IBD: Peri-intestinal inflammation leads to the “creeping fat” sign, which appears as a uniform hyperechoic mass typically observed around the ileum and cecum. Mesenteric lymph adenopathy appears as multiple oval hypoechoic masses, usually in the right lower quadrant.

Some of the possible complications of CD are fistula, abscess formation, mechanical bowel obstruction and perforation. Abscesses appear as poorly defined, mostly hypoechoic focal masses that can contain hyperechoic gas. Fistulas are a hallmark of CD and appear in up to one third of patients with advanced disease as hypoechoic tracts with gas inclusion connecting bowel loops or adjacent structures (bladder, abdominal wall, vagina, or the psoas muscle). Detection of gas bubbles in abnormal locations raises the possibility of fistulous communication[96,97].

Appendicitis: The surrounding mesentery is often inflamed, which can appear as a hypoechoic diffuse halo sign around the appendix.

The presence of a generalised adynamic ileus associated with the presence of free fluid should raise suspicion of perforating appendicitis, even if the appendix has not been found to be enlarged.

Abscess formation is the major complication of a perforating appendicitis. Abscesses may extend into the pelvis or into the peritoneal spaces of the upper abdomen. They may appear as a complex inflammatory mass or localised complex fluid collection. This appearance is indistinguishable from perforated bowel neoplasm. Mesenteric lymph adenopathy may be visualised as multiple oval hypoechoic masses, usually in the right lower quadrant[98].

Diverticulitis: The sonographic features of acute colonic diverticulitis include inflammatory changes in the pericolonic fat that appear as ill-defined echogenic masses adjacent to the involved thick-walled colonic segments. The most common complication of acute colonic diverticulitis is perforation with abscess formation: this condition is suggested by the presence of an associated localised complex fluid collection.

It is important to note that although sonography can be used to diagnose uncomplicated diverticulitis with excellent sensitivity and specificity, CT remains the technique of choice for further evaluation of acute colonic diverticulitis, particularly for the assessment of complications such abscess formation, fistulas, and perforations[52,56,99,100].

Neoplastic disease: Malignant neoplasia, especially at advanced stages, can extend beyond the intestinal wall to involve perienteric tissues such as in peritoneal carcinomatosis.

The presence of regional malignant lymph adenopathy is highly suggestive of malignant disease. Malignant lymph nodes are larger than 1 centimetre and can measure up to several centimetres. They are round but may colliquate to form large irregular masses with necrotic areas and internal calcifications[51].

CONCLUSION

In the last decade many cross-sectional imaging techniques have evolved as superior alternatives to fluoroscopic imaging in the examination of the small and large bowels. In particular, transabodminal US may be regarded as the first imaging procedure in the diagnostic work-up and follow-up of bowel diseases. US has gained acceptance, especially in IBD, because it can provide important information including the extent and activity of the disease and the presence of complications. New sonographic techniques combined with the application of intravenous contrast agents increase the accuracy of Doppler US in evaluating bowel wall vascularisation in a real-time manner. The quantitative assessment of bowel wall vascularity by CEUS could provide a useful and simple method to assess the effectiveness of medical treatment.

REFERENCES

1 Camilleri M. New imaging in neurogastroenterology: an overview. Neurogastroenterol Motil 2006; 18: 805-812 [PMID: 16918759 DOI: 10.1111/j.1365-2982.2006.00786.x]

2 Frøkjaer JB, Drewes AM, Gregersen H. Imaging of the gastrointestinal tract-novel technologies. World J Gastroenterol 2009; 15: 160-168 [PMID: 19132765 DOI: 10.3748/wjg.15.160]

3 Smith JE, Hall EJ. The use of plain abdominal x rays in the emergency department. Emerg Med J 2009; 26: 160-3 [PMID: 19234001 DOI: 10.1136/emj.2008.059113]

4 Grainger RD, Allison D, Dixon AK. Grainger and Allison’s diagnostic radiology: A Text Book of Medical Imaging. 4th ED. New York: Churchill Livingstone 2001

5 Furlow B. Barium swallow. Radiol Technol 2004; 76: 49-58; quiz 59-61 [PMID: 15503719]

6 Planner AC, Phillips A, Bungay HK. The role of imaging in small bowel disease. Imaging 2006; 18: 228-256

7 Aschoff AJ. MDCT of the abdomen. Eur Radiol 2006; 16 Suppl 7: M54-M57 [PMID: 18655267 DOI: 10.1007/s10406-006-0196-z]

8 Trésallet C, Renard-Penna R, Nguyen-Thanh Q, Cardot V, Chigot JP, Menegaux F. Intestinal obstruction by an enterolith from a perforated giant Meckel's diverticulum: diagnosis with CT reconstructed images. Int Surg 2007; 92: 125-127 [PMID: 17972465]

9 Ryan ER, Heaslip IS. Magnetic resonance enteroclysis compared with conventional enteroclysis and computed tomography enteroclysis: a critically appraised topic. Abdom Imaging 2008; 33: 34-37 [PMID: 17874264 DOI: 10.1007/s00261-007-9308-z]

10 Blachar A, Sosna J. CT colonography (virtual colonoscopy): technique, indications and performance. Digestion 2007; 76: 34-41 [PMID: 17947817 DOI: 10.1159/000108392]

11 Aschoff AJ, Ernst AS, Brambs HJ, Juchems MS. CT colonography: an update. Eur Radiol 2008; 18: 429-437 [PMID: 17899101 DOI: 10.1007/s00330-007-0764-1]

12 Sun L, Wu H, Guan YS. Colonography by CT, MRI and PET/CT combined with conventional colonoscopy in colorectal cancer screening and staging. World J Gastroenterol 2008; 14: 853-863 [PMID: 18240342 DOI: 10.3748/wjg.14.853]

13 Ginnerup Pedersen B, Rosenkilde M, Christiansen TE, Laurberg S. Extracolonic findings at computed tomography colonography are a challenge. Gut 2003; 52: 1744-1747 [PMID: 14633954 DOI: 10.1136/gut.52.12.1744]

14 Xiong T, Richardson M, Woodroffe R, Halligan S, Morton D, Lilford RJ. Incidental lesions found on CT colonography: their nature and frequency. Br J Radiol 2005; 78: 22-29 [PMID: 15673525 DOI: 10.1259/bjr/67998962]

15 Klessen C, Rogalla P, Taupitz M. Local staging of rectal cancer: the current role of MRI. Eur Radiol 2007; 17: 379-389 [PMID: 17008990 DOI: 10.1007/s00330-006-0388-x]

16 Gourtsoyiannis NC, Papanikolaou N, Karantanas A. Magnetic resonance imaging evaluation of small intestinal Crohn's disease. Best Pract Res Clin Gastroenterol 2006; 20: 137-156 [PMID: 16473805 DOI: 10.1016/j.bpg.2005.09.002]

17 Frøkjaer JB, Larsen E, Steffensen E, Nielsen AH, Drewes AM. Magnetic resonance imaging of the small bowel in Crohn's disease. Scand J Gastroenterol 2005; 40: 832-842 [PMID: 16109660 DOI: 10.1080/00365520510015683]

18 Gourtsoyiannis N, Papanikolaou N, Grammatikakis J, Prassopoulos P. MR enteroclysis: technical considerations and clinical applications. Eur Radiol 2002; 12: 2651-2658 [PMID: 12386753 DOI: 10.1007/s00330-002-1507-y]

19 Umschaden HW, Szolar D, Gasser J, Umschaden M, Haselbach H. Small-bowel disease: comparison of MR enteroclysis images with conventional enteroclysis and surgical findings. Radiology 2000; 215: 717-725 [PMID: 10831690]

20 Berman L, Israel GM, McCarthy SM, Weinreb JC, Longo WE. Utility of magnetic resonance imaging in anorectal disease. World J Gastroenterol 2007; 13: 3153-3158 [PMID: 17589891]

21 Schreyer AG, Herfarth H, Kikinis R, Seitz J, Schölmerich J, Geissler A, Feuerbach S. 3D modeling and virtual endoscopy of the small bowel based on magnetic resonance imaging in patients with inflammatory bowel disease. Invest Radiol 2002; 37: 528-533 [PMID: 12218449 DOI: 10.1097/00004424-200209000-00008]

22 Schreyer AG, Gölder S, Seitz J, Herfarth H. New diagnostic avenues in inflammatory bowel diseases. Capsule endoscopy, magnetic resonance imaging and virtual enteroscopy. Dig Dis 2003; 21: 129-137 [PMID: 14571110 DOI: 10.1159/000073244]

23 Rodgers PM, Verma R. Transabdominal ultrasound for bowel evaluation. Radiol Clin North Am 2013; 51: 133-148 [PMID: 23182513 DOI: 10.1016/j.rcl.2012.09.008]

24 Wilson S. The gastrointestinal tract. In: Rumack CM, Wilson SR, Charboneau JW. Diagnostic Ultrasound, 2nd Ed. St Louis, MO: CV Mosby Co; 1998: 279-328

25 Fleischer AC, Muhletaler CA, James AE. Sonographic assessment of the bowel wall. AJR Am J Roentgenol 1981; 136: 887-891 [PMID: 6784522]

26 Peck R. The small bowel. In: Meire HB, Cosgrove DO, Dentoury KC, et al. Abdominal and General Ultrasound. 2nd Ed. Philadelphia, PA: Churchill Livingstone; 2002: 823-864

27 Chaubal N, Dighe M, Shah M, Chaubal J. Sonography of the gastrointestinal tract. J Ultrasound Med 2006; 25: 87-97 [PMID: 16371558]

28 Onali S, Calabrese E, Petruzziello C, Zorzi F, Sica G, Fiori R, Ascolani M, Lolli E, Condino G, Palmieri G, Simonetti G, Pallone F, Biancone L. Small intestine contrast ultrasonography vs computed tomography enteroclysis for assessing ileal Crohn's disease. World J Gastroenterol 2012; 18: 6088-6095 [PMID: 23155337 DOI: 10.3748/wjg.v18.i42.6088]

29 Saibeni S, Rondonotti E, Iozzelli A, Spina L, Tontini GE, Cavallaro F, Ciscato C, de Franchis R, Sardanelli F, Vecchi M. Imaging of the small bowel in Crohn's disease: a review of old and new techniques. World J Gastroenterol 2007; 13: 3279-3287 [PMID: 17659666]

30 Valette PJ, Rioux M, Pilleul F, Saurin JC, Fouque P, Henry L. Ultrasonography of chronic inflammatory bowel diseases. Eur Radiol 2001; 11: 1859-1866 [PMID: 11702118]

31 Lied GA, Milde AM, Nylund K, Mujic M, Grimstad T, Hausken T, Gilja OH. Increased wall thickness using ultrasonography is associated with inflammation in an animal model of experimental colitis. Clin Exp Gastroenterol 2012; 5: 195-201 [PMID: 23055765 DOI: 10.2147/CEG.S31150]

32 Ledermann HP, Börner N, Strunk H, Bongartz G, Zollikofer C, Stuckmann G. Bowel wall thickening on transabdominal sonography. AJR Am J Roentgenol 2000; 174: 107-117 [PMID: 10628464]

33 Maconi G, Parente F, Bollani S, Cesana B, Bianchi Porro G. Abdominal ultrasound in the assessment of extent and activity of Crohn's disease: clinical significance and implication of bowel wall thickening. Am J Gastroenterol 1996; 91: 1604-1609 [PMID: 8759670]

34 Arienti V, Campieri M, Boriani L, Gionchetti P, Califano C, Giancane S, Furno A, Gasbarrini G. Management of severe ulcerative colitis with the help of high resolution ultrasonography. Am J Gastroenterol 1996; 91: 2163-2169 [PMID: 8855741]

35 Hata J, Haruma K, Suenaga K, Yoshihara M, Yamamoto G, Tanaka S, Shimamoto T, Sumii K, Kajiyama G. Ultrasonographic assessment of inflammatory bowel disease. Am J Gastroenterol 1992; 87: 443-447 [PMID: 1553931]

37 Hata J, Haruma K, Yamanaka H, Fujimura J, Yoshihara M, Shimamoto T, Sumii K, Kajiyama G, Yokoyama T. Ultrasonographic evaluation of the bowel wall in inflammatory bowel disease: comparison of in vivo and in vitro studies. Abdom Imaging 1994; 19: 395-399 [PMID: 7950810 DOI: 10.1007/BF00206922]

38 Puylaert JB, Van der Zant FM, Mutsaers JA. Infectious ileocecitis caused by Yersinia, Campylobacter, and Salmonella: clinical, radiological and US findings. Eur Radiol 1997; 7: 3-9 [PMID: 9000386 DOI: 10.1007/s003300050098]

39 Puylaert JB. Mesenteric adenitis and acute terminal ileitis: US evaluation using graded compression. Radiology 1986; 161: 691-695 [PMID: 3538138]

40 Jeffrey RB, Laing FC, Lewis FR. Acute appendicitis: high-resolution real-time US findings. Radiology 1987; 163: 11-14 [PMID: 3547490]

41 Puylaert JB, Rutgers PH, Lalisang RI, de Vries BC, van der Werf SD, Dörr JP, Blok RA. A prospective study of ultrasonography in the diagnosis of appendicitis. N Engl J Med 1987; 317: 666-669 [PMID: 3306375 DOI: 10.1056/NEJM198709103171103]

42 Yacoe ME, Jeffrey RB. Sonography of appendicitis and diverticulitis. Radiol Clin North Am 1994; 32: 899-912 [PMID: 8085003]

43 Jeffrey RB, Laing FC, Townsend RR. Acute appendicitis: sonographic criteria based on 250 cases. Radiology 1988; 167: 327-329 [PMID: 3282253]

44 Quillin SP, Siegel MJ, Coffin CM. Acute appendicitis in children: value of sonography in detecting perforation. AJR Am J Roentgenol 1992; 159: 1265-1268 [PMID: 1442398]

45 Levine MS, Rubesin SE, Pantongrag-Brown L, Buck JL, Herlinger H. Non-Hodgkin's lymphoma of the gastrointestinal tract: radiographic findings. AJR Am J Roentgenol 1997; 168: 165-172 [PMID: 8976941]

46 Goerg C, Schwerk WB, Goerg K. Gastrointestinal lymphoma: sonographic findings in 54 patients. AJR Am J Roentgenol 1990; 155: 795-798 [PMID: 2119110]

47 Sener RN, Alper H, Demirci A, Diren HB. A different sonographic "pseudokidney" appearance detected with intestinal lymphoma: "hydronephrotic-pseudokidney". J Clin Ultrasound 1989; 17: 209-212 [PMID: 2494234 DOI: 10.1002/jcu.1870170310]

48 Smith C, Kubicka RA, Thomas CR. Non-Hodgkin lymphoma of the gastrointestinal tract. Radiographics 1992; 12: 887-899 [PMID: 1529131]

49 Ashley SW, Wells SA. Tumors of the small intestine. Semin Oncol 1988; 15: 116-128 [PMID: 3285475]

50 Downey DB, Wilson SR. Pseudomembranous colitis: sonographic features. Radiology 1991; 180: 61-64 [PMID: 2052724]

51 Truong M, Atri M, Bret PM, Reinhold C, Kintzen G, Thibodeau M, Aldis AE, Chang Y. Sonographic appearance of benign and malignant conditions of the colon. AJR Am J Roentgenol 1998; 170: 1451-1455 [PMID: 9609152]

52 Pradel JA, Adell JF, Taourel P, Djafari M, Monnin-Delhom E, Bruel JM. Acute colonic diverticulitis: prospective comparative evaluation with US and CT. Radiology 1997; 205: 503-512 [PMID: 9356636]

53 Wilson SR, Toi A. The value of sonography in the diagnosis of acute diverticulitis of the colon. AJR Am J Roentgenol 1990; 154: 1199-1202 [PMID: 2110728]

54 Zielke A, Hasse C, Nies C, Kisker O, Voss M, Sitter H, Rothmund M. Prospective evaluation of ultrasonography in acute colonic diverticulitis. Br J Surg 1997; 84: 385-388 [PMID: 9117317 DOI: 10.1002/bjs.1800840336]

55 Schwerk WB, Schwarz S, Rothmund M. Sonography in acute colonic diverticulitis. A prospective study. Dis Colon Rectum 1992; 35: 1077-1084 [PMID: 1425053 DOI: 10.1007/BF02252999]

56 Wada M, Kikuchi Y, Doy M. Uncomplicated acute diverticulitis of the cecum and ascending colon: sonographic findings in 18 patients. AJR Am J Roentgenol 1990; 155: 283-287 [PMID: 2115252]

57 Schwerk W, Braun B, Dombrowski H. Real-time ultrasound examination in the diagnosis of gastrointestinal tumors. J Clin Ultrasound 1979; 7: 425-431 [PMID: 118182]

58 Bluth EI, Merritt CR, Sullivan MA. Ultrasonic evaluation of the stomach, small bowel, and colon. Radiology 1979; 133: 677-680 [PMID: 504647]

59 Price J, Metreweli C. Ultrasonographic diagnosis of clinically non-palpable primary colonic neoplasms. Br J Radiol 1988; 61: 190-195 [PMID: 3280073]

60 Lim JH. Colorectal cancer: sonographic findings. AJR Am J Roentgenol 1996; 167: 45-47 [PMID: 8659418]

61 Shirahama M, Koga T, Ishibashi H, Uchida S, Ohta Y. Sonographic features of colon carcinoma seen with high-frequency transabdominal ultrasound. J Clin Ultrasound 1994; 22: 359-365 [PMID: 8071453 DOI: 10.1002/jcu.1870220602]

62 Lim JH, Ko YT, Lee DH, Lee HW, Lim JW. Determining the site and causes of colonic obstruction with sonography. AJR Am J Roentgenol 1994; 163: 1113-1117 [PMID: 7976885]

63 Weissberg DL, Scheible W, Leopold GR. Ultrasonographic appearance of adult intussusception. Radiology 1977; 124: 791-792 [PMID: 887775]

64 Holt S, Samuel E. Multiple concentric ring sign in the ultrasonographic diagnosis of intussusception. Gastrointest Radiol 1978; 3: 307-309 [PMID: 212339]

65 del-Pozo G, Albillos JC, Tejedor D. Intussusception: US findings with pathologic correlation--the crescent-in-doughnut sign. Radiology 1996; 199: 688-692 [PMID: 8637988]

66 Rapaccini GL, Grattagliano A. Echographic diagnosis of bowel intussusception. Am J Gastroenterol 1993; 88: 2143-2144 [PMID: 8250002]

67 Nylund K, Ødegaard S, Hausken T, Folvik G, Lied GA, Viola I, Hauser H, Gilja OH. Sonography of the small intestine. World J Gastroenterol 2009; 15: 1319-1330 [PMID: 19294761 DOI: 10.3748/wjg.15.1319]

68 Cosgrove D, Harvey C. Clinical uses of microbubbles in diagnosis and treatment. Med Biol Eng Comput 2009; 47: 813-826 [PMID: 19205774 DOI: 10.1007/s11517-009-0434-3]

69 Greis C. Technology overview: SonoVue (Bracco, Milan). Eur Radiol 2004; 14 Suppl 8: P11-P15 [PMID: 15700328 DOI: 10.1007/s10406-004-0076-3]

70 Phillips P, Gardner E. Contrast-agent detection and quantification. Eur Radiol 2004; 14 Suppl 8: P4-10 [PMID: 15700327 DOI: 10.1007/s10406-004-0075-4]

71 Claudon M, Cosgrove D, Albrecht T, Bolondi L, Bosio M, Calliada F, Correas JM, Darge K, Dietrich C, D'Onofrio M, Evans DH, Filice C, Greiner L, Jäger K, Jong Nd, Leen E, Lencioni R, Lindsell D, Martegani A, Meairs S, Nolsøe C, Piscaglia F, Ricci P, Seidel G, Skjoldbye B, Solbiati L, Thorelius L, Tranquart F, Weskott HP, Whittingham T. Guidelines and good clinical practice recommendations for contrast enhanced ultrasound (CEUS) - update 2008. Ultraschall Med 2008; 29: 28-44 [PMID: 18270887 DOI: 10.1055/s-2007-963785]

72 Krix M. Quantification of enhancement in contrast ultrasound: a tool for monitoring of therapies in liver metastases. Eur Radiol 2005; 15 Suppl 5: E104-E108 [PMID: 18637237 DOI: 10.1007/s10406-005-0172-z]

73 MEIER P, ZIERLER KL. On the theory of the indicator-dilution method for measurement of blood flow and volume. J Appl Physiol 1954; 6: 731-744 [PMID: 13174454]

74 Claassen L, Seidel G, Algermissen C. Quantification of flow rates using harmonic grey-scale imaging and an ultrasound contrast agent: an in vitro and in vivo study. Ultrasound Med Biol 2001; 27: 83-88 [PMID: 11295274 DOI: 10.1016/S0301-5629(00)00324-0]

75 Blomley MJ, Albrecht T, Cosgrove DO, Bamber JC. Can relative contrast agent concentration be measured in vivo with color Doppler US? Radiology 1997; 204: 279-281 [PMID: 9205261]

76 Tang MX, Eckersley RJ. Nonlinear propagation of ultrasound through microbubble contrast agents and implications for imaging. IEEE Trans Ultrason Ferroelectr Freq Control 2006; 53: 2406-2415 [PMID: 17186923 DOI: 10.1109/TUFFC.2006.189]

77 Wei K, Jayaweera AR, Firoozan S, Linka A, Skyba DM, Kaul S. Quantification of myocardial blood flow with ultrasound-induced destruction of microbubbles administered as a constant venous infusion. Circulation 1998; 97: 473-483 [PMID: 9490243]

78 Lucidarme O, Kono Y, Corbeil J, Choi SH, Mattrey RF. Validation of ultrasound contrast destruction imaging for flow quantification. Ultrasound Med Biol 2003; 29: 1697-1704 [PMID: 14698337 DOI: 10.1016/S0301-5629(03)00987-6]

79 Krix M, Plathow C, Kiessling F, Herth F, Karcher A, Essig M, Schmitteckert H, Kauczor HU, Delorme S. Quantification of perfusion of liver tissue and metastases using a multivessel model for replenishment kinetics of ultrasound contrast agents. Ultrasound Med Biol 2004; 30: 1355-1363 [PMID: 15582235 DOI: 10.1016/j.ultrasmedbio.2004.08.011]

80 Arditi M, Frinking PJ, Zhou X, Rognin NG. A new formalism for the quantification of tissue perfusion by the destruction-replenishment method in contrast ultrasound imaging. IEEE Trans Ultrason Ferroelectr Freq Control 2006; 53: 1118-1129 [PMID: 16846144]

81 Leong-Poi H. Molecular imaging using contrast-enhanced ultrasound: evaluation of angiogenesis and cell therapy. Cardiovasc Res 2009; 84: 190-200 [PMID: 19628466 DOI: 10.1093/cvr/cvp248]

82 Turkbey B, Kobayashi H, Ogawa M, Bernardo M, Choyke PL. Imaging of tumor angiogenesis: functional or targeted? AJR Am J Roentgenol 2009; 193: 304-313 [PMID: 19620425 DOI: 10.2214/AJR.09.2869]

83 Cosgrove D, Lassau N. Imaging of perfusion using ultrasound. Eur J Nucl Med Mol Imaging 2010; 37 Suppl 1: S65-S85 [PMID: 20640418 DOI: 10.1007/s00259-010-1537-7]

84 Serra C, Menozzi G, Labate AM, Giangregorio F, Gionchetti P, Beltrami M, Robotti D, Fornari F, Cammarota T. Ultrasound assessment of vascularization of the thickened terminal ileum wall in Crohn's disease patients using a low-mechanical index real-time scanning technique with a second generation ultrasound contrast agent. Eur J Radiol 2007; 62: 114-121 [PMID: 17239555 DOI: 10.1016/j.ejrad.2006.11.027]

85 Kratzer W, von Tirpitz C, Mason R, Reinshagen M, Adler G, Möller P, Rieber A, Kächele V. Contrast-enhanced power Doppler sonography of the intestinal wall in the differentiation of hypervascularized and hypovascularized intestinal obstructions in patients with Crohn's disease. J Ultrasound Med 2002; 21: 149-57; quiz 158-9 [PMID: 11833871]

86 Esteban JM, Aleixandre A, Hurtado MJ, Maldonado L, Mora FJ, Nogués E. Contrast-enhanced power Doppler ultrasound in the diagnosis and follow-up of inflammatory abdominal masses in Crohn's disease. Eur J Gastroenterol Hepatol 2003; 15: 253-259 [PMID: 12610320 DOI: 10.1097/01.meg.0000050007.68425.b0]

87 Sallomi DF. The use of contrast-enhanced power Doppler ultrasound in the diagnosis and follow-up of inflammatory abdominal masses associated with Crohn's disease. Eur J Gastroenterol Hepatol 2003; 15: 249-251 [PMID: 12610319 DOI: 10.1097/01.meg.0000050018.68425.e1]

88 Schreyer AG, Finkenzeller T, Gössmann H, Daneschnejad M, Müller-Wille R, Schacherer D, Zuber-Jerger I, Strauch U, Feuerbach S, Jung EM. Microcirculation and perfusion with contrast enhanced ultrasound (CEUS) in Crohn's disease: first results with linear contrast harmonic imaging (CHI). Clin Hemorheol Microcirc 2008; 40: 143-155 [PMID: 19029639 DOI: 10.3233/CH-2008-1125]

89 Girlich C, Jung EM, Iesalnieks I, Schreyer AG, Zorger N, Strauch U, Schacherer D. Quantitative assessment of bowel wall vascularisation in Crohn's disease with contrast-enhanced ultrasound and perfusion analysis. Clin Hemorheol Microcirc 2009; 43: 141-148 [PMID: 19713608 DOI: 10.3233/CH-2009-1228]

90 Migaleddu V, Scanu AM, Quaia E, Rocca PC, Dore MP, Scanu D, Azzali L, Virgilio G. Contrast-enhanced ultrasonographic evaluation of inflammatory activity in Crohn's disease. Gastroenterology 2009; 137: 43-52 [PMID: 19422826 DOI: 10.1053/j.gastro.2009.03.062]

91 De Franco A, Di Veronica A, Armuzzi A, Roberto I, Marzo M, De Pascalis B, De Vitis I, Papa A, Bock E, Danza FM, Bonomo L, Guidi L. Ileal Crohn disease: mural microvascularity quantified with contrast-enhanced US correlates with disease activity. Radiology 2012; 262: 680-688 [PMID: 22157203 DOI: 10.1148/radiol.11110440]

92 Quaia E, Migaleddu V, Baratella E, Pizzolato R, Rossi A, Grotto M, Cova MA. The diagnostic value of small bowel wall vascularity after sulfur hexafluoride-filled microbubble injection in patients with Crohn's disease. Correlation with the therapeutic effectiveness of specific anti-inflammatory treatment. Eur J Radiol 2009; 69: 438-444 [PMID: 19070446 DOI: 10.1016/j.ejrad.2008.10.029]

93 Kuzmich S, Howlett DC, Andi A, Shah D, Kuzmich T. Transabdominal sonography in assessment of the bowel in adults. AJR Am J Roentgenol 2009; 192: 197-212 [PMID: 19098201 DOI: 10.2214/AJR.07.3555]

94 Dietrich CF, Jedrzejczyk M, Ignee A. Sonographic assessment of splanchnic arteries and the bowel wall. Eur J Radiol 2007; 64: 202-212 [PMID: 17923366 DOI: 10.1016/j.ejrad.2007.06.034]

95 Gebel M. Ultrasound in Gastroenterology and Hepatology. Berlin, Germany: Blackwell, 1999: 159-230

96 DiCandio G, Mosca F, Campatelli A, Bianchini M, D'Elia F, Dellagiovampaola C. Sonographic detection of postsurgical recurrence of Crohn disease. AJR Am J Roentgenol 1986; 146: 523-526 [PMID: 3511636]

97 Sarrazin J, Wilson SR. Manifestations of Crohn disease at US. Radiographics 1996; 16: 499-520; discussion 520-1 [PMID: 8897619]

98 Jeffrey RB, Jain KA, Nghiem HV. Sonographic diagnosis of acute appendicitis: interpretive pitfalls. AJR Am J Roentgenol 1994; 162: 55-59 [PMID: 8273690]

99 Balthazar EJ, Birnbaum BA, Yee J, Megibow AJ, Roshkow J, Gray C. Acute appendicitis: CT and US correlation in 100 patients. Radiology 1994; 190: 31-35 [PMID: 8259423]

100 Jasinski RW, Glazer GM, Francis IR, Harkness RL. CT and ultrasound in abscess detection at specific anatomic sites: a study of 198 patients. Comput Radiol 1987; 11: 41-47 [PMID: 3555985 DOI: 10.1016/0730-4862(87)90028-X]

P-Reviewers Sciagra R, Hokama A S-Editor Song XX L-Editor E-Editor

(A)

(B)

(C)

Figure 1 Sonographic appearance of normal bowel. A: Mucus pattern: collapsed bowel containing only a highly reflective core of mucus with target appearance on a transverse section; B: Gas pattern: only the proximal side of the bowel wall is visible due to beam attenuation by gas. C: Fluid pattern: the bowel is filled with fluid and faeces with a tubular appearance on a longitudinal section.

(A)

(B)

Figure 2 Wall thickening. A: Inflammatory thickening: regular, with preserved wall stratification; B: Neoplastic thickening: irregular with “pseudokidney appearance”.

(A)

(B)

Figure 3 Stenosis in patients with Crohn’s disease. A: B-mode aspect:  narrow lumen with dilatation of the upstream segments; B: The presence of vascular signals on power Doppler indicates the inflammatory nature of stenosis.

(A)

(B)

Figure 4 Diverticular disease. A: Reflective outpouchings adjacent to the colonic wall; B: Acoustic shadowing outside the lumen indicating the presence of a coprolith.