Name of journal: World Journal of Radiology

ESPS Manuscript NO: 8437-edited

Coronary plaque imaging by coronary CT angiography

Sato A. Coronary plaque imaging by CT

Akira Sato

Akira Sato

Cardiovascular Division, Faculty of Medicine, University of Tsukuba, Japan

Author contributions: Akira Sato analyzed the data and wrote the paper.

Correspondence to: Akira Sato, MD, Cardiovascular Division, Faculty of Medicine, University of Tsukuba, 1-1-1 Tennodai, Tsukuba, Ibaraki, Japan

Tel: +81-29-853-3143; Fax: +81-29-853-3143

E-mail: asato@md.tsukuba.ac.jp

Received:  Revised:  Accepted:  Published online:

Abstract

Coronary computed tomography angiography (CTA) has become the useful noninvasive imaging modality alternative to the invasive coronary angiography for detecting coronary artery stenoses in patients with suspected coronary artery disease (CAD). With the development of technical aspects of coronary CTA, clinical practice and research are increasingly shifting toward defining the clinical implication of plaque morphology and patients outcomes by coronary CTA. In this review we discuss the coronary plaque morphology estimated by CTA beyond coronary angiography including the comparison to the currently available other imaging modalities used to examine morphological characteristics of the atherosclerotic plaque. Furthermore, this review underlies the value of a combined assessment of coronary anatomy and myocardial perfusion in patients with CAD, and adds to an increasing body of evidence suggesting an added diagnostic value when combining both modalities. We hope that an integrated, multi-modality imaging approach will become the gold standard for noninvasive evaluation of coronary plaque morphology and outcome data in clinical practice.

Key words: Coronary computed tomography angiography, coronary plaque, vulnerable plaque, clinical outcome

Core tip: With the development of technical aspects of coronary CTA, clinical practice and research are increasingly shifting toward defining the clinical implication of plaque morphology and patients outcomes by coronary CTA. In this review we discuss the coronary plaque morphology estimated by CTA beyond coronary angiography including the comparison to the currently available other imaging modalities used to examine morphological characteristics of the atherosclerotic plaque. We hope that an integrated, multi-modality imaging approach will become the gold standard for noninvasive evaluation of coronary plaque morphology and outcome data in clinical practice.

INTRODUCTION

For the past decade, invasive coronary angiography (ICA) has been used as the gold standard for the diagnosis of coronary narrowing and clinical decision making for coronary interventions. However, coronary angiography has several limitations, including the substantial interpretation variability of visual estimates and assessment of lesion severity for diffuse atherosclerotic lesions and intermediate-severity lesions [1-3]. The recent advent of multidetector computed tomography (MDCT) has greatly improved the image quality, and may therefore allow more precise evaluation of coronary stenosis [4-6]. Multicenter studies have confirmed the accuracy of 64-slice MDCT for directly visualizing and detecting coronary artery stenoses in patients with suspected coronary artery disease (CAD) [7-10]. Furthermore, the introduction of 256-slice, 320-detector scanner, and dual-source CT (DSCT) developed to significantly improve faster scan times, wider volume coverage, and high spatial resolution [11]. With the improvement of technical aspects of coronary computed tomography angiography (CTA), clinical practice and research are increasingly shifting toward defining the clinical implication of plaque morphology and patients outcomes by coronary CTA (Table 1). In this review, we discuss the coronary plaque morphology estimated by CTA beyond coronary angiography including the comparison to the currently available other imaging modalities used to examine morphological characteristics of the atherosclerotic plaque.

Coronary plaque imaging

With the development of MDCT, it is possible not only to detect coronary artery stenosis but also to evaluate coronary plaque quality and quantity such as can be done with intravascular ultrasound (IVUS) and optical coherence tomography (OCT) [12,13]. Leber et al. demonstrated that 64-slice CTA-derived measurements showed good correlations with IVUS for lumen and plaque area determinations using individually adapted window settings, although their ability to quantify the grade of a luminal obstruction was limited by the significant trends toward overestimation of the lumen area and underestimation of the plaque area [14]. Our group published that the lumen cross-sectional area (CSA) and percent area stenosis of 32 de novo coronary lesions measured by CTA were closely correlated to those obtained by IVUS (Figure 1); however the lumen CSA measured by CTA was systematically overestimated and percent area stenosis was slightly underestimated [15]. Voros et al. conducted a meta-analysis to assess the accuracy of coronary CTA against IVUS regarding coronary vessel and plaque sizes, as well as the accuracy of CT to detect any plaque compared with IVUS [16]. This meta-analysis confirmed that coronary CTA slightly overestimated luminal area, presumably because of partial volume effects that lead to overestimation of the size of very bright structures (such as the contrast-enhanced lumen), whereas plaque area volume, and area stenosis measurements are similar between CT and IVUS. For plaque characterization, it has been shown that CT-derived attenuation values are different in calcified and noncalcified plaques. They also demonstrated that low-density noncalcified plaques, the presumed lipid-rich plaques on CT, correlated best with the sum of necrotic core plus fibro-fatty tissue by IVUS/virtual histology [17]. Kashiwagi et al. revealed that plaque with vascular remodeling and low CT attenuation values had the MDCT morphological features of thin cap fibroatheroma (TCFA) observed by OCT, and a ring-like enhancement observed by MDCT was one important sign of TCFA [13]. Motoyama et al. showed that the CT characteristics of plaques associated with ACS include positive vascular remodeling, low plaque density, and spotty calcification. Presence of all 3 (i.e., positive remodeling, non-calcified plaque measuring <30 HU, and spotty calcification) showed a high positive predictive value, and absence of all 3 showed a high negative predictive value, for the culprit plaques associated with ACS [18]. Coronary CTA is able to successfully characterize ruptured plaques as low-attenuation plaque with positive remodeling. However, Ozaki et al. demonstrated that CTA fails to characterize lesions at risk of intact fibrous cap-ACS which are often referred to as plaque erosions and responsible for up to one-third of culprit lesions in ACS patients [19].

The introduction of DSCT marked another technological improvement of MDCT in cardiac imaging, as the temporal resolution was further increased from 165 ms to 83 ms, thus eliminating the need to control the heart rate during the scan by use of β-blockers. Studies comparing DSCT with single-source CT demonstrated that DSCT maintains high diagnostic accuracy in the diagnostic examination of a wide range of patient subsets, e.g., patients with higher and even irregular heart rates [20]. Westwood et al. showed the systematic review of the accuracy of dual-source cardiac CT for detection of arterial stenosis in some or all difficult to image patients. The pooled, per-patient estimates of sensitivity were 97.7% (95% confidence interval [CI]: 88.0%, 99.9%) and 97.7% (95% CI: 93.2%, 99.3%) for patients with arrhythmias and high heart rates, respectively. The corresponding pooled estimates of specificity were 81.7% (95% CI: 71.6%, 89.4%) and 86.3% (95% CI: 80.2%, 90.7%), respectively. In patients with high coronary calcium scores, previous bypass grafts, or obesity, only per-segment or per-artery data were available. Sensitivity estimates remained high (>90% in all but one study), and specificities ranged from 79.1% to 100% [21]. We showed the table summarizing various studies reporting analysis of coronary plaque by MDCT (Table 2).

Non-culprit coronary plaques imaging

Approximately 6% of PCI patients will have clinical plaque progression requiring non-target lesion PCI by 1 year, and greater coronary artery disease burden confers a significantly higher risk for clinical plaque progression [22]. The PROSPECT study showed that on multivariate analysis, nonculprit lesions associated with recurrent events were more likely than those not associated with recurrent events to be characterized by a plaque burden of 70% or greater (hazard ratio, 5.03; 95% confidence interval [CI], 2.51 to 10.11; P<0.001) or a minimal luminal area of 4.0 mm2 or less (hazard ratio, 3.21; 95% CI, 1.61 to 6.42; P=0.001) or to be classified on the basis of radiofrequency intravascular ultrasonography as thin-cap fibroatheromas (hazard ratio, 3.35; 95% CI, 1.77 to 6.36; P<0.001) [23]. Our group showed that the number of coronary plaques in non-culprit lesions on CTA images was more significantly observed in acute myocardial infarction (AMI) patients than in stable angina pectoris (AP) patients with normal myocardial perfusion imaging (MPI) [24]. Specifically, non-calcified, mixed, and vulnerable plaques were more significantly observed in AMI patients than in SAP patients (Figure 2). Leber et al. found that non-calcified plaques contribute to a higher degree to the total plaque burden in AMI than in SAP [25]. In addition, 64-slice CTA enabled the visualization of lipid cores and spotty calcifications that are frequently associated with plaque ruptures [14]. We suggested that all three major coronary arteries in patients with AMI were extensively diseased and have multiple vulnerable plaques that could potentially cause another occurrence of ACS, although the natural course of vulnerable plaque development and disruption has not yet been clearly established [24]. Recent studies have demonstrated that metabolic syndrome was associated with an increasing risk of cardiovascular disease [26]. Furthermore, IVUS study has shown that metabolic syndrome is associated with lipid-rich plaques that contribute to the increasing risk of plaque vulnerability [27]. Within the AMI group, the number of positive remodeling (PR) and low attenuation plaque (LAP) was significantly higher in patients with metabolic syndrome than in those without the syndrome. This finding might explain the mechanism of metabolic syndrome contributing to the increased risk of cardiovascular events [24]. We showed the table comparing various imaging for analysis of coronary vulnerable plaque (Table 3)

Coronary plaque characteristics on MDCT and slow-flow phenomenon / cardiac troponin T elevation

Cardiac biomarker troponin T (cTnT) is sensitive and specific for detection of myocardial damage. Porto et al. found that the cause of periprocedural myocardial necrosis after percutaneous coronary intervention (PCI) was the impairment of flow in coronary side branches and distal embolization of atheromatous or thrombotic materials [28]. Therefore, pre-PCI plaque composition may have an impact on myocardial injury/infarction during PCI. However, there are few published data regarding the relation between pre-PCI plaque composition by MDCT and post-PCI cardiac biomarker levels (Table 4). Nakagawa et al. reported that patients who experienced transient no-reflow during PCI had lower plaque CT density values in culprit lesions [29]. Uetani et al. demonstrated that post-procedural myocardial injury was associated with the volume and fraction of low-attenuation plaques by MDCT [30]. Our group showed that CT attenuation value of <55 Hounsfield units (HU) was associated with post-PCI cTnT elevation [31]. While in earlier studies, a mean CT density of 14-47 HU was found in lipid-rich plaque [32, 33], Pohle et al. showed a mean density of 58 HU (median 53) [34] and Leber et al. reported that a low CT density value (49 ± 22 HU) is considered to correspond to soft plaque identified on IVUS [14]. This difference most likely results from the natural course of atherosclerotic plaque or slice thickness and contrast medium concentration that affect plaque density measurements. It will be possible to use our cutoff point of CT attenuation value <55 HU for prediction of post-PCI cTnT elevation clinically. Positive remodeling and spotty calcification were also significant predictors of post-PCI cTnT elevation. Furthermore, presence of all 3 CT characteristics (CT attenuation value <55 HU, remodeling index >1.05, and spotty calcification) showed a high positive predictive value (PPV) of 94%, and their absence showed a high negative predictive value (NPV) of 90% (Figure 3). Kodama et al. demonstrated that CTA-verified circumferential plaque calcification (CPC) with low-attenuation plaque and positive remodeling were determinants of slow-flow phenomenon (SF) during PCI [35]. The conditional logistic regression analysis revealed that CPC, plaque density, and dyslipidemia were the predictors of SF, with CPC being the strongest (odds ratio: 79; 95% confidence interval: 8 to 783, p<0.0001). A previous study exploring potential prognostic predictors of cardiovascular events on MDCT showed that mixed lesions were associated with adverse events on follow-up [36]. Thin-cap fibroatheromas on virtual histology IVUS were most prevalent in mixed plaques, suggesting a higher degree of vulnerability of these mixed plaques on MDCT [37]. These data suggest that it would be worthwhile to consider the identification of these vulnerable plaques by MDCT before PCI. If the plaque has the characteristics of low plaque density, positive remodeling, and spotty calcification, a plan for prevention of post-PCI cTnT elevation can be made before the PCI procedure.

Coronary CTA and nuclear MPI

Stress nuclear myocardial perfusion imaging (MPI) using single-photon emission tomography (SPECT) is an established method for assessment of the functional significance of coronary stenosis and delivers valuable information for risk stratification [38]. Disagreement between CTA ≥50% stenosis and reversible MPI defects is common [39]. CTA and MPI are measuring two different things, vessel patency and perfusion, respectively. Only 50% of obstructed vessels with ≥50% luminal narrowing by CTA show abnormal MPI [40]. We previously indicated that 64-slice CTA alone was not always sufficient to assess the functional significance of anatomic stenoses, especially stenoses of intermediate grade (Figure 4). When stenosis severity by CTA was <60%, ischemia was seldom observed, and when stenosis severity was ≥80%, ischemia was common. For intermediate stenosis severity values of 60-80%, the prevalence of reversible defects was difficult to determine, given CTA’s current spatial resolution [15]. We also demonstrated that combined CTA and stress nuclear MPI provide improved diagnostic accuracy for the noninvasive detection of CAD in comparison with that of 64-slice CTA alone. One hundred thirty symptomatic patients with suspected CAD underwent both 64-slice CTA and stress thallium-201 MPI before invasive coronary angiography (ICA). Of 390 arteries in 130 patients, 54 (14%) were nonevaluable by CTA due to severe calcifications, motion artifacts, and poor opacification. All nonevaluable arteries were considered positive. The sensitivity, specificity, PPV and NPV were 95%, 80%, 69%, and 97%, respectively, for CTA alone and 94%, 92%, 85%, 97%, respectively, for CTA with stress nuclear MPI for all nonevaluable arteries on CTA. Per-patient analysis showed a significant increase in specificity and PPV [41]. The results of hybrid SPECT/CTA imaging have provided a marked increase in specificity and PPV to detect hemodynamically significant coronary lesions compared to those of 16-slice CTA alone [42]. Cardiac 3D SPECT/CT fusion imaging has been shown to provide additional information about hemodynamic relevance and facilitates lesion interpretation by allowing exact allocation of perfusion defects to the subtending coronary artery [43]. Pazhenkottil et al. demonstrated that the impact of hybrid SPECT/CT imaging in 318 consecutive patients [44]. Referral to revascularization was higher in patients with matched abnormalities (41%), compared with those with unmatched abnormalities (11%) or those with normal studies (0%).

Available clinical experience points toward tailoring the initial diagnostic approach according to the pretest probability of the patient [45]. In low-to-intermediate likelihood patients, CTA may well be the best initial test due to its high NPV; however, in intermediate-to-high probability patients, CTA’s low PPV may result in unnecessary radiation exposure, and stress nuclear MPI might be a better first-line test. In fact, the high diagnostic accuracy of stress nuclear MPI may argue in favor of stress nuclear MPI as the initial test. From the present study, we cannot definitely conclude which is the better first-line test, and we acknowledge that further head-to-head comparisons between the two modalities are required.

Recently, the addition of physiologic measures of coronary flow by fractional flow reserve (FFR) to anatomic-based assessment of stenosis severity by ICA to guide decisions of coronary revascularization improves event-free survival in a manner that is long-lived and cost-effective [46,47]. Ko et al. demonstrated that FFR compared with combinations of coronary CTA and CT myocardial perfusion imaging findings in 86 myocardial perfusion territories. The FFR is lowest in patients who have both stenosis ≥50% on coronary CTA and myocardial perfusion abnormalities and highest in patients with no significant stenosis and no myocardial perfusion defects. Among patients with discrepant results, FFR correlates better with myocardial perfusion abnormalities then with angiographic stenosis [48].

Min et al. demonstrated that use of noninvasive FFRCT plus CT among stable patients with suspected or known CAD was associated with improved diagnostic accuracy and discrimination vs CT alone for the diagnosis of hemodynamically significant CAD when FFR determined at the time of ICA was the reference standard [49] (Figure 5). On a per-patient basis, diagnostic accuracy, sensitivity, specificity, PPV, and NPV of FFRCT plus CT were 73% (95% CI, 67%-78%), 90% (95% CI, 84%-95%), 54% (95% CI, 46%-83%), 67% (95% CI, 60%-74%), and 84% (95% CI, 74%-90%), respectively. Compared with obstructive CAD diagnosed by CT alone (area under the receiver operating characteristic curve [AUC], 0.68; 95% CI, 0.62-0.74), FFRCT was associated with improved discrimination (AUC, 0.81; 95% CI, 0.75-0.86; P<0.001).

The CORE320 study compared the combination of CT perfusion (CTP) and coronary artery assessment with SPECT imaging and conventional coronary angiography [50]. Sixteen centers enrolled 381 patients who underwent combined CTA-CTP and SPECT/MPI prior to conventional coronary angiography. The patient-based diagnostic accuracy defined by the area under the receiver operating characteristic curve (AUC) of integrated CTA-CTP for detecting or excluding flow-limiting CAD was 0.87 [95% confidence interval (CI): 0.84-0.91]. In patients without prior myocardial infarction, the AUC was 0.90 (95% CI: 0.87-0.94) and in patients without prior CAD the AUC for combined CTA-CTP was 0.93 (95% CI: 0.89-0.97). For the combination of a CTA stenosis ≥50% stenosis and a CTP perfusion deficit, the sensitivity, specificity, positive predictive, and negative predicative values (95% CI) were 80% (72-86), 74% (68-80), 65% (58-72), and 86% (80-90), respectively. For flow-limiting disease defined by ICA-SPECT/MPI, the accuracy of CTA was significantly increased by the addition of CTP at both the patient and vessel levels (Figure 6).

Recent advances in the development of noninvasive imaging techniques have enabled quantification of vessel wall inflammation with 18 F-fluorodeoxyglucose positron emission　tomography/computed tomography (18 F-FDG PET/CT). The post hoc analysis in the dal-PLAQUE study demonstrated the possible role of FDG-PET especially in relationship of serum inflammatory biomarkers with plaque inflammation assessed by FDG PET/CT. They showed a positive correlation between baseline serum myeloperoxidase (MPO) and baseline carotid arterial wall (target) to background (blood) of the most diseased segment (TBRmds). This relation remained present at 3-month follow-up and was independent of traditional risk factors. This study is the first to investigate the relationship between MPO and vessel wall 18 F-FDG uptake [51]. Longitudinal studies will be needed to investigate whether vessel wall inflammation measured by 18 F-FDG PET/CT is predictive for future cardiovascular events.

Prognostic value of CTA in symptomatic and asymptomatic individuals

Currently, the main clinical advantage of CTA appears to be related to its high NPV. The ability to rule out significant CAD in symptomatic patients with a low pre-test likelihood of disease makes CT a useful tool to diagnose many patients with acute chest pain who are often at a low risk of actually ACS. Recently, several randomized large trials have evaluated clinical value of coronary CTA for chest pain triage in the emergency department. Litt et al. [52] demonstrated that among the 908 of 1,370 patients with acute chest pain to undergo coronary CT angiography, 640 could be immediately discharged after negative findings on a CT scan, and none died or had a myocardial infarction within 30 days . As compared with patients receiving traditional care, patients in the CCTA group had a higher rate of discharge from the emergency department (49.6% vs. 22.7%), a shorter length of stay (median, 18.0 hours vs. 24.8 hours; P<0.001), and a higher rate of detection of coronary disease (9.0% vs. 3.5%). Hoffmann et al. [53] demonstrated that among the randomized 1,000 low-risk acute chest pain patients in a multicenter trial, 501 patients underwent coronary CTA as a first triage test. After early coronary CTA, as compared with standard evaluation, the mean length of stay in the hospital was reduced by 7.6 hours (P<0.001) and more patients were discharged directly from the emergency department (47% vs. 12%, P<0.001). No patient with negative findings on CT experienced AMI, and only 23 MI occurred in the entire patient cohort (plus 52 cases of unstable angina).

The use of coronary CTA has been advocated as a potentially valuable atherosclerotic imaging tool for risk stratification [54, 55]. Several studies have explored the prognostic value of coronary CTA, primarily limited to symptomatic populations [56, 57]. Recent article by Hadamitsky et al. [58] add a new data on CCTA that predict both death and myocardial infarction as well as need for subsequent revascularizations out to 5 years. CCTA imaging may be a valuable tool in the assessment of long-term prognosis in patients with suspected CAD. Atherosclerosis imaging such as coronary artery calcium scoring (CACS) or carotid intimal-medial thickness for individuals without chest pain syndrome has been advocated recently for use by professional consensus guidelines [59]. Furthermore, CACS has been demonstrated to improve risk re-stratification above and beyond global risk scores that combine traditional coronary artery disease (CAD) risk factors [60, 61]. However, in a large international multicenter study of individuals without chest pain syndrome, the additional risk-predictive advantage by coronary CTA is not clinically meaningful compared with a risk model based on CACS. At present, the application of coronary CTA for risk assessment of individuals without chest pain syndrome should not be justified [62].

CONCLUSION

With further improvements in CT technology, coronary CTA become accurate detection of coronary plaques in clinical practice. Assessment of both coronary stenosis and perfusion has great potential application to further advance the evaluation of patients with CAD. In low-to-intermediate likelihood patients, CTA may well be the best initial test due to its high NPV; however, in intermediate-to-high probability patients, CTA’s low PPV may result in unnecessary radiation exposure, and stress nuclear MPI might be a better first-line test. The choice of the optimal first line-test remains a question that is not answered in this review. This review underlies the value of a combined assessment of coronary anatomy and myocardial perfusion in patients with CAD, and adds to an increasing body of evidence suggesting an added diagnostic value when combining both modalities. We hope that an integrated, multi-modality imaging approach will become the gold standard for noninvasive evaluation of coronary plaque morphology and outcome data in clinical practice.

Source of Funding

None.

Disclosures

No author has a real or perceived conflict of interest.

REFERENCES

1.	White C, Wright C, Doty DB, Hiratza LF, Eastham CL, Harrison DG, Marcus ML. Does visual interpretation of the coronary arteriogram predict the physiologic importance of a coronary stenosis ? N Engl J Med 1984;310:819-824.

2.	Marcus ML, Harrison DG, White CW, McPherson DD, Wilson RF, Kerber RE. Assessing the physiologic significance of coronary obstructions in patients: importance of diffuse undetected atherosclerosis. Prog Cardiovasc Dis 1988;31:39-56.

3.	Vogel RA. Assessing stenosis significance by coronary arteriography. Are the best variables good enough? J Am Coll Cardiol 1988;12:692-693.

4.	Ropers D, Baum U, Pohle K, Anders K, Ulzheimer S, Ohnesorge B, Schlundt C, Bautz W, Daniel WG, Achenbach S. Detection of coronary artery stenoses with thin-slice multi-detector row spiral computed tomography and multiplanar reconstruction. Circulation 2003;107:664-666.

5.	Achenbach S, Ropers D, Hoffmann U, MacNeill B, Baum U, Pohle K, Brady TJ, Pomerantsev E, Ludwig J, Flachskampf FA, Wicky S, Jang IK, Daniel WG. Assessment of coronary remodeling in stenotic and nonstenotic coronary atherosclerotic lesions by multidetector spiral computed tomography. J Am Coll Cardiol 2004;43:842-847.

6.	Raff GL, Gallagher MJ, O’Neill WW, Goldstein JA. Diagnostic accuracy of noninvasive coronary angiography using 64-slice spiral computed tomography. J Am Coll Cardiol 2005;46:552-557.

7.	Hamon M, Biondi-Zoccai GG, Malagutti P, Agostoni P, Morello R, Valgimigli M, Hamon M. Diagnostic performance of multislice spiral computed tomography of coronary arteries as compared with conventional invasive coronary angiography: a meta-analysis. J Am Coll Cardiol. 2006;48:1896-910.

8.	Vanhoenacker PK, Heijenbrok-Kal MH, Van Heste R, Decramer I, Van Hoe LR, Wijns W, Hunink MG. Diagnostic performance of multidetector CT angiography for assessment of coronary artery disease: meta-analysis. Radiology. 2007;244:419-28.

9.	Budoff MJ, Dowe D, Jollis JG, Gitter M, Sutherland J, Halamert E, Scherer M, Bellinger R, Martin A, Benton R, Delago A, Min JK. Diagnostic performance of 64-multidetector row coronary computed tomographic angiography for evaluation of coronary artery stenosis in individuals without known coronary artery disease: results from the prospective multicenter ACCURACY (Assessment by Coronary Computed Tomographic Angiography of Individuals Undergoing Invasive Coronary Angiography) trial. J Am Coll Cardiol. 2008;52:1724-32.

10.	Miller JM, Rochitte CE, Dewey M, Arbab-Zadeh A, Niinuma H, Gottlieb I, Paul N, Clouse ME, Shapiro EP, Hoe J, Lardo AC, Bush DE, de Roos A, Cox C, Brinker J, Lima JA. Diagnostic performance of coronary angiography by 64-row CT. N Engl J Med. 2008;359:2324-36.

11.	Schuleri KH, George RT, Lardo AC. Applications of cardiac multidetector CT beyond coronary angiography. Nat Rev Cardiol. 2009;6:699-710.

12.	Leber AW, Knez A, von Ziegler F, Becker A, Nikolaou K, Paul S, Wintersperger B, Reiser M, Becker CR, Steinbeck G, Boekstegers P. Quantification of obstructive and nonobstructive coronary lesions by 64-slice computed tomography: a comparative study with quantitative coronary angiography and intravascular ultrasound. J Am Coll Cardiol 2005;46:147-154.

13.	Kashiwagi M, Tanaka A, Kitabata H, Tsujioka H, Kataiwa H, Komukai K, Tanimoto T, Takemoto K, Takarada S, Kubo T, Hirata K, Nakamura N, Mizukoshi M, Imanishi T, Akasaka T. Feasibility of noninvasive assessment of thin-cap fibroatheroma by multidetector computed tomography. JACC Cardiovasc Imaging 2009;2:1412-9.

14.	Leber AW, Knez A, Becker A, Becker C, von Ziegler F, Nikolaou K, Rist C, Reiser M, White C, Steinbeck G, Boekstegers P. Accuracy of multidetector spiral computed tomography in identifying and differentiation the composition of coronary atherosclerotic plaques: a comparative study with intracoronary ultrasound. J Am Coll Cardiol 2004;43:1241–7.

15.	Sato A, Hiroe M, Tamura M, Ohigashi H, Nozato T, Hikita H, Takahashi A, Aonuma K, Isobe M. Quantitative measures of coronary stenosis severity by 64-Slice CT angiography and relation to physiologic significance of perfusion in non-obese patients: comparison with stress myocardial perfusion imaging. J Nucl Med 2008;49:564–72.

16. 	Voros S, Rinehart S, Qian Z, Joshi P, Vazquez G, Fischer C, Belur P, Hulten E, Villines TC. Coronary atherosclerosis imaging by coronary CT angiography: current status, correlation with intravascular interrogation and meta-analysis. JACC Cardiovasc Imaging. 2011;4:537-48.

17.	Voros S, Rinehart S, Qian Z, Vazquez G, Anderson H, Murrieta L, Wilmer C, Carlson H, Taylor K, Ballard W, Karmpaliotis D, Kalynych A, Brown C 3rd. Prospective validation of standardized, 3-dimensional, quantitative coronary computed tomographic plaque measurements using radiofrequency backscatter intravascular ultrasound as reference standard in intermediate coronary arterial lesions: results from the ATLANTA (assessment of tissue characteristics, lesion morphology, and hemodynamics by angiography with fractional flow reserve, intravascular ultrasound and virtual histology, and noninvasive computed tomography in atherosclerotic plaques) I study. JACC Cardiovasc Interv. 2011;4:198-208.

18. 	Motoyama S, Kondo T, Sarai M, Sugiura A, Harigaya H, Sato T, Inoue K, Okumura M, Ishii J, Anno H, Virmani R, Ozaki Y, Hishida H, Narula J. Multislice computed tomographic characteristics of coronary lesions in acute coronary syndromes. J Am Coll Cardiol 2007;50:319-326.

19. 	Ozaki Y, Okumura M, Ismail TF, Motoyama S, Naruse H, Hattori K, Kawai H, Sarai M, Takagi Y, Ishii J, Anno H, Virmani R, Serruys PW, Narula J. Coronary CT angiographic characteristics of culprit lesions in acute coronary syndromes not related to plaque rupture as defined by optical coherence tomography and angioscopy. Eur Heart J. 2011;32:2814-23.

20. 	Sun Z, Ng KH. Coronary computed tomography angiography in coronary artery disease. World J Cardiol. 2011;3:303-10.

21. 	Westwood ME, Raatz HD, Misso K, Burgers L, Redekop K, Lhachimi SK, Armstrong N, Kleijnen J. Systematic review of the accuracy of dual-source cardiac CT for detection of arterial stenosis in difficult to image patient groups. Radiology. 2013;267:387-95.

22.	Glaser R, Selzer F, Faxon DP, Laskey WK, Cohen HA, Slater J, Detre KM, Wilensky RL. Clinical progression of incidental, asymptomatic lesions discovered during culprit vessel coronary intervention. Circulation 2005;111:143-149.

23. 	Stone GW, Maehara A, Lansky AJ, de Bruyne B, Cristea E, Mintz GS, Mehran R, McPherson J, Farhat N, Marso SP, Parise H, Templin B, White R, Zhang Z, Serruys PW; PROSPECT Investigators. A prospective natural-history study of coronary atherosclerosis. N Engl J Med. 2011;364:226-35.

24. 	Sato A, Ohigashi H, Nozato T, Hikita H, Tamura M, Miyazaki S, Takahashi Y, Kuwahara T. Takahashi A, Hiroe M, Aonuma K. Coronary Artery Spatial Distribution, Morphology, and Composition of Non-culprit Coronary Plaques by 64-slice Computed Tomography Angiography in Patients With Acute Myocardial Infarction. Am J Cardiol 2010;105:930-935.

25. 	Leber AW, Knez A, White CW, Becker A, von Ziegler F, Muehling O, Becker C, Reiser M, Steinbeck G, Boekstegers P. Composition of coronary atherosclerotic plaques in patients with acute myocardial infarction and stable angina pectoris determined by contrast-enhanced multislice computed tomography. Am J Cardiol 2003;91:714-718.

26. 	Malik S, Wong ND, Franklin SS, Kamath TV, L’Italien GJ, Pio JR, Williams GR. Impact of the metabolic syndrome on mortality from coronary heart disease, cardiovascular disease, and all causes in United States adults. Circulation 2004;110:1245-1250.

27. 	Amano T, Matsubara T, Uetani T, Nanki M, Marui N, Kato M, Arai K, Yokoi K, Ando H, Ishii H, Izawa H, Murohara T. Impact of metabolic syndrome on tissue characteristics of angiographically mild to moderate coronary lesion integrated backscatter intravascular ultrasound study. J Am Coll Cardiol 2007;49:1149-1156.

28.	Porto I, Selvanayagam JB, Van Gaal WJ, Prati F, Cheng A, Channon K, Neubauer S, Banning AP. Plaque volume and occurrence and location of periprocedural myocardial necrosis after percutaneous coronary intervention: insights from delayed-enhancement magnetic resonance imaging, thrombolysis in myocardial infarction myocardial perfusion grade analysis, and intravascular ultrasound. Circulation 2006;114:662–9.

29.	Nakazawa G, Tanabe K, Onuma Y, Yachi S, Aoki J, Yamamoto H, Higashikuni Y, Yagishita A, Nakajima H, Hara K. Efficacy of culprit plaque assessment by 64-slice multidetector computed tomography to predict transient no-reflow phenomenon during percutaneous coronary intervention. Am Heart J 2008;155:1150–7.

30.	Uetani T, Amano T, Kunimura A, Kumagai S, Ando H, Yokoi K, Yoshida T, Kato B, Kato M, Marui N, Nanki M, Matsubara T, Ishii H, Izawa H, Murohara T. The association between plaque characterization by CT angiography and post-procedural myocardial infarction in patients with elective stent implantation. JACC Cardiovasc Imaging 2010;3:19–28.

31.	Watabe H, Sato A, Akiyama D, Kakefuda Y, Adachi T, Ojima E, Hoshi T, Murakoshi N, Ishizu T, Seo Y, Aonuma K. Impact of Coronary Plaque Composition on Cardiac Troponin Elevation After Percutaneous Coronary Intervention in Stable Angina Pectoris: A Computed Tomography Analysis Blood urea nitrogen and creatinine levels at admission for mortality risk assessment in patients with acute coronary syndromes. J Am Coll Cardiol 2012;52:1881–1889.

32.	Schroeder S, Kopp AF, Baumbach A, Meisner C, Kuettner A, Georg C, Ohnesorge B, Herdeg C, Claussen CD, Karsch KR. Noninvasive detection and evaluation of atherosclerotic coronary plaques with multislice computed tomography. J Am Coll Cardiol. 2001;37:1430-5.

33.	Becker CR, Nikolaou K, Muders M, et al. Ex vivo coronary atherosclerotic plaque characterization with multi-detector-row CT. Eur Radiol. 2003;13:2094-8.

34. 	Pohle K, Achenbach S, Macneill B, Ropers D, Ferencik M, Moselewski F, Hoffmann U, Brady TJ, Jang IK, Daniel WG.. Characterization of non-calcified coronary atherosclerotic plaque by multi-detector row CT: comparison to IVUS. Atherosclerosis. 2007;190:174-80.

35. 	Kodama T, Kondo T, Oida A, Fujimoto S, Narula J. Computed tomographic angiography-verified plaque characteristics and slow-flow phenomenon during percutaneous coronary intervention. JACC Cardiovasc Interv. 2012;5:636-43.

36. 	Pundziute G, Schuijf JD, Jukema JW, Boersma E, de Roos A, van der Wall EE, Bax JJ. Prognostic value of multislice computed tomography coronary angiography in patients with known or suspected coronary artery disease. J Am Coll Cardiol 2007;49:62–70.

37. 	Pundziute G, Schuijf JD, Jukema JW, Decramer I, Sarno G, Vanhoenacker PK, Reiber JH, Schalij MJ, Wijns W, Bax JJ. Head-to-head comparison of coronary plaque evaluation between multislice computed tomography and intravascular ultrasound radiofrequency data analysis. JACC Cardiovasc Interv 2008;1:176–82.

38. 	Hachamovitch R, Berman DS, Shaw LJ, Kiat H, Cohen I, Cabico JA, Friedman J, Diamond GA. Incremental prognostic value of myocardial perfusion SPECT for the prediction of cardiac death: differential stratification for risk of cardiac death and MI. Circulation 1998;97:535-43.

39. 	Hacker M, Jakobs T, Matthiesen F, Vollmar C, Nikolaou K, Becker C, Knez A, Pfluger T, Reiser M, Hahn K, Tiling R. Comparison of spiral multidetector CT angiography and myocardial perfusion imaging in the noninvasive detection of functionally relevant coronary artery lesions: first clinical experiences. J Nucl Med 2005;46:1294-300.

40. 	Schuijf JD, Wijns W, Jukema JW, Atsma DE, de Roos A, Lamb HJ, Stokkel MP, Dibbets-Schneider P, Decramer I, De Bondt P, van der Wall EE, Vanhoenacker PK, Bax JJ. Relationship between noninvasive coronary angiography with multi-slice computed tomography and myocardial perfusion imaging. J Am Coll Cardiol 2006;48:2508-14.

41. 	Sato A, Nozato T, Hikita H, Miyazaki S, Takahashi Y, Kuwahara T, Takahashi A, Hiroe M, Aonuma K. Incremental value of combining 64-slice computed tomography angiography with stress nuclear myocardial perfusion imaging to improve noninvasive detection of coronary artery disease. J Nucl Cardiol. 2010;17:19-26.

42. 	Rispler S, Keidar Z, Ghersin E, Roguin A, Soil A, Dragu R, Litmanovich D, Frenkel A, Aronson D, Engel A, Beyar R, Israel O. Integrated single-photon emission computed tomography and computed tomography coronary anigography for the assessment of hemodynamically significant coronary artery lesions. J Am Coll Cardiol 2007;49:1059-67.

43. 	Gaemperli O, Schepis T, Valenta I, Husmann L, Scheffel H, Duerst V, Eberli FR, Luscher TF, Alkadhi H, Kaufmann PA. Cardiac image fusion from stand-alone SPECT and CT: clinical experience. J Nucl Med 2007;48:696-703.

44. 	Pazhenkotti AP, Nkoulou RN, Ghadri JR, Herzog BA, Küest SM, Husmann L, Wolfrum M, Goetti R, Buechel RR, Gaemperli O, Lüscher TF, Kaufmann PA. Impact of cardiac hybrid single-photon emission computed tomography/computed tomography imaging on choice of treatment strategy in coronary artery disease. Eur Heart J 2011;32:2824-9.

45. 	Meijboom WB, van Mieghem CA, Mollet NR, Pugliese F, Weustink AC, van Pelt N, Cademartiri F, Nieman K, Boersma E, de Jaegere P, Krestin GP, de Feyter PJ. 64-slice computed tomography coronary angiography in patients with high, intermediate, or low pretest probability of significant coronary artery disease. J Am Coll Cardiol 2007;50:1469-75.

46. 	Tonino PA, De Bruyne B, Pijls NH, Siebert U, Ikeno F, van' t Veer M, Klauss V, Manoharan G, Engstrøm T, Oldroyd KG, Ver Lee PN, MacCarthy PA, Fearon WF; FAME Study Investigators. Fractional flow reserve vs angiography for guiding percutaneous coronary intervention. N Engl J Med. 2009;360:213-224.

47. 	Fearon WF, Bornschein B, Tonino PA, Gothe RM, Bruyne BD, Pijls NH, Siebert U; Fractional Flow Reserve Versus Angiography for Multivessel Evaluation (FAME) Study Investigators. Economic evaluation of fractional flow reserve-guided percutaneous coronary intervention in patients with multivessel disease. Circulation. 2010;122:2545-2550.

48. 	Ko BS, Cameron JD, Meredith IT, Leung M, Antonis PR, Nasis A, Crossett M, Hope SA, Lehman SJ, Troupis J, DeFrance T, Seneviratne SK. Computed tomography stress myocardial perfusion imaging in patients considered for revascularization: a comparison with fractional flow reserve. Eur Heart J 2012;33:67–77.

49. 	Min JK, Leipsic J, Pencina MJ, Berman DS, Koo BK, van Mieghem C, Erglis A, Lin FY, Dunning AM, Apruzzese P, Budoff MJ, Cole JH, Jaffer FA, Leon MB, Malpeso J, Mancini GB, Park SJ, Schwartz RS, Shaw LJ, Mauri L. Diagnostic accuracy of fractional flow reserve from anatomic CT angiography. JAMA. 2012;308:1237-45.

50. 	Rochitte CE, George RT, Chen MY, Arbab-Zadeh A, Dewey M, Miller JM, Niinuma H, Yoshioka K, Kitagawa K, Nakamori S, Laham R, Vavere AL, Cerci RJ, Mehra VC, Nomura C, Kofoed KF, Jinzaki M, Kuribayashi S, de Roos A, Laule M, Tan SY, Hoe J, Paul N, Rybicki FJ, Brinker JA, Arai AE, Cox C, Clouse ME, Di Carli MF, Lima JA.Computed tomography angiography and perfusion to assess coronary artery stenosis causing perfusion defects by single photon emission computed tomography: the CORE320 study. Eur Heart J. 2013 Nov 19 doi:10.1093/eurheartj/eht488.

51.	Litt HI, Gatsonis C, Snyder B, Singh H, Miller CD, Entrikin DW, Leaming JM, Gavin LJ, Pacella CB, Hollander JE. CT angiography for safe discharge of patients with possible acute coronary syndromes. N Engl J Med. 2012;366:1393-403.

52. 	Hoffmann U, Truong QA, Schoenfeld DA, Chou ET, Woodard PK, Nagurney JT, Pope JH, Hauser TH, White CS, Weiner SG, Kalanjian S, Mullins ME, Mikati I, Peacock WF, Zakroysky P, Hayden D, Goehler A, Lee H, Gazelle GS, Wiviott SD, Fleg JL, Udelson JE; ROMICAT-II Investigators. Coronary CT angiography versus standard evaluation in acute chest pain. N Engl J Med. 2012;367:299-308.

53.	Duivenvoorden R, Mani V, Woodward M, Kallend D, Suchankova G, Fuster V, Rudd JH, Tawakol A, Farkouh ME, Fayad ZA. Relationship of serum inflammatory biomarkers with plaque inflammation assessed by FDG PET/CT. the dal-PLAQUE study. JACC Cardiovasc Imaging. 2013;6:1087-94.

54. 	Min JK, Shaw LJ, Berman DS. The present state of coronary computed tomography angiography: a process in evolution. J Am Coll Cardiol. 2010;55:957–965.

55. 	Achenbach S, Raggi P. Imaging of coronary atherosclerosis by computed tomography. Eur Heart J. 2010;31:1442–1448.

56. 	Min JK, Shaw LJ, Devereux RB, Okin PM, Weinsaft JW, Russo DJ, Lippolis NJ, Berman DS, Callister TQ. Prognostic value of multidetector coronary computed tomographic angiography for prediction of all-cause mortality. J Am Coll Cardiol. 2007;50:1161–1170.

57. 	Ostrom MP, Gopal A, Ahmadi N, Nasir K, Yang E, Kakadiaris I, Flores F, Mao SS, Budoff MJ. Mortality incidence and the severity of coronary atherosclerosis assessed by computed tomography angiography. J Am Coll Cardiol. 2008;52:1335–1343.

58. 	Hadamitzky M, Täubert S, Deseive S, Byrne RA, Martinoff S, Schömig A, Hausleiter J. Prognostic value of coronary computed tomography angiography during 5 years of follow-up in patients with suspected coronary artery disease. Eur Heart J. 2013;34:3277-85.

59. 	Greenland P, Alpert JS, Beller GA, Benjamin EJ, Budoff MJ, Fayad ZA, Foster E, Hlatky MA, Hodgson JM, Kushner FG, Lauer MS, Shaw LJ, Smith SC Jr, Taylor AJ, Weintraub WS, Wenger NK, Jacobs AK, Anderson JL, Albert N, Buller CE, Creager MA, Ettinger SM, Guyton RA, Halperin JL, Hochman JS, Nishimura R, Ohman EM, Page RL, Stevenson WG, Tarkington LG, Yancy CW. 2010 ACCF/AHA guideline for assessment of cardiovascular risk in asymptomatic adults: a report of the American College of Cardiology Foundation/American Heart Association Task Force on Practice Guidelines. J Am Coll Cardiol. 2010;56: e50–e103.

60. 	Detrano R, Guerci AD, Carr JJ, Bild DE, Burke G, Folsom AR, Liu K, Shea S, Szklo M, Bluemke DA, O’Leary DH, Tracy R, Watson K, Wong ND, Kronmal RA. Coronary calcium as a predictor of coronary events in four racial or ethnic groups. N Engl J Med. 2008;358:1336 –1345.

61. 	Polonsky TS, McClelland RL, Jorgensen NW, Bild DE, Burke GL, Guerci AD, Greenland P. Coronary artery calcium score and risk classification for coronary heart disease prediction. JAMA. 2010;303:1610–1616.

62. 	Cho I, Chang HJ, Sung JM, Pencina MJ, Lin FY, Dunning AM, Achenbach S, Al-Mallah M, Berman DS, Budoff MJ, Callister TQ, Chow BJ, Delago A, Hadamitzky M, Hausleiter J, Maffei E, Cademartiri F, Kaufmann P, Shaw LJ, Raff GL, Chinnaiyan KM, Villines TC, Cheng V, Nasir K, Gomez M, Min JK; CONFIRM Investigators. Coronary computed tomographic angiography and risk of all-cause mortality and nonfatal myocardial infarction in subjects without chest pain syndrome from the CONFIRM Registry (coronary CT angiography evaluation for clinical outcomes: an international multicenter registry). Circulation. 2012;126:304-13.

63. 	Maurovich-Horvat P, Schlett CL, Alkadhi H, Nakano M, Otsuka F, Stolzmann P, Scheffel H, Ferencik M, Kriegel MF, Seifarth H, Virmani R, Hoffmann U. The napkin-ring sign indicates advanced atherosclerotic lesions in coronary CT angiography. JACC Cardiovasc Imaging. 2012;5:1243-52.

64.	Otsuka K, Fukuda S, Tanaka A, Nakanishi K, Taguchi H, Yoshikawa J, Shimada K, Yoshiyama M. Napkin-ring sign on coronary CT angiography for the prediction of acute coronary syndrome. JACC Cardiovasc Imaging. 2013;6:448-57.

65.	DeMaria AN, Narula J, Mahmud E, Tsimikas S. Imaging vulnerable plaque by ultrasound. J Am Coll Cardiol 2006; 47: C32-C39.

66.	Kimura S, Kakuta T, Yonetsu T, Suzuki A, Iesaka Y, Fujiwara H, Isobe M. Clinical significance of echo signal attenuation on intravascular ultrasound in patients with coronary artery disease. Circ Cardiovasc Interv. 2009;2:444-54.

67.	Yabushita H, Bouma BE, Houser SL, Aretz HT, Jang IK, Schlendorf KH, Kauffman CR, Shishkov M, Kang DH, Halpern EF, Tearney GJ. Characterization of human atherosclerosis by optical coherence tomography. Circulation 2002; 106:1640-1645.

68. 	Kume T, Okura H, Yamada R, Kawamoto T, Watanabe N, Neishi Y, et al. Frequency and spatial distribution of thin-cap fibroatheroma assessed by 3-vessel intravascular ultrasound and optical coherence tomography: An ex vivo validation and an initial in vivo feasibility study. Circ J 2009; 73: 1086 – 1091.

69.	Tearney GJ, Yabushita H, Houser SL, Aretz HT, Jang IK,Schlendorf KH, Kauffman CR, Shishkov M, Halpern EF, Bouma BE. Quantification of macrophage content in atherosclerotic plaques by optical coherence tomography. Circulation 2003; 107: 113-119.

70.	Ohtani T, Ueda Y, Mizote I, Oyabu J, Okada K, Hirayama A, Kodama K. Number of yellow plaques detected in a coronary artery is associated with future risk of acute coronary syndrome: detection of vulnerable patients by angioscopy. J Am Coll Cardiol. 2006;47:2194-2200.

Figure legends

Figure 1. The window settings for the lumen and outer vessel boundary by CTA are the same as those for IVUS imaging [15].

(A) A curved multiplanar reconstructed CTA image reveals a significant stenosis in the left anterior descending artery (arrow). (B) An IVUS cross-section reveals a lumen area of 2.1mm2 and a vessel area of 15.4mm2. The cross-sectional CTA images show the luminal cross-sectional area (CSA) of 2.1 mm2 (C) and vessel CSA of 15.4mm2 (D).

Figure 2. Mean number of the coronary plaques in the non-culprit segments of the AMI and SAP patients [24]

AMI = acute myocardial infarction; SAP = stable angina pectoris; MPI = myocardial perfusion imaging; PR = positive remodeling; LAP = low-attenuation plaques.

Figure 3. The CT characteristics of a culprit lesion in the 52-year-old male patient with post-PCI TnT elevation ≥3× the upper limit of normal [31].

Coronary angiogram (A) and multiplanar reconstructed image (B) show severe stenosis in the mid right coronary artery. Cross-sectional images show the proximal reference (C), culprit lesion (D), and distal reference (E). The lesion has positive remodeling (RI: remodeling index 1.28), spotty calcification, and low CT density (16 HU). Red circle indicates area of spotty calcification.

Figure 4. Prevalence of reversible defects evaluated by SPECT in the study groups defined according to the percentage stenosis obtained by CTA [15].

Numbers under the bars represent the number of vessels. *P = 0.018, **P <0.0001 vs. percentage stenosis of 0-60%.

Figure 5. One patient (A) has ischemia and the other patient (B) does not have ischemia [49].

(A) Multiplanar reformat of a CT angiogram demonstrating obstructive stenosis of the proximal portion of the left anterior descending artery (LAD) and a computed fractional flow reserve (FFRCT) value of 0.62, indicating vessel ischemia. Invasive coronary angiogram demonstrates obstructive stenosis of the proximal portion of the LAD and measured fractional flow reserve (FFR) values of 0.65, indicating vessel ischemia. (B) CT angiogram demonstrating obstructive stenosis of the mid portion of the right coronary artery (RCA) and an FFRCT value of 0.87, indicating no vessel ischemia. Invasive coronary angiogram demonstrates obstructive stenosis of the mid portion of the RCA and a measured FFR value of 0.88, indicating no vessel ischemia.

Figure 6. A complete CORE320 imaging data set for a 64-year-old male without prior history of coronary artery disease with chest pain symptoms [50].

The left anterior descending coronary artery revealed a 96% diameter stenosis by computed tomography angiography (CTA) (Row A) and an 85% diameter stenosis by invasive coronary angiography (ICA) (Row B). The computed tomography myocardial perfusion (CTP) (Row C) study revealed a mild defect in the distal anteroseptal wall, and moderate defects in the basal anteroseptal, the basal anterior, the distal anterior, and apical walls, while the single photon emission computed tomography (SPECT) (Row D) study revealed moderate defects in the distal anterior, the distal anteroseptal, the basal anteroseptal and apical walls. The left circumflex artery revealed an 87% diameter stenosis by CTA, a 79% diameter stenosis by ICA, mild defects in the distal inferoseptal and distal inferolateral walls, and moderate defects in the distal anterolateral and distal anterior walls by CTP, and a moderate defect in the distal anterior wall by SPECT. The right coronary artery revealed a 60% diameter stenosis by CTA, a 77% diameter stenosis by ICA, a mild defect in the distal inferoseptal wall by CTP, and no myocardial perfusion defects by SPECT.

Table 1. Respective pros and cons of MDCT and coronary angiogram for analysis of coronary artery disease

|  | Pros | Cons |
| --- | --- | --- |
| MDCT | It can be performed with short examination times, and is generally available and easily performed. | Study population was limited to selected patients chosen for good CTA image quality with absence of motion artifacts or severe calcification. |
|  | It is a noninvasive character, and contributes important information of plaque morphology and characterization in the arterial wall. | Quantitative measurement of plaque morphology is slightly limited. |
|  | Calcium score | Radiation exposure, which is currently between 9 and 1 mSv for a retrospectively gated MDCT coronary angiogram. |
|  | Serial MDCT plaque imaging | Contrast medium is used. |
| CAG | Excellent image quality can be observed with absence of artifacts. | It is an invasive character, and contributes no plaque morphologic information. |
|  | Degree of luminal stenosis can be measured by QCA. | Substantial interpretation variability of visual estimates and assessment of lesion severity for diffuse atherosclerotic lesions and intermediate-severity lesions. |
|  | Gold standard for the diagnosis of coronary narrowing and clinical decision making for coronary interventions. | Catheterization costs are expensive. Contrast medium is used. |

MDCT= multi-detector computed tomography, CAG= coronary angiogram, QCA= quantitative coronary angiography

Table 2. Various studies reporting analysis of coronary plaque by MDCT

| Author | N | Imaging techniques | Major Findings |
| --- | --- | --- | --- |
| Leber [12] | 59 | 64-detector | The mean plaque areas and the percentage of vessel obstruction measured by IVUS and 64-slice CT were 8.1 mm2 versus 7.3 mm2 (p < 0.03, r =0.73) and 50.4% versus 41.1% (p < 0.001, r =0.61), respectively. |
| Kashiwagi [13] | 105 | 64-detector | Vascular remodeling and low CT attenuation values had the MDCT morphological features of TCFA observed by OCT, and a ring-like enhancement was one important sign of TCFA. |
| Leber [14] | 46 | 16-detector | The MDCT-derived density measurements within coronary lesions revealed significantly different values for hypoechoic (49 HU± 22), hyperechoic (91 HU ± 22), and calcified plaques (391 HU ± 156, p < 0.02). |
| Sato [15] | 102 | 64-detector | Lumen CSA and percent area stenosis of coronary lesions were closely correlated to those obtained by IVUS, however the lumen CSA measured by CTA was systematically overestimated and percent area stenosis was slightly underestimated |
| Voros [17] | 60 | 64-detector | Low-density noncalcified plaques, the presumed lipid-rich plaques on CT, correlated best with the sum of necrotic core plus fibro-fatty tissue by IVUS/virtual histology |
| Motoyama [18] | 71 | 16, 64-detector | Presence of positive remodeling, non-calcified plaque <30 HU, and spotty calcification showed a high positive predictive value for with ACS |
| Ozaki [19] | 66 | 16, 64-detector | CTA fails to characterize lesions at risk of intact fibrous cap-ACS which are often referred to as plaque erosions. |
| Sato [24] | 226 | 64-detector | Number of coronary plaques in non-culprit lesions was more significantly observed in AMI patients than in SAP patients with normal MPI. Non-calcified, mixed, and vulnerable plaques were more significantly observed in AMI patients than in SAP patients |
| Leber [25] |  |  | Non-calcified plaques contribute to a higher degree to the total plaque burden in AMI than in SAP |
| Schroeder [32] | 15 | 4-detector | Mean CT density of 14-47 HU was found in lipid-rich plaque |
| Pohle [34] | 32 | 16-detector | The mean CT attenuation within plaque that corresponded to hyper-echogenic appearance in IVUS was 121±34HU (n=76). The mean CT attenuation within plaque that corresponded to hypo-echogenic appearance was 58±43HU (n=176, p<0.001) |
| Pundziute [36] | 100 | 64-detector | In multivariate analysis, significant predictors of events were the presence of CAD, obstructive CAD, obstructive CAD in LM/LAD, number of segments with plaques, number of segments with obstructive plaques, and number of segments with mixed plaques |
| Pundziute [37] | 50 | 64-detector | TCFA on virtual histology IVUS were most prevalent in mixed plaques, suggesting a higher degree of vulnerability of these mixed plaques. |

CT= computed tomography, HU= Hounsfield units, CSA= cross-sectional area, CPC= circumferential plaque calcification, AMI= acute myocardial infarction, SAP= stable angina pectoris, MPI= myocardial perfusion imaging, TCFA= thin-cap fibroatheromas

Table 3. Characteristics of various imaging modalities for analysis of coronary vulnerable plaque

| Modalities | Characteristics of vulnerable plaque |
| --- | --- |
| MDCT | Low-attenuation, positive remodeling, spotty calcification [18] Ring-like enhancement [13], napkin-ring sign [63,64] |
| IVUS | Low echoic, positive remodeling, spotty calcification [65] Echo signal attenuation [66] |
| OCT | Lipid-rich plaque by a signal-poor region with a diffuse border [67] TCFA (large lipidcore and a thin fibrous cap <65 μm) [68] Macrophages imaging [69] |
| Angioscopy | Intensive yellow plaque, presence of thrombus [70] |

MDCT= multi-detector computed tomography, IVUS= intravascular ultrasound, OCT= optical coherence tomography, TCFA= thin-cap fibroatheroma.

|  | Table 4. Coronary Plaque Characteristics on MDCT and Slow-flow phenomenon / Cardiac Troponin T Elevation. |
| --- | --- |
| Author | Minimum CT value (HU) | Positive remodeling index | Calcification | Ring-like appearance |
| Nakazawa [29] | 67.0 ± 10.1 | N/A | N/A | 55.6% |
| Uetani [30] | < 50 | 1.10 ± 0.21 | 37.7% | N/A |
| Watabe [31] | 43 [26.5 to 75.7] | 1.20 ± 0.18 | Spotty (50%) | 31% |
| Kodama [35] | 23.5 [9.5 to 40] | 1.5 [1.3 to 1.8] | CPC (63%) | 10% |

CT= computed tomography, HU= Hounsfield units, CPC= circumferential plaque calcification.