| Reverse polarity shoulder replacement: Current concepts and review of literature Ling Hong Lee, Aravind Desai |
| --- |
| CITATION | Lee LH, Desai A. Reverse polarity shoulder replacement: Current concepts and review of literature. World J Orthop 2014; 5(3): 255-261 |
| URL | http://www.wjgnet.com/2218-5836/full/v5/i3/255.htm |
| DOI | http://dx.doi.org/10.5312/wjo.v5.i3.255 |
| OPEN ACCESS | Articles published by this Open-Access journal are distributed under the terms of the Creative Commons Attribution Non-commercial License, which permits use, distribution, and reproduction in any medium, provided the original work is properly cited, the use is non commercial and is otherwise in compliance with the license. |
| CORE TIP | Cuff tear arthropathy is a challenging condition to manage. Hemiarthroplasty and total shoulder replacement have been tried but reported to have poor outcome. Reverse polarity shoulder has evolved since last two decades and its outcome is promising in this pathology. It is a complex procedure associated with significant risks. It is important to understand the bio-mechanics, principles of surgery, extended indications, pitfalls associated with it and the available literature. This review summarises the concept of this procedure. We also review the most recent available biomechanical and clinical evidence to aid clinicians’ practice. |
| KEY WORDS | Reverse shoulder replacement; Biomechanic; Cuff tear arthropathy; Shoulder arthritis; Proximal humerus fracture; Review |
| COPYRIGHT | © 2014 Baishideng Publishing Group Inc. All rights reserved. |
| COPYRIGHT LICENSE | Order reprints or request permissions: bpgoffice@wjgnet.com |
| NAME OF JOURNAL | World Journal of Orthopedics |
| ISSN | 2218-5836 ( online) |
| PUBLISHER | Baishideng Publishing Group Co., Limited, 8226 Regency Drive, Pleasanton, CA 94588, USA |
| WEBSITE | http://www.wjgnet.com |

ESPS Manuscript NO: 8573

Columns: TOPIC HIGHLIGHT

Reverse polarity shoulder replacement: Current concepts and review of literature

Ling Hong Lee, Aravind Desai

Ling Hong Lee, Aravind Desai, Specialist Registrar, Trauma and Orthopaedics, Northern Deanery, Newcastle Upon Tyne, NE12 8RF, United Kingdom

Author contributions: Lee LH and Desai A contributed equally to this work.

Correspondence to: Aravind Desai, MS (Orth), MRCS, MSc, MCh (Orth), FRCS (Tr&Orth), Specialist Registrar, Trauma and Orthopaedics, Northern Deanery, 17 Maybury Villas, Newcastle Upon Tyne, NE12 8RF, United Kingdom. desaiaravind@yahoo.co.uk

Telephone: +44-78-85994545  Fax: +44-78-85994545

Received: December 29, 2013  Revised: April 8, 2014  Accepted: May 16, 2014

Published online: July 18, 2014

Abstract

Shoulder replacement in cuff tear arthropathy (CTA) is an unsolved challenge. CTA poses a soft tissue deficiency in an arthritic glenohumeral joint which the anatomical total shoulder replacement and hemiarthroplasty cannot reliably provide stability, range of movement, function or satisfactory long term outcome. In the past two decades since the introduction of the reverse shoulder replacement, the prosthesis has evolved and has shown promising results. It is a partially constraint joint by virtue of its design features. The reversal of the concavity and convexity of the joint to the proximal humerus and the glenoid, respectively, also shifts and improves its center of rotation onto the osseous surface of the glenoid with less exposure to shear stress. It is a successful pain relieving procedure, offering good outcome in patients with irreparable massive rotator cuff tear with or without osteoarthritis. Consequently, this has led to wider use and expansion of its indication to include more complex elective and trauma cases. Whereas originally used in the more elderly patients, there is increasingly more demand in the younger patients. It is important to have good quality long term data to support these increasing indications. Therefore, we review the literature on the concepts of reverse shoulder replacement and the contemporary evidence.

© 2014 Baishideng Publishing Group Inc. All rights reserved.

Key words: Reverse shoulder replacement; Biomechanic; Cuff tear arthropathy; Shoulder arthritis; Proximal humerus fracture; Review

Core tip: Cuff tear arthropathy is a challenging condition to manage. Hemiarthroplasty and total shoulder replacement have been tried but reported to have poor outcome. Reverse polarity shoulder has evolved since last two decades and its outcome is promising in this pathology. It is a complex procedure associated with significant risks. It is important to understand the bio-mechanics, principles of surgery, extended indications, pitfalls associated with it and the available literature. This review summarises the concept of this procedure. We also review the most recent available biomechanical and clinical evidence to aid clinicians’ practice.

Lee LH, Desai A. Reverse polarity shoulder replacement: Current concepts and review of literature. World J Orthop 2014; 5(3): 255-261  Available from: URL: http://www.wjgnet.com/2218-5836/full/v5/i3/255.htm  DOI: http://dx.doi.org/10.5312/wjo.v5.i3.255

INTRODUCTION

Shoulder replacement can give excellent pain relief and restore shoulder motion in primary osteoarthritis, inflammatory arthropathy or post-traumatic osteoarthritis[1]. Shoulder replacement in cuff tear arthropathy (CTA) presents a challenge as there is lack of soft tissue constraint to allow a satisfactory shoulder function. Unconstrained shoulder replacement such as hemiarthroplasty was a standard surgical option in the treatment for CTA but the results were unpredictable and confined to patients who were expected to have limited rehabilitation potential[2-4]. Total shoulder replacement is not suitable in CTA due to early failure[5] (Figure 1A). Reverse shoulder replacement addresses most of the limitations of hemiarthroplasty or total shoulder replacement in the presence of rotator cuff deficiency[6,7] (Figure 1B). Since its initial success, the indications for reverse shoulder replacement are increasing. This article reviews the current evidence of reverse shoulder replacement mainly in managing CTA, acute proximal humerus fracture and its use in young patients.

BIOMECHANICS OF REVERSE SHOULDER REPLACEMENT

Anatomical total shoulder replacement can restore the full articular surface of the humeral head and the glenoid contour in cases of osteoarthritis. Deficiency of the rotator cuff and capsule can be repaired to provide soft tissue stability for the anatomical shoulder replacement. Massive irreparable rotator cuff tear and a deficient coracoacromial arch result in deficit of concavity compression to allow anterosuperior escape and pseudoparalysis. In such cases, anatomical total shoulder replacement cannot restore shoulder stability[7].

The design features of the reverse shoulder replacement provide stability not inherent in a total anatomical shoulder replacement. The reverse shoulder replacement is partially constrained by a spherical convex glenoid component and a deep and large diameter humeral cup (Figure 1B) in contrast to the shallow concave glenoid and spherical humeral head in a normal glenohumeral joint (Figure 1C). The Grammont et al[6] glenoid component in reverse shoulder replacement does not have a polyethylene component and is fixed with screws onto a base plate which in return is fixed onto the glenoid with divergent screws forming a triangular device. This geometry changes the center of rotation of the reverse shoulder replacement medial and distal onto a more stable point on the osseous surface of the glenoid thus avoiding shear stress of the humeral head on the glenoid component[6,8]. The full surface contact throughout the movement of articulation prevents glenohumeral translation thus removing the rocking horse mechanism by eliminating rim loading[7,9]. The more distal and medial center of rotation restores the deltoid tension, increases its lever arm and indirectly improves its power (Figures 1). The reversal of deltoid action to a centripetal action in reverse shoulder replacement in addition to the structural stability of the design provides a stable semi-constrained joint[6,7].

The current available reverse shoulder replacement systems in the market are based on the successful concept and principles introduced by Professor Grammont et al[6], a prosthesis that is stable, mobilises solely by deltoid and without risk of glenoid support loosening. Common features are the glenoid component (half a sphere in the Grammont design), the humeral cup (a third of a sphere) and the humeral neck with less vertical inclination (155° in the Grammont design). The large ball allows a greater arc of motion and more stability. The short neck of glenoid component medialises the center of rotation to reduce shear force which can loosen the component. The inclination of the humeral cup lowers and medialises the humerus to allow tension of deltoid by increasing the lever arm and recruiting more deltoid bulk[7,9].

INDICATIONS

Following successful reports of reverse shoulder replacement for CTA[6,9,10], its role has expanded with time. It is particularly useful in cases with deficient rotator cuff, such as painful irreparable massive cuff tear without osteoarthritis[11,12], inflammatory arthritis with cuff deficiency[13,14], acute complex proximal humerus fractures[15-17] and proximal humerus bone tumour surgery[18]. Rotator cuff deficiency is a common feature in all and is the best indication for a reverse shoulder replacement. Caution remains in the young population as there is still lack of long term knowledge about the longevity of reverse shoulder replacement but this is anticipated to be clearer in the next few years[8,17]. Non-functioning deltoid muscle is a contraindication for reverse shoulder replacement.

Irreparable massive rotator cuff tear (with and without osteoarthritis)

A large comparative study between age, sex and ASA-score matched patients undergoing hemiarthroplasty and reverse shoulder replacement for CTA using the New Zealand joint registry showed better Oxford Shoulder Score (OSS) in the reverse shoulder group at 6 mo after surgery[19]. Although 102 patients were identified in each group, only 64 hemiarthroplasty and 74 reverse shoulder replacement were available for final analysis. In a small subgroup of patients with 5 year follow up (18 hemiarthroplasty and 14 reverse shoulder), the improvement in OSS was still observed to be greater in the reverse shoulder group[19].

Naveed et al[8] presented a prospective series of the use of a single type of reverse shoulder replacement in 50 shoulders (43 patients) with CTA performed by a single surgeon. Functional outcome scores improved significantly at 8 to 81 mo postoperative follow up. The mean OSS improved by more than a third of the overall score and was a successful pain relieving pain procedure in 84% of the patients.

Wall et al[11] reviewed 191 mixed cases including 59 CTA and 34 massive rotator cuff tear without arthritis up to almost twelve years. These two groups of cases reported the best outcomes in function and subjective scorings following reverse shoulder replacement compared to patients with primary osteoarthritis, posttraumatic arthritis and revision arthroplasty. Movements were also improved but less in external rotation compared to elevation.

Similar observation was reported by Ek et al[20]. In a case series of 40 reverse shoulder replacement in patients younger than 65 years old performed for heterogenous cases, the functional outcome after a mean of 93 mo were similar between patients who did not have glenohumeral arthritis preoperatively and those who did.

Acute complex proximal humerus fracture

Reverse shoulder replacement in acute complex proximal humerus fracture not amenable to surgical fixation can be a good pain relief and functional restoration operation[16,17]. Although hemiarthroplasty is widely performed for complex proximal humeral fracture, there is concern regarding tuberosity union[15,17], integrity of rotator cuff especially in the elderly[21] and potential glenoid wear[22,23].

A prospective series of non-randomised comparison between patients over the age of seventy undergoing hemiarthroplasty and reverse shoulder replacement for complex proximal humerus fracture reported favourable clinical outcomes in the reverse replacement group[17]. Cuff et al[17] reported significantly better shoulder specific outcome scores in the reverse replacement group although the criticisms of the study were the small sample (26 hemiarthroplasty vs 27 reverse shoulder replacement) and the follow-up for reverse shoulder was shorter compared to the group of patients undergoing hemiarthroplasties due to the non-randomised design of the study. Functional results were dependent on the healing of tuberosities as worse outcome was seen in patient undergoing hemiarthroplasty with tuberosities resoption compared to hemiarthroplasty with healed tuberosities. Regardless of the healing of the tuberosities, patients with reverse replacement reported superior functional outcome compared to hemiarthroplasty but healed tuberosities conferred better range of external rotation[17].

A systematic review of 14 studies with 2-4 years of follow up using statistical pooling of outcomes and standard deviation reported 4 times greater odds of developing postoperative complications after reverse shoulder replacement compared to hemiarthroplasty using fracture-specific stem following proximal humerus fracture[16]. Most of the complications in the reverse replacement group were attributed to neurologic complications, reflex sympathetic dystrophy and dislocation[15,24]. The reoperation rates were, however, not different although the exact reason for this is debatable. The authors argued that there could be higher revision surgery in the reverse shoulder group if there was a good alternative salvage procedure. In the hemiarthroplasty group, the follow up period may have been too short to adequately report number of revision surgery. In addition, patients in the reverse shoulder replacement group were significantly older and suffered more fracture dislocations and were followed-up longer compared to patients in reverse shoulder replacement[16].

Chalmers et al[25] retrospectively compared 9 reverse shoulder vs 9 hemiarthroplasty vs 9 open reduction internal fixation for severe proximal humerus fracture and reported better active forward elevation, external rotation, cheaper and faster rehabilitation and total costs in the reverse group but similar outcome scores in all three. This study has its own limitation being a short follow up (minimum 1 year) especially in the reverse shoulder replacement group. In contrast, Gallinet et al[26] reported better abduction, forward flexion and Constant score in the reverse shoulder replacement but worse rotation compared to hemiarthroplasty.

Reverse shoulder replacement can provide good pain relief and allow satisfactory range of motion following complex proximal humerus fracture. In relation to internal fixation or hemiarthroplasty, the shorter and less restrictive postoperative rehabilitation after a reverse shoulder replacement may be an attractive factor for patient and in cost[25]. Similar to other areas of orthopaedic surgery, strong evidence for the use of reverse shoulder replacement in acute complex proximal humerus fracture is still not reported. Studies with a robust methodology and appropriate assessments will better inform the indication of reverse shoulder replacement in acute complex fractures.

Reverse shoulder replacement in the younger population

There is an acceptance that reverse shoulder replacement should be performed cautiously in the younger population[8,9,19]. This is due to the relatively new concept of the modern reverse prosthesis therefore there is at present limited amount of long term outcome on this technology. There is also a lack of salvage options for failed reverse shoulder replacement. Acceptable medium term result from using a stemless reverse shoulder prosthesis in a single surgeon case series represents a step towards preservation of bone stock but still does not solve glenoid complications[27].

Reverse shoulder replacement in the younger population was reported to be a good operation to improve range of motion, function and pain compared to the older population[28,29]. However, subjective reporting was weaker as 20% of the patients were not satisfied (either very dissatisfied, dissatisfied or not satisfied) after an average 36.5 mo following the surgery[29]. In these studies, the patients were younger than 60 years old with mixed cohort of pathologies including rotator cuff deficiency with or without osteoarthritis, revision arthroplasty, rheumatoid arthritis and posttraumatic arthritis which may negatively skewed the results.

Performing a reverse shoulder replacement in the younger population (65 years or younger) with rotator cuff arthropathy did not produce a better functional outcome compared to hemiarthroplasty at 6 mo review[19]. While longer data is required to inform practice surgeons should be reminded that delaying reverse shoulder replacement by performing other procedures could be detrimental to the final outcome[29] as demonstrated that patients with multiple operations before the reverse replacement surgery  reported less improvement in functional scores.

Complication rates after reverse shoulder replacement were also high. Muh et al[29] reported 5 revisions and 2 resection arthroplasties in 67 reverse replacements, with survival rate of 89.5% within 6 years in patients age 60 years or younger. Sershon et al[28] reported 14% complication rate including 3 revisions within 4 years after reverse shoulder replacement in 36 shoulders, with total survival rate of 91% in patients with mean age of 54 years. Ek et al[20] reported 37.5% complications in 40 reverse shoulder replacements performed in patients younger than 65 years old. 6 (15%) required removal of prosthesis or conversion to hemiarthroplasty. Their survival rates were reported to be 76% (if any reoperation was taken as endpoint) and 88% (implant survival as endpoint) at 10 years postop. A positive finding from this study showed that the functional outcomes and range of active forward flexion were similar throughout the 10 years of follow up[20].

PITFALLS IN REVERSE SHOULDER REPLACEMENT

Approach

Adequate exposure is required for proper implantation of the reverse shoulder prosthesis especially of the glenoid. The deltopectoral (with or without extension) and deltoid split are the two most commonly used approaches. Naveed et al[8] experienced difficulty exposing the inferior glenoid adequately using deltoid split therefore changed their practice to extended deltopectoral which also allowed them to identify and protect the axillary nerve better. Deltopectoral approach disturbs the integrity of the subscapularis. A disadvantage of deltopectoral approach is a reported higher risk of dislocation in patients with irreparable subscapularis tendon in a prospective series by one surgeon[30]. In contrast, a retrospective study incorporating practices of three surgeons showed similar dislocation rates in patients undergoing reverse shoulder replacement using the deltopectoral approach with or without subscapularis repair[31].

Dislocations

Dislocation is usually due to insufficient soft tissue tension, especially the deltoid or due to worn polyethylene bearing. This could be managed by closed reduction alone or lengthening of the humeral liner[8,9,18,32]. Martinez et al[33] reported two patients with dislocation after reverse shoulder replacement for proximal humerus non-union treated with exchanging to a larger diameter glenosphere. Other causes of dislocation included CAM effect of the tubercle remnants, anteversion of humeral stem and obesity[24,25].

Notching

Notching prevalence increases with the longevity of prosthesis, reported from 40% at year 1 to 87% at 10 year follow up[9,24,29,32]. It is suggested as a cause of glenoid loosening and therefore a clinical concern and negatively affected functional outcomes[20,24] but some reported no effect on Constant score or reoperation rate[9,34]. Notching is not strongly proven to be associated with glenoid component loosening.

A reverse shoulder replacement with notching which extended beyond the inferior fixation screws when examined at post mortem did not show evidence of loosening of the glenoid base plate[35]. Although the true effect of scapular notching is still being investigated and debated, it is best to avoid loss of osseous tissue around prosthesis[9,20,24,34].

Scapular notching is likely related to mechanical impingement by the medial-inferior rim of the humeral cup against the posterior-inferior scapular neck in adduction[9,32,35]. Retrieval of the prosthesis/humeral cup revealed polyethylene wear due to this collision erosive effect[9,35]. The rim rubbed on denuded screw during flexion, extension and rotational movements in adduction[35]. Further to this, there may be detrimental effect of foreign-body reaction as a result of the wear particle to tissue surrounding the joint[35]. Radiolucencies were also seen at the lateral and medial proximal metaphyseal zone of the proximal humerus[24,32].

Identification of the inferior glenoid is also critical to allow inferior placement of the glenoid component. Inferior placement, inferior eccentricity or even overhang of the glenoid component was associated with less common occurrence of scapular notching[9,32,36-38]. The recommended overhang of 5.7 mm in female was predicted to decrease notching rate to 0.9% from 13% and 5.6 mm in male to 8.7% from 13%[39]. Notching seemed to be less common when a lateralised humeral cup was used that resulted in higher tension therefore restricting movement of the humeral component[32]. Notching was seen in 60% of 6 mm lateralised cup compared to 78% using standard cup (Levigne 2008). A larger and lateralised glenosphere allows more degree of adduction and abduction without inferior impingement[37]. Lesser notching was seen when using glenosphere of size 42 mm vs 38 mm and none in 46 mm[39]. Other factors such as less horizontal humeral neck and lesser prosthesis-scapular-neck-angle also contributed towards lesser chance of notching[39]. Lateralised centre of rotation resulted in early failure of the glenoid component therefore it should be used with caution[40]. A prospective randomised study comparing fixation of 36 mm glenosphere in neutral or in an inferiorly tilted position with 3 mm of overhang did not revealed difference in incidence of scapular notching or clinical outcome[41].

Range of movement

Abduction and anterior flexion of the shoulder with reverse replacement is provided mainly by the deltoid muscle. The amount of motion is affected by several factors. In a cadaveric study, Berhouet et al[37] shows that the shortest abduction were achieved using a 36 mm glenosphere. When a larger diameter glenosphere of 42 mm was used and lateralised 10 mm, it allowed the largest range of abduction (97° vs 87°).

External rotation is seen to be better in reverse shoulder replacement with an intact teres minor[6,9] and a less medialised glenoid component[34]. Lateralising the glenoid component alters the center of rotation to the component itself and may cause glenoid loosening without erosion[9,40]. Increasing the humeral retroversion improves the external rotation but at the cost of internal rotation.

Latissimus dorsi transfer can improve external rotation and subsequently function[42-44]. Ortmaier et al[43] reported harvesting the tendon together with a small piece of bone. The effect of latissimus dorsi transfer during reverse shoulder replacement for pseudoparesis on outcome scores and movement was reported to be preserved at 5 year review in 17 patients[44].

Internal rotation was reported to be less satisfactory or not improved after reverse shoulder replacement[9,45]. This is most likely due to insufficient internal rotator not compensated by the anterior deltoid fibers. The design of the prosthesis in lowering the humerus may also weaken the subscapularis by changing the vector of muscle contraction. The best rotationally balanced reverse shoulder replacement in a cadaveric study was native 17.5 degree retroversion[37].

Perioperative fractures

Complication decreases with learning curve[46]. Acromial fracture weakens the deltoid therefore rendering the reverse shoulder replacement non functional and clinically relevant. Fracture at the base of the acromion resulted in the worst outcome[47]. Pain along the acromion or scapular spine should alert the physician to such complication. CT scan may be required to help aid diagnosis where the plain radiographs are not diagnostic[47]. The decision of management needs to be tailored to the individual patient[47,48]. Humeral fracture is less common but perforation or propagation of cracks can occur during cementation or implantation of prosthesis. Fracture of the glenoid at the rim, glenoid surface or glenoid neck can occur during glenoid reaming or tightening of screws[7].

CONCLUSION

CTA presents a challenging scenario. Reverse shoulder replacement is a reliable pain relieving procedure. The resultant fixed and medialised center of rotation minimises the torque on glenoid and improves the power of deltoid to provide a functioning shoulder. Good quality long term data are needed to support its expanding indications especially as there are still unsolved issues about this shoulder replacement.

REFERENCES

1	Ekelund A. Reverse shoulder arthroplasty. Shoulder & Elbow 2009; 1: 68-75 [DOI: 10.1111/j.1758-5740.2009.00021.x]

2	Neer CS, Craig EV, Fukuda H. Cuff-tear arthropathy. J Bone Joint Surg Am 1983; 65: 1232-1244 [PMID: 6654936]

3	Williams GR, Rockwood CA. Hemiarthroplasty in rotator cuff-deficient shoulders. J Shoulder Elbow Surg 1996; 5: 362-367 [PMID: 8933458 DOI: 10.1016/S1058-2746(96)80067-X]

4	Goldberg SS, Bell JE, Kim HJ, Bak SF, Levine WN, Bigliani LU. Hemiarthroplasty for the rotator cuff-deficient shoulder. J Bone Joint Surg Am 2008; 90: 554-559 [PMID: 18310705 DOI: 10.2106/JBJS.F.01029]

5	Pollock RG, Deliz ED, McIlveen SJ, Flatow EL, Bigliani LU. Prosthetic replacement in rotator cuff-deficient shoulders. J Shoulder Elbow Surg 1992; 1: 173-186 [PMID: 22971621 DOI: 10.1016/1058-2746(92)90011-Q]

6	Grammont PM, Baulot E. Delta shoulder prosthesis for rotator cuff rupture. Orthopedics 1993; 16: 65-68 [PMID: 8421661]

7	Matsen FA, Boileau P, Walch G, Gerber C, Bicknell RT. The reverse total shoulder arthroplasty. J Bone Joint Surg Am 2007; 89: 660-667 [PMID: 17375448]

8	Naveed MA, Kitson J, Bunker TD. The Delta III reverse shoulder replacement for cuff tear arthropathy: a single-centre study of 50 consecutive procedures. J Bone Joint Surg Br 2011; 93: 57-61 [PMID: 21196544 DOI: 10.1302/0301-620X.93B1.24218]

9	Boileau P, Watkinson D, Hatzidakis AM, Hovorka I. Neer Award 2005: The Grammont reverse shoulder prosthesis: results in cuff tear arthritis, fracture sequelae, and revision arthroplasty. J Shoulder Elbow Surg 2006; 15: 527-540 [PMID: 16979046]

10	Werner CM, Steinmann PA, Gilbart M, Gerber C. Treatment of painful pseudoparesis due to irreparable rotator cuff dysfunction with the Delta III reverse-ball-and-socket total shoulder prosthesis. J Bone Joint Surg Am 2005; 87: 1476-1486 [PMID: 15995114 DOI: 10.2106/JBJS.D.02342]

11	Wall B, Nové-Josserand L, O’Connor DP, Edwards TB, Walch G. Reverse total shoulder arthroplasty: a review of results according to etiology. J Bone Joint Surg Am 2007; 89: 1476-1485 [PMID: 17606786 DOI: 10.2106/JBJS.F.00666]

12	Mulieri P, Dunning P, Klein S, Pupello D, Frankle M. Reverse shoulder arthroplasty for the treatment of irreparable rotator cuff tear without glenohumeral arthritis. J Bone Joint Surg Am 2010; 92: 2544-2556 [PMID: 21048173 DOI: 10.2106/JBJS.I.00912]

13	Rittmeister M, Kerschbaumer F. Grammont reverse total shoulder arthroplasty in patients with rheumatoid arthritis and nonreconstructible rotator cuff lesions. J Shoulder Elbow Surg 2001; 10: 17-22 [PMID: 11182731 DOI: 10.1067/mse.2001.110515]

14	Holcomb JO, Hebert DJ, Mighell MA, Dunning PE, Pupello DR, Pliner MD, Frankle MA. Reverse shoulder arthroplasty in patients with rheumatoid arthritis. J Shoulder Elbow Surg 2010; 19: 1076-1084 [PMID: 20363159 DOI: 10.1016/j.jse.2009.11.049]

15	Bufquin T, Hersan A, Hubert L, Massin P. Reverse shoulder arthroplasty for the treatment of three- and four-part fractures of the proximal humerus in the elderly: a prospective review of 43 cases with a short-term follow-up. J Bone Joint Surg Br 2007; 89: 516-520 [PMID: 17463122 DOI: 10.1302/0301-620X.89B4.18435]

16	Namdari S, Horneff JG, Baldwin K. Comparison of hemiarthroplasty and reverse arthroplasty for treatment of proximal humeral fractures: a systematic review. J Bone Joint Surg Am 2013; 95: 1701-1708 [PMID: 24048558 DOI: 10.2106/JBJS.L.01115]

17	Cuff DJ, Pupello DR. Comparison of hemiarthroplasty and reverse shoulder arthroplasty for the treatment of proximal humeral fractures in elderly patients. J Bone Joint Surg Am 2013; 95: 2050-2055 [PMID: 24257664 DOI: 10.2106/JBJS.L.01637]

18	Kaa AK, Jørgensen PH, Søjbjerg JO, Johannsen HV. Reverse shoulder replacement after resection of the proximal humerus for bone tumours. Bone Joint J 2013; 95-B: 1551-1555 [PMID: 24151278 DOI: 10.1302/0301-620X.95B11.31545]

19	Young SW, Zhu M, Walker CG, Poon PC. Comparison of functional outcomes of reverse shoulder arthroplasty with those of hemiarthroplasty in the treatment of cuff-tear arthropathy: a matched-pair analysis. J Bone Joint Surg Am 2013; 95: 910-915 [PMID: 23677358 DOI: 10.2106/JBJS.L.00302]

20	Ek ET, Neukom L, Catanzaro S, Gerber C. Reverse total shoulder arthroplasty for massive irreparable rotator cuff tears in patients younger than 65 years old: results after five to fifteen years. J Shoulder Elbow Surg 2013; 22: 1199-1208 [PMID: 23385083 DOI: 10.1016/j.jse.2012.11.016]

21	Nanda R, Goodchild L, Gamble A, Campbell RS, Rangan A. Does the presence of a full-thickness rotator cuff tear influence outcome after proximal humeral fractures? J Trauma 2007; 62: 1436-1439 [PMID: 17563662 DOI: 10.1097/TA.0b013e3180514ce2]

22	Parsons IM, Millett PJ, Warner JJ. Glenoid wear after shoulder hemiarthroplasty: quantitative radiographic analysis. Clin Orthop Relat Res 2004; (421): 120-125 [PMID: 15123936]

23	Levine WN, Fischer CR, Nguyen D, Flatow EL, Ahmad CS, Bigliani LU. Long-term follow-up of shoulder hemiarthroplasty for glenohumeral osteoarthritis. J Bone Joint Surg Am 2012; 94: e164 [PMID: 23172331 DOI: 10.2106/JBJS.K.00603]

24	Cazeneuve JF, Cristofari DJ. Long term functional outcome following reverse shoulder arthroplasty in the elderly. Orthop Traumatol Surg Res 2011; 97: 583-589 [PMID: 21917540 DOI: 10.1016/j.otsr.2011.03.025]

25	Chalmers PN, Slikker W, Mall NA, Gupta AK, Rahman Z, Enriquez D, Nicholson GP. Reverse total shoulder arthroplasty for acute proximal humeral fracture: comparison to open reduction-internal fixation and hemiarthroplasty. J Shoulder Elbow Surg 2014; 23: 197-204 [PMID: 24076000 DOI: 10.1016/j.jse.2013.07.044]

26	Gallinet D, Adam A, Gasse N, Rochet S, Obert L. Improvement in shoulder rotation in complex shoulder fractures treated by reverse shoulder arthroplasty. J Shoulder Elbow Surg 2013; 22: 38-44 [PMID: 22705317 DOI: 10.1016/j.jse.2012.03.011]

27	Ballas R, Béguin L. Results of a stemless reverse shoulder prosthesis at more than 58 months mean without loosening. J Shoulder Elbow Surg 2013; 22: e1-e6 [PMID: 23419604 DOI: 10.1016/j.jse.2012.12.005]

28	Sershon RA, Van Thiel GS, Lin EC, McGill KC, Cole BJ, Verma NN, Romeo AA, Nicholson GP. Clinical outcomes of reverse total shoulder arthroplasty in patients aged younger than 60 years. J Shoulder Elbow Surg 2014; 23: 395-400 [PMID: 24129052 DOI: 10.1016/j.jse.2013.07.047]

29	Muh SJ, Streit JJ, Wanner JP, Lenarz CJ, Shishani Y, Rowland DY, Riley C, Nowinski RJ, Edwards TB, Gobezie R. Early follow-up of reverse total shoulder arthroplasty in patients sixty years of age or younger. J Bone Joint Surg Am 2013; 95: 1877-1883 [PMID: 24132362 DOI: 10.2106/JBJS.L.10005]

30	Edwards TB, Williams MD, Labriola JE, Elkousy HA, Gartsman GM, O’Connor DP. Subscapularis insufficiency and the risk of shoulder dislocation after reverse shoulder arthroplasty. J Shoulder Elbow Surg 2009; 18: 892-896 [PMID: 19282204 DOI: 10.1016/j.jse.2008.12.013]

31	Clark JC, Ritchie J, Song FS, Kissenberth MJ, Tolan SJ, Hart ND, Hawkins RJ. Complication rates, dislocation, pain, and postoperative range of motion after reverse shoulder arthroplasty in patients with and without repair of the subscapularis. J Shoulder Elbow Surg 2012; 21: 36-41 [PMID: 21803609 DOI: 10.1016/j.jse.2011.04.009]

32	Lévigne C, Boileau P, Favard L, Garaud P, Molé D, Sirveaux F, Walch G. Scapular notching in reverse shoulder arthroplasty. J Shoulder Elbow Surg 2008; 17: 925-935 [PMID: 18558499 DOI: 10.1016/j.jse.2008.02.010]

33	Martinez AA, Bejarano C, Carbonel I, Iglesias D, Gil-Albarova J, Herrera A. The treatment of proximal humerus nonunions in older patients with reverse shoulder arthroplasty. Injury 2012; 43 Suppl 2: S3-S6 [PMID: 23622989 DOI: 10.1016/S0020-1383(13)70172-4]

34	Valenti P, Kilinc AS, Sauzières P, Katz D. Results of 30 reverse shoulder prostheses for revision of failed hemi- or total shoulder arthroplasty. Eur J Orthop Surg Traumatol 2013 Oct 18; Epub ahead of print [PMID: 24136494]

35	Nyffeler RW, Werner CM, Simmen BR, Gerber C. Analysis of a retrieved delta III total shoulder prosthesis. J Bone Joint Surg Br 2004; 86: 1187-1191 [PMID: 15568535]

36	Sirveaux F, Favard L, Oudet D, Huquet D, Walch G, Molé D. Grammont inverted total shoulder arthroplasty in the treatment of glenohumeral osteoarthritis with massive rupture of the cuff. Results of a multicentre study of 80 shoulders. J Bone Joint Surg Br 2004; 86: 388-395 [PMID: 15125127]

37	Berhouet J, Garaud P, Favard L. Evaluation of the role of glenosphere design and humeral component retroversion in avoiding scapular notching during reverse shoulder arthroplasty. J Shoulder Elbow Surg 2014; 23: 151-158 [PMID: 23850310 DOI: 10.1016/j.jse.2013.05.009]

38	De Biase CF, Ziveri G, Delcogliano M, de Caro F, Gumina S, Borroni M, Castagna A, Postacchini R. The use of an eccentric glenosphere compared with a concentric glenosphere in reverse total shoulder arthroplasty: two-year minimum follow-up results. Int Orthop 2013; 37: 1949-1955 [PMID: 23748462 DOI: 10.1007/s00264-013-1947-9]

39	Roche CP, Marczuk Y, Wright TW, Flurin PH, Grey S, Jones R, Routman HD, Gilot G, Zuckerman JD. Scapular notching and osteophyte formation after reverse shoulder replacement: Radiological analysis of implant position in male and female patients. Bone Joint J 2013; 95-B: 530-535 [PMID: 23539706 DOI: 10.1302/0301-620X.95B4.30442]

40	Frankle M, Siegal S, Pupello D, Saleem A, Mighell M, Vasey M. The Reverse Shoulder Prosthesis for glenohumeral arthritis associated with severe rotator cuff deficiency. A minimum two-year follow-up study of sixty patients. J Bone Joint Surg Am 2005; 87: 1697-1705 [PMID: 16085607]

41	Edwards TB, Trappey GJ, Riley C, O’Connor DP, Elkousy HA, Gartsman GM. Inferior tilt of the glenoid component does not decrease scapular notching in reverse shoulder arthroplasty: results of a prospective randomized study. J Shoulder Elbow Surg 2012; 21: 641-646 [PMID: 22079769 DOI: 10.1016/j.jse.2011.08.057]

42	Gerber C, Pennington SD, Lingenfelter EJ, Sukthankar A. Reverse Delta-III total shoulder replacement combined with latissimus dorsi transfer. A preliminary report. J Bone Joint Surg Am 2007; 89: 940-947 [PMID: 17473129]

43	Ortmaier R, Resch H, Hitzl W, Mayer M, Blocher M, Vasvary I, Mattiassich G, Stundner O, Tauber M. Reverse shoulder arthroplasty combined with latissimus dorsi transfer using the bone-chip technique. Int Orthop 2014; 38: 553-559 [PMID: 24132802]

44	Puskas GJ, Catanzaro S, Gerber C. Clinical outcome of reverse total shoulder arthroplasty combined with latissimus dorsi transfer for the treatment of chronic combined pseudoparesis of elevation and external rotation of the shoulder. J Shoulder Elbow Surg 2014; 23: 49-57 [PMID: 23790326 DOI: 10.1016/j.jse.2013.04.008]

45	Smith CD, Guyver P, Bunker TD. Indications for reverse shoulder replacement: a systematic review. J Bone Joint Surg Br 2012; 94: 577-583 [PMID: 22529074 DOI: 10.1302/0301-620X.94B5.27596]

46	Wierks C, Skolasky RL, Ji JH, McFarland EG. Reverse total shoulder replacement: intraoperative and early postoperative complications. Clin Orthop Relat Res 2009; 467: 225-234 [PMID: 18685908 DOI: 10.1007/s11999-008-0406-1]

47	Levy JC, Anderson C, Samson A. Classification of postoperative acromial fractures following reverse shoulder arthroplasty. J Bone Joint Surg Am 2013; 95: e104 [PMID: 23925750 DOI: 10.2106/JBJS.K.01516]

48	Farshad M, Gerber C. Reverse total shoulder arthroplasty-from the most to the least common complication. Int Orthop 2010; 34: 1075-1082 [PMID: 20865260 DOI: 10.1007/s00264-010-1125-2]

P- Reviewers: Day JS, Stasinopoulos D    S- Editor: Ji FF    L- Editor: A    E- Editor: Lu YJ

FIGURE LEGENDS

Figure 1  Shoulder replacement, shoulder with native glenohumeral joint and osteoarthritis. A: Following total shoulder replacement; B: Following reverse shoulder replacement. The interval between the two plumb lines is wider than in Figures 1A, C and D, indicating medialisation of the center of shoulder rotation. The longer distance between the acromion and humerus allows restoration of the deltoid length and tension; C: Native glenohumeral joint. A short plumb line showing the distance between the lateral edge of acromion and humerus head. A long plumb line is drawn from the inferior surface of acromion to the center of shoulder rotation. The interval between the short and long plumb lines is smaller than the interval in Figure 1B; D: Shoulder with osteoarthritis.