**Name of journal: Journal of Radiology**

**ESPS Manuscript NO: 8642**

**Columns: TOPIC HIGHLIGHT**

WJR 6th Anniversary Special Issues (8): fMRI

Recent developments in optimal experimental designs for functional magnetic resonance imaging

Kao MH *et al*. Experimental designs for fMRI

Ming-Hung Kao, M'hamed Temkit, Weng Kee Wong

**Ming-Hung Kao, M'hamed Temkit,** School of Mathematical and Statistical Sciences, Arizona State University, Tempe, AZ 85287, United States

**Weng Kee Wong,** Department of Biostatistics, University of California at Los Angeles, Los Angeles, CA 90095, United States

**Author contributions:** Kao MH wrote the paper; Temkit M and Wong WK revised it critically for important intellectual content.

**Correspondence to: Ming-Hung Kao, Assistant Professor** of Statistics, School of Mathematical and Statistical Sciences, Arizona State University, PO Box 871804, Tempe, AZ 85287, United States. mkao3@asu.edu

**Telephone:** +1-480-9653951 **Fax:** +1-480-9658119

**Received:** December 31, 2013 **Revised:** April 30, 2014

**Accepted:** May 28, 2014

**Published online:**

**Abstract**

Functional magnetic resonance imaging (fMRI) is one of the leading brain mapping technologies for studying brain activity in response to mental stimuli. For neuroimaging studies utilizing this pioneering technology, there is a great demand of high-quality experimental designs that help to collect informative data to make precise and valid inference about brain functions. This paper provides a survey on recent developments in experimental designs for fMRI studies. We briefly introduce some analytical and computational tools for obtaining good designs based on a specified design selection criterion. Research results about some commonly considered designs such as blocked designs, and m-sequences are also discussed. Moreover, we present a recently proposed new type of fMRI designs that can be constructed using a certain type of Hadamard matrices. Under certain assumptions, these designs can be shown to be statistically optimal. Some future research directions in design of fMRI experiments are also discussed.

© 2014 Baishideng Publishing Group Inc. All rights reserved.

**Key words**: A-optimality; Blocked designs; Design efficiencies; D-optimality; Genetic algorithms; Hadamard sequences; M-sequences

**Core tip**: This paper provides an overview on recent developments in the design of functional magnetic resonance imaging experiments (fMRI). We discuss both analytical results and computational approaches that are currently available for selecting high-quality fMRI designs.

Kao MH, Temkit M, Wong WK. Recent developments in optimal experimental designs for functional magnetic resonance imaging . *World J Radiol* 2014; In press

**INTRODUCTION**

Recent years have seen an upsurge of functional brain imaging experiments for a better understanding of how humans learn, remember and make decisions. Such experiments are also widely conducted by researchers to help provide paths to treat/prevent some terrifying brain disorders such as Alzheimer’s disease, and are thus very valuable. As in many scientific investigations, designing a high-quality experiment is an important first step for successful functional brain imaging studies. A carefully designed experiment allows experimenters to collect informative data to make precise inference on the goals/hypotheses at minimal cost. On the other extreme, data collected from a poorly designed experiment may fail to provide valid answers to the research questions of interest, resulting in a waste of resource. The importance of the use of a carefully selected experimental design (or data collection plan) cannot be overemphasized.

This paper provides a survey on some recent developments in experimental designs for functional magnetic resonance imaging (fMRI) experiments. Functional MRI is one of the most common functional brain mapping technologies. This pioneering, noninvasive technology helps to study experimental subjects' brain activity when they are cognitively engaging with mental stimuli such as viewing pictures, tapping fingers, solving problems, recalling events, or making decisions. It is used in various research areas including psychology, economics, and cognitive neuroscience[1], and has great clinical potentials as highlighted in a special issue on clinical applications of fMRI in Neuropsychology Review, Vol. 7, No. 2, 2007. However, fMRI experiments are usually expensive, and the collected data is notoriously noisy, making it difficult to draw precise statistical inference on brain functions. We thus would like a high-quality experimental design to help us make the best use of the limited resources to collect informative fMRI data.

An fMRI design is a sequence of mental stimuli to be presented to an experimental subject in an fMRI experiment. While the subject is performing the tasks determined by the selected stimulus sequence, an MRI scanner repeatedly scans his/her brain to acquire fMRI data for making statistical inference about the brain activity. The quality of the collected data depends on the selected design. However, due to the complexity of fMRI, obtaining the “best” fMRI design suited to the goal(s) of the experiment is a challenging task. We usually need to consider not only the statistical efficiency in achieving one or more (competing) study objectives, but also some unwanted psychological effects that can contaminate the data. In addition, we may want the obtained design to fulfill some practical constraints. The large diversity of the fMRI experimental settings and protocols also contributes to the difficulty of design selection. In almost all cases, we deal with a very challenging combinatorial problem.

There are some advances in the selection of fMRI designs, but much more work is needed to move this new emerging research area forward. The purpose of this article is to provide a brief overview of stochastic and deterministic computational tools for designing efficient fMRI studies as well as recent insights obtained for such studies using analytical methods. We begin in the next section with background information on fMRI studies, and introduce terminology and notation used in this article. We then present the general linear models widely used for the design and analysis of fMRI studies and popular design criteria in this area. Some recently obtained results and guidelines for selecting fMRI designs are discussed. We close the article with a summary and discussion.

**BACKGROUND**

***Terminology and notation***

In a typical fMRI experiment, a sequence of mental stimuli (*e.g.*, pictures) of one or more types interlaced with periods of rest or, say, visual fixation is presented to each experimental subject. These stimuli give rise to neuronal activity at some brain regions that triggers an increased inflow of oxygenated blood, leading to a decrease in the concentration of deoxygenated blood. This change in the ratio of oxy- to deoxy-blood can influence the strength of the magnetic field, and results in a rise and fall in the intensity of signals collected by the MRI scanner. Specifically, the MRI scanner collects MRI measurements by repeatedly scanning each of the, say, 64 × 64 × 30 brain voxels, which are volumetric image elements that cover (part of) the subject's brain. Some voxels may fall outside the brain; see also Subsection 2.1.1 of Lazar[2]. At each voxel, MRI measurements are collected every τTR (*e.g.*, 2) seconds to form a blood oxygenation level dependent fMRI time series. The pre-specified time τTR is called the time to repetition. These time series serve as surrogate measurements of the underlying neuronal activity, and are analyzed to make inference about how the brain reacts to the stimuli; see also Lazar[2].

The inference on brain activity is mainly based on some characteristics of the hemodynamic impulse response function (HRF). The HRF is a function of time describing the rise and fall of the noise-free MRI measurements following a brief neuronal firing that occurs at a voxel. Previous studies suggest that the HRF may increase from baseline in about two seconds after the onset of a brief stimulus, reach the peak in five to eight seconds, and possibly fall down below baseline before its complete return to baseline[1,3]. This process may take about 30 s, counting from the onset of the brief stimulus to the HRF's complete return to baseline. If there are other neuronal firings (*e.g.*, due to the onset of other stimuli) before the cessation of the previous HRF, the evoked HRFs overlap and their heights accumulate. Since fMRI time series is typically very noisy, identifying the characteristics of the HRF by visual inspections is difficult, if not impossible. Statistical methods are thus needed to help extract useful information from the data. As an integral part of the statistical process, we would like to select a “good” fMRI design that helps to make valid inference.

An fMRI design is a sequence of mental stimuli of one or more types. When the sequence is presented to an experimental subject, each stimulus may last as brief as several milliseconds or as long as, say, a minute. Stimuli with extended presentation duration, *e.g.*, 10-60 s, are used in traditional blocked designs, which are also termed as boxcar designs. In such a design, the stimulus of the same type can appear at multiple time points during the experiment, but each long stimulus is immediately followed by a long stimulus of another type or by a period of control (*e.g.*, rest). It also is not uncommon to replace each long stimulus by a short sequence of separate but brief stimuli of the the same type. The resulting designs are still called blocked designs. For experiments with Q stimulus types, a typical blocked design may be the repetitions of {A1A2…AQA0}, where, for q =1, ..., Q, Aq represents a presentation of a long stimulus (or a sequence of brief stimuli) of the qth type, and A0 is a period of control. At a brain voxel responding to the qth-type stimulus, neuronal firings can be expected throughout the time span of each “on-period” Aq. This leads to an accumulation of overlapping HRFs. With a long on-period of the stimulus, the MRI signal intensity increases to a high level, and may reach a plateau before dropping down to baseline following the cessation of the stimulus. The large contrast between the elevated signal intensity and baseline facilitates the detection of brain voxels (or regions) that respond to the stimulus. Blocked designs are thus often recommended for detecting brain voxels that are activated by the stimuli; see the Results on Design Selection section for a further discussion.

Moving away from blocked designs, some studies showed that an individual stimulus that is as brief as several tens of milliseconds can evoke a detectable change in the MRI measurements; see Rosen *et al*[3] and references therein. In addition, the heights of overlapping HRFs following multiple brief stimuli tend to be (roughly) additive when the time between stimulus onsets is not overly short (*e.g.*, at least 2 s); see also Friston *et al*[4]. These observations make it possible to consider event-related (ER-) fMRI designs that consist of brief stimuli whose order may be randomized. An ER-fMRI design of Q stimulus types is often written as a finite sequence of elements 0, 1, ..., Q, and may look like d=(1012021…1). A positive integer q in d represents an onset of a qth-type stimulus, and 0 means no stimulus onset. Specifically, when the ith element of **d** is di = q (> 0), a qth-type stimulus appears briefly at time (i–1)τISI for a pre-determined τISI; time 0 may be synchronized to the first valid MRI scan. For example, when d3 = 1 and τISI = 4 seconds, a stimulus of the first type (*e.g.*, a picture of a familiar face) will occur briefly at the (3–1)τISI = 8th second after the first valid MRI scan. With d4 = 2, a stimulus of the second type (*e.g.*, a picture of an unfamiliar face) will appear at the 12th second after the first valid MRI scan. When di = 0, there is no stimulus onset at time (i–1)τISI. With these 0's in the design, time between stimulus onsets may be “jittered”[5], and thus, may not be fixed to τISI. Typically, the control (*e.g.*, a visual fixation or rest period) fills in the time between the offset of a brief stimulus to the onset of the next stimulus. Due to its flexibility, ER-fMRI designs have gained much popularity[6]. However, a typical design can easily contain tens or hundreds of elements, making it very challenging for selecting good designs. In this paper, we discuss some recently developed approaches for finding high-quality fMRI designs, including both blocked and ER-fMRI designs. Most of these approaches are built upon the popular general linear model framework. This framework is described below.

***The general linear model framework***

The fMRI time series, {y(t): t ≥ 0}, of a brain voxel is typically modeled as the sum of 1) the convolution of the stimulus function and the HRF, 2) a nuisance term allowing for a trend or drift of y(t) and 3) noise[7,8]. We consider the following continuous-time model:

, (1)

where xq(t) is the stimulus function for the stimuli of the qth type, hq(τ; **β**q) is the HRF evoked by the qth-type stimulus, βq is an unknown parameter vector, q = 1, ..., Q, s(t; **γ**) is a nuisance term approximating the drift/trend of the time series, **γ** is the corresponding unknown parameter vector, and e(t) is noise. The stimulus function xq(t) indicates the appearances of the qth-type stimuli, and may be a sum of boxcar functions or a sum of (shifted) Dirac delta functions; see also Henson and Friston[9]. Boxcar functions are often employed in experiments with blocked designs. In this case, xq(t) takes a positive value during the ‘on-periods’ of the qth-type stimulus of a block design, and is 0, otherwise. The resulting model is sometimes referred to as the epoch model[10]. In an event-related model, the xq(t) is a sum of (shifted) Dirac delta functions that indicates the onset times of the brief stimuli of the qth type.

The most commonly used fMRI data analysis method is probably the general linear model approach[1]. Partly due to this popularity, existing studies on fMRI designs mainly focus on linear models such as models (2) and (3) that are extensions of (1), and are linear in the parameters βq's and γ. In the fMRI literature[11,12], dual models are commonly considered for two popular study objectives, namely the detection of brain activations (or detection) and the estimation of the HRF (or estimation). The main difference between the two models is that they used different sets of basis functions to describe hq(τ; βq) of model (1); see also Friston *et al*[4].

For detection, the HRF hq(τ; βq) is typically approximated by θqh\*(τ), where h\*(τ) is an assumed shape of the HRF, and θq is the unknown amplitude (or maximum height) of the HRF. Thus, βq contains only one parameter θq that signals the strength of brain activation due to the qth-type stimulus. Since the MRI measurements y(t) is collected every τTR seconds, we consider the following discrete-time model:

. (2)

Here, **y**=(y1, ...., yT)' with yt = y((t–1)τTR). The vector **z**q is obtained by subsampling the convolution of xq(t) and h\*(τ) with a sampling rate of τTR seconds. **Sγ** corresponds to s(t; **γ**) of (1) with **S** being a specified matrix. For example, the tth element of **Sγ** might be γ0+γ1t+γ2t2. The vector **e** in model (2) represents the noise. The focus of model (2) is typically on **C**1**θ** for a given matrix **C**1 whose rows contain coefficients of linear combinations of θ1,…, θQ; here, **θ** = (θ1,…, θQ)'. When **C**1= **I**Q is the identity matrix of order Q, the focus is on the strength of brain activation due to each stimulus type. It is also common to study (θp – θq) for p ≠ q. In such a case, the rows of **C**1 contain the coefficients of the pairwise comparisons between the HRF amplitudes.

The estimation of the HRF is a study objective that has gained much popularity with the advent of ER-fMRI. A widely used model for this objective is:

. (3)

Here, hq = (h1q, ..., hKq)' is an unknown parameter vector representing the heights of the HRF that contribute to **y**. Specifically, hkq= hq((k–1) ΔT; βq) is the HRF height at (k–1)ΔT seconds after the onset of a qth-type stimulus, where ΔT is the greatest real value making (τISI/ΔT) and (τTR/ΔT) integers; k=1, ...,K. The value of K is selected so that hq((k–1) ΔT; **β**q) becomes negligible when τ > (K–1)ΔT. For a commonly considered 32-second HRF, K = ⎣32/ΔT⎦ with ⎣a⎦ being the integer part of a. The consideration of **h**q is equivalent to modeling hq((k–1) ΔT; **β**q) of (1) by a linear combination of K shifted Kronecker delta functions; i.e., hq((k–1) ΔT; **β**q) =, where δk(τ) = 1 when τ = (k–1)ΔT, and δk(τ) = 0, otherwise; **β**q thus contain all the K coefficients (HRF heights) h1q, ..., hKq. **X**q = [**x**1q, ..., **x**Kq] in model (3) is the 0-1 design matrix of size T-by-K for the qth-type stimuli. The tth element of **x**kq is 1 when hkq contributes to yt. The remaining terms in (3) are as in (2). In contrast to model (2) for detection, model (3) does not assume a known shape for the HRF. The goal is to estimate all the unknown HRF heights hkq or to study some linear combinations **C**2**h** of these heights with **h** = (**h**1', ..., **h**Q')' and a given linear combination coefficient matrix **C**2.

***Design selection criteria***

With models (2) and (3) respectively for detection and estimation, the main design goal is to select an fMRI design that yields the most precise parameter estimates of the parametric functions of interest. Some statistically meaningful optimality criteria have been proposed for evaluating the goodness of competing designs. Two popular criteria in the fMRI literature are A- and D-optimality criteria. For detection problems with model (2), the A-optimality criterion can be defined as the following ‘larger-the better’ criterion:

Here, r1 is the number of rows of **C**1, and **Z** = [**z**1, ..., **z**Q]. **V** is a whitening matrix such that cov(Ve) = σ2 VRV' = σ2IT, where σ2 is the error variance, and R = corr(e) is the correlation matrix of errors. The matrix ω{A} = A (A'A)-A' is the orthogonal projection matrix onto the column space of A. A- is a generalized inverse of A, and M1(d) = Z'V'(IT – ω{VS}VZ is the information matrix of θ. We note that V may be obtained by, *e.g.*, the Cholesky decomposition of R-1, and, depending on the assumptions made at the design stage, it may or may not contain unknown parameters; see also the Results on Design Selection section and Maus *et al*[13]. The criterion in (4) depends on the selected design d through the design matrix **Z**, and is inversely proportional to the average variance of the least-squares estimates of the parametric functions defined by **C**1**θ**. For estimating the HRF with model (3), the A-optimality criterion can be written as:

where r2 is the number of rows of **C**2, **X**=[**X**1, ..., **X**Q] is the design matrix depending on the selected design d, M2(d) is the information matrix for h, and all the remaining terms are as in (4).

The D-optimality criterion seeks to minimize the volume of the (asymptotic) confidence ellipsoid of C2h. For the detection of brain activation with model (2) and the estimation of the HRF with model (3), D-optimal designs are found by maximizing the following two criteria, respectively:

All the terms in (6) and (7) are as in (4) and (5), respectively. For the D-optimality criteria, the coefficient matrices **C**1 and **C**2 are required to be full row rank. The selection between the A- and D-optimality criteria depends on the need and preference of the experimenter. As indicated in Maus *et al*[14], while early works on fMRI designs mainly focused on the A-optimality criterion, there is no obvious reason to generally prefer one criterion over the other. In the subsequent sections, we discuss some results on fMRI design selection. Most of these results are based on the A- or D-optimality criterion.

**RESULTS ON DESIGN SELECTION**

***Blocked designs for detecting brain activations***

There is some guidance on selecting blocked designs for detecting brain activations in the literature. For example, Henson[15] advocated the use of blocked designs having a 15-s-on-15-s-off pattern. For such a blocked design formed by {A1A2…AQA0}, the duration of each Aq is fixed to 15 seconds. This suggestion is based on the Fourier transformations of the convolution in (1) by assuming that the HRF has the form of the double-gamma function:

(8)

The double-gamma function is widely used as the HRF shape, and is built in a software package, called SPM (http://www.fil.ion.ucl.ac.uk/spm/), for fMRI data analysis. In the frequency domain, this HRF acts as a low-pass filter that `passes' low-frequency signals and reduces the amplitude of high-frequency signals. As demonstrated in Henson[15], after the Fourier transformation, a large proportion of the signal energy of a 15-s-on-15-s-off blocked design is retained by the selected HRF shape. In addition, the use of an on-period Aq that is longer than 50 seconds is not recommended. This is because the signal energy of the resulting blocked designs may be lost after accounting for the low-frequency nuisance signals such as heartbeats or respirations which is modeled by s(t; **γ**) in (1).

Setting the block length (or duration of Aq) to 15 seconds may not be optimal for an HRF shape that is different from (8). For example, Liu *et al*[16] considered cases with one stimulus type (Q = 1), and evaluated the performance of designs with the A-optimality criterion. They observed that the blocked design with a block length of 64 seconds tends to have a high statistical efficiency in detection when a single gamma density function is used to model the HRF shape. This latter HRF shape is also not uncommon, especially for cases where the HRF does not fall below baseline when returning from its peak. In addition, Liu *et al*[16] suggested that the selection of block length also depends on s(t; **γ**). In particular, they demonstrated that the blocked design with a 64-s block length can yield a smaller -value than designs with a shorter (*e.g.*, 32 s) blocked length when the statistical model also allows for a second- or third-order Legendre polynomial drift.

To provide additional information on design selection, Maus *et al*[14] studied blocked designs of two stimulus types (Q = 2) with selected block lengths (10, 15, 20, 30 or 60 s), and patterns (repetitions of {A1A2 }, {A1A2A0}, or {A1A0A2A0}). Each block Aq is formed by a sequence of 1-second stimuli of the qth type; q = 1, 2, and the time between the onsets of consecutive stimuli in the same block is τISI = 1, 2, or 3 s. They compare the statistical efficiencies of these blocked designs in detecting brain activations via model (2). In their model, the nuisance term **Sγ** corresponds to a linear trend, and the HRF shape used to construct **z**q is set to the double-gamma function of (8). The errors are assumed to have one of the three possible structures, including uncorrelated errors, first order autoregressive (AR1) process, and an AR1 process plus a measurement error (AR1+ME).

Considering both and , Maus *et al*[14] suggested to keep τISI as short as possible. In addition, they recommended to use the design pattern {A1A2A0} for studying the HRF amplitudes θ1 and θ2. When the focus is on comparing the amplitudes (i.e. θ1 – θ2), blocked designs formed by {A1A2} are recommended. The results of Maus *et al*[14] also indicate that the selection of block length may hinge on the assumed error correlation. When the focus is on θq's, a block length of 15 s is recommended for both uncorrelated and AR1 errors. As for AR1+ME errors, a block length of 10 s is the best among the selected blocked lengths. For studying the contrast between the HRF amplitudes, the suggested block lengths are 20 s and 15 s for uncorrelated errors and correlated errors (AR1 or AR1+ME), respectively.

These previous studies provide some guidelines on selecting blocked designs for detecting brain activations. It can also be seen that the selection of blocked designs depend on a few factors. These factors include the parametric function **C**1**θ** of interest, the selected HRF shape, the model for capturing the drift/trend of the fMRI time series, and the error correlation structure. For cases that are not covered by these guidelines, we may obtain a good design for detection by using a computer algorithm. Some algorithms have already been proposed in the fMRI literature. Most of these computational approaches can be employed for cases considering the detection of brain activations, the estimation of the HRF, or when both detection and estimation are of interest. Some practical constraints may also be imposed when using these computational tools. In what follows, we first describe some guidelines for selecting ER-fMRI designs for estimating the HRF. We then discuss computer algorithms for obtaining good fMRI designs.

***ER-fMRI designs for estimating the HRF***

The estimation of the HRF helps to make inference about some characteristics of the underlying neuronal activity as also described in Lindquist *et al*[17]. For this objective, model (3) may be considered, and the goal is to obtain a design yielding the most precise parameter estimates of **C**2**h** for a given **C**2. By considering the A-optimality criterion of (5), Dale[18] suggested to allow for variable time intervals between onsets of consecutive stimuli, and the average of these time intervals should be kept small. This suggestion can also be applied to the D-optimality criterion of (7). However, one should take caution that if the time between stimulus onsets is overly short (*e.g.*, < 2 s), the accumulated heights of the overlapping HRFs may saturate at a certain level. Consequently, the assumption of the additivity of the HRF heights can be violated. For such a case, the nonadditive HRF heights should be taken into account when evaluating the goodness of designs; see also, Wager *et al*[19] and Wager *et al*[20]. However, current methods for accounting for the nonadditive HRF heights tend to be ad hoc, and additional investigations are needed.

While rendering useful information, Dale[18] did not provide a systematic way for design construction. Buračas and Boynton[21] worked on the same design issue, and advocated the use of maximum length shift-register sequences (or m-sequences). Such a design can be generated by a primitive polynomial over a Galois field GF(Q+1) consisting of Q+1 elements, where Q+1 is a prime power. To construct an m-sequence, one may select a primitive polynomial from, *e.g.*, Table 3.5, 3.6 or 3.7 of Golomb and Gong[22]. The m-sequence **d** = (d1, ..., dN) is then determined by the relation, (mod Q+1) with a nonzero initial r-tuple (d1, ..., dr); see also Lidl and Niederreiter[23], and MacWilliams and Sloane[24]. Such a design can also be obtained via an MATLAB program developed by Liu[11]. For an m-sequence of length N = (Q+1)r – 1, every nonzero r-tuple appears exactly once in the set {(d1, ..., dr), (d2, ..., dr+1), ..., (dN,d1 ..., dr–1)}.

Buračas *et al*[21] and Liu[11] reported the high performance of m-sequences in terms of the -value when **C**2 = **I**QK is the QK-by-QK identity matrix. However, when Q > 1, the frequency of the appearance of each stimulus type of an m-sequence can be different from the optimal stimulus frequency approximated by Liu and Frank[12] for A-optimality. In particular, Liu and Frank[12] indicated that the optimal stimulus frequency of an A-optimal design for estimating the HRF h is about for each of the Q stimulus types. The optimal number of 0 is thus approximately . Since the stimulus frequency of m-sequences is about 1/(Q+1), these designs may not be A-optimal; see also Kao *et al*[25]. For with **C**2 = **I**QK, the optimal stimulus frequency approximated by Maus *et al*[13] is 1/(Q+1), and is close to that of m-sequences. Maus *et al*[13] thus suggested that the optimality of m-sequences may depend on the selected criterion.

However, attaining the (approximated) optimal stimulus frequency does not guarantee an optimal design. To derive additional insightful results, Kao[26] also studied model (3) with the following assumption: Assumption 1.(a) The number of MRI scans T equals the length N of the design **d** and τTR = τISI; (b) **S** =**j**­T is the T-by-1 vector of ones, and cov(e) ∝ IT; and (c) the last K – 1 elements of design **d** are also presented to the subject before the first valid MRI scan.

Assumptions 1(a) and 1(c) are mild, and can often be controlled by the experimenters. Assumption 1(b) is mainly for mathematical simplicity, and is also considered in some previous studies such as Liu *et al*[16] and Maus *et al*[27]. Following an argument in Kushner[28], for the results to be discussed in the remaining of this subsection, Assumption 1(b) can be relaxed to include cases with cov(e) = αIT + λjT' + jTλ', where α is a constant and λ is a vector of constants. The results thus hold for a compound symmetric covariance matrix with cov(e) = αIT + λJT, where λ is a constant, and JT is the T-by-T matrix of ones. For estimating the K-by-1 HRF parameter vector h1 with one stimulus type (Q = 1), Kao[26] showed that a design of length N having n1 = N/2 and nr(11) = (n1)2/N for all r = 1, ..., K – 1 is universally optimal. Here, nq is the frequency of the qth-type stimuli in the design **d**, and nr(pq) is the number of times (dn-r, dn) = (q,p) for n = 1, ..., N; dn-r = dN+n-r when n ≤ r. We also note that an universally optimal design can be shown to be optimal in a large class of optimality criteria, including A- and D-optimality[29]. For Q > 1, a similar sufficient condition for an ER-fMRI design to be D-optimal can also be found in Kao[26]. In particular, if all the symbols 0, 1, ..., Q appear equally often in a design **d** of length N, and that nr(pq) = npnq/N for all p, q=1, ..., Q and r = 1, ..., K – 1, then the design **d** maximizes of (7) under Assumption 1 and **C**2 = **I**QK.

As described in Kao[26], designs satisfying the previously mentioned sufficient conditions can be constructed by inserting an additional 0 to any (K – 1)-tuple of zeros in an m-sequence of length (Q+1)K – 1. The resulting design is a de Bruijn sequence[22,30]. Aguirre *et al*[30] proposed to use de Bruijn sequences for estimating the HRF. The results of Kao[26] help to establish the optimality of such designs.

Clearly, m-sequences do not satisfy the sufficient conditions provided by Kao[26]. Additional results are thus needed for establishing the optimality of these popular designs. Kao[31] worked on this direction, and proved that a binary m-sequence of length N ≥ 2K – 3 is D-optimal for estimating the HRF h1 under Assumption 1 with Q = 1. He also proposed a new type of ER-fMRI designs for estimating the HRF. This new type of designs, which are termed as Hadamard sequences, can be constructed by a normalized Hadamard matrix, H, having a circulant core. Specifically, the elements of the first row and column of H are 1 and all the other entries are +1 or -1 with HH' ∝ I. After deleting the first row and column of H, we have a circulant matrix called the circulant core. As described in Kao[31], a D-optimal design can be achieved by replacing +1 and -1 in any column of the circulant core by 0 and 1, respectively. It is noteworthy that binary m-sequences can also be generated using this same method and are thus special cases of Hadamard sequences. Nevertheless, Hadamard sequences exist in many different lengths for which a binary m-sequence is unavailable. These newly proposed designs are thus much more flexible than m-sequences and the previously mentioned de Bruijn sequences in terms of design length.

Kao[31] also conducted some case studies on the performance of Hadamard sequences when Assumptions 1(b) and 1(c) are violated. Based on empirical results, Hadamard sequences tend to remain efficient when the nuisance term **Sγ** in model (3) corresponds to a second-order polynomial drift, the noise follows an AR1 process, and/or no stimulus is presented before the first valid MRI scan. This result is especially true when the autocorrelation coefficient of the AR1 noise is not as high as ρ = 0.5 or when the design is not too short (*e.g.*, N < 100). We also note that a violation of Assumption 1(a) can have a great impact on the performance of Hadamard sequences. For cases with τTR ≠ τISI, we may consider efficient computational methods for obtaining good designs. Some computational approaches are introduced in the next subsection. These approaches are also applicable when both estimation and detection are of interest.

***Computational tools for obtaining fMRI designs***

In the fMRI literature, some computer algorithms are proposed for finding an ER-fMRI design of the form **d** = (d1, ..., dN) with dn ∈ {0, 1, ..., Q} that optimizes a specific single- or multi-objective optimality criterion. To efficiently search over the enormous space of ER-fMRI designs for good designs, Wager and Nichols[19] advocated the use of the genetic algorithm (GA) technique. Due to their versatility, GAs can accommodate various experimental settings to find designs suited to individual fMRI experiments. Following Wager and Nichols[19], Kao *et al*[25] put forward an efficient GA that takes advantage of knowledge on the performance of some ER-fMRI designs to improve the efficiency of the GA search. Some well-known designs such as m-sequences, blocked designs, and their combinations are employed in the algorithm of Kao *et al*[25] to increase the diversity of the designs being explored, and to maintain a supply of good traits (or building blocks) that help to form good designs during the GA search. As demonstrated in Kao *et al*[25], this strategy is very effective.

With the previously mentioned GAs, one can find a (near-)optimal design for user-specified number of stimulus types Q, design length N, τISI, τTR, and model assumptions, including the model for drift/trend of the time series, error correlation structure, and, if model (2) is considered, the HRF shape. Depending on the study objective(s), the optimality criterion for evaluating the quality of designs may be , , or a weighted sum of some of these criteria; weights are user-selected to reflect the relative importance of detection and estimation. In a weighted sum criterion, one may also include other individual criteria to account for quantifiable constraints/requirements of the study. For example, Wager *et al*[19] included a counterbalancing criterion for avoiding psychological confounds such as anticipation and habituation. By optimizing this criterion, the order of the stimuli in the resulting design cannot be easily predicted by the experimental subject. Moreover, we may include an additional individual criterion to measure the departure from a target frequency of appearances of each stimulus type; see also, Kao *et al*[25]. Such a customized requirement on the stimulus frequency may help to increase the subject's engagement in the presented mental tasks[32].

The GA of Kao *et al*[25] has been applied for studying several fMRI design issues. For example, this algorithm was used to obtain designs for cases where both individual stimulus effects (h and θ) and pairwise comparisons (hp – hq and θp – θq for p ≠ q) are of interest. Maus *et al*[13] used the GA to work on cases where the autocorrelation coefficient ρ of the AR1 noise is uncertain. The GA is also adapted in Kao *et al*[34] for finding designs suited to experiments with multiple scanning sessions.

In addition, Maus *et al*[35] and Kao *et al*[36] utilized the GA to tackle the design problem concerning an uncertain HRF shape. The need for considering the uncertainty of the HRF shape is manifested in some previous studies[37,38]. These studies pointed out that the HRF shape may vary across brain voxels, and that specifying a wrong HRF shape in, say, model (2) for detection may lead to an incorrect conclusion. To accommodate different HRF shapes, Kao[39] considered at the design stage the following nonlinear model:

**,** (9)

where h(u) is a K-by-1 vector representing the shape of the HRF, u is an unknown parameter vector that needs to be estimated from data, and all the remaining terms are as in (2) and (3). The vector h(u) may be determined by the double-gamma function of (8) with free parameters for accounting for the variability in the HRF shape; see also Wager *et al*[20]. In particular, the kth element of h(u) is g((k – 1) ΔT; u)/maxs g(s; u) with u = (u1, u2)' and

Here, u1 is the time-to-peak parameter, which mainly determines the time for the HRF to reach the peak, counting from its onset time. The time-to-onset parameter u2 determines the time when the HRF starts to increase from baseline, counting from the onset of a stimulus. As indicated by Wager *et al*[20], these two parameters are the most influential, although some additional free parameters may also be included in (10). For example, one may use a free parameter to replace the coefficient 1/6 in the second term of the non-zero part of (10). The function Γ(u) = = (u–1) Γ(u – 1) in (10) is the gamma function. We note that the function g\*(τ) in (8) is a special case of (10) with **u** = (6, 0)'. Specifically, the HRF shape h\*(τ) in model (2) depends on g\*(τ), and is fixed. By contrast, the HRF shape in model (9) is determined by g(τ; **u**), and involves unknown parameters to be estimated from the data. The latter model is thus more flexible.

When making inference about θq for detecting brain activations, model (9) allows for an uncertain HRF shape. However, obtaining a good design for such a flexible model is quite challenging. Again, we would like a design optimizing some function (*e.g.*, the A- or D-optimality criterion) of the information matrix of θ. For model (9), this information matrix, denoted by M(d; θ, u), can be approximated by first-order Taylor approximation. In contrast to M1(d) and M2(d) in (4)-(7), M(d; θ, u) depends not only on the design d, but also on the unknown model parameters θ and u; see Kao[39] and Kao *et al*[36] for details. By treating **θ** and **u** as random variables, and assuming the availability of a (prior) distribution of θ and u, Kao[39] targeted a (pseudo-)Bayesian design that maximizes E{φ(M(d; θ, u))} for a larger-the-better criterion φ, where the expectation E{.} is taken over the (prior) distribution of the parameters.

When a prior distribution of the parameters is unavailable, it is common to consider to maximize the minimum of φ(M(d; θ, u)), where the minimum is taken over the possible values of θ and u. It also is popular to maximize the the minimum of the relative efficiency, which is defined as

Here, Θ and U contain the possible values for θ and u, respectively; and d\*θ, u is a locally optimal design that maximizes φ(M(d; θ, u)) for given θ and u. Designs maximizing the former criterion are termed as maximin designs, whereas those optimizing the latter criterion are maximin-efficient designs. Both criteria are popular in the literature; see also Kao *et al*[36] and references therein. However, obtaining maximin-type designs is computationally very expensive. Kao *et al*[36] proposed an efficient shortcut. Building on some analytical results, they showed that the size of the parameter space of Θ can be greatly reduced when obtaining maximin-type designs. Specifically, when Q=1, we may find a very efficient maximin (or maximin-efficient) design by focusing on θ1 = 1 (or θ1 ∈{0,1}). For Q > 1, instead of setting Θ to the entire Q-dimensional space, we may focus on a subspace consisting of (1/Q!) of the surface of the Q-dimensional unit hemisphere centered at the origin when obtaining a maximin design; the origin needs to be included in the subspace for finding a maximin-efficient design. To further reduce computing time, Kao *et al*[36]  focused on a restricted class, Ξ0, of designs when using a search algorithm to find maximin-type designs. Specifically, each design of length N in Ξ0 is formed by a short design of length ⎡N/Q⎤, where ⎡a⎤ is the smallest integer greater than or equal to a. For any short design, a full-length design is constructed by cyclically permuting the labels of the Q stimulus types with 0's staying intact, and then leaving out the excess elements, if any. The stimulus frequencies in the resulting design are thus (nearly) equal across stimulus types. Kao *et al*[36]  showed that their approach is quite efficient and effective when obtaining maximin-type designs when the HRF shape is uncertain.

In addition to the GA technique, a deterministic optimization algorithm for obtaining optimal fMRI designs has recently been proposed and studied by Kao and Mittelmann[40]. Without stochastic explorations, this latter approach has been demonstrated to be efficient for some cases for which the GA requires much CPU time in finding a good design. The main idea is to combine a greedy hill-climbing algorithm with the previously mentioned cyclic permutation method for constructing designs of Ξ0. In particular, the algorithm first systematically perturbs a small fraction (*e.g.*, the first four elements) of a short design ds of length ⎡N/Q⎤ to create some neighboring short designs that are close to ds in terms of Hamming distance. The search then moves to the neighboring short design ds† that yields the best full-length design via the cyclic permutation method. After this movement, the algorithm continues to work on perturbing another small fraction (*e.g.*, the fifth to eighth elements) of ds†. This process is repeated until no improvement can be achieved. Based on our experience, this approach tends to lead to very efficient designs with greatly reduced CPU time, although the obtained design might not be optimal. Kao and Mittelmann[40] demonstrated the usefulness of their algorithm by finding maximin designs that are robust to mis-specified error autocorrelation coefficients when stationary AR2 errors are assumed. For this case, the GA approach can be very challenging in terms of CPU time.

The algorithms described so far are used to optimize a single objective function. For experiments with two or more study objectives, these previous studies mainly considered weighted-sum criteria that are convex combinations of all the individual criteria of interest. However, selecting appropriate weights for such a weighted-sum criterion might be challenging for some cases, and the assigned weights may not guarantee a satisfactory design. For example, assigning equal weights does not always lead to a design with equal relative efficiency across all the study objectives of interest. To address this fMRI design issue, Kao *et al*[41] proposed a multi-objective optimization algorithm by modifying the nondominated sorting GA II (NSGA II) of Deb *et al*[42]. With a single run of the algorithm, the experimenter can obtain not one, but a class of diverse designs for approximating the Pareto frontier; a Pareto frontier is formed by the best possible solutions in a multi-objective optimization problem. A design best suited to the needs of the experiment can then be selected from the obtained design class. The algorithm can also be used to find fMRI designs when there is a constraint such as a required stimulus frequency. This algorithm is recommended when weights on the multiple study objectives are hard to determine.

CONCLUSIONDesign of fMRI experiments is an exciting research area. Several analytical and computational approaches have been proposed for obtaining designs that attain high efficiencies in terms of certain practically meaningful design selection criterion. As demonstrated in Jansma *et al*[43], among others, fMRI designs with theoretically superior performance are often very useful in real-world experiments. The designs obtained in the previous studies are thus valuable. However, much work remains to be done in this area. As indicated by Lindquist[1] in his recent survey on statistical methods for fMRI studies, “as research hypotheses ultimately become more complicated, the need for more advanced experimental designs will only increase further.”

One possible direction of future research is on developing designs for cases with compound stimuli, each containing two or more components; *e.g.*, each stimulus is formed by a cue followed by a task. To our knowledge, there is no systematic study on this important design issue. In addition, fMRI is also widely considered for studying the functional connectivity between brain regions. High-quality experimental designs for this type of studies are also in a great demand. Moreover, developing powerful computational approaches, and insightful analytical results for optimal fMRI designs should always be helpful. For example, the analytical results described in the Results on Design Selection section are mainly for cases where Assumption 1 holds and **C**2 = **I**QK. It is also useful to consider the case where **C**2 is not the identity matrix when contrasts between the HRFs are of interest. Developing novel, insightful analytical results by relaxing Assumption 1 can also help to move this new research field forward.

**REFERENCES**

1 **Lindquist M**. The statistical analysis of fMRI data. *Stat Sci* 2008; **23**: 439-464 DOI: 10.1214/09-STS282

2 **Lazar N**. The Statistical Analysis of Functional MRI Data. New York: Springer, 2008 DOI: 10.1007/978-0-387-78191-4

3 **Rosen BR**, Buckner RL, Dale AM. Event-related functional MRI: past, present, and future. *Proc Natl Acad Sci U S A* 1998; **95**: 773-780 [PMID: 9448240 DOI: 10.1073/pnas.95.3.773]

4 **Friston KJ**, Zarahn E, Josephs O, Henson RN, Dale AM. Stochastic designs in event-related fMRI. *Neuroimage* 1999; **10**: 607-619 [PMID: 10547338 DOI: 10.1006/nimg.1999.0498]

5 **Serences JT**. A comparison of methods for characterizing the event-related BOLD timeseries in rapid fMRI. *Neuroimage* 2004; **21**: 1690-1700 [PMID: 15050591 DOI: 10.1016/j.neuroimage.2003.12.021]

6 **Huettel SA**. Event-related fMRI in cognition. *Neuroimage* 2012; **62**: 1152-1156 [PMID: 21963919 DOI: 10.1016/j.neuroimage.2011.08.113]

7 **Martin PI**, Naeser MA, Doron KW, Bogdan A, Baker EH, Kurland J, Renshaw P, Yurgelun-Todd D. Overt naming in aphasia studied with a functional MRI hemodynamic delay design. *Neuroimage* 2005; **28**: 194-204 [PMID: 16009568 DOI: 10.1002/hbm.460010207]

8 **Worsley KJ**, Liao CH, Aston J, Petre V, Duncan GH, Morales F, Evans AC. A general statistical analysis for fMRI data. *Neuroimage* 2002; **15**: 1-15 [PMID: 11771969 DOI: 10.1006/nimg.2001.0933]

9 **Henson R**, Friston K. Convolution models for fMRI. In: Friston K, Ashburner J, Kiebel S, Nichols T, Penny W. Statistical parametric mapping: the analysis of functional brain images. London: Academic, 2007: 178-192

10 **Mechelli A**, Henson RN, Price CJ, Friston KJ. Comparing event-related and epoch analysis in blocked design fMRI. *Neuroimage* 2003; **18**: 806-810 [PMID: 12667857 DOI: 10.1016/S1053-8119(02)00027-7]

11 **Liu TT**. Efficiency, power, and entropy in event-related fMRI with multiple trial types. Part II: design of experiments. *Neuroimage* 2004; **21**: 401-413 [PMID: 14741677 DOI: 10.1016/j.neuroimage.2003.09.031]

12 **Liu TT**, Frank LR. Efficiency, power, and entropy in event-related FMRI with multiple trial types. Part I: theory. *Neuroimage* 2004; **21**: 387-400 [PMID: 14741676 DOI: 10.1016/j.neuroimage.2003.09.030]

13 **Maus B**, van Breukelen GJ, Goebel R, Berger MP. Robustness of optimal design of fMRI experiments with application of a genetic algorithm. *Neuroimage* 2010; **49**: 2433-2443 [PMID: 19833212 DOI: 10.1016/j.neuroimage.2009.10.004]

14 **Maus B**, van Breukelen G, Goebel R, Berger M. Optimization of blocked designs in fMRI studies. Psychometrika 2010, 75: 373-390 DOI: 10.1007/S11336-010-9159-3

15 **Henson R**. Efficient experimental design for fMRI. In: Friston K, Ashburner J, Kiebel S, Nichols T, Penny W. Statistical parametric mapping: the analysis of functional brain images. London: Academic, 2007: 193-210

16 **Liu TT**, Frank LR, Wong EC, Buxton RB. Detection power, estimation efficiency, and predictability in event-related fMRI. *Neuroimage* 2001; **13**: 759-773 [PMID: 11305903 DOI: 10.1006/nimg.2000.0728]

17 **Lindquist MA**, Meng Loh J, Atlas LY, Wager TD. Modeling the hemodynamic response function in fMRI: efficiency, bias and mis-modeling. *Neuroimage* 2009; **45**: S187-S198 [PMID: 19084070 DOI: 10.1016/j.neuroimage.2008.10.065]

18 **Dale AM**. Optimal experimental design for event-related fMRI. *Hum Brain Mapp* 1999; **8**: 109-114 [PMID: 10524601]

19 **Wager TD**, Nichols TE. Optimization of experimental design in fMRI: a general framework using a genetic algorithm. *Neuroimage* 2003; **18**: 293-309 [PMID: 12595184 DOI: 10.1016/S1053-8119(02)00046-0]

20 **Wager TD**, Vazquez A, Hernandez L, Noll DC. Accounting for nonlinear BOLD effects in fMRI: parameter estimates and a model for prediction in rapid event-related studies. *Neuroimage* 2005; **25**: 206-218 [PMID: 15734356 DOI: 10.1016/j.neuroimage.2004.11.008]

21 **Buracas GT**, Boynton GM. Efficient design of event-related fMRI experiments using M-sequences. *Neuroimage* 2002; **16**: 801-813 [PMID: 12169264 DOI: 10.1006/nimg.2002.1116]

22 **Golomb S**, Gong G. Signal design for good correlation for wireless communication, cryptography, and radar. New York: Cambridge University Press, 2005

23 **Lidl R**, Niederreiter H. Introduction to finite fields and their applications. New York: Cambridge University Press, 1994.

24 **MacWilliams F**, Sloane N. The theory of error correcting codes. Amsterdam: Elsevier/North-Holland, 1977

25 **Kao MH**, Mandal A, Lazar N, Stufken J. Multi-objective optimal experimental designs for event-related fMRI studies. *Neuroimage* 2009; **44**: 849-856 [PMID: 18948212 DOI: 10.1016/j.neuroimage.2008.09.025]

26 **Kao MH**. On the optimality of extended maximal length linear feedback shift register sequences. *Stat Probabil Lett* 2013; **83**: 1479-1483 DOI: 10.1016/j.spl.2013.02.012

27 **Maus B**, van Breukelen GJ, Goebel R, Berger MP. Optimal design of multi-subject blocked fMRI experiments. *Neuroimage* 2011; **56**: 1338-1352 [PMID: 21406234 DOI: 10.1016/j.neuroimage.2011.03.019]

28 **Kushner H**. Optimal repeated measurements designs: The linear optimality equations. *Ann Stat* 1997; **25**: 2328-2344 doi: 10.1214/aos/1030741075

29 **Kiefer J**. Construction and optimality of generalized youden designs. In: Srivastava J. A survey of statistical designs and linear models. Amsterdam: North-Holland, 1975: 333-353

30 **Aguirre GK**, Mattar MG, Magis-Weinberg L. de Bruijn cycles for neural decoding. *Neuroimage* 2011; **56**: 1293-1300 [PMID: 21315160 DOI: 10.1016/j.neuroimage.2011.02.005]

31 **Kao MH**. A new type of experimental designs for event-related fMRI via Hadamard matrices. *Stat Probabil Lett* 2014; **84**: 108-112 doi: 10.1016/j.spl.2013.09.024

32 **Brendel B**, Hertrich I, Erb M, Lindner A, Riecker A, Grodd W, Ackermann H. The contribution of mesiofrontal cortex to the preparation and execution of repetitive syllable productions: an fMRI study. *Neuroimage* 2010; **50**: 1219-1230 [PMID: 20080191 DOI: 10.1016/j.neuroimage.2010.01.039]

33 **Kao MH**, Mandal A, Stufken J. Optimal design for event-related functional magnetic resonance imaging considering both individual stimulus effects and pairwise contrasts. *Stat Appl* 2008; **6**: 225-241

34 **Kao MH**, Mandal A, Stufken J. Efficient designs for event-related functional magnetic resonance imaging with multiple scanning sessions. Commun *Stat-Theory Methods* 2009; 38: 3170-3182 doi: 10.1080/03610920902947626

35 **Maus B**, van Breukelen GJ, Goebel R, Berger MP. Optimal design for nonlinear estimation of the hemodynamic response function. *Hum Brain Mapp* 2012; **33**: 1253-1267 [PMID: 21567658 DOI: 10.1002/hbm.21289]

36 **Kao MH**, Majumdar D, Mandal A, Stufken J. Maximin and maximin-efficient event-related fMRI designs under a nonlinear model. *Ann Appl Stat* 2013; 7: 1940-1959 doi: 10.1214/13-AOAS658

37 **Handwerker DA**, Ollinger JM, D'Esposito M. Variation of BOLD hemodynamic responses across subjects and brain regions and their effects on statistical analyses. *Neuroimage* 2004; **21**: 1639-1651 [PMID: 15050587 DOI: 10.1016/j.neuroimage.2003.11.029]

38 **Lindquist MA**, Wager TD. Validity and power in hemodynamic response modeling: a comparison study and a new approach. *Hum Brain Mapp* 2007; **28**: 764-784 [PMID: 17094118 DOI: 10.1002/hbm.20310]

39 **Kao MH**. Optimal experimental designs for event-related functional magnetic resonance imaging. PhD thesis, University of Georgia, 2009

40 **Kao MH**, Mittelmann H. A fast algorithm for constructing efficient event-related functional magnetic resonance imaging designs. *J Stat Comput Simul* 2014; to appear DOI: 10.1080/00949655.2013.804524

41 **Kao MH**, Mandal A, Stufken J. Constrained multi-objective designs for functional MRI experiments via a modified nondominated sorting genetic algorithm. *J Roy Stat Soc C-App* 2012; **61**: 515-534 doi: 10.1111/j.1467-9876.2011.01036.x

42 **Deb K**, Pratap A, Agarwal S, Meyarivan T. A fast and elitist multiobjective genetic algorithm: NSGA-II. *IEEE T Evolut Comput* 2002; **6**: 182-197 doi: 10.1109/4235.996017

43 **Jansma JM**, de Zwart JA, van Gelderen P, Duyn JH, Drevets WC, Furey ML. In vivo evaluation of the effect of stimulus distribution on FIR statistical efficiency in event-related fMRI. *J Neurosci Methods* 2013; **215**: 190-195 [PMID: 23473798 DOI: 10.1016/j.jneumeth.2013.02.017]

**P-Reviewers:** JeongY, Woodward TS, Wu YG **S-Editor:** Wen LL  **L-Editor:**  **E-Editor:**