**Name of Journal:** *World Journal of Gastroenterology*

**Manuscript NO:** 89649

**Manuscript Type:** ORIGINAL ARTICLE

***Retrospective Study***

**Automatic detection of small bowel lesions with different bleeding risks based on deep learning models**

Zhang RY *et al*. AI and capsule endoscopy

Rui-Ya Zhang, Peng-Peng Qiang, Ling-Jun Cai, Tao Li, Yan Qin, Yu Zhang, Yi-Qing Zhao, Jun-Ping Wang

**Rui-Ya Zhang, Ling-Jun Cai, Yan Qin, Yu Zhang, Yi-Qing Zhao,** **Jun-Ping Wang,** Department of Gastroenterology, The Fifth Clinical Medical College of Shanxi Medical University, Taiyuan 030012, Shanxi Province, China

**Peng-Peng Qiang,** School of Computer and Information Technology, Shanxi University, Taiyuan 030006, Shanxi Province, China

**Tao Li,** School of Life Sciences and Technology, Mudanjiang Normal University, Mudanjiang 157011, Heilongjiang Province, China

**Author contributions:** Zhang RY collected the patients’ clinical data and wrote the paper; Wang JP designed the report and revised the paper; Qiang PP and Cai LJ analyzed the data; Qiang PP, Cai LJ, and Li T revised the paper for important intellectual content; Qin Y, Zhang Y, and Zhao YQ collected the patients’ clinical data.

**Supported by** The Shanxi Provincial Administration of Traditional Chinese Medicine, No. 2023ZYYDA2005.

**Corresponding author: Jun-Ping Wang, MD, PhD, Chief Physician, Professor,** Department of Gastroenterology, The Fifth Clinical Medical College of Shanxi Medical University, No. 29 Shuangtasi Street, Taiyuan 030012, Shanxi Province, China. wangjp8396@sxmu.edu.cn

**Received:** November 8, 2023

**Revised:** December 15, 2023

**Accepted:** December 26, 2023

**Published online:** January 14, 2024

**Abstract**

BACKGROUND

Deep learning provides an efficient automatic image recognition method for small bowel (SB) capsule endoscopy (CE) that can assist physicians in diagnosis. However, the existing deep learning models present some unresolved challenges.

AIM

To propose a novel and effective classification and detection model to automatically identify various SB lesions and their bleeding risks, and label the lesions accurately so as to enhance the diagnostic efficiency of physicians and the ability to identify high-risk bleeding groups.

METHODS

The proposed model represents a two-stage method that combined image classification with object detection. First, we utilized the improved ResNet-50 classification model to classify endoscopic images into SB lesion images, normal SB mucosa images, and invalid images. Then, the improved YOLO-V5 detection model was utilized to detect the type of lesion and its risk of bleeding, and the location of the lesion was marked. We constructed training and testing sets and compared model-assisted reading with physician reading.

RESULTS

The accuracy of the model constructed in this study reached 98.96%, which was higher than the accuracy of other systems using only a single module. The sensitivity, specificity, and accuracy of the model-assisted reading detection of all images were 99.17%, 99.92%, and 99.86%, which were significantly higher than those of the endoscopists’ diagnoses. The image processing time of the model was 48 ms/image, and the image processing time of the physicians was 0.40 ± 0.24 s/image (*P* < 0.001).

CONCLUSION

The deep learning model of image classification combined with object detection exhibits a satisfactory diagnostic effect on a variety of SB lesions and their bleeding risks in CE images, which enhances the diagnostic efficiency of physicians and improves the ability of physicians to identify high-risk bleeding groups.

**Key Words:** Artificial intelligence; Deep learning; Capsule endoscopy; Image classification; Object detection; Bleeding risk

**©The** **Author(s) 2024.** Published by Baishideng Publishing Group Inc. All rights reserved.

**Citation:** Zhang RY, Qiang PP, Cai LJ, Li T, Qin Y, Zhang Y, Zhao YQ, Wang JP. Automatic detection of small bowel lesions with different bleeding risks based on deep learning models. *World J Gastroenterol* 2024; 30(2): 170-183

**URL:** <https://www.wjgnet.com/1007-9327/full/v30/i2/170.htm>

**DOI:** https://dx.doi.org/10.3748/wjg.v30.i2.170

**Core Tip:** In clinical practice, capsule endoscopy is often used to detect small bowel (SB) lesions and find the cause of bleeding. Here, we have proposed a classification and detection model to automatically identify various SB lesions and their bleeding risks, and label the lesions accurately. This model can enhance the diagnostic efficiency of physicians and improve the ability of physicians to identify high-risk bleeding groups.

**INTRODUCTION**

Capsule endoscopy (CE), introduced in 2000, has successfully solved the problem pertaining to visualizing the small intestine and revolutionized the medical field. CE can be utilized as the preferred method for the diagnosis of small bowel (SB) diseases[1-3]. At present, obscure gastrointestinal bleeding is the most common indication for CE[4,5]. Therefore, physicians dedicate more attention to the bleeding risks of SB lesions in CE examination. However, CE reading is time-consuming and complicated[6-9], and abnormal parts account for only a small proportion. Thus, it is easy to miss the diagnosis, which affects the detection of lesions and assessment of bleeding risks. In addition, when there is a large amount of bile, food debris or air bubbles in the gastrointestinal tract, numerous invalid pictures will appear which will seriously affect the diagnostic efficiency[10].

In recent years,deep learning models have been widely utilized inautomatic recognition of digestive endoscopic images[11,12].Deep learning is characterized by processing large amounts of data with better experience and high performance, thus competing with the human mind[13,14].Feature extraction using multilayer networks for classification and feedback can facilitate the identification of lesions[15-17], which significantly increases the sensitivity and specificity of lesion detection. Simultaneously, it effectively saves the time cost required for detection[18]. In the past few years, convolutional neural networks (CNNs) have advanced endoscopic image analysis. Several classical CNNs such as LeNet, AlexNet, GoogLeNet, and VGG-Net have exhibited strong performance in identifying SB lesions[19].

Although CNNs achieve excellent performance, they still have some limitations. First, a CNN cannot effectively focus on the important part of the image, which is easily affected by the organs and tissues around the area to be detected, resulting in limited accuracy of the model. Second, most of the existing research is related to the development of the classification model, while the image classification diagnosis system only adopts the binary classification method, which cannot distinguish two or more types of lesions in the image. Moreover, image classification cannot determine the specific location of the lesion. Therefore, its practicability still needs to be further improved. Third, most of the existing methods utilize spatial pyramid pooling (SPP), which has a lightweight characteristic of the backbone network and reduces the parameters. Although SPP improves the detection speed, it consequently suffers from a reduction in detection accuracy. It is worth emphasizing that existing studies have not evaluated the bleeding risks of SB lesions, but in clinical work, we urgently need to pay attention to the bleeding risks of lesions and try to find the cause of bleeding.

To solve the aforementioned problems, we have made the following efforts. We first added a multi-head self-attention (MHSA) mechanism to increase efficacy of the model’s focus on important regions, improving the overall performance of the model. We next utilized a two-stage method to classify and detect various SB lesions. This two-stage method combined the classification model with the detection model, which allowed for distinguishment of multiple lesions in the image and accurate labeling of their location. We then replaced the SPP module with the “Atrous Spatial Pyramid Pooling” (ASPP) module. ASPP can effectively strengthen the feature extraction ability of the backbone network and improve the accuracy of diagnosis. At the same time, our model also increases the ability to assess the bleeding risks of lesions and is able to provide a more comprehensive understanding of the lesions being investigated.

Specifically, ResNet-50 utilizes a deep residual network to solve the gradient disappearance problem, and the increased number of network layers further enhances the image representation ability. Therefore, ResNet-50 was selected as the backbone of the classification model. On this basis, we added an MHSA mechanism, allowing the model to effectively focus on lesions and facilitating image classification. Meanwhile, we also combined YOLO-V5 as the detection model backbone to allow for identification of multiple lesions in the image simultaneously. The accuracy of YOLO exceeds that of general object detection algorithms while maintaining a fast speed, and it is currently one of the most popular algorithms[20]. Meanwhile, we utilized three branches to learn the features of the three RGB channels, respectively. The correlation between the three branches was considered, and the features were extracted from the three branches of the same image. Subsequently, the extracted features were fused. The independence and correlation were realized using a parallel network. To better focus on the bleeding risks of lesions, the MHSA mechanism and ASPP module were added to the detection model. Ablation experiments were performed to remove each mechanism and module in a one-by-one stepwise manner to evaluate their effects on the model performance. We finally proposed a two-stage approach for the classification and detection. On the RGB multi-channel, the ResNet-50 classification network with MHSA mechanism combined with the YOLO-V5 detection model, which added an RGB parallel network, the feature erase module, ASPP, and MHSA mechanism, was utilized.

In summary, the contributions from our work are as follows: (1) To the best of our knowledge, this is the first time that image classification combined with an object detection model is used to automatically identify a variety of SB lesions and evaluate their bleeding risks; and (2) The model based on deep learning has high accuracy, high sensitivity and high specificity, which improves the diagnostic efficiency of doctors and the ability to identify high-risk bleeding populations. Its diagnostic performance has good potential for clinical application.

**MATERIALS AND METHODS**

***Materials***

A total of 701 patients who underwent SB CE in Shanxi Provincial People's Hospital and Shanxi Provincial Hospital of Traditional Chinese Medicine from 2013 to 2023 were included in this study. Two different capsule types were used at our two centers: PillCam SB2 and SB3 systems (Medtronic, Minneapolis, MN, United States) and MiroCam system (Intromedic, Seoul, South Korea). All patient-generated videos were reviewed, collected, screened, and labeled by three expert gastroenterologists (who had read more than 200 CE studies). The inclusion and final labeling of images were contingent on the agreement of at least two of the three experts.

The lesions included in the pictures were divided into three bleeding risk levels according to Saurin classification[21]: No bleeding risk (P0); Uncertain bleeding risk (P1); And high bleeding risk (P2). We finally divided the included images into the following 12 types: N (normal); P0Lk (lymphangiectasia); P0Lz (lymphoid follicular hyperplasia); Xanthomatosis (P0X); Erosion (P1E); Ulcer smaller than 2 cm (P1U); Protruding lesion smaller than 1 cm (P1P); Ulcer larger than 2 cm (P2U); Protruding lesion larger than 1 cm (P2P); Vascular lesion (P2V); Blood (B); And invalid picture (I).

We selected a total of 111861 images, and randomly divided the training set and test set images into 74574 and 37287 images, respectively, according to the 2:1 ratio. Written informed consent was obtained from all patients. Patient data were anonymized, and any personal identifying information was omitted. This study was approved by the Ethics Committee of Shanxi Provincial People’s Hospital.

***Experimental setup***

All image preprocessing algorithms were run on a standard computer using a 64-bit Windows 10 operating system and a Python laboratory environment provided by Anaconda 2.5.0. All experiments using deep learning for model training were conducted on an RTX 3060(GPU) and i7 processor, and the computational resources and computer-aided tools met the experimental requirements. The deep learning models applied in the experiments were provided by the Pytorch framework, which offers a variety of deep learning algorithms and pretrained models.

***Data preprocessing***

The collected visible light images were decomposed into R, G, and B channels as the network’s input (representative example is depicted in Figure 1).

***Model building***

Herein, two stages were utilized to identify and label SB lesions and their bleeding risks. In the first stage (Stage 1), all input images were entered into the improved ResNet-50 classification model, and the images were divided into small intestinal lesion images, normal small intestinal mucosa images, and invalid images according to whether lesions existed. The main purpose of this stage was to filter invalid images. In the second stage (Stage 2), the images of normal small intestinal mucosa and lesions classified in Stage 1 were entered into the improved YOLO-V5 model, and the lesions were detected, assessed for bleeding risk, and labeled for location. This task can be formally defined as follows: For a given data set , the research goal was to create a mapping function , where denotes the endoscopic image, and output image corresponds to the disease category . The model diagram is depicted in Figure 2. Ablation experiments were performed to remove specific modules in a one-by-one stepwise manner to investigate their individual impact on improving the performance of our model.

**Building the Stage 1 classification model:** Stage 1 utilized ResNet-50 as the network backbone and incorporated three branches to learn the features of the three RGB channels. The global average pooling layer was connected into the network, which can reduce the number and complexity of the neural network and simultaneously extract the global information of image features. Thus, the classification task was performed optimally. In addition, after the network’s fifth convolutional block, we introduced a MHSA mechanism to fuse features at different levels, which can automatically capture the relationship between different locations or features. Thus, we captured the context information and crucial features in the image in an optimal manner. Finally, the fused features were fed into a softmax layer, which received a vector of scores from each category of the model and transformed these scores into a probability distribution representing the probabilities of each category. Specifically, the softmax function normalized the raw scores to a value between 0 and 1 and ensured that the sum was 1.

The ResNet-50 network model included one convolutional block, four residual blocks, and one output layer. comprised two components: A nonlinear feature mapping structure and a classifier. During training, a two-dimensional image was mapped into a one-dimensional vector, which was then entered into the classifier for judgment: Here, represents the input image, and represents the image vector after ResNet-50 feature extraction.

In addition, the attention module was a simulation of the attention module associated with the human brain. Since individuals’ eyes move to the place of interest and subsequently focus on a certain place, when the attention module was introduced, the proposed model focused on the place of feature focus distribution during training, as depicted: , where Q, K and V are the feature vectors of the input , respectively. Given Q, the correlation between Q and its different K values can be calculated, *i.e.* the weight coefficients of different V values in K. The weighted average result of V can be used as the attention value. The specific calculation process is shown.

Specifically, the correlation between Q and different K was calculated by dot product, *i.e.* the weight system of each part in the image was calculated. The output of the previous stage was then normalized to map the range of values between 0 and 1. Finally, the results of multiplication of the value and the corresponding weight of each value were accumulated to obtain the attention value.

The loss function of the model was the cross-entropy loss function, and the calculation process is shown.

Here, is the actual category, and is the predicted category.

**Building the stage 2 lesion detection model:** Stage 2 adopted YOLO-V5 as the network backbone, adopted three branches to learn the features of three RGB channels respectively, and introduced a parallel network, the feature erase module, ASPP, and MHSA mechanism for detection. YOLO-V5 is composed of the following four components: Input layer; backbone network; middle layer; and prediction layer. In the input layer, the input image was scaled, the data were enhanced, and the optimal anchor value was calculated. The backbone network was composed of a convolutional network to extract the main features. In the middle layer, the feature pyramid network and path aggregation network were utilized to extract more complex features. The prediction layer was utilized to predict the location and category of the target.

YOLO-V5 adopted the SPP module. To enhance the feature extraction capability of the backbone network, we replaced the SPP module with the ASPP module. The dilated convolution adopted by ASPP differs from the ordinary convolution in that it introduces the "rate" parameter, which represents the number of intervals between points in the convolution kernel. By adjusting the expansion rate, the receptive field size of the convolution operation can be controlled without having to reduce the resolution of the feature map. This enabled the ASPP module to effectively capture information in a wider range while maintaining a high resolution, thereby enhancing the feature extraction performance of the backbone network.

Considering the correlation between the three channels, features were extracted from three channels of the same image, followed by the fusion of these extracted features that was achieved through a parallel network to capture both independence and interdependence. The feature erase module was utilized to generate 000-111 random numbers using a computer. Thus, the existence of overfitting and underfitting in the feature fusion process was prevented. Researchers can determine whether the features of the corresponding branch are fused. If a bit of the binary number is 0, it represents the branch features of the branch to be erased (*i.e.* set to zero); if the bit is 1, it represents the branch features of the branch to be fused.

Meanwhile, to enable the model to focus on the crucial image components and enhance the ability of the model to extract features, we fused the MHSA mechanism in the C3 module of Neck to enhance the detection accuracy, and finally performed the detection in the Head layer.

The model’s loss function was complete intersection over union loss, and the calculation process is shown:

is the intersection over union loss function, is the Euclidean distance between the target box and the center point of the prediction box, is the diagonal distance of the target box, and is the parameter measuring the aspect ratio.

***Experimental procedure***

The images in the test set were read by three physicians (gastroenterologists who read less than 10 CE examinations) through physician reading (A) and model-assisted reading (B). Process A randomly assigned 37287 images to the three physicians for reading. In process B, 37287 CE images were first entered into the model. After model classification and detection, the new image package was randomly assigned to the three physicians for a secondary review. Stage 1 of the model divided images into small intestinal lesion images, normal small intestinal mucosa images, and invalid images, and filtered out many invalid images. Figure 3 depicts a representative example of invalid images and normal small intestinal mucosa images. Then, Stage 2 detected the images of 11 types (normal SB mucosa, lymphangiectasia, lymphoid follicular hyperplasia, xanthoma, erosion, ulcer smaller than 2 cm, protruding lesion smaller than 1 cm, ulcer larger than 2 cm, protruding lesion larger than 1 cm, vascular lesions, and blood), assessed their risk of bleeding, and labeled the lesions. The effect of the proposed model structure on CE recognition is depicted in Figure 4. All the physicians determined a diagnosis of each frame of the picture through independent reading and model-assisted reading. If the diagnosis of physician reading was consistent with model-assisted reading, no further evaluation was conducted. If the final diagnosis was inconsistent and/or different lesions were observed, the diagnosis of three experts was assumed to be the gold standard.

**RESULTS**

***Data***

In the image pool (*n* = 74574) of the training dataset, there were 52310 negative pictures (normal small intestinal mucosa pictures and invalid pictures) and 22264 positive pictures. In the image pool of the test dataset (*n* = 37287), there were 26155 negative pictures and 11132 positive pictures. The distribution of specific types of images is depicted in Table 1.

***Result analysis***

The test set of pictures were respectively passed through the two processes of physician reading and model-assisted reading, and the final diagnosis was compared with the diagnosis provided by the expert analysis, which was the gold standard. The primary outcome measures included sensitivity, specificity, and accuracy.

**Qualitative analysis:** Representative examples of the heat maps generated by the model for 10 lesion types and of the results of the model system are depicted in Figures 5 and 6.

**Quantitative analysis:** (1) Physician reading. The sensitivity, specificity, and accuracy of physician reading for all pictures were 93.80%, 99.38%, and 98.92%, respectively. The sensitivity, specificity, and accuracy of physician reading for positive pictures were 89.95%, 99.80%, and 99.51%, respectively. The sensitivity, specificity, and accuracy for different types of image recognition are depicted in Table 2.

(2) Performance of the model. In Stage 1 we utilized ablation experiments, and the results indicated (Tables 3 and 4) that the accuracy, sensitivity, and specificity of the multimodal system model with three-channel RGB were more optimal than those of the R channel, G channel, and B channel. The accuracy, sensitivity, and specificity of the MHSA mechanism were more optimal than those of the spatial attention mechanism and the channel attention mechanism. The RGB multimodal channel and MHSA mechanism were more conducive to enhancing the performance of the overall diagnostic model. Therefore, the RGB multi-channel and MHSA mechanism access classification model backbone was utilized.

In Stage 2, we also utilized ablation experiments, and the results indicated (Tables 5 and 6) that the accuracy and AUC of the model with a parallel network were further enhanced and that the equal error rate was reduced. After the parallel network, the feature erase module was used to find that the RGB multimodal model was more conducive to enhancing the performance of the overall diagnostic model. The addition of ASPP and MHSA mechanism was more conducive to improving the performance of the overall diagnostic model. Therefore, RGB multi-channel, parallel network, feature erase module, ASPP and the MHSA mechanism were used to access the detection model backbone.

(3) Model auxiliary reading. We utilized the optimal model to assist physician reading. The study indicated that the sensitivity, specificity, and accuracy of model-assisted reading for all pictures were 99.17%, 99.92%, and 99.86%, respectively. The sensitivity, specificity, and accuracy of model-assisted reading for positive pictures were 98.81%, 99.96%, and 99.93%, respectively. The sensitivity and accuracy of model-assisted reading for various types of SB lesions were higher than those of physician reading (Table 2).

(4) Comparison with existing models. The proposed model was compared with the existing research models, and the experimental results are depicted in Table 7. Generally, the specificity and accuracy of the proposed model for the recognition of ulcers, protruding lesions, vascular lesions, and bleeding pictures and the sensitivity for the recognition of ulcers and bleeding pictures were higher than those of the other three methods. The sensitivity of the proposed algorithm in identifying protruding lesions and vascular lesions is slightly lower than that of Ding *et* *al*[22].

(5) Time calculation. The average processing time of physicians was 0.40 ± 0.24 s/image, and the image processing time of the improved model system was 48.00 ± 7.00 ms/image. The processing time of the system was significantly different from that of the clinicians (*P* < 0.001).

**DISCUSSION**

After 20 years of development, CE has continuously expanded its application depth and breadth and has become a crucial examination method for gastrointestinal diseases[23-25]. However, CE examination is a tedious task in clinical work due to its long reading time. With the wide application of artificial intelligence (AI)[26], the reading time of CE has been immensely shortened. While reducing the reading time, it is more crucial to enhance the performance of the system. Initial research was limited to the identification of one lesion. For example, Tsuboi *et al*[27] developed a CNN model for the automatic identification of small intestinal vascular lesions and Ribeiro *et al*[28] developed a CNN model to automatically identify protruding lesions in the small intestine while Ferreira *et al*[16] developed a CNN system that can automatically identify ulcers and mucosal erosions. With continued research, CNNs have been developed to identify a variety of lesions. For example, Ding *et al*[22] conducted a multicenter retrospective study that included 77 medical centers and collected 6970 cases undergoing SB CE. A CNN model based on ResidualNet 152 that can automatically detect 10 small intestinal lesions (inflammation, ulcer, polyp, lymphangiectasia, hemorrhage, vascular disease, protrusion lesions, lymphoid follicular hyperplasia, diverticulum, and parasites) was developed[22]. Their system exhibited high-level performance, and this result indicates the potential of AI models for multi-lesion detection. However, CNN cannot effectively focus on the important part of the image, limiting the ability of the model to identify lesions. Moreover, the current research is based on the network model of image classification, which cannot distinguish two or more types of lesions in the image, let alone determine the specific location of the lesions, and its practicability is poor. More importantly, existing models do not identify the bleeding risks of SB lesions.

In this study, we explored the image classification and object detection model to facilitate the evaluation of CE images. Ablation experiments were also conducted on multiple modules to improve ResNet-50 and YOLO-V5, ultimately obtaining a high-precision model that can simultaneously detect a variety of SB lesions and assess the bleeding risks of lesions. We successfully tested the model using 37287 images. The results indicated that under the same hyperparameter and training round settings, the ResNet-50 classification system based on the three-channel RGB multimodal and MHSA mechanism combined with the YOLO-V5 detection system based on a parallel network, the feature erasures module, ASPP, and MHSA mechanism had the highest diagnostic performance among all model combinations in our study. Moreover, the diagnostic performance of the model in assisting physician reading was higher than that in physician reading.

This study exhibited considerable novelty. First, this was based upon the pioneering AI diagnostic system for clinical CE to automatically detect SB lesions and their bleeding risks. Second, our model had high accuracy (98.96%) and high sensitivity (99.17%) when assisting physician reading. Especially for SB vascular lesions, the sensitivity of physician reading was only 52.38%, which indicated that nearly half of the lesions will be missed, and SB vascular lesions exhibited a high risk of bleeding, which is a common causative factor for SB bleeding. The network model immensely enhanced the sensitivity for such lesions (97.40%), which bears immense significance for physicians tasked with enhancing the diagnosis of bleeding and identifying high-risk bleeding populations. Meanwhile, the model was time-efficient (48.00 ± 7.00 ms for each image compared with 0.40 ± 0.24 s for clinicians). Its diagnostic performance exhibited potential for clinical application.

In general, the proposed model outperforms the existing models in the identification of a variety of lesions (ulcers, luminal protrusion lesions, vascular lesions and bleeding), which can effectively improve the ability of physicians to identify lesions and evaluate bleeding. However, the sensitivity of the proposed algorithm for the recognition of intraluminal protruding lesions and vascular lesions was lower than that of Ding*et al*[22] (100/98.1, 98.9/97.4), which may be related to the following factors. First, the sample size of the dataset was small, and the model did not fully learn the relevant discriminative features. Second, other existing models only perform the task of picture classification, while the proposed model not only classifies and detects lesions, providing an the accurate location of the lesions, it also evaluates the bleeding risk of lesions. The effective completion of these tasks may affect the sensitivity of the model, however.

Several limitations of this study should be considered when interpreting the results. First, diverticulum and parasite images were not included in the study due to the limited number of images available for training. Future studies should be directed toward enrollment and multicenter collaboration so that the aforementioned issues can be effectively addressed. Second, as an experimental evaluation and first-step investigation, the system was developed and tested on still images; it failed to perform real-time detection and result interpretation on videos. Thus, future studies evaluating the real-time utilization of AI in CE are warranted.

**CONCLUSION**

The trained deep learning model based on image classification combined with object detection exhibited satisfactory performance in identifying SB lesions and their bleeding risk, which enhanced the diagnostic efficiency of physicians and improved the ability of physicians to identify high-risk bleeding groups. This system highlighted its future application potential as an AI diagnostic system.

**ARTICLE HIGHLIGHTS**

***Research background***

Deep learning provides an efficient automatic image recognition method for small bowel (SB) capsule endoscopy (CE) that can assist physicians in diagnosis. However, the existing deep learning models present some unresolved challenges.

***Research motivation***

CE reading is time-consuming and complicated. Abnormal parts account for only a small proportion of CE images. Therefore, it is easy to miss the diagnosis, which affects the detection of lesions and assessment of their bleeding risk. Also, both image classification and object detection have made significant progress in the field of deep learning.

***Research objectives***

To propose a novel and effective classification and detection model to automatically identify various SB lesions and their bleeding risks, and label the lesions accurately, so as to enhance the diagnostic efficiency of physicians and their ability to identify high-risk bleeding groups.

***Research methods***

The proposed model was a two-stage method that combined image classification with object detection. First, we utilized the improved ResNet-50 classification model to classify endoscopic images into SB lesion images, normal SB mucosa images, and invalid images. Then, the improved YOLO-V5 detection model was utilized to detect the type of lesion and the risk of bleeding, and the location of the lesion was marked. We constructed training and testing sets and compared model-assisted readings with physician readings.

***Research results***

The accuracy of the model constructed in this study reached 98.96%, which was higher than the accuracy of other systems using only a single module. The sensitivity, specificity, and accuracy of the model-assisted reading detection of all images were 99.17%, 99.92%, and 99.86%, which were significantly higher than those of the endoscopists’ diagnoses. The image processing time of the model was 48 ms/image, and the image processing time of the physicians was 0.40 ± 0.24 s/image (*P* < 0.001).

***Research conclusions***

The deep learning model of image classification combined with object detection exhibits a satisfactory diagnostic effect on a variety of SB lesions and their bleeding risks in CE images, which enhances the diagnostic efficiency of physicians and improves their ability to identify high-risk bleeding groups.

***Research perspectives***

We utilized a two-stage combination method and added multiple modules to identify normal SB mucosa images, invalid images, and various SB lesions (lymphangiectasia, lymphoid follicular hyperplasia, xanthoma, erosion, ulcer smaller than 2 cm, protruding lesion smaller than 1 cm, ulcer larger than 2 cm, protruding lesion larger than 1 cm, vascular lesions, and blood). The bleeding risk was evaluated and classified.

**REFERENCES**

1 **Sami SS**, Iyer PG, Pophali P, Halland M, di Pietro M, Ortiz-Fernandez-Sordo J, White JR, Johnson M, Guha IN, Fitzgerald RC, Ragunath K. Acceptability, Accuracy, and Safety of Disposable Transnasal Capsule Endoscopy for Barrett's Esophagus Screening. *Clin Gastroenterol Hepatol* 2019; **17**: 638-646.e1 [PMID: 30081223 DOI: 10.1016/j.cgh.2018.07.019]

2 **Kim SH**, Lim YJ. Artificial Intelligence in Capsule Endoscopy: A Practical Guide to Its Past and Future Challenges. *Diagnostics (Basel)* 2021; **11** [PMID: 34574063 DOI: 10.3390/diagnostics11091722]

3 **Jiang B**, Pan J, Qian YY, He C, Xia J, He SX, Sha WH, Feng ZJ, Wan J, Wang SS, Zhong L, Xu SC, Li XL, Huang XJ, Zou DW, Song DD, Zhang J, Ding WQ, Chen JY, Chu Y, Zhang HJ, Yu WF, Xu Y, He XQ, Tang JH, He L, Fan YH, Chen FL, Zhou YB, Zhang YY, Yu Y, Wang HH, Ge KK, Jin GH, Xiao YL, Fang J, Yan XM, Ye J, Yang CM, Li Z, Song Y, Wen MY, Zong Y, Han X, Wu LL, Ma JJ, Xie XP, Yu WH, You Y, Lu XH, Song YL, Ma XQ, Li SD, Zeng B, Gao YJ, Ma RJ, Ni XG, He CH, Liu YP, Wu JS, Liu J, Li AM, Chen BL, Cheng CS, Sun XM, Ge ZZ, Feng Y, Tang YJ, Li ZS, Linghu EQ, Liao Z; Capsule Endoscopy Group of the Chinese Society of Digestive Endoscopy. Clinical guideline on magnetically controlled capsule gastroscopy (2021 edition). *J Dig Dis* 2023; **24**: 70-84 [PMID: 37220999 DOI: 10.1111/1751-2980.13173]

4 **Nennstiel S**, Machanek A, von Delius S, Neu B, Haller B, Abdelhafez M, Schmid RM, Schlag C. Predictors and characteristics of angioectasias in patients with obscure gastrointestinal bleeding identified by video capsule endoscopy. *United European Gastroenterol J* 2017; **5**: 1129-1135 [PMID: 29238592 DOI: 10.1177/2050640617704366]

5 **Liao Z**, Gao R, Xu C, Li ZS. Indications and detection, completion, and retention rates of small-bowel capsule endoscopy: a systematic review. *Gastrointest Endosc* 2010; **71**: 280-286 [PMID: 20152309 DOI: 10.1016/j.gie.2009.09.031]

6 **Rondonotti E**, Pennazio M, Toth E, Koulaouzidis A. How to read small bowel capsule endoscopy: a practical guide for everyday use. *Endosc Int Open* 2020; **8**: E1220-E1224 [PMID: 33015322 DOI: 10.1055/a-1210-4830]

7 **Beg S**, Card T, Sidhu R, Wronska E, Ragunath K; UK capsule endoscopy users’ group. The impact of reader fatigue on the accuracy of capsule endoscopy interpretation. *Dig Liver Dis* 2021; **53**: 1028-1033 [PMID: 34016545 DOI: 10.1016/j.dld.2021.04.024]

8 **Leenhardt R**, Koulaouzidis A, McNamara D, Keuchel M, Sidhu R, McAlindon ME, Saurin JC, Eliakim R, Fernandez-Urien Sainz I, Plevris JN, Rahmi G, Rondonotti E, Rosa B, Spada C, Toth E, Houdeville C, Li C, Robaszkiewicz M, Marteau P, Dray X. A guide for assessing the clinical relevance of findings in small bowel capsule endoscopy: analysis of 8064 answers of international experts to an illustrated script questionnaire. *Clin Res Hepatol Gastroenterol* 2021; **45**: 101637 [PMID: 33662785 DOI: 10.1016/j.clinre.2021.101637]

9 **ASGE Technology Committee**, Wang A, Banerjee S, Barth BA, Bhat YM, Chauhan S, Gottlieb KT, Konda V, Maple JT, Murad F, Pfau PR, Pleskow DK, Siddiqui UD, Tokar JL, Rodriguez SA. Wireless capsule endoscopy. *Gastrointest Endosc* 2013; **78**: 805-815 [PMID: 24119509 DOI: 10.1016/j.gie.2013.06.026]

10 **Chu Y**, Huang F, Gao M, Zou DW, Zhong J, Wu W, Wang Q, Shen XN, Gong TT, Li YY, Wang LF. Convolutional neural network-based segmentation network applied to image recognition of angiodysplasias lesion under capsule endoscopy. *World J Gastroenterol* 2023; **29**: 879-889 [PMID: 36816625 DOI: 10.3748/wjg.v29.i5.879]

11 **Esteva A**, Kuprel B, Novoa RA, Ko J, Swetter SM, Blau HM, Thrun S. Dermatologist-level classification of skin cancer with deep neural networks. *Nature* 2017; **542**: 115-118 [PMID: 28117445 DOI: 10.1038/nature21056]

12 **Hassan C**, Spadaccini M, Iannone A, Maselli R, Jovani M, Chandrasekar VT, Antonelli G, Yu H, Areia M, Dinis-Ribeiro M, Bhandari P, Sharma P, Rex DK, Rösch T, Wallace M, Repici A. Performance of artificial intelligence in colonoscopy for adenoma and polyp detection: a systematic review and meta-analysis. *Gastrointest Endosc* 2021; **93**: 77-85.e6 [PMID: 32598963 DOI: 10.1016/j.gie.2020.06.059]

13 **Mijwil MM,** Al-Mistarehi AH, Abotaleb M, El-kenawy EM, Ibrahim A, Abdelhamid6 AA, Eid MM. From Pixels to Diagnoses: Deep Learning's Impact on Medical Image Processing-A Survey. *Wasit J Comput Mathematics Sci* 2023; **2**: 9-15 [DOI: 10.31185/wjcms.178]

14 **Mijwil MM**. Deep Convolutional Neural Network Architecture to Detect COVID-19 from Chest X-Ray Images. *Iraqi J Sci* 2023; **64**: 2561-2574 [DOI: 10.24996/ijs.2023.64.5.38]

15 **Mascarenhas Saraiva MJ**, Afonso J, Ribeiro T, Ferreira J, Cardoso H, Andrade AP, Parente M, Natal R, Mascarenhas Saraiva M, Macedo G. Deep learning and capsule endoscopy: automatic identification and differentiation of small bowel lesions with distinct haemorrhagic potential using a convolutional neural network. *BMJ Open Gastroenterol* 2021; **8** [PMID: 34580155 DOI: 10.1136/bmjgast-2021-000753]

16 **Ferreira JPS**, de Mascarenhas Saraiva MJDQEC, Afonso JPL, Ribeiro TFC, Cardoso HMC, Ribeiro Andrade AP, de Mascarenhas Saraiva MNG, Parente MPL, Natal Jorge R, Lopes SIO, de Macedo GMG. Identification of Ulcers and Erosions by the Novel Pillcam™ Crohn's Capsule Using a Convolutional Neural Network: A Multicentre Pilot Study. *J Crohns Colitis* 2022; **16**: 169-172 [PMID: 34228113 DOI: 10.1093/ecco-jcc/jjab117]

17 **Mascarenhas Saraiva M**, Ribeiro T, Afonso J, Andrade P, Cardoso P, Ferreira J, Cardoso H, Macedo G. Deep Learning and Device-Assisted Enteroscopy: Automatic Detection of Gastrointestinal Angioectasia. *Medicina (Kaunas)* 2021; **57** [PMID: 34946323 DOI: 10.3390/medicina57121378]

18 **Zhou JX**, Yang Z, Xi DH, Dai SJ, Feng ZQ, Li JY, Xu W, Wang H. Enhanced segmentation of gastrointestinal polyps from capsule endoscopy images with artifacts using ensemble learning. *World J Gastroenterol* 2022; **28**: 5931-5943 [PMID: 36405108 DOI: 10.3748/wjg.v28.i41.5931]

19 **Li P,** Li Z, Gao F, Wan L, Yu J. Convolutional neural networks for intestinal hemorrhage detection in wireless capsule endoscopy images. Proceedings of the 2017 IEEE International Conference on Multimedia and Expo (ICME); 2017 Jul 10–14; Hong Kong, China. ICME, 2017: 1518–1523

20 **Jiang PY,** Ergu DJ, Liu FY, Cai Y, Ma B. A Review of Yolo Algorithm Developments. *Procedia Comput Sci* 2022; **199**: 1066–1073

21 **Saurin JC**, Delvaux M, Gaudin JL, Fassler I, Villarejo J, Vahedi K, Bitoun A, Canard JM, Souquet JC, Ponchon T, Florent C, Gay G. Diagnostic value of endoscopic capsule in patients with obscure digestive bleeding: blinded comparison with video push-enteroscopy. *Endoscopy* 2003; **35**: 576-584 [PMID: 12822092 DOI: 10.1055/s-2003-40244]

22 **Ding Z**, Shi H, Zhang H, Meng L, Fan M, Han C, Zhang K, Ming F, Xie X, Liu H, Liu J, Lin R, Hou X. Gastroenterologist-Level Identification of Small-Bowel Diseases and Normal Variants by Capsule Endoscopy Using a Deep-Learning Model. *Gastroenterology* 2019; **157**: 1044-1054.e5 [PMID: 31251929 DOI: 10.1053/j.gastro.2019.06.025]

23 **Ahmed I**, Ahmad A, Jeon G. An IoT-Based Deep Learning Framework for Early Assessment of Covid-19. *IEEE Internet Things J* 2021; **8**: 15855-15862 [PMID: 35782174 DOI: 10.1109/JIOT.2020.3034074]

24 **Xia J**, Xia T, Pan J, Gao F, Wang S, Qian YY, Wang H, Zhao J, Jiang X, Zou WB, Wang YC, Zhou W, Li ZS, Liao Z. Use of artificial intelligence for detection of gastric lesions by magnetically controlled capsule endoscopy. *Gastrointest Endosc* 2021; **93**: 133-139.e4 [PMID: 32470426 DOI: 10.1016/j.gie.2020.05.027]

25 **Konishi M**, Shibuya T, Mori H, Kurashita E, Takeda T, Nomura O, Fukuo Y, Matsumoto K, Sakamoto N, Osada T, Nagahara A, Ogihara T, Watanabe S. Usefulness of flexible spectral imaging color enhancement for the detection and diagnosis of small intestinal lesions found by capsule endoscopy. *Scand J Gastroenterol* 2014; **49**: 501-505 [PMID: 24417643 DOI: 10.3109/00365521.2013.873480]

26 **Maeda M**, Hiraishi H. Efficacy of video capsule endoscopy with flexible spectral imaging color enhancement at setting 3 for differential diagnosis of red spots in the small bowel. *Dig Endosc* 2014; **26**: 228-231 [PMID: 23730949 DOI: 10.1111/den.12124]

27 **Tsuboi A**, Oka S, Aoyama K, Saito H, Aoki T, Yamada A, Matsuda T, Fujishiro M, Ishihara S, Nakahori M, Koike K, Tanaka S, Tada T. Artificial intelligence using a convolutional neural network for automatic detection of small-bowel angioectasia in capsule endoscopy images. *Dig Endosc* 2020; **32**: 382-390 [PMID: 31392767 DOI: 10.1111/den.13507]

28 **Ribeiro T**, Saraiva MM, Ferreira JPS, Cardoso H, Afonso J, Andrade P, Parente M, Jorge RN, Macedo G. Artificial intelligence and capsule endoscopy: automatic detection of vascular lesions using a convolutional neural network. *Ann Gastroenterol* 2021; **34**: 820-828 [PMID: 34815648 DOI: 10.20524/aog.2021.0653]

29 **Aoki T**, Yamada A, Aoyama K, Saito H, Tsuboi A, Nakada A, Niikura R, Fujishiro M, Oka S, Ishihara S, Matsuda T, Tanaka S, Koike K, Tada T. Automatic detection of erosions and ulcerations in wireless capsule endoscopy images based on a deep convolutional neural network. *Gastrointest Endosc* 2019; **89**: 357-363.e2 [PMID: 30670179 DOI: 10.1016/j.gie.2018.10.027]

30 **Aoki T**, Yamada A, Kato Y, Saito H, Tsuboi A, Nakada A, Niikura R, Fujishiro M, Oka S, Ishihara S, Matsuda T, Nakahori M, Tanaka S, Koike K, Tada T. Automatic detection of blood content in capsule endoscopy images based on a deep convolutional neural network. *J Gastroenterol Hepatol* 2020; **35**: 1196-1200 [PMID: 31758717 DOI: 10.1111/jgh.14941]

**Footnotes**

**Institutional review board statement:** This study was approved by the Ethics Committee of the Shanxi Provincial People’s Hospital [(2023)No.360].

**Informed consent statement:** Each patient provided written informed consent for inclusion in the study.

**Conflict-of-interest statement:** The authors declare having no conflicts of interest.

**Data sharing statement:** The datasets generated and/or analyzed during the current study are available from the corresponding author on reasonable request.

**Open-Access:** This article is an open-access article that was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution NonCommercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: https://creativecommons.org/Licenses/by-nc/4.0/

**Provenance and peer review:** Unsolicited article; Externally peer reviewed.

**Peer-review model:** Single blind

**Peer-review started:** November 8, 2023

**First decision:** December 7, 2023

**Article in press:** December 26, 2023

**Specialty type:** Gastroenterology and hepatology

**Country/Territory of origin:** China

**Peer-review report’s scientific quality classification**

Grade A (Excellent): 0

Grade B (Very good): B


Grade C (Good): C

Grade D (Fair): 0


Grade E (Poor): 0

**P-Reviewer:** Mijwil MM, Iraq **S-Editor:** Fan JR **L-Editor:** A **P-Editor:** Xu ZH


**Figure Legends**




**Figure 1 Visible light image decomposed into R, G, and B channels.** A: Visible light image (original image); B: R channel image; C: G channel image; D: B channel image.




**Figure 2 Overview of the proposed framework.** ASPP: Atrous Spatial Pyramid Pooling; MHSA: Multi-head self-attention; N: Normal; P2P: Protruding lesion larger than 1 cm.




**Figure 3 Representative examples of invalid images and normal small bowel mucosa images.** A: Bowel contents; B: Air bubbles; C: Overexposure; D: Oral cavity; E: Normal small bowel mucosa.



**Figure 4 Trend plot of accuracy *vs* epoch.**



**Figure 5 Software-generated image representation of the heat map.** A:P0Lk (lymphangiectasia); B: P0X (xanthoma); C: P1E (erosion); D: P1P (protruding lesion smaller than 1 cm); E: P2U (ulcer larger than 2 cm); F: P2P (protruding lesion larger than 1 cm); G: P2V (vascular lesion); H: B (bleeding).



**Figure 6 Output of YOLO-V5.** Boxes with different colors in the output image represent different bleeding risks; Green represents no bleeding risk; Yellow represents uncertain risk of bleeding; Magenta represents high bleeding risk; Red represents bleeding. Different numbers in the output image represent different lesion types. A: P0Lk (lymphangiectasia); B: P0Lz (lymphoid follicular hyperplasia); C: P0X (xanthoma); D: P1U (ulcer smaller than 2 cm); E: P1P (protruding lesion smaller than 1 cm); F: P2V (vascular lesion); G: P2U (ulcer larger than 2 cm); H: P2P (protruding lesion larger than 1 cm); I: Bleeding (B); J: P2P (protruding lesion larger than 1 cm), P2U (ulcer larger than 2 cm), and B. Decimal point represents probability.

**Table 1 Training and test sets image classification and the number of each classification**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Set** | **Type of CE** | **Type of pictures** | | | | | | | | | | | | |
| **N** | **P0Lk** | **P0Lz** | **P0X** | **P1E** | **P1U** | **P1P** | **P2U** | **P2P** | **P2V** | **B** | **I** | **Total** |
| Training set | PillCam | 14026 | 2086 | 1505 | 551 | 1851 | 3867 | 687 | 1564 | 689 | 930 | 1529 | 17935 | 47220 |
| MiroCam | 13452 | 612 | 817 | 494 | 1091 | 2062 | 180 | 341 | 205 | 421 | 782 | 6897 | 27354 |
| Test set | PillCam | 9221 | 245 | 435 | 122 | 235 | 1261 | 119 | 2608 | 109 | 139 | 1703 | 8446 | 24643 |
| MiroCam | 4518 | 112 | 418 | 153 | 68 | 415 | 68 | 1581 | 68 | 92 | 1181 | 3970 | 12644 |

B: Blood; CE: Capsule endoscopy; I: Invalid pictures; N: Normal pictures; P0Lk: Lymphangiectasia; P0Lz: Lymphoid follicular hyperplasia; P0X: Xanthoma; P1E: Erosion; P1P: Protruding lesion smaller than 1 cm; P1U: Ulcer smaller than 2 cm; P2P: Protruding lesion larger than 1 cm; P2U: Ulcer larger than 2 cm; P2V: Vasculopathy.

**Table 2 Comparison of sensitivity, specificity, and accuracy of physician and model-assisted reading for different types of image recognition**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Type of CE** | **Mode of reading** | **Sensitivity, %** | **Specificity, %** | **Accuracy, %** |
| I | P | 95.96 | 98.10 | 97.39 |
| M | 99.85 | 99.57 | 99.66 |
| N | P | 94.96 | 94.25 | 94.52 |
| M | 98.84 | 99.77 | 99.43 |
| P0Lk | P | 84.31 | 99.89 | 99.75 |
| M | 96.92 | 99.97 | 99.94 |
| P0Lz | P | 78.66 | 99.71 | 99.23 |
| M | 97.30 | 99.90 | 99.83 |
| P0X | P | 65.45 | 99.87 | 99.62 |
| M | 93.82 | 99.98 | 99.94 |
| P1E | P | 67.33 | 99.55 | 99.28 |
| M | 91.75 | 99.96 | 99.90 |
| P1U | P | 74.88 | 99.68 | 98.57 |
| M | 98.39 | 99.94 | 99.87 |
| P1P | P | 64.71 | 99.78 | 99.61 |
| M | 94.12 | 99.94 | 99.91 |
| P2U | P | 98.35 | 99.94 | 99.76 |
| M | 99.69 | 99.99 | 99.95 |
| P2P | P | 88.14 | 99.71 | 99.65 |
| M | 100 | 99.96 | 99.96 |
| P2V | P | 52.38 | 99.92 | 99.62 |
| M | 97.40 | 99.97 | 99.96 |
| B | P | 100 | 100 | 100 |
| M | 100 | 100 | 100 |

The models in this table refer to the improved models (with modules added). B: Blood; CE: Capsule endoscopy; I: Invalid pictures; M: Model-assisted reading; N: Normal pictures; P: Physician reading; P0Lk: Lymphangiectasia; P0Lz: Lymphoid follicular hyperplasia; P0X: Xanthoma; P1E: Erosion; P1P: Protruding lesion smaller than 1 cm; P1U: Ulcer smaller than 2 cm; P2P: Protruding lesion larger than 1 cm; P2U: Ulcer larger than 2 cm; P2V: Vasculopathy.

**Table 3 Effect of stage 1 multimodal module ablation experiments on the performance metrics of the algorithm**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Method** | **Color channel module** | | | | **Accuracy, %** | **Sensitivity, %** | **Specificity, %** |
| **R** | **G** | **B** | **RGB** |
| Method 1 | √ | × | × | × | 98.32 | 98.29 | 98.36 |
| Method 2 | × | √ | × | × | 96.97 | 96.99 | 96.93 |
| Method 3 | × | × | √ | × | 99.04 | 99.02 | 99.08 |
| Method 4 | × | × | × | √ | 99.08 | 99.05 | 99.12 |

**Table 4 Effect of stage 1 attention module ablation experiments on the performance metrics of the algorithm**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Method** | **Attention module** | | | **Accuracy, %** | **Sensitivity, %** | **Specificity, %** |
| **SA** | **CA** | **MHSA** |
| Method 1 | √ | × | × | 98.79 | 98.75 | 98.86 |
| Method 2 | × | √ | × | 98.82 | 98.66 | 99.06 |
| Method 3 | × | × | √ | 99.08 | 99.05 | 99.12 |

CA: Channel attention module; MHSA: Multi-head self-attention; SA: Spatial attention module.

**Table 5 Effect of ablation experiments in stage 2 on algorithm performance metrics**

|  |  |  |  |
| --- | --- | --- | --- |
| **Module** | **Accuracy, %** | **EER, %** | **AUC, %** |
| PN, √ | 98.96 | 0.24 | 98.86 |
| PN, × | 96.38 | 0.29 | 95.02 |
| ASPP, √ | 98.96 | 0.24 | 98.86 |
| ASPP, × | 96.01 | 0.28 | 96.47 |
| MHSA, √ | 98.96 | 0.24 | 98.86 |
| MHSA, × | 96.22 | 0.29 | 95.68 |

ASPP: Atrous spatial pyramid pooling; AUC: Area under the curve; EER: Equal error rate; MHSA: Multi-head self-attention mechanism; PN: Parallel network.

**Table 6 Effect of random number experiment on algorithm performance index in stage 2 feature erase module**

|  |  |  |  |
| --- | --- | --- | --- |
| **Random number** | **Accuracy, %** | **EER, %** | **AUC, %** |
| 001 | 97.91 | 0.29 | 98.49 |
| 010 | 97.92 | 0.28 | 98.47 |
| 100 | 97.91 | 0.29 | 98.50 |
| 011 | 98.58 | 0.24 | 98.63 |
| 101 | 98.37 | 0.25 | 98.66 |
| 110 | 98.27 | 0.25 | 98.67 |
| 111 | 98.96 | 0.24 | 98.86 |

AUC: Area under the curve; EER: Equal error rate.

**Table 7 Comparison of available models**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Ref.** | **Year of publication** | **Application** | **Algorithm** | **Sensitivity, %** | **Specificity, %** | **Accuracy, %** |
| Aoki *et al*[29] | 2019 | Erosion/ulcer | CNN system based on SSD | 88.2 | 90.9 | 90.8 |
| Ding *et al*[22] | 2019 | Ulcer | ResNet-152 | 99.7 | 99.9 | 99.8 |
| Bleeding | 99.5 | 99.9 | 99.9 |
| Vascular lesion | 98.9 | 99.9 | 99.2 |
| Aoki *et al*[30] | 2020 | Protruding lesion | ResNet-50 | 100 | 99.9 | 99.9 |
| Bleeding | 96.6 | 99.9 | 99.9 |
| Current study | 2023 | Ulcer( P1U + P2U ) | Improved ResNet-50 + YOLO-V5 | 99.7 | 99.9 | 99.9 |
| Vascular lesion | 97.4 | 99.9 | 99.9 |
| Protruding lesion (P1P + P2P) | 98.1 | 99.9 | 99.9 |
| Bleeding | 100 | 100 | 100 |

CNN: Convolution neural network; P1U: Ulcer smaller than 2 cm; P1P: Protruding lesion smaller than 1 cm; P2P: Protruding lesion larger than 1 cm; P2U: Ulcer larger than 2 cm; SSD: Single shot multibox detector.



Published by **Baishideng Publishing Group Inc**

7041 Koll Center Parkway, Suite 160, Pleasanton, CA 94566, USA

**Telephone:** +1-925-3991568

**E-mail:** office@baishideng.com

**Help Desk:** https://www.f6publishing.com/helpdesk

https://www.wjgnet.com



**© 2024 Baishideng Publishing Group Inc. All rights reserved.**