| Imaging diagnosis of pancreatic cancer: A state-of-the-art review Eun Sun Lee, Jeong Min Lee |
| --- |
| CITATION | Lee ES, Lee JM. Imaging diagnosis of pancreatic cancer: A state-of-the-art review. World J Gastroenterol 2014; 20(24): 7864-7877 |
| URL | http://www.wjgnet.com/1007-9327/full/v20/i24/7864.htm |
| DOI | http://dx.doi.org/10.3748/wjg.v20.i24.7864 |
| OPEN ACCESS | Articles published by this Open-Access journal are distributed under the terms of the Creative Commons Attribution Non-commercial License, which permits use, distribution, and reproduction in any medium, provided the original work is properly cited, the use is non commercial and is otherwise in compliance with the license. |
| CORE TIP | To improve the survival rate of pancreatic cancer, early detection and optimal treatment with various imaging modalities is essential. Our study investigates the current role of pancreatic imaging, including computed tomography (CT), magnetic resonance imaging (MRI) with magnetic resonance cholangiopancreatography, and biopsy/fine-needle aspiration using endoscopic ultrasound, focused on the pancreatic cancer. This study introduces rapidly-developing novel imaging techniques, including dual energy, low-tube-voltage CT techniques, iterative reconstruction CT algorithms, functional MRI methods, and hybrid positron emission tomography/MR, which are expected to become widely used and to show excellent performance for pancreatic cancer imaging in the near future. |
| KEY WORDS | Pancreatic neoplasms; Multi-detector computed tomography; Magnetic resonance imaging; Ultrasonography; Endoscopic ultrasound-guided fine needle aspiration; Positron-emission tomography |
| COPYRIGHT | © 2014 Baishideng Publishing Group Inc. All rights reserved. |
| COPYRIGHT LICENSE | Order reprints or request permissions: bpgoffice@wjgnet.com |
| NAME OF JOURNAL | World Journal of Gastroenterology |
| ISSN | 1007-9327 (print) 2219-2840 (online) |
| PUBLISHER | Baishideng Publishing Group Co., Limited, Flat C, 23/F., Lucky Plaza, 315-321 Lockhart Road, Wan Chai, Hong Kong, China |
| WEBSITE | http://www.wjgnet.com |

Name of journal: World Journal of Gastroenterology

ESPS Manuscript NO: 6456

Columns: TOPIC HIGHLIGHT

Imaging diagnosis of pancreatic cancer: A state-of-the-art review

Eun Sun Lee, Jeong Min Lee

Eun Sun Lee, Jeong Min Lee, Department of Radiology, Seoul National University Hospital, Seoul 110-744, South Korea

Jeong Min Lee, Institute of Radiation Medicine, Seoul National University College of Medicine, Seoul 110-744, South Korea

Author contributions: Lee ES reviewed the literature and wrote the paper; Lee JM contributed to the conception and design of the article, and approved the final version for publication.

Correspondence to: Jeong Min Lee, MD, Institute of Radiation Medicine, Seoul National University College of Medicine, 101 Daehangno, Chongno-gu, Seoul 110-744, South Korea. jmsh@snu.ac.kr

Telephone: +82-2-20723154  Fax: +82-2-7437418

Received: October 18, 2013    Revised: December 26, 2013    Accepted: January 3, 2014

Published online: June 28, 2014

Abstract

Pancreatic cancer (PC) remains one of the deadliest cancers worldwide, and has a poor, five-year survival rate of 5%. Although complete surgical resection is the only curative therapy for pancreatic cancer, less than 20% of newly-diagnosed patients undergo surgical resection with a curative intent. Due to the lack of early symptoms and the tendency of pancreatic adenocarcinoma to invade adjacent structures or to metastasize at an early stage, many patients with pancreatic cancer already have advanced disease at the time of their diagnosis and, therefore, there is a high mortality rate. To improve the patient survival rate, early detection of PC is critical. The diagnosis of PC relies on computed tomography (CT) and/or magnetic resonance imaging (MRI) with magnetic resonance cholangiopancreatography (MRCP), or biopsy or fine-needle aspiration using endoscopic ultrasound (EUS). Although multi-detector row computed tomography currently has a major role in the evaluation of PC, MRI with MRCP facilitates better detection of tumors at an early stage by allowing a comprehensive analysis of the morphological changes of the pancreas parenchyma and pancreatic duct. The diagnosis could be improved using positron emission tomography techniques in special conditions in which CT and EUS are not completely diagnostic. It is essential for clinicians to understand the advantages and disadvantages of the various pancreatic imaging modalities in order to be able to make optimal treatment and management decisions. Our study investigates the current role and innovative techniques of pancreatic imaging focused on the detection of pancreatic cancer.

© 2014 Baishideng Publishing Group Inc. All rights reserved.

Key words: Pancreatic neoplasms; Multi-detector computed tomography; Magnetic resonance imaging; Ultrasonography; Endoscopic ultrasound-guided fine needle aspiration; Positron-emission tomography

Core tip: To improve the survival rate of pancreatic cancer, early detection and optimal treatment with various imaging modalities is essential. Our study investigates the current role of pancreatic imaging, including computed tomography (CT), magnetic resonance imaging (MRI) with magnetic resonance cholangiopancreatography, and biopsy/fine-needle aspiration using endoscopic ultrasound, focused on the pancreatic cancer. This study introduces rapidly-developing novel imaging techniques, including dual energy, low-tube-voltage CT techniques, iterative reconstruction CT algorithms, functional MRI methods, and hybrid positron emission tomography/MR, which are expected to become widely used and to show excellent performance for pancreatic cancer imaging in the near future.

Lee ES, Lee JM. Imaging diagnosis of pancreatic cancer: A state-of-the-art review. World J Gastroenterol 2014; 20(24): 7864-7877  Available from: URL: http://www.wjgnet.com/1007-9327/full/v20/i24/7864.htm  DOI: http://dx.doi.org/10.3748/wjg.v20.i24.7864

INTRODUCTION

Pancreatic cancer is the fourth most common cause of cancer-related mortality worldwide, with an incidence rate equaling that of its mortality rate[1-3]. Whereas there have been great advances in the early detection and treatment of other malignancies such as colorectal cancer, breast cancer, and prostate cancer, the prognosis of pancreatic cancer is still bleak, as the five-year survival rate is less than 5% and the mortality rate has not declined over the last few decades[4,5]. Therefore, pancreatic cancer seems to remain one of the greatest challenges in the fight against cancer in the 21st century[6]. One of the main causes of the poor prognosis of pancreatic cancer is the difficulty of its early diagnosis. As pancreatic cancer typically develops with few symptoms in the early stage and there are not many specific, well-known risk factors aside from smoking and family history, the appropriate screening and early diagnosis of pancreatic cancer is quite challenging[7]. Therefore, only 10% to 20% of diagnosed patients have a chance of successful resection and possible cure, and even in patients with resectable disease, the survival rate is only 23%[3].

Despite the numerous obstacles detailed above, there is a continued effort to achieve early detection and to make the appropriate selection of surgical candidates with pancreatic cancer[8-12]. Furthermore, currently available pancreatic imaging has a key role in the characterization of pancreatic focal lesions, initial staging, surgical and therapeutic planning, and assessment of the treatment response using various imaging modalities, including ultrasonography (US), computed tomography (CT), magnetic resonance imaging (MRI), positron emission tomography (PET), and endoscopic ultrasonography (EUS)[8-18]. Multi-detector row computed tomography (MDCT) has a major role in the diagnosis and staging of pancreatic malignancies. MDCT of the pancreas is favorably complemented by EUS, which is more sensitive for the early detection of lesions, and allows relatively easy access to the pancreas for tissue diagnosis using fine-needle aspiration (FNA), as well as providing further important information for use in tumor staging[19].

MRI with magnetic resonance cholangiopancreatography (MRCP) and PET scanning can also have a successful role as a secondary imaging modality under special circumstances when CT and EUS are not diagnostic. Our study provides an overview of the current role and innovative techniques of pancreatic imaging for the detection and treatment of pancreatic cancer.

ROLE OF PANCREATIC IMAGING

Although the average survival time of patients resected for PC is approximately 12 to 20 mo, and there is a high probability of relapse due to the highly adverse and aggressive nature of the evolving disease, the primary treatment offering the greatest potential for cure is the complete, curative, surgical resectioning of the primary carcinoma[20,21]. As surgical and oncological treatments for pancreatic cancer have continually become more aggressive and sophisticated, the role of imaging has become more important, not only for initial diagnosis and staging, but also for determining both the resectability and the optimal treatment monitoring of pancreatic cancer[16,17,22]. MDCT is currently the worldwide imaging modality of choice for evaluation of pancreatic cancer, although ultrasonography, endoscopic US, contrast-enhanced US, and MRI with MRCP provide complementary, sometimes even more detailed, information[10]. Each imaging modality has both its advantages and disadvantages according to the four, different aspects regarding pancreatic cancer imaging evaluation: (1) identification of the primary tumor; (2) local tumor resectability; (3) distant metastasis; and (4) treatment monitoring.

US

US is frequently the first-line diagnostic tool for patients presenting with jaundice or abdominal pain, as it is a non-invasive and cost-effective modality. A hypoechoic mass, dilatation of the pancreatic duct, and dilatation of the bile duct are typical imaging features of pancreatic head tumor when seen on US. However, in cases of pancreatic body and tail cancers, tumor detection is quite difficult due to the lack of biliary dilatation and the presence of gas bubbles in the stomach and transverse colon, which cause posterior shadowing. In this situation, oral administration of water or other contrast agents may help to delineate the entire organ. The sensitivity and accuracy of pancreatic US is also highly dependent on the operator’s experience, the degree of disease progression, and the body habitus of patients. For these reasons, the US sensitivity for detecting pancreatic cancer is controversial and has been reported as anywhere between 50%-90%[9,15,23-25]. Using US without contrast media, it is difficult to differentiate pancreatic cancer from other focal lesions, such as neuroendocrine tumor or chronic pancreatitis, as they show the same imaging features on conventional US. Overall, transabdominal US is an acceptable first-imaging method, although not a reliable method for a confident diagnosis or the exclusion of small pancreatic tumors, which are the only ones with even a slight chance for a cure[26].

CT

In many medical institutions, MDCT is routinely used as the most important pre-operative examination in patients with suspected pancreatic cancer, as it has good spatial and temporal resolution with wide anatomic coverage, and thus permits both comprehensive local and distant disease assessment during a single session[10]. In particular, among the cross-sectional imaging modalities, MDCT has shown the best performance for the evaluation of vascular involvement, which is the most important factor for predicting the tumor resectability[27-33]. The reported positive predictive value, sensitivity, and specificity for predicting the resectability of pancreatic cancer were 89%, 100%, and 72%, respectively[34]. In terms of treatment monitoring following chemotherapy or surgery, MDCT is the primary imaging modality, and is used in conjunction with PET/CT[14,18]. However, MDCT may not depict small metastases to the liver or peritoneum[30], or even a primary pancreatic tumor showing isoattenuation[35].

EUS-FNA

As EUS offers excellent visualization of the pancreas from the duodenum or stomach and can produce high-resolution images of the pancreas, it has been considered one of the most accurate methods for the detection of pancreatic focal lesions, especially in patients with small tumors of 3 cm or less[36,37]. EUS also has the unique ability to obtain specimens for histopathological diagnosis using EUS-guided FNA. Since its early introduction in the early 1990s, EUS-FNA has emerged as a safe and accurate imaging technique for tissue diagnosis in patients with pancreaticobiliary disorders, particularly those with diagnosed pancreatic cancer. Furthermore, EUS-FNA has replaced endoscopic retrograde cholangiopancreatography (ERCP) with brush cytology as the endoscopic test of choice for tissue acquisition due to its higher success rates and decreased risk of post-procedural complications, especially in patients without obstructive jaundice[38]. Although EUS alone has shown slightly disappointing accuracy for differentiating pancreatic cancer from chronic pancreatitis (i.e., 76% for malignancy and 46% for focal inflammation[37]), the reported sensitivity and accuracy of conjoined EUS-FNA for detecting pancreatic malignancy usually exceeds 90%[39-44]. According to a recent meta-analysis covering the years between 1995 and 2008, the pooled sensitivity and specificity of EUS-FNA were 86.8% and 95.8%, respectively, for diagnosing a solid pancreatic mass[38].

In order to improve diagnostic accuracy of EUS, contrast-enhanced EUS and EUS elastography are valuable new techniques to be considered. By administrating micro-bubble agents, the diagnostic accuracy of EUS can be as high as 82% for pancreatic adenocarcinoma[45]. EUS elastography, one of the most recent advances in gastrointestinal endoscopy, is a non-invasive technique that measures tissue elasticity in real time using a dedicated probe and system. A number of recent investigations have shown promising results of EUS elastography for diagnosing pancreatic focal lesions[46-49].

MRI

Over the past few years, MRI scanners and imaging techniques have become more sophisticated, resulting in improvements in both imaging quality and diagnostic accuracy. Therefore, MRI with MRCP is currently used as a problem-solving tool for patients with pancreatic disease[50]. Given the greater soft-tissue contrast of MRI compared with that of CT, there are several specific situations in which MRI is superior to CT: small tumors, hypertrophied pancreatic head, isoattenuating pancreatic cancer, and focal fatty infiltration of the parenchyma[17]. Therefore, MRI has been proven to be outstanding for characterizing pancreatic masses. MRCP is also a very successful and classical MR technique for non-invasively delineating the pancreatic ductal system, as well as a valuable alternative to ERCP[51]. MRCP is also very useful for detecting subtle ductal narrowing that may suggest the presence of a small mass. Moreover, MRCP is very useful for delineating the presence of stones as an alternative cause of biliary or pancreatic ductal dilatation[17,52,53]. Although MDCT currently has a major role in the evaluation of PC, MRI with MRCP allows more successful tumor detection at an early stage by allowing a comprehensive analysis of the morphological changes of the pancreas parenchyma, as well as that of the pancreatic duct[20].

PET

PET/CT is an established molecular imaging modality, with fluorine 18-fluorodeoxyglucose (FDG), a glucose analogue, being the most widely used radiotracer[14,54]. The reported sensitivity and specificity of FDG-PET for the depiction of pancreatic cancer are 46%-71% and 63%-100%, respectively[55]. However, FDG-PET is more sensitive for treatment monitoring following chemoradiotherapy and for depicting tumor recurrence after resection than MDCT[22,56-59]. Its wide anatomic coverage, which allows the depiction of all possible evidence of metastases in the entire body, is one of the advantages of PET/CT[18], while its inherently low spatial resolution and false-positive results caused by normal physiologic FDG uptake are its well-known limitations[60,61].

STANDARD PROTOCOL FOR PANCREATIC CANCER EVALUATION

In our institution, EUS and PET/CT are not performed by radiologists. Therefore, we do not deal with the technical protocols of EUS and PET/CT in this section.

US

US examination of the pancreas is performed following a minimum fast of 6 h. The purposes of the fast are to improve visualization of the pancreas, limit bowel gas, and ensure an empty stomach. US scan plans include transvers, longitudinal, and oblique scans along the pancreatic duct. Bowel gas can be displaced by moving the transducer and applying compression when necessary. To obtain complete visualization of all the portions of the pancreatic gland it is possible, and sometimes convenient, to employ different scanning techniques, such as filling the stomach with water, examining the patient with suspended inspiration or expiration, and changing the patient’s position to erect, supine, and left and right decubitus. If the pancreas is poorly visualized, the water technique, using 100 to 300 mL of water through a straw, may be helpful[62].

CT

A pancreas-specific protocol for pancreatic cancer typically utilizes a thin-section, multi-phase technique with pre-contrast images and early arterial phase (CT angiography phase) images of the aorta and the superior mesenteric artery (17-25 s after the start of contrast injection), pancreatic phase (35-50 s after the start of contrast injection), and portal venous phase images (55-70 s after the start of contrast injection). Pancreatic phase images show peak pancreatic parenchymal enhancement, and therefore provide the best lesion to pancreas contrast. Portal phase images are helpful to assess the extent of venous involvement and to identify possible liver metastases[34,63-66]. The bolus tracking technique is currently routinely used to adjust for variations in the cardiac circulation time[34]. With regard to post-processing, a variety of techniques have been described for pancreatic imaging. The most commonly-used techniques are multiplanar reformations (MPR), curved multiplanar reformations (CMPR), and minimum intensity projections (MinIP)[65,67]. Oblique coronal or sagittal MPR and CMPR along the pancreatic duct can clearly demonstrate the relationship between tumors and the pancreatic duct or adjacent major structures. MinIP images use the lowest density values along each ray and clearly show low-density structures such as pancreatic and bile ducts. The recommended MinIP slab thickness is 3 mm for the pancreatic duct[65,66,68]. Maximum intensity projections are also often used to evaluate the relationship between tumors and adjacent, enhanced vessels.

In our medical institution at the time of our study, quadruple-phase CT images were obtained according to our biliary-pancreas protocol. First, a baseline, unenhanced scan was obtained from the hepatic dome to the third portion of the duodenum. After unenhanced scanning, patients received 1.5 mL/kg of iopromide (Ultravist 370; Schering, Berlin, Germany) intravenously for 30 s using a power injector at a rate of 3-5 mL/s. Triple-phase, dynamic CT scans were then obtained. The scanning delay for the arterial, pancreatic, and portal-venous phases was approximately 25 s, 40 s, and 70 s, respectively, after the initiation of the contrast injection. For MDCT scanners, a bolus-tracking method was used. After reaching an enhancement of up to 100 Hounsfield units in the descending aorta, as measured using the bolus-tracking technique, the scanning delay for the arterial phase was 5-6 s for all MDCT scanners. The scanning delay for the pancreatic phase was 19-22 s and that for the portal-venous phase was 52-65 s following contrast injection. The time required to reach 100 Hounsfield units in the descending aorta ranged from 18 to 23 s. For clinical interpretation, the CT images were reconstructed with a slice thickness of 2.5-3.0 mm and a reconstruction interval of 1.5-2 mm for MDCT[69]. The minimum technical specifications for MDCT of the pancreas are summarized in Table 1.

MRI

In many medical institutions, patients fast for four to six hours before MRI examination so that the gallbladder is distended and the signal from the overlying stomach and duodenum is decreased. For full evaluation of the pancreatic parenchyma and the pancreaticobiliary ductal system, obtaining the following MR sequences is recommended[50]: T1-weighted gradient-echo; T2-weighted axial and coronal sequences, usually turbo spin-echo; two dimensional (2D) and three dimensional (3D) MRCP; and T1-weighted 3D gradient-echo (GRE) before and after intravenous administration of gadolinium. Diffusion-weighted imaging (DWI) is currently becoming an increasingly used, optional sequence for the detection and characterization of pancreatic lesions[70]. The minimum technical specifications for MRI of the pancreas are summarized in Table 2. In our clinical practice at the time of our study, unenhanced T2-weighted images are usually obtained using a single-shot, fast SE sequence or a half-Fourier rapid acquisition with relaxation enhancement sequence. Unenhanced T1-weighted images are commonly acquired using in-phase and opposed-phase spoiled GRE (T1-weighted, dual-echo GRE) techniques. In addition, the following three MR cholangiographic methods were used to evaluate biliary anatomy: (1) the breath-hold, single-section, rapid acquisition with relaxation enhancement technique with fast or turbo SE sequences; (2) the breath-hold, multisection, single-shot, fast SE or half-Fourier rapid acquisition with relaxation enhancement technique; and (3) the respiratory-triggered, 3D, fast SE technique. Dynamic images were obtained using one of two fat-suppressed, 3D GRE sequences (i.e., LAVA [liver acquisition with volume acceleration], GE Medical Systems and VIBE [volume interpolation with breath-hold examination], Siemens Medical Solutions) before and after the administration of gadolinium-based contrast agents (Gd-BT-DO3A, Gadovist, Bayer Schering Pharma AG, Berlin, Germany) at a dose of 0.1 mmol per kilogram of body weight and with an injection rate of 1.5-2 mL/s (injection duration approximately 5-8 s). The arterial phase images were obtained five seconds after the gadolinium-containing bolus was detected in the abdominal aorta. Acquisition of 3D LAVA or VIBE data for each phase was completed during a single breath-hold at the end of expiration (mean time, 20 s; range, 18-21 s). Arterial, portal venous, and equilibrium phase images were obtained approximately 20-40 s, 45-65 s, and 3-5 min, respectively, after injection of the contrast agent. An additional, fat-suppressed LAVA or VIBE sequence was performed two minutes after the contrast-agent injection (between the portal venous and equilibrium phases) on the coronal plane and parallel to the portal vein bifurcation[71,72].

TYPICAL IMAGING FEATURES OF PANCREATIC CANCER

Pancreatic adenocarcinoma occurs most commonly in the pancreatic head (65%) and usually presents on US as a hypoechoic solid mass with ill-defined margins (Figure 1). Masses in the head of the pancreas cause ductal obstruction with secondary dilatation of both the common bile duct and the pancreatic duct, and result in the so-called double-duct sign[62]. On Doppler studies, pancreatic ductal adenocarcinoma shows poor vascularity[73], as well as poor enhancement on all phases of contrast-enhanced US[74]. This may be caused by marked desmoplasia, low mean vascular density, or the possible presence of necrosis and mucin[75].

On CT, pancreatic adenocarcinomas most often appear as hypoattenuating masses (Figure 2)[76]. However, approximately 10% of pancreatic adenocarcinomas are isoattenuating relative to the background pancreatic parenchyma[35], especially in small tumors 2 cm or less[77], thus making diagnosis more difficult. In these situations, indirect (secondary) signs, such as upstream pancreatic duct dilation or the double-duct sign caused by pancreatic and common bile duct obstruction, are helpful for diagnosis[76,77]. In addition, the pancreas distal to the tumor usually also appears atrophic. As the tumor grows, it typically infiltrates the peripancreatic structures and may result in encasement of adjacent vasculature and in some cases adjacent organs. Pancreatic cancers can occasionally appear to be cystic or necrotic, and in rare cases they can contain calcium[78].

On MRI, pancreatic cancer typically appears hypointense on fat-suppressed, T1-weighted imaging (Figure 3) and on pancreatic parenchymal phase, dynamically enhanced, fat-suppressed, T1-weighted sequences, whereas it has a variable appearance on T2-weighted images[79]. Pancreatic cancer also has a variable appearance on diffusion-weighted images. In a recent study of 80 patients, 38 pancreatic cancers appeared hyperintense, 12 isointense, and 4 hypointense[80].

Pancreatic adenocarcinoma usually manifests as an area of increased uptake on PET/CT and appears as a “hot spot” within the pancreas. On the basis of tumor biology and the degree of desmoplastic response, pancreatic ductal adenocarcinoma may demonstrate a low level of FDG uptake or none at all[14]. The reported SUV (standardized uptake value) of pancreatic adenocarcinoma (3.50 ± 1.66) was found to be higher than that of benign lesions (1.91 ± 0.65) and of the normal pancreas[81]. In a recent study of patients with suspected pancreatic cancer, the FDG uptake of malignant tumors was also distinctly higher than that of benign lesions and in patients with chronic pancreatitis[55,82].

PERFORMANCE OF CT AND MR FOR DIAGNOSIS, STAGING, AND RESECTABILITY

With the continuing substantial improvements in CT technology, the capacity of MDCT for the detection, diagnosis, and local staging of pancreatic cancer has increased. MDCT is very effective for detecting and staging adenocarcinoma, with a sensitivity of up to 90% for detection and an accuracy of 80%-90% for staging[26]. Determination of the extent of vascular involvement is usually made by identifying the extent to which the tumor involves the cross-sectional circumference of a vessel. This can be done by identifying, with regard to the circular cross-section of a vessel, the degrees of circumferential involvement, as described by Lu et al[31]. Since their study was published in 1997, the terms “abutment” and “encasement” have also been used; abutment refers to the involvement of 180° or less of a vessel’s circumference, and encasement refers to a greater than 180° vascular circumferential involvement[79]. As described above, as MDCT has shown the best performance for evaluating vascular involvement[27-33] (Figure 4), it is the most important factor for predicting tumor resectability. For example, four-section CT has been reported to have a 100% negative predictive value for vascular invasion and a 87% negative predictive value for overall tumor resectability[30,83]. Therefore, MDCT is still the modality of choice for diagnosis and local staging of patients with pancreatic cancer.

Recently, distinct advances in MR technology have caused great improvements in pancreatic cancer imaging. At the same time, several literature reports have been published describing the comparable diagnostic performance of MDCT and MR[84-88]. According to a recent report by Koelblinger et al[85], the mean sensitivity and specificity of 64-detector row CT and 3.0-T MR imaging for the detection of pancreatic cancer (mean sensitivity, 95% vs 96%, respectively; mean specificity, 96% for both) do not differ significantly.

NEW TECHNIQUES IN PANCREATIC IMAGING

Dual-energy CT and low-tube-voltage techniques

Although MDCT has become the modality of choice for pancreatic cancer imaging and shows excellent performance regarding its diagnosis and staging, the detection of small pancreatic cancers < 2 cm in diameter or of isoattenuating tumors (which account for approximately 10% of all pancreatic adenocarcinomas) still remains challenging[35,77]. For those cases, we can improve the contrast-to-noise ratio between pancreatic cancer and normal parenchyma using the dual-energy or low-tube-voltage techniques[89]. A low-tube-voltage CT technique increases the X-ray absorption of iodine by increasing the gap between the mean effective energy of the X-ray spectrum and the k edge of iodine[90]. Clinically, this phenomenon results in improved contrast enhancement of normal pancreatic parenchyma in order to maximize the contrast to typically poorly vascularized pancreatic cancers[90,91]. Therefore, dual-energy CT and low-tube-voltage techniques offer increased detection rates for small or otherwise isoattenuating pancreatic tumors[89-93].

Iterative reconstruction algorithm on MDCT

A new method for CT noise reduction based on iterative reconstruction (IR) algorithms has recently been developed. Since medical radiation exposure is generally increasing, one of the greatest concerns for radiologists, the use of this novel technique has recently been increasing due to its potential to preserve and enhance the diagnostic capability of CT with reduced radiation doses[94]. Currently, several IR methods have been proposed and are being commercially used for reducing radiation dose by decreasing the image noise during the reconstruction process (i.e., adaptive statistical iterative reconstruction (ASiR, GE Health-care), model-based iterative reconstruction (MBIR, GE Healthcare), iterative reconstruction in image space (IRIS, Siemens Healthcare), sinogram-affirmed iterative reconstruction (SAFIRE, Siemens Healthcare), and iDose (Philips Healthcare)[95]. Based on its development, many studies have continuously revealed the superiority of IR, compared with routine filtered back projection, across the whole body[94-107]. Regarding the variety of reconstructing algorithms, each method may show a detailed difference in image quality, as well as providing abnormal features such as a plastic, waxy, blotchy, or pixilated texture[104,107]. Considering the effects of IR techniques on reducing image noise, these techniques could be used for high spatial resolution pancreatic CT imaging, which may provide high quality, 1-2 mm, thin-slice CT images. Optimizing the IR technique using a study protocol is necessary to balance imaging distortion, radiation reduction, and image quality, as well as high spatial resolution, along the z-axis.

Dynamic, contrast-enhanced-MR, DWI, and gadoxetic acid-enhanced liver MR for evaluation of liver metastasis

Although there is still technical complexity and room for improvement in terms of imaging resolutions regarding dynamic, contrast-enhanced (DCE) MR imaging, in previously published studies the quantitative analysis of the enhancement patterns and perfusion parameters using DCE-MR imaging has been shown to be both objective and helpful for the evaluation of malignant diseases regarding both their diagnosis and treatment monitoring[108-110]. In our preliminary data, the K(trans), K(ep), and iAUC values in patients with pancreatic cancer were significantly lower than those seen in patients with a normal pancreas (P < 0.05), and were, therefore, useful for differentiating pancreatic cancer from pancreatic neuroendocrine tumors[110].

DWI has also been used to characterize pancreatic lesions of various pathologic entities, such as cystic lesions, pancreatitis, and malignant tumors[70,111-113]. Although MR has the great advantage of excellent soft-tissue contrast for focal lesion detection, small or non-contour-deforming pancreatic adenocarcinomas may lack classic imaging features and thus may not be detected on conventional MRI. The use of diffusion-weighted imaging may allow earlier detection of pancreatic adenocarcinoma, as these neoplasms have increased signal intensity on diffusion-weighted images with high b values (b > 500 s/mm2), as well as relatively low ADC values because of their restricted diffusion associated with fibrosis[70]. The intravoxel incoherent motion (IVIM) model takes these two sources of signal decay into account, thus providing a theoretical framework from which to derive diffusion and perfusion parameters from DWI[114]. Recently, the IVIM-approach with multiple b-values has been applied to pancreatic imaging, and there have been several reports showing promising results regarding the differentiation of pancreatic cancer from a normal pancreas[112,115]. DWI may also show small metastases that are not so clearly seen using other sequences and which, therefore, suggest to radiologists, on the basis of the high-signal-intensity lesion seen on diffusion-weighted imaging, to more closely examine the images obtained on other sequences[70,116]. Gadoxetic acid-enhanced liver MR imaging is also regarded as one of the best imaging tools for detecting liver metastasis in patients with pancreatic cancer. The reported sensitivity of gadoxetic acid-enhanced liver MR is 85% for detecting liver metastasis in pancreatic cancer, which is significantly higher compared with that of CT (69%)[117].

Hybrid PET/MR

Integrated PET and MR (PET/MR) scanners have recently become available for use in humans. As MR has the inherent strength of superior soft-tissue contrast resolution, multiplanar imaging acquisition, and functional imaging capability, such as that seen in DCE-MR, DWI, MR spectroscopy, or elastography, PET/MR may exhibit superior diagnostic performance compared with that of PET/CT[118]. In our medical institution, PET/MR imaging is now being used for evaluation of staging in patients with locally advanced pancreatic cancers, as well as for evaluation of tumor response in patients with pancreatic cancer undergoing neoadjuvant chemoradiotherapy before and after treatment (Figure 5).

CONCLUSION

There have recently been notable improvements in pancreatic imaging using the multi-modality approach, although each imaging modality has its own role, advantages, and disadvantages, not only for diagnosis, but also for the treatment and follow-up of pancreatic cancer. Both radiologists and clinicians should be familiar with those characteristics of imaging modalities, and apply them whenever possible. Rapidly developing, novel imaging techniques, including dual energy, low-tube-voltage CT techniques, IR algorithms, functional MR imaging methods, and hybrid PET/MR, are expected to become widely-used and to show excellent performance for pancreatic cancer imaging in the near future.

REFERENCES

1	Hariharan D, Saied A, Kocher HM. Analysis of mortality rates for pancreatic cancer across the world. HPB (Oxford) 2008; 10: 58-62 [PMID: 18695761 DOI: 10.1080/13651820701883148]

2	Hidalgo M. Pancreatic cancer. N Engl J Med 2010; 362: 1605-1617 [PMID: 20427809 DOI: 10.1056/NEJMra0901557]

3	Siegel R, Naishadham D, Jemal A. Cancer statistics, 2013. CA Cancer J Clin 2013; 63: 11-30 [PMID: 23335087 DOI: 10.3322/caac.21166]

4	Li D, Xie K, Wolff R, Abbruzzese JL. Pancreatic cancer. Lancet 2004; 363: 1049-1057 [PMID: 15051286 DOI: 10.1016/S0140-6736(04)15841-8]

5	Jemal A, Siegel R, Ward E, Hao Y, Xu J, Murray T, Thun MJ. Cancer statistics, 2008. CA Cancer J Clin 2008; 58: 71-96 [PMID: 18287387 DOI: 10.3322/CA.2007.0010]

6	Güngör C, Hofmann BT, Wolters-Eisfeld G, Bockhorn M. Pancreatic cancer. Br J Pharmacol 2014; 171: 849-858 [PMID: 24024905 DOI: 10.1111/bph.12401]

7	Poruk KE, Firpo MA, Adler DG, Mulvihill SJ. Screening for pancreatic cancer: why, how, and who? Ann Surg 2013; 257: 17-26 [PMID: 22895395 DOI: 10.1097/SLA.0b013e31825ffbfb]

8	Karmazanovsky G, Fedorov V, Kubyshkin V, Kotchatkov A. Pancreatic head cancer: accuracy of CT in determination of resectability. Abdom Imaging 2005; 30: 488-500 [PMID: 15759205 DOI: 10.1007/s00261-004-0279-z]

9	Miura F, Takada T, Amano H, Yoshida M, Furui S, Takeshita K. Diagnosis of pancreatic cancer. HPB (Oxford) 2006; 8: 337-342 [PMID: 18333085 DOI: 10.1080/13651820500540949]

10	Brennan DD, Zamboni GA, Raptopoulos VD, Kruskal JB. Comprehensive preoperative assessment of pancreatic adenocarcinoma with 64-section volumetric CT. Radiographics 2007; 27: 1653-1666 [PMID: 18025509 DOI: 10.1148/rg.276075034]

11	Morana G, Cancian L, Pozzi Mucelli R, Cugini C. Staging cancer of the pancreas. Cancer Imaging 2010; 10 Spec no A: S137-S141 [PMID: 20880783 DOI: 10.1102/1470-7330.2010.9028]

12	Appel BL, Tolat P, Evans DB, Tsai S. Current staging systems for pancreatic cancer. Cancer J 2012; 18: 539-549 [PMID: 23187840 DOI: 10.1097/PPO.0b013e318278c5b5]

13	Fusaroli P, Kypraios D, Caletti G, Eloubeidi MA. Pancreatico-biliary endoscopic ultrasound: a systematic review of the levels of evidence, performance and outcomes. World J Gastroenterol 2012; 18: 4243-4256 [PMID: 22969187 DOI: 10.3748/wjg.v18.i32.4243]

14	Sahani DV, Bonaffini PA, Catalano OA, Guimaraes AR, Blake MA. State-of-the-art PET/CT of the pancreas: current role and emerging indications. Radiographics 2012; 32: 1133-1158; discussion 1158-1160 [PMID: 22786999 DOI: 10.1148/rg.324115143]

15	Conrad C, Fernández-Del Castillo C. Preoperative evaluation and management of the pancreatic head mass. J Surg Oncol 2013; 107: 23-32 [PMID: 22674403 DOI: 10.1002/jso.23165]

16	Shrikhande SV, Barreto SG, Goel M, Arya S. Multimodality imaging of pancreatic ductal adenocarcinoma: a review of the literature. HPB (Oxford) 2012; 14: 658-668 [PMID: 22954001 DOI: 10.1111/j.1477-2574.2012.00508.x]

17	Raman SP, Horton KM, Fishman EK. Multimodality imaging of pancreatic cancer-computed tomography, magnetic resonance imaging, and positron emission tomography. Cancer J 2012; 18: 511-522 [PMID: 23187837 DOI: 10.1097/PPO.0b013e318274a461]

18	Dibble EH, Karantanis D, Mercier G, Peller PJ, Kachnic LA, Subramaniam RM. PET/CT of cancer patients: part 1, pancreatic neoplasms. AJR Am J Roentgenol 2012; 199: 952-967 [PMID: 23096166 DOI: 10.2214/AJR.11.8182]

19	Kinney T. Evidence-based imaging of pancreatic malignancies. Surg Clin North Am 2010; 90: 235-249 [PMID: 20362784 DOI: 10.1016/j.suc.2009.12.003]

20	Bhat K, Wang F, Ma Q, Li Q, Mallik S, Hsieh TC, Wu E. Advances in biomarker research for pancreatic cancer. Curr Pharm Des 2012; 18: 2439-2451 [PMID: 22372502]

21	Wray CJ, Ahmad SA, Matthews JB, Lowy AM. Surgery for pancreatic cancer: recent controversies and current practice. Gastroenterology 2005; 128: 1626-1641 [PMID: 15887155]

22	Cameron K, Golan S, Simpson W, Peti S, Roayaie S, Labow D, Kostakoglu L. Recurrent pancreatic carcinoma and cholangiocarcinoma: 18F-fluorodeoxyglucose positron emission tomography/computed tomography (PET/CT). Abdom Imaging 2011; 36: 463-471 [PMID: 21465110 DOI: 10.1007/s00261-011-9729-6]

23	Maringhini A, Ciambra M, Raimondo M, Baccelliere P, Grasso R, Dardanoni G, Lanzarone F, Cottone M, Sciarrino E, Pagliaro L. Clinical presentation and ultrasonography in the diagnosis of pancreatic cancer. Pancreas 1993; 8: 146-150 [PMID: 8460088]

24	Karlson BM, Ekbom A, Lindgren PG, Källskog V, Rastad J. Abdominal US for diagnosis of pancreatic tumor: prospective cohort analysis. Radiology 1999; 213: 107-111 [PMID: 10540649]

25	Rickes S, Unkrodt K, Neye H, Ocran KW, Wermke W. Differentiation of pancreatic tumours by conventional ultrasound, unenhanced and echo-enhanced power Doppler sonography. Scand J Gastroenterol 2002; 37: 1313-1320 [PMID: 12465731]

26	Schima W, Ba-Ssalamah A, Kölblinger C, Kulinna-Cosentini C, Puespoek A, Götzinger P. Pancreatic adenocarcinoma. Eur Radiol 2007; 17: 638-649 [PMID: 17021700 DOI: 10.1007/s00330-006-0435-7]

27	Lepanto L, Arzoumanian Y, Gianfelice D, Perreault P, Dagenais M, Lapointe R, Létourneau R, Roy A. Helical CT with CT angiography in assessing periampullary neoplasms: identification of vascular invasion. Radiology 2002; 222: 347-352 [PMID: 11818598]

28	Zhao WY, Luo M, Sun YW, Xu Q, Chen W, Zhao G, Wu ZY. Computed tomography in diagnosing vascular invasion in pancreatic and periampullary cancers: a systematic review and meta-analysis. Hepatobiliary Pancreat Dis Int 2009; 8: 457-464 [PMID: 19822487]

29	Li H, Zeng MS, Zhou KR, Jin DY, Lou WH. Pancreatic adenocarcinoma: signs of vascular invasion determined by multi-detector row CT. Br J Radiol 2006; 79: 880-887 [PMID: 16822803 DOI: 10.1259/bjr/19684199]

30	Vargas R, Nino-Murcia M, Trueblood W, Jeffrey RB. MDCT in Pancreatic adenocarcinoma: prediction of vascular invasion and resectability using a multiphasic technique with curved planar reformations. AJR Am J Roentgenol 2004; 182: 419-425 [PMID: 14736675 DOI: 10.2214/ajr.182.2.1820419]

31	Lu DS, Reber HA, Krasny RM, Kadell BM, Sayre J. Local staging of pancreatic cancer: criteria for unresectability of major vessels as revealed by pancreatic-phase, thin-section helical CT. AJR Am J Roentgenol 1997; 168: 1439-1443 [PMID: 9168704 DOI: 10.2214/ajr.168.6.9168704]

32	Manak E, Merkel S, Klein P, Papadopoulos T, Bautz WA, Baum U. Resectability of pancreatic adenocarcinoma: assessment using multidetector-row computed tomography with multiplanar reformations. Abdom Imaging 2009; 34: 75-80 [PMID: 17934772 DOI: 10.1007/s00261-007-9285-2]

33	Gusmini S, Nicoletti R, Martinenghi C, Del Maschio A. Vascular involvement in periampullary tumors: MDCT, EUS, and CDU. Abdom Imaging 2009; 34: 514-522 [PMID: 18587612 DOI: 10.1007/s00261-008-9439-x]

34	Zamboni GA, Kruskal JB, Vollmer CM, Baptista J, Callery MP, Raptopoulos VD. Pancreatic adenocarcinoma: value of multidetector CT angiography in preoperative evaluation. Radiology 2007; 245: 770-778 [PMID: 17951353 DOI: 10.1148/radiol.2453061795]

35	Prokesch RW, Chow LC, Beaulieu CF, Bammer R, Jeffrey RB. Isoattenuating pancreatic adenocarcinoma at multi-detector row CT: secondary signs. Radiology 2002; 224: 764-768 [PMID: 12202711]

36	Volmar KE, Vollmer RT, Jowell PS, Nelson RC, Xie HB. Pancreatic FNA in 1000 cases: a comparison of imaging modalities. Gastrointest Endosc 2005; 61: 854-861 [PMID: 15933687]

37	Rösch T, Lorenz R, Braig C, Feuerbach S, Siewert JR, Schusdziarra V, Classen M. Endoscopic ultrasound in pancreatic tumor diagnosis. Gastrointest Endosc 1991; 37: 347-352 [PMID: 2070987]

38	Puli SR, Bechtold ML, Buxbaum JL, Eloubeidi MA. How good is endoscopic ultrasound-guided fine-needle aspiration in diagnosing the correct etiology for a solid pancreatic mass?: A meta-analysis and systematic review. Pancreas 2013; 42: 20-26 [PMID: 23254913 DOI: 10.1097/MPA.0b013e3182546e79]

39	Ardengh JC, Lopes CV, de Lima LF, de Oliveira JR, Venco F, Santo GC, Modena JL. Diagnosis of pancreatic tumors by endoscopic ultrasound-guided fine-needle aspiration. World J Gastroenterol 2007; 13: 3112-3116 [PMID: 17589929]

40	Faigel DO, Ginsberg GG, Bentz JS, Gupta PK, Smith DB, Kochman ML. Endoscopic ultrasound-guided real-time fine-needle aspiration biopsy of the pancreas in cancer patients with pancreatic lesions. J Clin Oncol 1997; 15: 1439-1443 [PMID: 9193337]

41	Chen J, Yang R, Lu Y, Xia Y, Zhou H. Diagnostic accuracy of endoscopic ultrasound-guided fine-needle aspiration for solid pancreatic lesion: a systematic review. J Cancer Res Clin Oncol 2012; 138: 1433-1441 [PMID: 22752601 DOI: 10.1007/s00432-012-1268-1]

42	Wiersema MJ, Vilmann P, Giovannini M, Chang KJ, Wiersema LM. Endosonography-guided fine-needle aspiration biopsy: diagnostic accuracy and complication assessment. Gastroenterology 1997; 112: 1087-1095 [PMID: 9097990]

43	Bhutani MS, Hawes RH, Baron PL, Sanders-Cliette A, van Velse A, Osborne JF, Hoffman BJ. Endoscopic ultrasound guided fine needle aspiration of malignant pancreatic lesions. Endoscopy 1997; 29: 854-858 [PMID: 9476770 DOI: 10.1055/s-2007-1004321]

44	Harewood GC, Wiersema MJ. Endosonography-guided fine needle aspiration biopsy in the evaluation of pancreatic masses. Am J Gastroenterol 2002; 97: 1386-1391 [PMID: 12094855 DOI: 10.1111/j.1572-0241.2002.05777.x]

45	Fusaroli P, Spada A, Mancino MG, Caletti G. Contrast harmonic echo-endoscopic ultrasound improves accuracy in diagnosis of solid pancreatic masses. Clin Gastroenterol Hepatol 2010; 8: 629-34.e1-2 [PMID: 20417721 DOI: 10.1016/j.cgh.2010.04.012]

46	Giovannini M, Thomas B, Erwan B, Christian P, Fabrice C, Benjamin E, Geneviève M, Paolo A, Pierre D, Robert Y, Walter S, Hanz S, Carl S, Christoph D, Pierre E, Jean-Luc VL, Jacques D, Peter V, Andrian S. Endoscopic ultrasound elastography for evaluation of lymph nodes and pancreatic masses: a multicenter study. World J Gastroenterol 2009; 15: 1587-1593 [PMID: 19340900]

47	Lee TH, Cha SW, Cho YD. EUS elastography: advances in diagnostic EUS of the pancreas. Korean J Radiol 2012; 13 Suppl 1: S12-S16 [PMID: 22563282 DOI: 10.3348/kjr.2012.13.S1.S12]

48	Iglesias-Garcia J, Larino-Noia J, Abdulkader I, Forteza J, Dominguez-Munoz JE. EUS elastography for the characterization of solid pancreatic masses. Gastrointest Endosc 2009; 70: 1101-1108 [PMID: 19647248 DOI: 10.1016/j.gie.2009.05.011]

49	Giovannini M, Hookey LC, Bories E, Pesenti C, Monges G, Delpero JR. Endoscopic ultrasound elastography: the first step towards virtual biopsy? Preliminary results in 49 patients. Endoscopy 2006; 38: 344-348 [PMID: 16680632 DOI: 10.1055/s-2006-925158]

50	Sandrasegaran K, Lin C, Akisik FM, Tann M. State-of-the-art pancreatic MRI. AJR Am J Roentgenol 2010; 195: 42-53 [PMID: 20566796 DOI: 10.2214/AJR.10.4421]

51	Maccioni F, Martinelli M, Al Ansari N, Kagarmanova A, De Marco V, Zippi M, Marini M. Magnetic resonance cholangiography: past, present and future: a review. Eur Rev Med Pharmacol Sci 2010; 14: 721-725 [PMID: 20707292]

52	Kalra MK, Maher MM, Mueller PR, Saini S. State-of-the-art imaging of pancreatic neoplasms. Br J Radiol 2003; 76: 857-865 [PMID: 14711772]

53	Miller FH, Rini NJ, Keppke AL. MRI of adenocarcinoma of the pancreas. AJR Am J Roentgenol 2006; 187: W365-W374 [PMID: 16985107 DOI: 10.2214/AJR.05.0875]

54	Blodgett TM, Meltzer CC, Townsend DW. PET/CT: form and function. Radiology 2007; 242: 360-385 [PMID: 17255408 DOI: 10.1148/radiol.2422051113]

55	Kauhanen SP, Komar G, Seppänen MP, Dean KI, Minn HR, Kajander SA, Rinta-Kiikka I, Alanen K, Borra RJ, Puolakkainen PA, Nuutila P, Ovaska JT. A prospective diagnostic accuracy study of 18F-fluorodeoxyglucose positron emission tomography/computed tomography, multidetector row computed tomography, and magnetic resonance imaging in primary diagnosis and staging of pancreatic cancer. Ann Surg 2009; 250: 957-963 [PMID: 19687736 DOI: 10.1097/SLA.0b013e3181b2fafa]

56	Yoshioka M, Sato T, Furuya T, Shibata S, Andoh H, Asanuma Y, Hatazawa J, Shimosegawa E, Koyama K, Yamamoto Y. Role of positron emission tomography with 2-deoxy-2-[18F]fluoro-D-glucose in evaluating the effects of arterial infusion chemotherapy and radiotherapy on pancreatic cancer. J Gastroenterol 2004; 39: 50-55 [PMID: 14767734 DOI: 10.1007/s00535-003-1244-2]

57	Sperti C, Pasquali C, Bissoli S, Chierichetti F, Liessi G, Pedrazzoli S. Tumor relapse after pancreatic cancer resection is detected earlier by 18-FDG PET than by CT. J Gastrointest Surg 2010; 14: 131-140 [PMID: 19777315 DOI: 10.1007/s11605-009-1010-8]

58	Ruf J, Lopez Hänninen E, Oettle H, Plotkin M, Pelzer U, Stroszczynski C, Felix R, Amthauer H. Detection of recurrent pancreatic cancer: comparison of FDG-PET with CT/MRI. Pancreatology 2005; 5: 266-272 [PMID: 15855825 DOI: 10.1159/000085281]

59	Kuwatani M, Kawakami H, Eto K, Haba S, Shiga T, Tamaki N, Asaka M. Modalities for evaluating chemotherapeutic efficacy and survival time in patients with advanced pancreatic cancer: comparison between FDG-PET, CT, and serum tumor markers. Intern Med 2009; 48: 867-875 [PMID: 19483354]

60	Rohren EM, Turkington TG, Coleman RE. Clinical applications of PET in oncology. Radiology 2004; 231: 305-332 [PMID: 15044750 DOI: 10.1148/radiol.2312021185]

61	von Schulthess GK, Steinert HC, Hany TF. Integrated PET/CT: current applications and future directions. Radiology 2006; 238: 405-422 [PMID: 16436809 DOI: 10.1148/radiol.2382041977]

62	Martínez-Noguera A, D’Onofrio M. Ultrasonography of the pancreas. 1. Conventional imaging. Abdom Imaging 2007; 32: 136-149 [PMID: 16897275 DOI: 10.1007/s00261-006-9079-y]

63	Goshima S, Kanematsu M, Kondo H, Yokoyama R, Miyoshi T, Kato H, Tsuge Y, Shiratori Y, Hoshi H, Onozuka M, Moriyama N, Bae KT. Pancreas: optimal scan delay for contrast-enhanced multi-detector row CT. Radiology 2006; 241: 167-174 [PMID: 16990676 DOI: 10.1148/radiol.2411051338]

64	Kondo H, Kanematsu M, Goshima S, Miyoshi T, Shiratori Y, Onozuka M, Moriyama N, Bae KT. MDCT of the pancreas: optimizing scanning delay with a bolus-tracking technique for pancreatic, peripancreatic vascular, and hepatic contrast enhancement. AJR Am J Roentgenol 2007; 188: 751-756 [PMID: 17312064 DOI: 10.2214/AJR.06.0372]

65	Tamm EP, Balachandran A, Bhosale P, Szklaruk J. Update on 3D and multiplanar MDCT in the assessment of biliary and pancreatic pathology. Abdom Imaging 2009; 34: 64-74 [PMID: 18483805 DOI: 10.1007/s00261-008-9416-4]

66	Salles A, Nino-Murcia M, Jeffrey RB. CT of pancreas: minimum intensity projections. Abdom Imaging 2008; 33: 207-213 [PMID: 17387537 DOI: 10.1007/s00261-007-9212-6]

67	Kim HC, Yang DM, Jin W, Ryu CW, Ryu JK, Park SI, Park SJ, Shin HC, Kim IY. Multiplanar reformations and minimum intensity projections using multi-detector row CT for assessing anomalies and disorders of the pancreaticobiliary tree. World J Gastroenterol 2007; 13: 4177-4184 [PMID: 17696245]

68	Raptopoulos V, Prassopoulos P, Chuttani R, McNicholas MM, McKee JD, Kressel HY. Multiplanar CT pancreatography and distal cholangiography with minimum intensity projections. Radiology 1998; 207: 317-324 [PMID: 9577475]

69	Sun HY, Kim SH, Kim MA, Lee JY, Han JK, Choi BI. CT imaging spectrum of pancreatic serous tumors: based on new pathologic classification. Eur J Radiol 2010; 75: e45-e55 [PMID: 20056368 DOI: 10.1016/j.ejrad.2009.11.017]

70	Wang Y, Miller FH, Chen ZE, Merrick L, Mortele KJ, Hoff FL, Hammond NA, Yaghmai V, Nikolaidis P. Diffusion-weighted MR imaging of solid and cystic lesions of the pancreas. Radiographics 2011; 31: E47-E64 [PMID: 21721197]

71	Kim JE, Lee JM, Kim SH, Baek JH, Moon SK, Yu IS, Kim SH, Lee JY, Han JK, Choi BI. Differentiation of intraductal growing-type cholangiocarcinomas from nodular-type cholangiocarcinomas at biliary MR imaging with MR cholangiography. Radiology 2010; 257: 364-372 [PMID: 20829532 DOI: 10.1148/radiol.10092105]

72	Ryoo I, Lee JM, Chung YE, Park HS, Kim SH, Han JK, Choi BI. Gadobutrol-enhanced, three-dimensional, dynamic MR imaging with MR cholangiography for the preoperative evaluation of bile duct cancer. Invest Radiol 2010; 45: 217-224 [PMID: 20195160 DOI: 10.1097/RLI.0b013e3181d2eeb1]

73	Bertolotto M, D’Onofrio M, Martone E, Malagò R, Pozzi Mucelli R. Ultrasonography of the pancreas. 3. Doppler imaging. Abdom Imaging 2007; 32: 161-170 [PMID: 16865314 DOI: 10.1007/s00261-006-9009-z]

74	D’Onofrio M, Zamboni G, Faccioli N, Capelli P, Pozzi Mucelli R. Ultrasonography of the pancreas. 4. Contrast-enhanced imaging. Abdom Imaging 2007; 32: 171-181 [PMID: 16838218 DOI: 10.1007/s00261-006-9010-6]

75	Oshikawa O, Tanaka S, Ioka T, Nakaizumi A, Hamada Y, Mitani T. Dynamic sonography of pancreatic tumors: comparison with dynamic CT. AJR Am J Roentgenol 2002; 178: 1133-1137 [PMID: 11959716 DOI: 10.2214/ajr.178.5.1781133]

76	Francis IR. Pancreatic adenocarcinoma: diagnosis and staging using multidetector-row computed tomography (MDCT) and magnetic resonance imaging (MRI). Cancer Imaging 2007; 7 Spec No A: S160-S165 [PMID: 17921087 DOI: 10.1102/1470-7330.2007.9010]

77	Yoon SH, Lee JM, Cho JY, Lee KB, Kim JE, Moon SK, Kim SJ, Baek JH, Kim SH, Kim SH, Lee JY, Han JK, Choi BI. Small (≤ 20 mm) pancreatic adenocarcinomas: analysis of enhancement patterns and secondary signs with multiphasic multidetector CT. Radiology 2011; 259: 442-452 [PMID: 21406627 DOI: 10.1148/radiol.11101133]

78	Callery MP, Chang KJ, Fishman EK, Talamonti MS, William Traverso L, Linehan DC. Pretreatment assessment of resectable and borderline resectable pancreatic cancer: expert consensus statement. Ann Surg Oncol 2009; 16: 1727-1733 [PMID: 19396496 DOI: 10.1245/s10434-009-0408-6]

79	Tamm EP, Bhosale PR, Vikram R, de Almeida Marcal LP, Balachandran A. Imaging of pancreatic ductal adenocarcinoma: State of the art. World J Radiol 2013; 5: 98-105 [PMID: 23671746 DOI: 10.4329/wjr.v5.i3.98]

80	Fukukura Y, Takumi K, Kamimura K, Shindo T, Kumagae Y, Tateyama A, Nakajo M. Pancreatic adenocarcinoma: variability of diffusion-weighted MR imaging findings. Radiology 2012; 263: 732-740 [PMID: 22623694 DOI: 10.1148/radiol.120111222]

81	Koyama K, Okamura T, Kawabe J, Nakata B, Chung KH, Ochi H, Yamada R. Diagnostic usefulness of FDG PET for pancreatic mass lesions. Ann Nucl Med 2001; 15: 217-224 [PMID: 11545191]

82	Schick V, Franzius C, Beyna T, Oei ML, Schnekenburger J, Weckesser M, Domschke W, Schober O, Heindel W, Pohle T, Juergens KU. Diagnostic impact of 18F-FDG PET-CT evaluating solid pancreatic lesions versus endosonography, endoscopic retrograde cholangio-pancreatography with intraductal ultrasonography and abdominal ultrasound. Eur J Nucl Med Mol Imaging 2008; 35: 1775-1785 [PMID: 18481063 DOI: 10.1007/s00259-008-0818-x]

83	Catalano C, Laghi A, Fraioli F, Pediconi F, Napoli A, Danti M, Reitano I, Passariello R. Pancreatic carcinoma: the role of high-resolution multislice spiral CT in the diagnosis and assessment of resectability. Eur Radiol 2003; 13: 149-156 [PMID: 12541123 DOI: 10.1007/s00330-002-1473-4]

84	Grenacher L, Klauss M, Dukic L, Delorme S, Knaebel HP, Düx M, Kauczor HU, Büchler MW, Kauffmann GW, Richter GM. [Diagnosis and staging of pancreatic carcinoma: MRI versus multislice-CT -- a prospective study]. Rofo 2004; 176: 1624-1633 [PMID: 15497081 DOI: 10.1055/s-2004-813642]

85	Koelblinger C, Ba-Ssalamah A, Goetzinger P, Puchner S, Weber M, Sahora K, Scharitzer M, Plank C, Schima W. Gadobenate dimeglumine-enhanced 3.0-T MR imaging versus multiphasic 64-detector row CT: prospective evaluation in patients suspected of having pancreatic cancer. Radiology 2011; 259: 757-766 [PMID: 21436084 DOI: 10.1148/radiol.11101189]

86	Lee JK, Kim AY, Kim PN, Lee MG, Ha HK. Prediction of vascular involvement and resectability by multidetector-row CT versus MR imaging with MR angiography in patients who underwent surgery for resection of pancreatic ductal adenocarcinoma. Eur J Radiol 2010; 73: 310-316 [PMID: 19070981 DOI: 10.1016/j.ejrad.2008.10.028]

87	Park HS, Lee JM, Choi HK, Hong SH, Han JK, Choi BI. Preoperative evaluation of pancreatic cancer: comparison of gadolinium-enhanced dynamic MRI with MR cholangiopancreatography versus MDCT. J Magn Reson Imaging 2009; 30: 586-595 [PMID: 19711405 DOI: 10.1002/jmri.21889]

88	Schima W, Függer R. Evaluation of focal pancreatic masses: comparison of mangafodipir-enhanced MR imaging and contrast-enhanced helical CT. Eur Radiol 2002; 12: 2998-3008 [PMID: 12439582 DOI: 10.1007/s00330-002-1531-y]

89	Chu AJ, Lee JM, Lee YJ, Moon SK, Han JK, Choi BI. Dual-source, dual-energy multidetector CT for the evaluation of pancreatic tumours. Br J Radiol 2012; 85: e891-e898 [PMID: 22972978 DOI: 10.1259/bjr/26129418]

90	Marin D, Nelson RC, Barnhart H, Schindera ST, Ho LM, Jaffe TA, Yoshizumi TT, Youngblood R, Samei E. Detection of pancreatic tumors, image quality, and radiation dose during the pancreatic parenchymal phase: effect of a low-tube-voltage, high-tube-current CT technique--preliminary results. Radiology 2010; 256: 450-459 [PMID: 20656835 DOI: 10.1148/radiol.10091819]

91	Heye T, Nelson RC, Ho LM, Marin D, Boll DT. Dual-energy CT applications in the abdomen. AJR Am J Roentgenol 2012; 199: S64-S70 [PMID: 23097169 DOI: 10.2214/AJR.12.9196]

92	Graser A, Johnson TR, Chandarana H, Macari M. Dual energy CT: preliminary observations and potential clinical applications in the abdomen. Eur Radiol 2009; 19: 13-23 [PMID: 18677487 DOI: 10.1007/s00330-008-1122-7]

93	Macari M, Spieler B, Kim D, Graser A, Megibow AJ, Babb J, Chandarana H. Dual-source dual-energy MDCT of pancreatic adenocarcinoma: initial observations with data generated at 80 kVp and at simulated weighted-average 120 kVp. AJR Am J Roentgenol 2010; 194: W27-W32 [PMID: 20028887 DOI: 10.2214/AJR.09.2737]

94	Silva AC, Lawder HJ, Hara A, Kujak J, Pavlicek W. Innovations in CT dose reduction strategy: application of the adaptive statistical iterative reconstruction algorithm. AJR Am J Roentgenol 2010; 194: 191-199 [PMID: 20028923 DOI: 10.2214/AJR.09.2953]

95	Yu MH, Lee JM, Yoon JH, Baek JH, Han JK, Choi BI, Flohr TG. Low tube voltage intermediate tube current liver MDCT: sinogram-affirmed iterative reconstruction algorithm for detection of hypervascular hepatocellular carcinoma. AJR Am J Roentgenol 2013; 201: 23-32 [PMID: 23789655 DOI: 10.2214/AJR.12.10000]

96	Baker ME, Dong F, Primak A, Obuchowski NA, Einstein D, Gandhi N, Herts BR, Purysko A, Remer E, Vachhani N. Contrast-to-noise ratio and low-contrast object resolution on full- and low-dose MDCT: SAFIRE versus filtered back projection in a low-contrast object phantom and in the liver. AJR Am J Roentgenol 2012; 199: 8-18 [PMID: 22733888 DOI: 10.2214/AJR.11.7421]

97	Goshima S, Kanematsu M, Nishibori H, Miyazawa D, Kondo H, Moriyama N, Bae KT. Image quality and radiation exposure in CT of the pancreas: 320-MDCT with and without adaptive iterative dose reduction versus 64-MDCT. Clin Radiol 2013; 68: e593-e600 [PMID: 23916551 DOI: 10.1016/j.crad.2013.05.102]

98	Kalra MK, Woisetschläger M, Dahlström N, Singh S, Lindblom M, Choy G, Quick P, Schmidt B, Sedlmair M, Blake MA, Persson A. Radiation dose reduction with Sinogram Affirmed Iterative Reconstruction technique for abdominal computed tomography. J Comput Assist Tomogr 2012; 36: 339-346 [PMID: 22592621 DOI: 10.1097/RCT.0b013e31825586c0]

99	Leipsic J, Nguyen G, Brown J, Sin D, Mayo JR. A prospective evaluation of dose reduction and image quality in chest CT using adaptive statistical iterative reconstruction. AJR Am J Roentgenol 2010; 195: 1095-1099 [PMID: 20966312 DOI: 10.2214/AJR.09.4050]

100	Marin D, Nelson RC, Schindera ST, Richard S, Youngblood RS, Yoshizumi TT, Samei E. Low-tube-voltage, high-tube-current multidetector abdominal CT: improved image quality and decreased radiation dose with adaptive statistical iterative reconstruction algorithm--initial clinical experience. Radiology 2010; 254: 145-153 [PMID: 20032149 DOI: 10.1148/radiol.09090094]

101	Prakash P, Kalra MK, Ackman JB, Digumarthy SR, Hsieh J, Do S, Shepard JA, Gilman MD. Diffuse lung disease: CT of the chest with adaptive statistical iterative reconstruction technique. Radiology 2010; 256: 261-269 [PMID: 20574099 DOI: 10.1148/radiol.10091487]

102	Schabel C, Fenchel M, Schmidt B, Flohr TG, Wuerslin C, Thomas C, Korn A, Tsiflikas I, Claussen CD, Heuschmid M, Ketelsen D. Clinical evaluation and potential radiation dose reduction of the novel sinogram-affirmed iterative reconstruction technique (SAFIRE) in abdominal computed tomography angiography. Acad Radiol 2013; 20: 165-172 [PMID: 23099242 DOI: 10.1016/j.acra.2012.08.015]

103	Singh S, Kalra MK, Gilman MD, Hsieh J, Pien HH, Digumarthy SR, Shepard JA. Adaptive statistical iterative reconstruction technique for radiation dose reduction in chest CT: a pilot study. Radiology 2011; 259: 565-573 [PMID: 21386048 DOI: 10.1148/radiol.11101450]

104	Singh S, Kalra MK, Hsieh J, Licato PE, Do S, Pien HH, Blake MA. Abdominal CT: comparison of adaptive statistical iterative and filtered back projection reconstruction techniques. Radiology 2010; 257: 373-383 [PMID: 20829535 DOI: 10.1148/radiol.10092212]

105	Vardhanabhuti V, Loader RJ, Mitchell GR, Riordan RD, Roobottom CA. Image quality assessment of standard- and low-dose chest CT using filtered back projection, adaptive statistical iterative reconstruction, and novel model-based iterative reconstruction algorithms. AJR Am J Roentgenol 2013; 200: 545-552 [PMID: 23436843 DOI: 10.2214/AJR.12.9424]

106	Winklehner A, Karlo C, Puippe G, Schmidt B, Flohr T, Goetti R, Pfammatter T, Frauenfelder T, Alkadhi H. Raw data-based iterative reconstruction in body CTA: evaluation of radiation dose saving potential. Eur Radiol 2011; 21: 2521-2526 [PMID: 21822785 DOI: 10.1007/s00330-011-2227-y]

107	Xu J, Mahesh M, Tsui BM. Is iterative reconstruction ready for MDCT? J Am Coll Radiol 2009; 6: 274-276 [PMID: 19327661 DOI: 10.1016/j.jacr.2008.12.014]

108	Akisik MF, Sandrasegaran K, Bu G, Lin C, Hutchins GD, Chiorean EG. Pancreatic cancer: utility of dynamic contrast-enhanced MR imaging in assessment of antiangiogenic therapy. Radiology 2010; 256: 441-449 [PMID: 20515976 DOI: 10.1148/radiol.10091733]

109	Bali MA, Metens T, Denolin V, Delhaye M, Demetter P, Closset J, Matos C. Tumoral and nontumoral pancreas: correlation between quantitative dynamic contrast-enhanced MR imaging and histopathologic parameters. Radiology 2011; 261: 456-466 [PMID: 21852570 DOI: 10.1148/radiol.11103515]

110	Kim JH, Lee JM, Park JH, Kim SC, Joo I, Han JK, Choi BI. Solid pancreatic lesions: characterization by using timing bolus dynamic contrast-enhanced MR imaging assessment--a preliminary study. Radiology 2013; 266: 185-196 [PMID: 23192779 DOI: 10.1148/radiol.12120111]

111	Inan N, Arslan A, Akansel G, Anik Y, Demirci A. Diffusion-weighted imaging in the differential diagnosis of cystic lesions of the pancreas. AJR Am J Roentgenol 2008; 191: 1115-1121 [PMID: 18806153 DOI: 10.2214/AJR.07.3754]

112	Lee SS, Byun JH, Park BJ, Park SH, Kim N, Park B, Kim JK, Lee MG. Quantitative analysis of diffusion-weighted magnetic resonance imaging of the pancreas: usefulness in characterizing solid pancreatic masses. J Magn Reson Imaging 2008; 28: 928-936 [PMID: 18821618 DOI: 10.1002/jmri.21508]

113	Fattahi R, Balci NC, Perman WH, Hsueh EC, Alkaade S, Havlioglu N, Burton FR. Pancreatic diffusion-weighted imaging (DWI): comparison between mass-forming focal pancreatitis (FP), pancreatic cancer (PC), and normal pancreas. J Magn Reson Imaging 2009; 29: 350-356 [PMID: 19161187 DOI: 10.1002/jmri.21651]

114	Le Bihan D, Breton E, Lallemand D, Aubin ML, Vignaud J, Laval-Jeantet M. Separation of diffusion and perfusion in intravoxel incoherent motion MR imaging. Radiology 1988; 168: 497-505 [PMID: 3393671]

115	Lemke A, Laun FB, Klauss M, Re TJ, Simon D, Delorme S, Schad LR, Stieltjes B. Differentiation of pancreas carcinoma from healthy pancreatic tissue using multiple b-values: comparison of apparent diffusion coefficient and intravoxel incoherent motion derived parameters. Invest Radiol 2009; 44: 769-775 [PMID: 19838121 DOI: 10.1097/RLI.0b013e3181b62271]

116	Parikh T, Drew SJ, Lee VS, Wong S, Hecht EM, Babb JS, Taouli B. Focal liver lesion detection and characterization with diffusion-weighted MR imaging: comparison with standard breath-hold T2-weighted imaging. Radiology 2008; 246: 812-822 [PMID: 18223123 DOI: 10.1148/radiol.2463070432]

117	Motosugi U, Ichikawa T, Morisaka H, Sou H, Muhi A, Kimura K, Sano K, Araki T. Detection of pancreatic carcinoma and liver metastases with gadoxetic acid-enhanced MR imaging: comparison with contrast-enhanced multi-detector row CT. Radiology 2011; 260: 446-453 [PMID: 21693662 DOI: 10.1148/radiol.11103548]

118	Torigian DA, Zaidi H, Kwee TC, Saboury B, Udupa JK, Cho ZH, Alavi A. PET/MR imaging: technical aspects and potential clinical applications. Radiology 2013; 267: 26-44 [PMID: 23525716 DOI: 10.1148/radiol.13121038]

P- Reviewers: Brisinda G, Casciaro S, Dietrich CF, Treglia G    S- Editor: Cui XM    L- Editor: Rutherford A    E- Editor: Wang CH

FIGURE LEGENDS

Figure 1  A 58-year-old, male patient with pancreatic body cancer with typical imaging findings. A, B: Endoscopic ultrasonography shows an approximately 3-cm, hypoechoic mass (arrows) in the pancreatic body with distal pancreatic duct dilatation; C, D: The mass (arrow) shows hypointensity on portal-venous-phase, contrast enhanced MR and hypermetabolism on PET/CT, respectively. MR: Magnetic resonance; PET: Positron emission tomography; CT: Computed tomography.

Figure 2  A 73-year-old male with pathologically-proven pancreatic head cancer. A: Approximately 3 cm low attenuating mass (arrow) is noted at the pancreatic head on the CT scan; B: In pre-contrast T1-weighted gradient echo sequence of MR, this mass (arrow) shows lower signal intensity, compared to the normal pancreatic parenchyma; C: After contrast media administration, the pancreatic head cancer (arrow) has poor enhancement; D, E: DWI with 1000 of b-value and ADC map reveal the diffusion restriction of the pancreatic head cancer (arrow). CT: Computed tomography; MR: Magnetic resonance; DWI: Diffusion weighted imaging; ADC: Apparent diffusion coefficient.

Figure 3  A 64-year-old male with biopsy-proven pancreatic adenocarcinoma with liver metastasis. A, B: On MDCT, the pancreatic tail mass (arrow) shows isoattenuation, causing distal parenchyma atrophy; C: On pre-contrast, T1–weighted, gradient-echo sequence MRI, the pancreatic tail mass (arrow) is clearly depicted, as well as the liver metastasis, owing to the increased soft-tissue contrast of MR compared with that of CT. MRI: Magnetic resonance imaging; MDCT: Multi-detector computed tomography.

Figure 4  Post-process of multi-detector computed tomography for pancreatic cancer. A: In the axial CT scan, an ill-defined pancreatic body cancer invading the celiac axis is identified; B: On the curved MPR along the pancreatic duct, the relationship between the pancreatic duct and the cancer can be more easily understood; C, D: The extent and degree of major vascular involvement caused by the pancreatic cancer can be comprehensively assessed using MPR and the maximum intensity projections. MDCT: Multi-detector computed tomography; MPR: Multiplanar reformations.

Figure 5  Treatment monitoring of pancreatic cancer using positron emission tomography/magnetic resonance. A, B: A 5-cm mass of biopsy-proven, adenosquamous carcinoma (arrow) in the pancreatic head, as seen due to the strong FDG uptake; C, D: The mass (arrow) shows a marked decrease in size and glucose metabolism (from 22.0 to 3.8 of mSUV) after six cycles of neoadjuvant concurrent chemoradiation treatment. The specimen obtained during the following surgery revealed complete remission; E: All tumor cells are replaced by a foamy histiocytes collection of cholesterol clefts and multinucleated giant cells. PET: Positron emission tomography; MR: Magnetic resonance; FDG: Fluorodeoxyglucose; mSUV: Maximum standardized uptake value.

# Text boxes

Table 1  Minimum technical specifications for pancreas computed tomography

| Feature | Specification | Comment |
| --- | --- | --- |
| Scanner type | Multi-detector row scanner |  |
| Detector type | Minimum of four detector rows |  |
| Reconstructed slice thickness | Minimum of 5 mm | Thinner slices are preferable, especially in multiplanar reconstructions (MPR) |
| Injector | Power injector, preferably dual-chamber | Bolus tracking desirable |
| Contrast injection rate | No less than 3 mL/s of contrast, | A saline flush desirable |
|  | 300 mg I/mL or a higher concentration, |  |
|  | For a dose of 1.5 mL/kg of body weight |  |
| Mandatory dynamic phases | 1. Early arterial phase | MPR, |
|  | 2. Pancreatic phase | Curved MPR along the pancreatic duct, |
|  | 3. Portal venous phase | Minimum intensity projections are helpful |

Table 2  Minimum technical specifications for pancreas protocol magnetic resonance imaging

| Feature | Specification | Comment |
| --- | --- | --- |
| Scanner type | 1.5-T or greater main magnetic field | Low-field magnets not suitable |
| Coil type | Phased-array, multichannel torso coil | Unless patient-related factors preclude the use |
| Gradient type | Current-generation, high-speed gradients (providing sufficient coverage of upper abdomen) |  |
| Slice thickness | 5 mm or less for dynamic series, |  |
|  | 8 mm or less for other imaging |  |
| Breath holding and matrix | Approximately 20 s of breath hold with a minimum matrix of 128 × 256 | Breath hold instructions are very important |
| Injector | Power injector, preferably dual-chamber | Bolus tracking/MR fluoroscopy desirable |
| Contrast injection rate | 1.5-2 mL/s of gadolinium chelate | Preferably resulting in the vendor-recommended total dose |
| Minimum sequences | T1-weighted, gradient echo (3D preferable) |  |
|  | T2-weighted, turbo spin echo (axial, coronal) |  |
|  | MRCP (both 2D and 3D preferable) |  |
|  | Post-Gd, T1-weighted gradient echo |  |
| Mandatory dynamic phases | Arterial |  |
|  | Portal-venous phase |  |
|  | Equilibrium phase |  |
| Dynamic timing | Arterial: 20-40 s |  |
|  | Portal venous: 45-65 s |  |
|  | Equilibrium: 3-5 min |  |
|  | after contrast injection |  |

MRCP: Magnetic resonance cholangiopancreatography.