Copyright Information of the Article Published Online

| TITLE | Technical tips for endoscopic ultrasound-guided hepaticogastrostomy |
| --- | --- |
| AUTHOR(s) | Takeshi Ogura, Kazuhide Higuchi |
| CITATION | Ogura T, Higuchi K. Technical tips for endoscopic ultrasound-guided hepaticogastrostomy. World J Gastroenterol 2016; 22(15): 3945-3951 |
| URL | http://www.wjgnet.com/1007-9327/full/v22/i15/3945.htm |
| DOI | http://dx.doi.org/10.3748/wjg.v22.i15.3945 |
| OPEN ACCESS | This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/ |
| CORE TIP | Endoscopic ultrasound-guided hepati-cogastrostomy (EUS-HGS) has been developed as an alternative biliary drainage method. The reported technical success rate of EUS-HGS ranges from 65% to 100%, and the clinical success rate ranges from 87% to 100%. Furthermore, the overall technical success rate was 82%, and the overall clinical success rate was 97%. Based on the currently available literature, the overall adverse event rate for EUS-HGS is 23%. EUS-HGS has high rate of adverse events that are sometimes fatal. Therefore, EUS-HGS should continue to be performed by experienced endoscopists who can use various strategies when adverse events occur. |
| KEY WORDS | endoscopic ultrasound; endoscopic ultrasound-guided hepaticogastrostomy; endoscopic ultrasound-guided biliary drainage; endoscopic retrograde cholangio­pancreatography |
| COPYRIGHT | © The Author(s) 2016. Published by Baishideng Publishing Group Inc. All rights reserved. |
| NAME OF JOURNAL | World Journal of Gastroenterology |
| ISSN | 1007-9327 (print) and 2219-2840 (online) |
| PUBLISHER | Baishideng Publishing Group Inc, 8226 Regency Drive, Pleasanton, CA 94588, USA |
| WEBSITE | http://www.wjgnet.com |

MINIREVIEWS

Technical tips for endoscopic ultrasound-guided hepaticogastrostomy

Takeshi Ogura, Kazuhide Higuchi

Takeshi Ogura, Kazuhide Higuchi, Second Department of Internal Medicine, Osaka Medical College, Osaka 569-8686, Japan

Author contributions: Ogura T and Higuchi K equally contributed to this paper.

Correspondence to: Takeshi Ogura, MD, PhD, Second Department of Internal Medicine, Osaka Medical College, 2-7 Daigaku-machi, Takatsuki, Osaka 569-8686, Japan. oguratakeshi0411@yahoo.co.jp

Telephone: +81-72-6831221  Fax: +81-72-6846532

Received: December 22, 2015  Revised: January 29, 2016  Accepted: March 1, 2016

Published online: April 21, 2016

Abstract

Interventional procedures using endoscopic ultrasound (EUS) have recently been developed. For biliary drainage, EUS-guided trans-luminal drainage has been reported. In this procedure, the transduodenal approach for extrahepatic bile ducts is called EUS-guided choledochoduodenostomy, and the transgastric approach for intrahepatic bile ducts is called EUS-guided hepaticogastrostomy (EUS-HGS). These procedures have several effects, such as internal drainage and avoiding post-endoscopic retrograde cholangiopancreatography (ERCP) pancreatitis, and they are indicated for an inaccessible ampulla of Vater due to duodenal obstruction or surgical anatomy. EUS-HGS has particularly wide indications and clinical impact as an alternative biliary drainage method. In this procedure, it is necessary to dilate the fistula, and several devices and approaches have been reported. Stent selection is also important. In previous reports, the overall technical success rate was 82% (221/270), the clinical success rate was 97% (218/225), and the overall adverse event rate for EUS-HGS was 23% (62/270). Adverse events of EUS-biliary drainage are still high compared with ERCP or PTCD. EUS-HGS should continue to be performed by experienced endoscopists who can use various strategies when adverse events occur.

Key words: endoscopic ultrasound; endoscopic ultrasound-guided hepaticogastrostomy; endoscopic ultrasound-guided biliary drainage; endoscopic retrograde cholangiopancreatography

© The Author(s) 2016. Published by Baishideng Publishing Group Inc. All rights reserved.

Ogura T, Higuchi K. Technical tips for endoscopic ultrasound-guided hepaticogastrostomy. World J Gastroenterol 2016; 22(15): 3945-3951  Available from: URL: http://www.wjgnet.com/1007-9327/full/v22/i15/3945.htm  DOI: http://dx.doi.org/10.3748/wjg.v22.i15.3945

Core tip: endoscopic ultrasound-guided hepaticogastrostomy (EUS-HGS) has been developed as an alternative biliary drainage method. The reported technical success rate of EUS-HGS ranges from 65% to 100%, and the clinical success rate ranges from 87% to 100%. Furthermore, the overall technical success rate was 82%, and the overall clinical success rate was 97%. Based on the currently available literature, the overall adverse event rate for EUS-HGS is 23%. EUS-HGS has high rate of adverse events that are sometimes fatal. Therefore, EUS-HGS should continue to be performed by experienced endoscopists who can use various strategies when adverse events occur.

INTRODUCTION

Biliary drainage under endoscopic retrograde cholangiopancreatography (ERCP) guidance has been well established and widely performed[1,2]. The technical success rate of this procedure is high according to previous reports. If ERCP fails, percutaneous transhepatic biliary drainage (PTBD) is conventionally attempted. PTBD is also established as an alternative drainage method. However, this procedure has several disadvantages, such as catheter dislodgement, pneumothorax, external drainage, and cosmetic problems[3-5]. Recently, interventional procedures using endoscopic ultrasound (EUS) have been developed. For biliary drainage, EUS-guided transluminal drainage has been reported (EUS-guided biliary drainage; EUS-BD). The transduodenal approach for extrahepatic bile ducts is called EUS-guided choledochoduodenostomy (EUS-CDS)[6-8], and the transgastric approach for intrahepatic bile ducts is called EUS-guided hepaticogastrostomy (EUS-HGS). For EUS-BD, EUS-HGS can be performed if the duodenal bulb is obstructed due to malignant tumor. The technical success rate has been high, however, the rate of adverse events has also been reported to be high.

Table 1 shows an overview of recent published reports of EUS-HGS (over 10 cases, and excluding insufficient data)[9-19]. In this paper, previous reports are reviewed, and technical tips for EUS-HGS to ensure successful performance and avoid adverse events are presented.

INDICATIONS

To date, EUS-BD is seen as a consistent alternative drainage method. Therefore, as well as other EUS-BD procedures, EUS-HGS should also be indicated for failed ERCP due to surgical anatomy and an inaccessible ampulla of Vater. Although EUS-CDS is contraindicated in patients with surgically altered anatomy, such as a Roux-en-Y anastomosis or duodenal bulb obstruction caused by tumor invasion, EUS-HGS can be performed because this procedure is performed from the stomach. With respect to a biliary stricture, if the hepatic hilum is obstructed, EUS-HGS may be contraindicated, because with stent placement in the left intrahepatic bile duct, the right hepatic bile duct cannot drain. Recently, EUS-BD for right hepatic biliary obstruction has been reported as an expanding indication[20,21]. Park et al[20] reported that, among 6 patients who had isolated right hepatic bile duct obstruction, EUS-guided access successfully resulted in antegrade bypass stenting in 2 patients, antegrade transanastomotic stenting in 1 patient, antegrade transanastomotic balloon dilation in 1 patient, and a cholangiogram as a roadmap in 1 patient. We also reported[21] that, among 11 patients with right hepatic bile duct obstruction, EUS-BD was successfully performed from the left hepatic approach (bridging method) in 7 patients and from the right hepatic approach (locking stent method) in 4 patients. Remarkably, no adverse events were reported in both papers. Therefore, EUS-HGS may be indicated for hepatic hilar obstruction. However, because this technique is challenging, the right hepatic approach using EUS-BD should be performed for limited cases.

Recently, Khashab et al[22] reported a comparative evaluation of EUS-BD and PTCD in patients with distal malignant biliary obstruction. In this report, although the technical success rate was higher in the PTCD group (100% vs 86.4%, P = 0.007), clinical success and stent patency were the same. In addition, the adverse event rate (70.6% vs 18.2%, P < 0.001) and total charges were higher in the PTCD group ($9.072 ± 3.817 vs $18.261 ± 16.021, P = 0.003). Therefore, they concluded that EUS-BD should be selected if the procedure can be performed by experienced endoscopists. However, this study has several limitations, such as a small number of patients in a single center with a single operator. To determine whether EUS-HGS or PTCD should be performed as an alternative drainage method, a multicenter, prospective, randomized, controlled trial is needed.

Hence, the following are the indications for EUS-HGS: (1) Failed ERCP; (2) Inaccessibility of the ampulla of Vater, including due to surgical anatomy and tumor invasion; and (3) Contraindications for PTCD such as ascites and possibility of self-tube removal.

On the other hand, compared with PTCD, metallic stent placement is performed in EUS-HGS; therefore, if a small amount of ascites is present between the stomach and liver, EUS-HGS may be indicated. However, if massive ascites is present, preventing the formation of a fistula between the stomach and the liver, EUS-HGS is not indicated. For patients with unresectable gastric cancer, because the stomach volume is decreased due to tumor growth, the EUS-HGS stent might be pulled into the stomach (Figure 1).

Hence, the following are the contraindications for EUS-HGS: (1) Massive ascites between the stomach and the liver; and (2) Unresectable gastric cancer.

DEVICE SELECTION AND TECHNICAL TIPS

Puncture of the intrahepatic bile duct

To visualize the left intrahepatic bile duct, EUS should be advanced into the stomach. Then, using slight counter clockwise rotation, the left hepatic lobe can be visualized. A 19G-FNA needle is better than a 22G-FNA needle. A stiffer guidewire can be inserted through the FNA needle, because a dilation fistula is more needed to insert the stent delivery system than with EUS-CDS. If segment 2 (B2) is punctured, because each device is passed through the mediastinum when puncturing from the esophagus, severe adverse events, such as mediastinitis or pneumomediastinum, may occur. Therefore, on EUS-HGS, segment 3 (B3) should be initially selected as the puncture site. To puncture the intrahepatic bile duct, there are two important points. One is the angle of the bile duct, and the other is the volume of liver parenchyma.

To advance the guidewire toward the hepatic hilum, the bile duct that runs from the upper left to the lower right on EUS imaging should be punctured (Figure 2). Furthermore, to avoid stent migration, sufficient volume of liver parenchyma is needed, as for the PTCD procedure. Therefore, for these reasons, B3 is better for puncturing the biliary tract.

Guidewire insertion into the hepatic hilum or common bile duct

Guidewire insertion is one of most important procedures during EUS-HGS. If the guidewire is advanced into the peripheral biliary tract, the next step, such as dilation device or stent delivery system insertion, cannot be performed. To successfully advance the guidewire toward the hepatic hilum, as described in the puncture of the intrahepatic bile duct section, the biliary tract running from the upper left to the lower right on EUS imaging should be punctured. If the guidewire is advanced into the peripheral biliary tract, the guidewire should be pulled, and then one should try to advance the guidewire into the hepatic hilum. However, during this procedure, the guidewire is sometimes kinked with the FNA needle. To avoid this adverse event, the liver impaction method is useful[23].

Various types of guidewires are available. A 0.025-inch guidewire with a highly flexible tip, sufficient stiffness, and easy seeking ability (VisiGlide, Olympus Medical Systems, Tokyo, Japan) is preferable for the EUS-guided procedure. After the guidewire is inserted along with other devices, it is important to keep visualizing the other devices on EUS imaging during various EUS-guided procedures to fit the axis.

Devices used to dilate the fistula

To insert the stent delivery system, the bile duct and stomach wall must be dilated. To date, various techniques of dilating a fistula have been reported (Table 1). According to previous reports, a graded dilation technique using a dilator or a 4-mm balloon catheter is used by many authors. The dilator (6 to 10 Fr; Soehendra biliary dilation catheters, Cook Medical), balloon catheter (4-8 mm; MaxForce or Hurricane RX; Boston Scientific), and needle knife (Microtome, Boston Scientific) are most used by many authors.

Park et al[9] reported that, among total 57 consecutive patients, post procedure adverse events occurred in 11 patients (bile peritonitis n = 2, mild bleeding n = 2, self-limited pneumoperitoneum n = 7). On multivariate analysis, using a needle knife was the only risk factor for post procedure adverse events of EUS-BD (P = 0.01, HR = 12.4, 95%CI: 1.83-83.5). They concluded that a needle knife should not be used as a dilation device if possible. To avoid this risk, a diathermic dilator (Cysto Gastro Set; Endoflex, GmbH, Voerde, Germany) has recently become available. This device is always coaxial with the guidewire. Although this device has clinical impact as a dilation device, a burning effect can occur. When the bile duct is punctured avoiding small vessels of the stomach or bile duct wall, bleeding may occur due to the burning effect of the diathermic dilator.

On the other hand, a graded dilation technique using a balloon or dilator catheter may be safe. Park do et al[24] reported that graded dilation using a 4-Fr cannula and 6-Fr and 7-Fr bougie dilators is safe. In their study, technical success of EUS-CDS was relatively high, with a low rate of adverse events. In our previous report[25], we successfully performed EUS-HGS using an ERCP catheter and a 4-mm balloon catheter without using a needle knife or cystotome. This technique may be associated with a lesserfrequency of bleeding caused by the burning effect of a needle knife or diathermic dilator, but bile leakage may easily occur during graded dilation. Recently, novel techniques and dilation devices for EUS-BD have been reported. Paik et al[15] reported a simplified fistula dilation technique. After the biliary tract was punctured using a 19G FNA needle, direct insertion using a 4-mm balloon catheter (Hurricane RX; Boston Scientific) was performed. In 28 patients, technical success of creating a dilation fistula using this technique was 96% (27/28). In addition, no early adverse events were seen. We also reported a simplified fistula dilation technique using a novel balloon catheter[26,27]. As an even more novel technique, a one-step stent placement technique has been reported[19]. In this study, 32 patients with malignant biliary obstruction were enrolled, and EUS-BD using a novel metallic stent was attempted. The introducer for this novel stent has only a 3-Fr-tip-4-Fr tapered. Technical success of one-step stent placement without any additional dilation was 88% (14/16). In addition, the procedure time was short in the one-step stent placement group. With a longer procedure time, the possibility of bile leakage may be increased (Figure 3). Indeed, in their study, compared with the graded dilation group, although significant differences were not seen, early adverse events were uncommon in the one-step dilation group (31.3% vs 6.3%, P = 0.172). Although randomized, clinical trials and additional cases are needed for which dilation technique or devices are more suitable, simplified dilation technique or one-step stent placement technique using novel metallic stents may decrease the frequency of adverse events such as bile leakage.

Stent selection

According to previous reports, a fully covered self-expandable metallic stent (FCSEMS) was mainly used (Table 1). An FCSEMS may be more suitable for EUS-HGS than a plastic stent for the following reasons: (1) If a large fistula is created to insert the stent delivery system, bile leakage is less likely from the gap between the stent and fistula[28-30]; (2) Longer stent patency may be obtained; (3) A tamponade effect of the FCSEMS itself will occur if there is bleeding from the stomach wall[17].

Also, there are several disadvantages of FCSEMS, as follows: (1) Expensive; (2) Stent shortening must be considered, especially the luminal portion to prevent stent migration[17]; and (3) Side branches of the left hepatic biliary tract may be obstructed.

Recently, a novel metallic stent and several efforts to prevent stent migration have been reported. With the use of the standard metallic stent, some authors reported that a double pigtail plastic stent can be placed inside the metal stent, with the pigtail functioning as an anchor[31]. To prevent proximal stent migration, sufficient stent length is needed. We also previously reported that EUS-HGS could be safety performed using a long and partially covered metallic stent[25,32]. More recently, Song et al[14] published a preliminary report on a hybrid metal stent for EUS-BD. The distal portion of this novel stent, which is 3.5 mm long, is composed of silicone-covered nitinol wire to prevent bile leakage. In addition, proximal and distal of the covered site there are anti-migration flaps to prevent stent migration. This novel stent has the uncovered site on the proximal site, which is 1.5 to 5.5 mm long, to prevent obstruction of side branches. In their study using this novel stent, EUS-HGS was successfully performed for all patients (n = 10), and, in addition, stent migration or bile leakage was not seen.

On the other hand, EUS-HGS using a newly designed plastic stent has been reported by Umeda et al[17]. In their study, an 8-Fr single-pigtail plastic stent, which is a pus-type stent that is usually not possible to retract, with a total of 20 cm and an effective length of 15 cm with 4 flanges, was used. The proximal end has a pigtail stricture, and the distal end is tapered. EUS-HGS using this novel plastic stent was successfully performed in 23 patients (technical success rate 100%). Although bleeding or abdominal pain was seen in 4 patients (17.4%), no severe adverse events such as stent migration or dislocation were seen during follow-up (median 5.0 mo). Stent patency was 4.0 mo (range 0.5-12.5 mo). This result was clinically encouraging, but, as the author described, additional long-term studies with a large number cases are needed to evaluate the clinical impact of using this stent for EUS-HGS.

SUCCESS RATE

The reported technical success rate of EUS-HGS ranges from 65% to 100%, and the clinical success rate ranges from 87% to 100% (Table 1). Furthermore, the overall technical success rate was 82% (221/270), and the overall clinical success rate was 97% (218/225). Compared with EUS-CDS, the technical success rate was relatively lower. This may be due to the difficulty puncturing the biliary tract and inserting the guidewire. To increase the technical success rate, devices should be improved. EUS-HGS should be still performed by experienced endoscopists at high-volume centers, because the adverse events of EUS-HGS are sometimes fatal.

ADVERSE EVENTS

Adverse events of EUS-BD are still high compared with ERCP or PTCD. Based on the currently available literature (Table 1), the overall adverse event rate for EUS-HGS is 23% (62/270), and these adverse events, include: (1) Bleeding; (2) Pneumoperitoneum; (3) Biloma, bile leakage; (4) Infection (cholangitis, abscess, bacteremia); (5) Hematoma; (6) Perforation; (7) Abdominal pain; (8) Pseudoaneurysm; and (9) Stent migration

Among them, stent migration is recognized as a severe adverse event that is sometimes fatal. Okuno et al[33] reported stent migration that was treated by surgery. They used an 8-cm-long FCSEMS, and stent migration occurred immediately. Martins et al[34] also reported that EUS-HGS was successfully performed using an 8-mm-long, partially covered SEMS, but after 5 days, stent migration with the proximal end located within a large biloma occurred. Although conservative treatment was performed, this patient died. We also reported stent migration within the stomach wall after 3 d[25]. In addition, we also reported that stent length in the luminal portion is an important factor to reduce the adverse events of EUS-HGS[32]. Therefore, considering stent shortening, over 10 cm or a novel SEMS such as previously reported should be used to prevent stent migration[32,33].

CONCLUSION

EUS-HGS has wide indications and clinical impact as an alternative biliary drainage method. However, EUS-HGS also has a high rate of adverse events that are sometimes fatal. Therefore, EUS-HGS should continue to be performed by experienced endoscopists who can use various strategies when adverse events occur.

REFERENCES

1	Fogel EL, Sherman S, Devereaux BM, Lehman GA. Therapeutic biliary endoscopy. Endoscopy 2001; 33: 31-38 [PMID: 11204985 DOI: 10.1055/s-2001-11186]

2	Williams EJ, Taylor S, Fairclough P, Hamlyn A, Logan RF, Martin D, Riley SA, Veitch P, Wilkinson M, Williamson PJ, Lombard M. Are we meeting the standards set for endoscopy? Results of a large-scale prospective survey of endoscopic retrograde cholangio-pancreatograph practice. Gut 2007; 56: 821-829 [PMID: 17145737 DOI: 10.1136/gut.2006.097543]

3	Oh HC, Lee SK, Lee TY, Kwon S, Lee SS, Seo DW, Kim MH. Analysis of percutaneous transhepatic cholangioscopy-related complications and the risk factors for those complications. Endoscopy 2007; 39: 731-736 [PMID: 17661249 DOI: 10.1055/s-2007-966577]

4	Winick AB, Waybill PN, Venbrux AC. Complications of percutaneous transhepatic biliary interventions. Tech Vasc Interv Radiol 2001; 4: 200-206 [PMID: 11748558 DOI: 10.1016/S1089-2516(01)90026-5]

5	Carrasco CH, Zornoza J, Bechtel WJ. Malignant biliary obstruction: complications of percutaneous biliary drainage. Radiology 1984; 152: 343-346 [PMID: 6739796 DOI: 10.1148/radiology.152.2.6739796]

6	Hara K, Yamao K, Niwa Y, Sawaki A, Mizuno N, Hijioka S, Tajika M, Kawai H, Kondo S, Kobayashi Y, Matumoto K, Bhatia V, Shimizu Y, Ito A, Hirooka Y, Goto H. Prospective clinical study of EUS-guided choledochoduodenostomy for malignant lower biliary tract obstruction. Am J Gastroenterol 2011; 106: 1239-1245 [PMID: 21448148 DOI: 10.1038/ajg.2011.84]

7	Hara K, Yamao K, Hijioka S, Mizuno N, Imaoka H, Tajika M, Kondo S, Tanaka T, Haba S, Takeshi O, Nagashio Y, Obayashi T, Shinagawa A, Bhatia V, Shimizu Y, Goto H, Niwa Y. Prospective clinical study of endoscopic ultrasound-guided choledochoduodenostomy with direct metallic stent placement using a forward-viewing echoendoscope. Endoscopy 2013; 45: 392-396 [PMID: 23338620 DOI: 10.1055/s-0032-1326076]

8	Itoi T, Sofuni A, Itokawa F, Tsuchiya T, Kurihara T, Ishii K, Tsuji S, Ikeuchi N, Umeda J, Moriyasu F, Tsuchida A. Endoscopic ultrasonography-guided biliary drainage. J Hepatobiliary Pancreat Sci 2010; 17: 611-616 [PMID: 19806298 DOI: 10.1007/s00534-009-0196-1]

9	Park do H, Jang JW, Lee SS, Seo DW, Lee SK, Kim MH. EUS-guided biliary drainage with transluminal stenting after failed ERCP: predictors of adverse events and long-term results. Gastrointest Endosc 2011; 74: 1276-1284 [PMID: 21963067 DOI: 10.1016/j.gie.2011.07.054]

10	Vila JJ, Pérez-Miranda M, Vazquez-Sequeiros E, Abadia MA, Pérez-Millán A, González-Huix F, Gornals J, Iglesias-Garcia J, De la Serna C, Aparicio JR, Subtil JC, Alvarez A, de la Morena F, García-Cano J, Casi MA, Lancho A, Barturen A, Rodríguez-Gómez SJ, Repiso A, Juzgado D, Igea F, Fernandez-Urien I, González-Martin JA, Armengol-Miró JR. Initial experience with EUS-guided cholangiopancreatography for biliary and pancreatic duct drainage: a Spanish national survey. Gastrointest Endosc 2012; 76: 1133-1141 [PMID: 23021167 DOI: 10.1016/j.gie.2012.08.001]

11	Attasaranya S, Netinasunton N, Jongboonyanuparp T, Sottisuporn J, Witeerungrot T, Pirathvisuth T, Ovartlarnporn B. The Spectrum of Endoscopic Ultrasound Intervention in Biliary Diseases: A Single Center’s Experience in 31 Cases. Gastroenterol Res Pract 2012; 2012: 680753 [PMID: 22654900 DOI: 10.1155/2012/680753]

12	Prachayakul V, Aswakul P. A novel technique for endoscopic ultrasound-guided biliary drainage. World J Gastroenterol 2013; 19: 4758-4763 [PMID: 23922474 DOI: 10.3748/wjg.v19.i29.4758]

13	Kawakubo K, Isayama H, Kato H, Itoi T, Kawakami H, Hanada K, Ishiwatari H, Yasuda I, Kawamoto H, Itokawa F, Kuwatani M, Iiboshi T, Hayashi T, Doi S, Nakai Y. Multicenter retrospective study of endoscopic ultrasound-guided biliary drainage for malignant biliary obstruction in Japan. J Hepatobiliary Pancreat Sci 2014; 21: 328-334 [PMID: 24026963 DOI: 10.1002/jhbp.27]

14	Song TJ, Lee SS, Park do H, Seo DW, Lee SK, Kim MH. Preliminary report on a new hybrid metal stent for EUS-guided biliary drainage (with videos). Gastrointest Endosc 2014; 80: 707-711 [PMID: 25053527 DOI: 10.1016/j.gie.2014.05.327]

15	Paik WH, Park do H, Choi JH, Choi JH, Lee SS, Seo DW, Lee SK, Kim MH, Lee JB. Simplified fistula dilation technique and modified stent deployment maneuver for EUS-guided hepaticogastrostomy. World J Gastroenterol 2014; 20: 5051-5059 [PMID: 24803818 DOI: 10.3748/wjg.v20.i17.5051]

16	Artifon EL, Marson FP, Gaidhane M, Kahaleh M, Otoch JP. Hepaticogastrostomy or choledochoduodenostomy for distal malignant biliary obstruction after failed ERCP: is there any difference? Gastrointest Endosc 2015; 81: 950-959 [PMID: 25500330 DOI: 10.1016/j.gie.2014.09.047]

17	Umeda J, Itoi T, Tsuchiya T, Sofuni A, Itokawa F, Ishii K, Tsuji S, Ikeuchi N, Kamada K, Tanaka R, Tonozuka R, Honjo M, Mukai S, Fujita M, Moriyasu F. A newly designed plastic stent for EUS-guided hepaticogastrostomy: a prospective preliminary feasibility study (with videos). Gastrointest Endosc 2015; 82: 390-396.e2 [PMID: 25936451 DOI: 10.1016/j.gie.2015.02.041]

18	Poincloux L, Rouquette O, Buc E, Privat J, Pezet D, Dapoigny M, Bommelaer G, Abergel A. Endoscopic ultrasound-guided biliary drainage after failed ERCP: cumulative experience of 101 procedures at a single center. Endoscopy 2015; 47: 794-801 [PMID: 25961443 DOI: 10.1055/s-0034-1391988]

19	Park do H, Lee TH, Paik WH, Choi JH, Song TJ, Lee SS, Seo DW, Lee SK, Kim MH. Feasibility and safety of a novel dedicated device for one-step EUS-guided biliary drainage: A randomized trial. J Gastroenterol Hepatol 2015; 30: 1461-1466 [PMID: 26146796 DOI: 10.1111/jgh.13027]

20	Park SJ, Choi JH, Park do H, Choi JH, Lee SS, Seo DW, Lee SK, Kim MH. Expanding indication: EUS-guided hepaticoduodenostomy for isolated right intrahepatic duct obstruction (with video). Gastrointest Endosc 2013; 78: 374-380 [PMID: 23711555 DOI: 10.1016/j.gie.2013.04.183]

21	Ogura T, Sano T, Onda S, Imoto A, Masuda D, Yamamoto K, Kitano M, Takeuchi T, Inoue T, Higuchi K. Endoscopic ultrasound-guided biliary drainage for right hepatic bile duct obstruction: novel technical tips. Endoscopy 2015; 47: 72-75 [PMID: 25264761 DOI: 10.1055/s-0034-1378111]

22	Khashab MA, Valeshabad AK, Afghani E, Singh VK, Kumbhari V, Messallam A, Saxena P, El Zein M, Lennon AM, Canto MI, Kalloo AN. A comparative evaluation of EUS-guided biliary drainage and percutaneous drainage in patients with distal malignant biliary obstruction and failed ERCP. Dig Dis Sci 2015; 60: 557-565 [PMID: 25081224 DOI: 10.1007/s10620-014-3300-6]

23	Ogura T, Masuda D, Takeuchi T, Fukunishi S, Higuchi K. Liver impaction technique to prevent shearing of the guidewire during endoscopic ultrasound-guided hepaticogastrostomy. Endoscopy 2015; 47: E583-E584 [PMID: 26649471]

24	Park do H, Jeong SU, Lee BU, Lee SS, Seo DW, Lee SK, Kim MH. Prospective evaluation of a treatment algorithm with enhanced guidewire manipulation protocol for EUS-guided biliary drainage after failed ERCP (with video). Gastrointest Endosc 2013; 78: 91-101 [PMID: 23523301 DOI: 10.1016/j.gie.2013.01.042]

25	Ogura T, Kurisu Y, Masuda D, Imoto A, Hayashi M, Malak M, Umegaki E, Uchiyama K, Higuchi K. Novel method of endoscopic ultrasound-guided hepaticogastrostomy to prevent stent dysfunction. J Gastroenterol Hepatol 2014; 29: 1815-1821 [PMID: 24720511 DOI: 10.1111/jgh.12598]

26	Ogura T, Takagi W, Onda S, Masuda D, Takeuchi T, Fukunishi S, Higuchi K. Endoscopic ultrasound-guided biliary drainage with a novel fine-gauge balloon catheter: simplified technique using a coaxial guidewire. Endoscopy 2015; 47 Suppl 1: E573-E574 [PMID: 26610090 DOI: 10.1055/s-0034-1393380]

27	Ogura T, Sano T, Onda S, Masuda D, Imoto A, de Higuchi K. Endoscopic ultrasound-guided biliary drainage with a novel fine-gauge balloon catheter: one-step placement technique. Endoscopy 2015; 47 Suppl 1 UCTN: E245-E246 [PMID: 26069985 DOI: 10.1055/s-0034-1391859]

28	Itoi T, Isayama H, Sofuni A, Itokawa F, Kurihara T, Tsuchiya T, Tsuji S, Ishii K, Ikeuchi N, Tanaka R, Umeda J, Moriyasu F, Kawakami H. Stent selection and tips on placement technique of EUS-guided biliary drainage: transduodenal and transgastric stenting. J Hepatobiliary Pancreat Sci 2011; 18: 664-672 [PMID: 21688214 DOI: 10.1007/s00534-011-0410-9]

29	Khashab MA, Valeshabad AK, Modayil R, Widmer J, Saxena P, Idrees M, Iqbal S, Kalloo AN, Stavropoulos SN. EUS-guided biliary drainage by using a standardized approach for malignant biliary obstruction: rendezvous versus direct transluminal techniques (with videos). Gastrointest Endosc 2013; 78: 734-741 [PMID: 23886353 DOI: 10.1016/j.gie.2013.05.013]

30	Ogura T, Higuchi K. Technical tips of endoscopic ultrasound-guided choledochoduodenostomy. World J Gastroenterol 2015; 21: 820-828 [PMID: 25624715 DOI: 10.3748/wjg.v21.i3.820]

31	Sarkaria S, Lee HS, Gaidhane M, Kahaleh M. Advances in endoscopic ultrasound-guided biliary drainage: a comprehensive review. Gut Liver 2013; 7: 129-136 [PMID: 23560147 DOI: 10.5009/gnl.2013.7.2.129]

32	Ogura T, Yamamoto K, Sano T, Onda S, Imoto A, Masuda D, Takagi W, Fukunishi S, Higuchi K. Stent length is impact factor associated with stent patency in endoscopic ultrasound-guided hepaticogastrostomy. J Gastroenterol Hepatol 2015; 30: 1748-1752 [PMID: 26083496 DOI: 10.1111/jgh.13021]

33	Okuno N, Hara K, Mizuno N, Hijioka S, Imaoka H, Yamao K. Stent migration into the peritoneal cavity following endoscopic ultrasound-guided hepaticogastrostomy. Endoscopy 2015; 47 Suppl 1 UCTN: E311 [PMID: 26115390 DOI: 10.1055/s-0034-1392314]

34	Martins FP, Rossini LG, Ferrari AP. Migration of a covered metallic stent following endoscopic ultrasound-guided hepaticogastrostomy: fatal complication. Endoscopy 2010; 42 Suppl 2: E126-E127 [PMID: 20405376 DOI: 10.1055/s-0029-1243911]

Figure Legends

Figure 1  Dislocation of endoscopic ultrasound-guided hepaticogastrostomy metallic stent. (A) EUS-HGS was performed for gastric cancer patient. (B) Because of tumor growth, dislocation of EUS-HGS metallic stent was seen (arrow). EUS-HGS: Endoscopic ultrasound-guided hepaticogastrostomy.

Figure 2  Technical tips of puncture on endoscopic ultrasound-guided hepaticogastrostomy. (A) To advance the guidewire toward the hepatic hilum, the bile duct that runs from the upper left to the lower right on EUS imaging should be punctured (arrow) (B) fluoroscopic imaging (arrow). EUS-HGS: Endoscopic ultrasound-guided hepaticogastrostomy.

Figure 3  Biloma after endoscopic ultrasound-guided hepaticogastrostomy. Long procedure time was needed, therefore, bile leak was increased.

Footnotes

Conflict-of-interest statement: There is no conflict of interest associated with any of the senior author or other coauthors contributed their efforts in this manuscript.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Peer-review started: December 24, 2015

First decision: January 28, 2016

Article in press: March 2, 2016

P- Reviewer: Caglar E, Fabbri C    S- Editor: Ma YJ    L- Editor: A    E- Editor: Zhang DN

# Text boxes

Table 1  Overview of recent published reports on endoscopic ultrasound-guided hepaticogastrostomy (over 10 cases, excluding insufficient data)  n (%)

| Ref. | Technical success | Clinical success | Dilation devise | Stents | Adverse events (n) |
| --- | --- | --- | --- | --- | --- |
| Park et al[9], 2011 | 31 (100) | 27 (87) | 4Fr cannula, 6Fr, 7Fr biliary dilator, needle-knife | PS, Fully CSEMS | pneumoperitoneum (6) |
| Vila et al[10], 2012 | 22 (65) | 22 (100) | NA | NA | bleeding (3), biloma (4), perforation (4), liver hematoma (2), abscess (1) |
| Attasaranya et al[11], 2012 | 11 (85) | 11 (100) | ERCP cannula, 6Fr, 7Fr biliary dilator, needle-knife | Pig PS Fully CSEMS | Minor adverse events (5) Major adverse events (1) |
| Prachayakul et al[12], 2013 | NA | NA | tapered tip Teflon catheter | Fully CSEMS | NA |
| Kawakubo et al[13], 2013 | 19 (95) | NA | Biliary dilation catheter, dilating balloon, cautery dilator | Straight PS, CSEMS | Bile leakage (2) Stent migration (2) Bleeding (1) Cholangitis (1) Biloma (1) |
| Song et al[14], 2014 | 10 (100) | 10 (100) | 6Fr, 7Fr biliary dilator, needle-knife, 4-mm dilating balloon | Hybrid metal stent | pneumoperitoneum (2) minor bleeding (1) |
| Paik et al[15], 2014 | 27 (96) | 24 (89) | 4-mm balloon | Dual-flap Fully CSEMS | Migration (1) Pseudoaneurysm (1) |
| Artifon et al[16], 2015 | 24 (96) | 22 (91) | dilating catheter, needle-knife | Partially CSEMS | Minor bleeding (3) Biloma (1) Bacteremia (1) |
| Umeda et al[17], 2015 | 23 (100) | 23 (100) | Standard or tapered catheter, cautery dilator, 8Fr dilation catheter, 4-mm balloon | 8Fr single-plastic stent | bleeding (1), self-limited abdominal pain (3) |
| Poincloux et al[18], 2015 | 65 (99) | 61/65 (94) | 5.5Fr needle-knife, 6Fr, 7Fr dilation catheter | 10Fr PS Fully CSEMS Two fitting CSEMS Half covered SEMS | Pneumoperitoneum (2) Intrahepatic hematoma (1) Bile leakage (5) Sever sepsis (2) |
| Park et al[19], 2015 | 20 (100) | 18/20 (90) | Without dilation, 4-mm balloon catheter, dilation catheter | CSEMS with dedicated stent introducer, fully CSEMS | Mild adverse events (2) Moderate adverse events (3) |

PS: Plastic stent; CSEMS: Covered self-expandable metallic stent; NA: Not available.