Copyright Information of the Article Published Online

| TITLE | Novel concept of endoscopic device delivery station system for rapid and tight attachment of polyglycolic acid sheet |
| --- | --- |
| AUTHOR(s) | Hirohito Mori, Hideki Kobara, Noriko Nishiyama and Tsutomu Masaki |
| CITATION | Mori H, Kobara H, Nishiyama N, Masaki T. Novel concept of endoscopic device delivery station system for rapid and tight attachment of polyglycolic acid sheet. World J Gastroenterol 2018; 24(2): 211-215 |
| URL | http://www.wjgnet.com/1007-9327/full/v24/i2/211.htm |
| DOI | http://dx.doi.org/10.3748/wjg.v24.i2.211 |
| OPEN ACCESS | This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/ |
| CORE TIP | Although mechanical closures of larger artificial ulcer floor are effective to prevent post-ESD bleeding, mechanical closures might create a mucosal bridge which reduces the efficacy of prevention of post-ESD bleeding. Although covering with polyglycolic acid sheet (PGAs) is a more ideal treatment, it is difficult to deliver thin PGAs by pan-endoscope. Therefore, novel concept to deliver various devices and materials were developed. |
| KEY WORDS | Post-endoscopic submucosal dissection ulcers, Bleeding, Polyglycolic acid sheet, Rapidly delivery, and Tightly attachment |
| COPYRIGHT | © The Author(s) 2018. Published by Baishideng Publishing Group Inc. All rights reserved. |
| NAME OF JOURNAL | World Journal of Gastroenterology |
| ISSN | 1007-9327 |
| PUBLISHER | Baishideng Publishing Group Inc, 7901 Stoneridge Drive, Suite 501, Pleasanton, CA 94588, USA |
| WEBSITE | Http://www.wjgnet.com |

Basic Study

Novel concept of endoscopic device delivery station system for rapid and tight attachment of polyglycolic acid sheet

Hirohito Mori, Hideki Kobara, Noriko Nishiyama, Tsutomu Masaki

Hirohito Mori, Hideki Kobara, Noriko Nishiyama, Tsutomu Masaki, Departments of Gastroenterology and Neurology, Kagawa University, Kagawa 761-0793, Japan

Author contributions: Mori H was responsible for devising the research and writing the manuscript; Kobara H and Nishiyama N participated equally in the work; Masaki T provided a critical revision of the manuscript for intellectual content and was responsible for final approval of the manuscript.

Correspondence to: Hirohito Mori, MD, PhD, Associate Professor, Department of Gastroenterology and Neurology, Kagawa University School of Medicine, 1750-1 Ikenobe, Miki, Kita, Kagawa 761-0793, Japan. hiro4884@med.kagawa-u.ac.jp

Telephone: +81-87-891-2156   Fax: +81-87-891-2158

Received: November 6, 2017   Revised: November 27, 2017  Accepted: December 5, 2017

Published online: January 14, 2018

Abstract

AIM

To evaluate appropriate and rapid polyglycolic acid sheet (PGAs) covering time using device delivery station system (DDSS).

METHODS

This pilot basic study was conducted to evaluate the potential of accurate and rapid PGAs delivery using DDSS. Three 11-mo-old female Beagle dogs were used in this study. Two endoscopic submucosal dissections (ESDs) 4cm in diameter were performed in lesser curvature of middle gastric body and greater curvature of antrum (total 6 ESDs performed). DDSS (3 cm length, 12 mm in outer diameter) has 2 chambers which 16 cm2 large 2 PGAs were stored, and DDSS was attached post ESD ulcers, respectively. Beriplast P® (CSL Behring K.K., Tokyo, Japan) (combination of fibrin glue and thrombin) was applied equally to the artificial ulcer, and tight attachment of 2 PGAs with DDSS were completed. The evaluation items were covering times, post ESD bleeding and perforation during ESD.

RESULTS

The covering time of PGAs (defined as the duration from the beginning of endoscope insertion into the mouth to the end of the fibrin glue coating process) was 6.07 (4.86-8.29) min. There was no post-ESD bleeding (1-7 d after ESD), and there was no perforation during ESD.

CONCLUSION

DDSS was very useful for rapid delivering and tight attachment of PGAs, and has potentials of multi-purpose delivery station system.

Key words: Post-endoscopic submucosal dissection ulcers; Bleeding; Polyglycolic acid sheet; Rapidly delivery; Tightly attachment

Mori H, Kobara H, Nishiyama N, Masaki T. Novel concept of endoscopic device delivery station system for rapid and tight attachment of polyglycolic acid sheet. World J Gastroenterol 2018; 24(2): 211-215  Available from: URL: http://www.wjgnet.com/1007-9327/full/v24/i2/211.htm  DOI: http://dx.doi.org/10.3748/wjg.v24.i2.211

Core tip: Although mechanical closures of larger artificial ulcer floor are effective to prevent post-endoscopic submucosal dissection (ESD) bleeding, mechanical closures might create a mucosal bridge which reduces the efficacy of prevention of post-ESD bleeding. Although covering with polyglycolic acid sheet (PGAs) is a more ideal treatment, it is difficult to deliver thin PGAs by pan-endoscope. Therefore, novel concept to deliver various devices and materials were developed.

INTRODUCTION

There were several reports of treatments for large artificial post-endoscopic submucosal dissection (ESD) ulcers, such as natural ulcer healing, ulcer closure using an Over-The-Scope Clip system (Ovesco Endoscopy GmbH, Tüebingen, Germany)[1] and covering an ulcer with a polyglycolic acid sheet (PGAs) (Gunze Co., Kyoto, Japan). PGAs has been used to prevent post-ESD bleeding[2]. Although mechanical closures of larger artificial ulcer floor are somewhat effective to prevent post-ESD bleeding, mechanical closures might create a mucosal bridge which reduces the efficacy of prevention of post-ESD bleeding. Therefore, covering with PGAs is a more ideal treatment. However, as it is difficult to deliver thin PGAs by pan-endoscope, PGAs delivery is one of the main problems of treating post-ESD ulcers[3,4].

Since the delivery method of such a thin membrane like PGAs into the stomach without getting wet with water has not been reported yet, the efficacy of PGAs covering perforation of gastric ulcer by sealed 2 balloon method [endoscopic injection sclerotherapy (EIS) balloon, TOP co., Tokyo, Japan] (11 mm in diameter, 50 mm length) was already reported as new method[5]. Based on the 2 EIS balloon method, we developed the new concept to deliver various endoscopic devices and materials named device delivery station system (DDSS).

This animal study assessed usefulness and future perspectives of the DDSS.

MATERIALS AND METHODS

Three 11-mo-old female Beagle dogs were used in this study. This pilot basic study was conducted to evaluate the potential of accurate and rapid PGAs delivery using DDSS. This Animal experiment was approved by Animal Laboratory Regulations of Kagawa University according to the Regulations and Guidelines of animals experiment of Kagawa University. [See the supplement PDF file of Institutional Review Board Approval Form (Approval No: A34) of Kagawa University.] Two endoscopic submucosal dissections (ESDs) 4cm in diameter were performed in lesser curvature of middle gastric body and greater curvature of antrum (total 6 ESDs performed). The evaluation items were covering times, post ESD bleeding and perforation during ESD. DDSS (3 cm length, 12 mm in outer diameter) has 2 chambers which 16 cm2 large 2 PGAs were stored (Figure 1), and DDSS was easily mounted (Figure 2) and detached by pulling the thread connected with lock-pin (Figure 3) (Video). After endoscope mounting DDSS was inserted into dog’s stomach, DDSS was detached by pulling out the lock-pin with grasping forceps which was retrieved through endoscopic channel. Two PGAs were pulled out from each 2 chambers (Figure 4) and attached post ESD ulcers, respectively (Figure 5). Beriplast P® (CSL Behring K.K., Tokyo, Japan) (combination of fibrin glue and thrombin) was applied equally to the artificial ulcer, and tight attachment of 2 PGAs with DDSS were completed. In this study, 0.5 mL Indigo Carmine was mixed with transparent Beriplast P® for visualization of uniformly spraying onto ulcer floor (Figure 6) (Video).

Devices

Endoscopes: GIF TYPE Q260J (Olympus Co., Tokyo, Japan). Incisional knife: Dual knife® (KD-650 L), IT knife 2® (KD-611L) (Olympus Co., Tokyo, Japan). Incisional generator device: ERBE VIO300D (Elektromedizin, Tübingen, Germany). CO2 insufflation device: OLYMPUS UCR (Olympus Co., Tokyo, Japan). PGAs (Gunze Co., Kyoto, Japan).

RESULTS

The covering time of PGAs (defined as the duration from the beginning of endoscope insertion into the mouth to the end of the fibrin glue coating process) was 6.07 (4.86-8.29) min. There was no post-ESD bleeding (1-7 d after ESD), and there was no perforation during ESD. DDSS was the most effective way to deliver PGAs to post-ESD ulcer floor accurately and rapidly. There was no adverse event or complications at all during delivery of PGAs by DDSS.

DISCUSSION

PGAs are widely used in bio-absorbable sutures in the surgical field. In healing process, PGAs have anti-inflammatory effects with rich granulation tissue. PGAs also have the migration effects of epidermal cells. Early anti-inflammatory effects and rich granulation tissue contribute to protecting the ulcer floor[6].

Protection mechanism of PGAs seem to be same that of steroid local injection to prevent stenosis[7,8]. The tight attachment of PGAs to post-ESD ulcer is necessary to obtain a sufficient hemostatic effect. Therefore, DDSS was very useful for rapidly delivery and tightly attachment of PGAs onto post ESD artificial ulcer. Tight attachment of PGAs by DDSS might enable us to decrease post-ESD bleeding[9,10]. Post-ESD bleeding is one of serious adverse events for patients who take antiplatelet and/or anti coagulation agents. There were some reports that post bleeding events occurred within 7- 14 d after ESD. PGAs could prevent the post-ESD bleeding among patients using antithrombotic agents[11], and contribute to reduce the medical cost. In addition, there was no adverse event or complications at all during delivery of PGAs by DDSS.

Moreover, DDSS might be able to deliver much more devices and materials such as gauze, hemoclips and so on. DDSS has potential to considerably change the endoscopic treatment. However, prospective randomized control study is needed to confirm the advantages of DDSS and potential adverse events.

ARTICLE HIGHLIGHTS

Research background

Post-Endoscopic submucosal dissections (ESD) bleeding is one of crucial adverse events for patients who take anti-thrombotic agents.

Research motivation

Although there were several reports with regard to polyglycolic acid sheet (PGAs) to prevent post-ESD bleeding, it is difficult to deliver and cover the post-ESD ulcer floor with PGAs. Developing new measurement or device to deliver PGAs is necessary to perform safer ESD.

Research objectives

To evaluate the efficacy of appropriate and rapid PGAs delivery method using innovative device delivery station system (DDSS).

Research methods

Beagle dogs were used in this pilot basic study. Two ESDs 4 cm in diameter were performed (total 6 ESDs performed). Covering times of PGAs only by pan-endoscope, post ESD bleedings and perforations during ESD were investigated.

Research results

DDSS made it possible to cover post-ESD ulcer rapidly and reduce the post-ESD adverse event (bleeding of 1-7 d after ESD).

Research conclusions

DDSS was very useful for rapid delivering and tight attachment of PGAs to control post-ESD bleeding. DDSS can deliver lots of endoscopic devices and surgical materials that can be placed within the digestive tract under sealed conditions.

Research perspectives

DDSS has innovative potentials of multi-purpose device delivery measurements.

Multi-center prospective studies are needed to confirm the advantages of DDSS not only for PGAs delivery but also other endoscopic devices and materials.

REFERENCES

1	Maekawa S, Nomura R, Murase T, Ann Y, Harada M. Complete closure of artificial gastric ulcer after endoscopic submucosal dissection by combined use of a single over-the-scope clip and through-the-scope clips (with videos). Surg Endosc 2015; 29: 500-504 [PMID: 25052125 DOI: 10.1007/s00464-014-3725-1]

2	Takimoto K, Imai Y, Matsuyama K. Endoscopic tissue shielding method with polyglycolic acid sheets and fibrin glue to prevent delayed perforation after duodenal endoscopic submucosal dissection. Dig Endosc 2014; 26 Suppl 2: 46-49 [PMID: 24750148 DOI: 10.1111/den.12280]

3	Ono H, Takizawa K, Kakushima N, Tanaka M, Kawata N. Application of polyglycolic acid sheets for delayed perforation after endoscopic submucosal dissection of early gastric cancer. Endoscopy 2015; 47 Suppl 1 UCTN: E18-E19 [PMID: 25603508 DOI: 10.1055/s-0034-1390730]

4	Tsuji Y, Ohata K, Gunji T, Shozushima M, Hamanaka J, Ohno A, Ito T, Yamamichi N, Fujishiro M, Matsuhashi N, Koike K. Endoscopic tissue shielding method with polyglycolic acid sheets and fibrin glue to cover wounds after colorectal endoscopic submucosal dissection (with video). Gastrointest Endosc 2014; 79: 151-155 [PMID: 24140128 DOI: 10.1016/j.gie.2013.08.041]

5	Mori H, Kobara H, Rahman A, Nishiyama N, Nishiyama A, Suzuki Y, Masaki T. Innovative delivery method using a detachable device to deliver a large polyglycolic acid sheet to a gastric ulcer perforation. Endoscopy 2017; 49: E165-E167 [PMID: 28525931 DOI: 10.1055/s-0043-105573]

6	Iizuka T, Kikuchi D, Yamada A, Hoteya S, Kajiyama Y, Kaise M. Polyglycolic acid sheet application to prevent esophageal stricture after endoscopic submucosal dissection for esophageal squamous cell carcinoma. Endoscopy 2015; 47: 341-344 [PMID: 25412087 DOI: 10.1055/s-0034-1390770]

7	Hashimoto S, Kobayashi M, Takeuchi M, Sato Y, Narisawa R, Aoyagi Y. The efficacy of endoscopic triamcinolone injection for the prevention of esophageal stricture after endoscopic submucosal dissection. Gastrointest Endosc 2011; 74: 1389-1393 [PMID: 22136782 DOI: 10.1016/j.gie.2011.07.070]

8	Hanaoka N, Ishihara R, Takeuchi Y, Uedo N, Higashino K, Ohta T, Kanzaki H, Hanafusa M, Nagai K, Matsui F, Iishi H, Tatsuta M, Ito Y. Intralesional steroid injection to prevent stricture after endoscopic submucosal dissection for esophageal cancer: a controlled prospective study. Endoscopy 2012; 44: 1007-1011 [PMID: 22930171 DOI: 10.1055/s-0032-1310107]

9	Matsumura T, Arai M, Maruoka D, Okimoto K, Minemura S, Ishigami H, Saito K, Nakagawa T, Katsuno T, Yokosuka O. Risk factors for early and delayed post-operative bleeding after endoscopic submucosal dissection of gastric neoplasms, including patients with continued use of antithrombotic agents. BMC Gastroenterol 2014; 14: 172 [PMID: 25280756 DOI: 10.1186/1471-230X-14-172]

10	Shindo Y, Matsumoto S, Miyatani H, Yoshida Y, Mashima H. Risk factors for postoperative bleeding after gastric endoscopic submucosal dissection in patients under antithrombotics. World J Gastrointest Endosc 2016; 8: 349-356 [PMID: 27076874 DOI: 10.4253/wjge.v8.i7.349]

11	Fukuda H, Yasmaguchi N, Isomoto H, Matsushima K, Minami H, Akazawa Y, Ohnita K, Takeshima F, Shikuwa S, Nakao K. Polyglycolic Acid Felt Sealing Method for Prevention of Bleeding Related to Endoscopic Submucosal Dissection in Patients Taking Antithrombotic Agents. Gastroenterol Res Pract 2016; 2016: 1457357 [PMID: 27022390 DOI: 10.1155/2016/1457357]

FIGURE LEGENDS

Figure 1  Preparation of polyglycolic acid sheets. Polyglycolic acid sheets (PGAs) was able to be expanded by ring-shaped 1-0 polydioxanone (PDS) which have strong expansive force (black arrow). Ring-shaped 1-0 PDS was fixed with 4-0 PDS at 4 point to prevent PGAs from slipping out of place (red arrows).

Figure 2  Mount device delivery station system on pan endoscope. Device delivery station system (DDSS) was mounted on pan endoscope with 2 chambers in which 16 cm2 large polyglycolic acid sheets (yellow arrow) and gauze (red arrow) were stored. It is possible for DDSS to store various kinds of surgical materials in its several chambers. It is very easy to open and detach DDSS by pulling the thread connected with tiny pin by grasping forceps through endoscopic channel (blue curved arrow).

Figure 3 Detachable of device delivery station system. Device delivery station system (DDSS) is able to be opened and detached (yellow curved arrow) by pulling the thread connected with tiny pin (yellow arrow). Two ring-shaped threads are used to fix DDSS on the gastric wall (2 red arrows).

Figure 4  Delivery of dry polyglycolic acid sheet from device delivery station system. Polyglycolic acid sheets was delivered and pulled out from device delivery station system chamber without getting wet with water.

Figure 5  Simultaneous deliveries of two polyglycolic acid sheet to two post-endoscopic submucosal dissections artificial ulcers. Two polyglycolic acid sheets were pulled out from each 2 chambers and attached 2 post ulcers, respectively (yellow and blue arrows).

Figure 6  Mixture of Indigo Carmine and Beriplast P® for visualization. 0.5 mL Indigo Carmine mixed with transparent Beriplast P® for visualization of uniformly spraying onto ulcer floor made it possible to make tight attachment of polyglycolic acid sheets.

FOOTNOTES

Manuscript source: Unsolicited manuscript

Specialty type: Gastroenterology and hepatology

Country of origin: Japan

Peer-review report classification

Grade A (Excellent): A

Grade B (Very good): B

Grade C (Good): C

Grade D (Fair): 0

Grade E (Poor): 0

Supported by The Translational Research Program and the Strategic Promotion for Practical Applications of Innovative Medical Technology (TR-SPRINT) from the Japan Agency for Medical Research and Development (AMED).

Institutional review board statement: This Animal experiment was approved by Animal Laboratory Regulations of Kagawa University according to the Regulations and Guidelines of animal experiment of Kagawa University. [See the supplement PDF file of Institutional Review Board Approval Form (Approval No: A34) of Kagawa University].

Institutional animal care and use committee statement: Animal experiments were performed based on Preclinical Animal Laboratory of Kagawa University according to the guidelines of animals by Kagawa University.

Conflict-of-interest statement: All authors declare that they have no conflicts of interest, and no corporate financing was received.

Data sharing statement: Technical procedures and dataset are available from the corresponding author at [hiro4884@med.kagawa-u.ac.jp].

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Peer-review started: November 7, 2017

First decision: November 14, 2017

Article in press: December 5, 2017

P- Reviewer: Dogan UB, Dinc T, Shrestha BM    S- Editor: Chen K    L- Editor: A    E- Editor: Ma YJ