Copyright Information of the Article Published Online

| TITLE | Computed tomography colonography for the practicing radiologist: A review of current recommendations on methodology and clinical indications |
| --- | --- |
| AUTHOR(s) | Paola Scalise, Annalisa Mantarro, Francesca Pancrazi, Emanuele Neri |
| CITATION | Scalise P, Mantarro A, Pancrazi F, Neri E. Computed tomography colonography for the practicing radiologist: A review of current recommendations on methodology and clinical indications. World J Radiol 2016; 8(5): 472-483 |
| URL | http://www.wjgnet.com/1949-8470/full/v8/i5/472.htm |
| DOI | http://dx.doi.org/10.4329/wjr.v8.i5.472 |
| OPEN ACCESS | This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/ |
| CORE TIP | Computed tomography colonography (CT colonography) was first introduced in 1994 and since then it rapidly evolved with considerable improvements achieved in the technique. CT colonography allows a minimally-invasive evaluation of the entire colon with elevated level of patient acceptance, actually representing the radiological examination of choice in colorectal cancer diagnosis. Furthermore, beyond diagnostic purposes, great interest is rising in CT colonography application as a screening tool for colonic cancer on individual basis in asymptomatic patients at average-risk. Our objective is to illustrate the current literature concerning CT colonography to better delineate its major clinical indications and the most updated recommendations on the technique methodology. |
| KEY WORDS | Colorectal cancer; Computed tomography colonography; Colorectal polyps; Virtual colonoscopy; Screening |
| COPYRIGHT | © The Author(s) 2016. Published by Baishideng Publishing Group Inc. All rights reserved. |
| NAME OF JOURNAL | World Journal of Radiology |
| ISSN | 1949-8470 (online) |
| PUBLISHER | Baishideng Publishing Group Inc, 8226 Regency Drive, Pleasanton, CA 94588, USA |
| WEBSITE | http://www.wjgnet.com |

REVIEW

Computed tomography colonography for the practicing radiologist: A review of current recommendations on methodology and clinical indications

Paola Scalise, Annalisa Mantarro, Francesca Pancrazi, Emanuele Neri

Paola Scalise, Annalisa Mantarro, Francesca Pancrazi, Emanuele Neri, Department of Translational Research and New Technologies in Medicine and Surgery, Diagnostic and Interventional Radiology, 56124 Pisa, Italy

Author contributions: All authors equally contributed to this paper with literature review and analysis, drafting and critical revision and editing, and final approval of the final version.

Correspondence to: Emanuele Neri, MD, Professor, Associate Professor of Radiology at the University of Pisa, Department of Translational Research and New Technologies in Medicine and Surgery, Diagnostic and Interventional Radiology, Via Paradisa 2, 56124 Pisa, Italy. emanuele.neri@med.unipi.it

Telephone: +39-050-995551   Fax: +39-050-997316

Received: July 20, 2015   Revised: February 4, 2016    Accepted: February 23, 2016

Published online: May 28, 2016

Abstract

Colorectal cancer (CRC) represents one of the most relevant causes of morbidity and mortality in Western societies. CRC screening is actually based on faecal occult blood testing, and optical colonoscopy still remains the gold standard screening test for cancer detection. However, computed tomography colonography (CT colonography) constitutes a reliable, minimally-invasive method to rapidly and effectively evaluate the entire colon for clinically relevant lesions. Furthermore, even if the benefits of its employment in CRC mass screening have not fully established yet, CT colonography may represent a reasonable alternative screening test in patients who cannot undergo or refuse colonoscopy. Therefore, the purpose of our review is to illustrate the most updated recommendations on methodology and the current clinical indications of CT colonography, according to the data of the existing relevant literature.

Key words: Colorectal cancer; Computed tomography colonography; Colorectal polyps; Virtual colonoscopy; Screening

© The Author(s) 2016. Published by Baishideng Publishing Group Inc. All rights reserved.

Scalise P, Mantarro A, Pancrazi F, Neri E. Computed tomography colonography for the practicing radiologist: A review of current recommendations on methodology and clinical indications. World J Radiol 2016; 8(5): 472-483  Available from: URL: http://www.wjgnet.com/1949-8470/full/v8/i5/472.htm  DOI: http://dx.doi.org/10.4329/wjr.v8.i5.472

Core tip: Computed tomography colonography (CT colonography) was first introduced in 1994 and since then it rapidly evolved with considerable improvements achieved in the technique. CT colonography allows a minimally-invasive evaluation of the entire colon with elevated level of patient acceptance, actually representing the radiological examination of choice in colorectal cancer diagnosis. Furthermore, beyond diagnostic purposes, great interest is rising in CT colonography application as a screening tool for colonic cancer on individual basis in asymptomatic patients at average-risk. Our objective is to illustrate the current literature concerning CT colonography to better delineate its major clinical indications and the most updated recommendations on the technique methodology.

INTRODUCTION

Colorectal cancer (CRC) actually represents one of the most relevant causes of morbidity and mortality in Western societies[1]. According to the widely accepted adenoma-to-carcinoma sequence, colorectal adenocarcinoma development is a multi-step process. Firstly, sequential accumulation of genetic and epigenetic mutations in specific genes causes the transition from normal epithelium to hyperproliferative mucosa, then it gives rise to a benign adenoma which could degenerate into carcinoma in about 10 years[2]. Given this carcinogenic pathway, population-screening programmes play a key role in bowel cancer prevention by detecting and removing pre-symptomatic lesions in early stage.

CRC screening is actually based on faecal occult blood testing (FOBT), which is currently employed in several European countries with significant reduction in number of deaths from CRC[3,4].

Optical colonoscopy (OC) still remains the gold standard screening test for CRC detection: It is indicated in FOBT-positive or symptomatic patients and as preventive strategy in patients at increased risk of CRC[5,6]. However, it is burdened by scarce patients’ compliance, so alternative solutions are needed to improve patient adherence to screening programmes. Computed tomographic colonography (CT colonography) constitutes a reliable, minimally-invasive method to rapidly and effectively evaluate the entire colon for clinically relevant lesions; it shows high sensitivity in polyps and CRC detection and might selectively and non-invasively filter out those patients who would benefit most from therapeutic OC[7-10].

CT colonography may represent a reasonable alternative screening method in patients who cannot undergo or refuse colonoscopy and would otherwise remain unscreened; in fact, the benefits of CT colonography employment in CRC mass screening are actually under evaluation and its potential role as first-line screening modality is emerging. In the setting of CRC screening in asymptomatic adults at average-risk, the diagnostic performances of CT colonography were approximately equal to OC in terms of the detection of clinically relevant lesions[11]. In 2011, some authors reported that, even if CT OC showed higher pooled sensibility than colonoscopy only in a specific subgroup of patients with polyps between 8 and 10 mm, CT colonography was efficient in terms of cost per QALY in comparison to no screening; furthermore the evidence for CT colonography if compared to no screen was favourable for CT colonography screening[12].

The purpose of our review is to illustrate the most updated recommendations on methodology and the current clinical indications of CT colonography, according to the data of the existing relevant literature.

To collect the evidence contributing to this work, two independent reviewers carried out a systematic literature review in MEDLINE, Cochrane Library, Scopus and Google Scholar. The research was limited to English language papers from 1997 to 2015. Studies were considered eligible for inclusion if focused on CT colonography technical aspects, methodology and current clinical practice. The majority of relevant articles were searched by using the following Medical Subject Headings, or MeSH, terms as keywords: Computed tomography colonography, virtual colonoscopy, computed tomography colonoscopy, colography, or virtual endoscopy. Additional potentially relevant papers were identified by browsing bibliographies and references listed in primary sources and in relevant guidelines and systematic reviews. A final selection of 115 relevant studies was included in the review.

DISCUSSION

Indications to CT colonography

The recent European Society of Gastrointestinal Endoscopy (ESGE)/European Society of Gastrointestinal and Abdominal Radiology (ESGAR) consensus for CT colonography indications produced by the ESGE and ESGAR, integrated by an updated literature review are listed as follows[13].

CT colonography and diagnosis of colorectal neoplasia: CT colonography is recommended as the radiological examination of choice in CRC diagnosis, enabling the assessment of local tumor invasion, lymph nodes, and distant metastases. In case of obstructing cancers, it allows bowel evaluation proximally to the lesion to exclude synchronous lesions[14,15]. In the specific context of laparoscopic surgery, CT colonography may help in better tumor localization/segmental mapping even in obstructive lesions, and permits a precise measurement of the distance from the anal canal[16].

Patients with abdominal symptoms suggestive of CRC: Patients with CRC might present highly non-specific symptoms, such as abdominal pain or discomfort, rectal bleeding, iron-deficiency anaemia, and unintended weight loss[17]. CT colonography is considered as an acceptable alternative investigation to better investigate these patients, especially when OC cannot be performed or is contraindicated.

CT colonography following incomplete colonoscopy: CT colonography is promoted as the imaging modality of choice after incomplete OC. Incomplete OC, defined as a failure to intubate the caecum, may occur due to several reasons, such as patient discomfort or intolerance to the procedure, looping of the scope, poor bowel preparation, redundant colon, colonic spasm or looping, acute angle flexures and tortuosity and colonic obstruction caused by neoplastic or non-neoplastic stenosis (i.e., adherences from previous surgery)[18]. CT colonography might overcome these technical limitations and enlighten the causes of OC failure. If OC is incomplete, CT colonography should be performed preferably the same or next day to reduce patient discomfort avoiding additional bowel preparation; however, CT colonography should be delayed if an endoscopic resection has been performed during OC[19]. In case of obstructing CRC, preoperative contrast-enhanced CT colonography might be useful in detecting and localizing synchronous colonic lesions and in malignant lesions staging[20,21].

CT colonography and screening for CRC in patients with family history of CRC: ESGAR and ESGE do not recommended CT colonography as primary test in screening or individuals at average or high-grade risk to develop CRC and/or with positive first-degree family history of CRC. However, CT colonography may have a role as CRC screening test on an individual basis, after adequate patient information about its characteristics, benefits and risks.

CT colonography within a screening program, following positive faecal testing with incomplete/unfeasible colonoscopy: In 2008, the American Cancer Society, the US Multi-Society Task Force on CRC and the American College of Radiology released the consensus guidelines on CRC screening, which for the first time included CT colonography among the screening tests to be offered to asymptomatic individuals at average-risk[3,22]. Individuals are considered to be at average-risk in absence of the following conditions: Clinical symptoms, personal history of CRC, adenomatous polyps or inflammatory bowel diseases, family history of advanced neoplasia[23]. In particular, CT colonography is strongly endorsed in case of a positive FOBT or faecal immunochemical test coupled with incomplete or unfeasible OC, in particular in patients unable or unwilling to undergo OC[24].

CT colonography following curative-intent resection of CRC: After curative-intent resection of CRC, the current surveillance guidelines include a combination of clinical assessment, serum carcinoembryonic antigen testing, OC, and contrast-enhanced CT[25]. CT colonography with intra-venous (IV) contrast medium injection is able to detect local recurrence, metachronous disease, and extracolonic distant metastases, but it may represent an alternative investigation in surveillance only in patients in whom OC is unfeasible, due to the lack of robust and evidence-based data[15,17]. CT colonography is also useful to demonstrate post-surgical colonic anatomy and offers information about wall morphology of the anastomosis[18,26].

CT colonography following polypectomy: After polypectomy, patients should undergo endoscopic surveillance since they are likely to develop metachronous lesions and CT colonography should be performed in patients at high-risk polyps only if OC is unfeasible. However, patients’ adherence to follow-up is extremely variable and generally poor in clinical practice, hence follow-up with CT colonography might be suggested as an alternative option for those patients unwilling to undergo OC[27]. The frequency intervals for follow-up remain controversial and are based on the findings of the first colonoscopy (size, number, and histology of the removed polyps). CT colonography should not be employed as a surveillance test after polipectomy in patients with long-standing history of ulcerative colitis or Crohn’s disease and/or hereditary cancer predisposing diseases (i.e., hereditary non-polypoid CRC, Lynch syndrome and APC-associated polyposis conditions) due to the highly increased risk of developing CRC[28,29].

Endoscopic polipectomy following CT colonography: If at least one polyp greater than 6 mm in diameter is detected at CT colonography, endoscopic polypectomy is required. Same-day polypectomy has to be considered as a possible option after CT colonography performed with full bowel preparation, thus it is necessary to consider related technical and logistical factors, including patient consent.

Whether a lesion detected at CT colonography is not confirmed by a high quality OC, CT colonography findings should be carefully reviewed. However, if radiological confidence for the presence of a lesion greater than 10 mm remains high, early repetition of colonoscopy should be considered[13].

CT colonography in patients with contraindications to OC: CT colonography might be performed in the evaluation of patients with contraindications to OC or refusing other screening options[30]. In particular, this group of patients includes frail or immobile patients, often with advanced age, who cannot be sedated due to severe medical comorbidities or under anticoagulation therapy, with a previous history of difficult or incomplete OC. It is important to underline that OC is burdened by an increased risk of perforation and bleeding especially in elderly patients and in those undergoing anti-coagulant therapy[31,32].

Future emerging indications: New emerging indications of CT colonography include the evaluation of patients with sigmoid colonic stoma and those affected by deep pelvic endometriosis[33-35]. Furthermore, it could be useful in chronic diverticular disease, where it could improve the differential diagnosis between inflammatory vs neoplastic stenosis[36-38]. In this setting, the role of CT colonography is controversial in estimating the parietal involvement caused by inflammatory bowel diseases and there are only few studies reporting the performances of CT colonography in such setting[39]. However, it might have a potential application in the evaluation of endoluminal, intramural and extra-colonic findings and, to some degree, allows differential diagnosis between ulcerative colitis, Crohn’s disease and other inflammatory conditions[40].

The potential role of CT colonography as a first-line CRC population screening modality is currently under debated. Several studies have shown that CT colonography has a wider public acceptance if compared to OC[41-43]. The Dutch trial showed an increased participation rate at the screening program with CT colonography than OC (34% vs 22%; P < 0.0001)[44]. Even if these results are extremely promising, more data on patient adherence to CT colonography-based screening programs and cost-effectiveness must be obtained and confirmed by on-going trials[45,46].

Contraindications: CT colonography is contraindicated in patients complaining active colonic inflammation (i.e., acute diverticulitis, acute active stage of ulcerative colitis or Crohn’s disease, toxic megacolon) due to the high risk of bowel perforation[47-49]. Other main contraindications to CT colonography include: Acute abdominal pain; abdominal wall hernia with entrapment of colonic loops; recent colorectal, abdominal or pelvic surgery; recent endoscopic resection. In the latter case, a two-week delay is suggested between polipectomy and CT colonography[13], despite lack of clear scientific evidence.

Methodology

Bowel preparation: As for OC, bowel preparation represents the first and crucial step to obtain an optimal CT colonography quality, removing any luminal faecal or fluid residues which might obscure or mimic colonic lesions[50]. In this regard, many bowel preparation regimes had been proposed; however, in all protocols an adequate colonic cleansing can be accomplished by means of a low-residue diet and cathartic cleansing, with oral administration of polyethylene glycol (PEG), magnesium citrate or sodium phosphate[51]. The choice of laxative scheme depends mainly on patient health status and compliance, indeed colonic cleansing represents the most unpleasant step of CT colonography[52]. To overcome these drawbacks, research is aimed at developing less invasive preparations by means of non-cathartic or reduced-cathartic approaches (called “prep-less” or “minimal prep” CT colonography)[53,54]. Actually, according to the ESGAR guidelines, cathartic preparation should be reduced to 24 h or less before CT colonography examination and non-cathartic approach (without laxative but with faecal tagging) may be considered in frail and elderly patients when CRC is the target lesion[55].

The laxatives employed for CT colonography bowel preparation can be classified into two categories: “Dry preparation”, including saline cathartics as magnesium citrate and sodium phosphate; and “wet preparation” encompassing PEG-based regimes (PEG solution alone or in combination with magnesium citrate or bisacodyl)[56].

PEG is a water-soluble and osmotically active polymer able to retain about 30% water administered. It is an isosmolar solution that determines an intense watery diarrhoea without affecting electrolyte balance. PEG-based solutions can be administered at a high (3-4 L) or reduced volume (2 L) based on their composition with different substances or electrolytes, such as sodium sulfate, sodium chloride, potassium chloride, bisacodyl, and ascorbic acid. High volume PEG solutions are poorly tolerated by patients for its salty and disagreeable symptoms, like abdominal discomfort, bloating, nausea, and vomiting[57]. Moreover, these solutions could leave fluid residuals in the colonic lumen, covering the endoluminal surface and thus reducing sensitivity in colonic lesion detection. For the above-mentioned reasons, low volume solutions are preferred for bowel cleansing in CT colonography examination. Furthermore, the addition of simethicone promotes coalescence and discharge of colonic bubbles, improving mucosal surface visualization[58]. Actually, PEG solutions are the preferred agents to obtain CT colonography bowel preparation, thanks to their quick and safe laxative action, especially in elderly patients or in those with poor general condition[59]. The main contraindications comprehend paralytic ileus, gastric retention, gastrointestinal obstruction, bowel perforation, toxic colitis and megacolon.

Sodium phosphate is a non-absorbable, osmotically active inorganic salt causing more fluid to enter in the colonic lumen than can be absorbed by the mucosa. Usually, it is administered in a single dose combined with bisacodyl. These hyperosmotic solutions at low volume lead to inversion of the normal water flow through the bowel wall, stimulating colonic peristalsis and emptying[60]. As compared with PEG, sodium phosphate promotes a reduction of the amount of residual fluid in the colonic lumen and is more tolerated by patients, due to the lower volume and better taste of solution[51]. Nevertheless, sodium phosphate is contraindicated in patients with serum electrolyte imbalances, advanced hepatic dysfunction, acute and chronic renal failure, recent myocardial infarction, unstable angina, congestive heart failure, ileus, malabsorption, and ascites[61].

Magnesium citate is another saline laxative with osmotic action, which increases the intraluminal fluid volume and promotes the colonic peristalsis. Dry colonic preparation obtained with magnesium citrate is very similar to that achieved with sodium phosphate; however, magnesium citrate has a better safety profile with negligible risk of severe hydro-electrolytical disturbances[56,62].

Faecal tagging: The presence of faecal and fluid residuals in the large bowel may affect colonic finding interpretation, resulting in lower diagnostic accuracy especially in 3D analysis[63]. Despite efforts to achieve a thorough cleansing by means of a low-residue diet and cathartic cleansing, some faecal or fluid residuals may be retained[24,54]. In this context, the addition of oral tagging with positive contrast media (either iodine, barium, or both) is mandatory in order to distinguish polyps from faecal material and to detect lesions submerged by fluids[64,65]. In this way, contrast medium increases the density of faecal/ﬂuid residues, while the colonic walls and lesions maintain the typical soft tissue density. Several tagging regimens have been proposed; however, no deﬁnite consensus still exists about the most effective tagging scheme. Therefore, the choice of the agents to obtain faecal tagging is optional and depends mostly on site experience.

Oral tagging achieved with barium may produce heterogeneous tagging of faecal/fluid residues due to its relatively low water solubility. Barium is an inert contrast medium free from risk of allergic reactions or laxative effects, but with increased risk of colonic constipation. Furthermore, barium may impair same-day colonoscopy in case of CT colonography positive findings[66].

By contrast, oral tagging with iodinated agents allows greater homogeneity of intraluminal CT density than barium-based protocols[67]. Sodium amidotrizoate and meglumine amidotrizoate (Gastrografin®, Bracco) is the most frequently used contrast medium for oral tagging. It has a variable compliance because of its unpleasant taste and hyperosmolar effects. Usually, its oral administration is safe because a small amount (approximately 3%) of Gastrograﬁn is absorbed through the enteric mucosa and discharged through the urinary tract. Nevertheless, rare anaphylactoid reactions have been reported after its oral administration and caution is required in case of patients with previous reaction to iodinated contrast agents[68,69]. Moreover, colonic enhancement depends on contrast medium transit time and the presence of enhanced small bowel may disturb colonic assessment, mostly in 3D analysis.

Tagging with oral administration of barium and iodinated contrast medium represents a more complex preparation scheme that may reduce patient compliance[55].

Recently, Neri et al[70] proposed an alternative technique, called “rectal iodine tagging”, consisting of the introduction of iodinated contrast material through the same insufflation probe, immediately before CT image acquisition. This very simple and immediate tagging scheme provides a significant reduction of overall examination time with comparable accuracy in polyp detection, tagging quality and better patient’s acceptance[70].

Moreover, several clinical trials clearly support the use of CT colonography after an incomplete colonoscopy (same-day iodine tagging), performed on the same day avoiding an addictional cathartic preparation[71]. In this setting, CT colonography allows the detection of colonic lesions in non-visualized segments, determining also the cause of incomplete colonoscopy (i.e., tortuous colon or severe diverticular disease). Furthermore, CT colonography permits the identification of synchronous lesions in cases of obstructing carcinomas, adding information about tumor localization and surgical planning[72].

Rectal tube: At the beginning of the procedure, a thin flexible probe provided with a small inflatable balloon is inserted into the rectum by a physician or a specifically trained assistant[18,73]. Employment of rigid, large-caliber catheters is not recommended[52]. A preliminary digital rectal examination is not mandatory, but it is recommended if inflatable rectal balloon are used[55]. Some authors suggest maintaining rectal catheters in situ until the end of the examination[74]; however, it is advisable to deflate it in one scan acquisition to improve visualization of more distal lesions[55]. Bowel distension may cause colonic perforation, with sudden onset of acute pain during probe insertion and/or air inflation[75]. Even if CT colonography cannot be considered completely free from serious adverse events, the risk of bowel perforation remains an extremely rare complication, especially in asymptomatic subjects at average-risk.A recent review reported a CT colonography-related colorectal perforation rate of 0.04%, more than four times lower than OC[74,76,77].

Spasmolytics: Even if some authors reported limited benefits in their employment, in selected cases spasmolytics may reduce insufflation-related discomfort and facilitate bowel evaluation, especially in patients with colonic strictures, stenosing cancers or diverticular disease[78-82]. Hyoscine-N-buthylbromide (Buscopan®, Boehringer Ingelheim) is the antispasmotic of choice; however, it is not licensed in several countries, including the United States. If contraindicated or not available, it could be replaced by Glucagon (1 mg)[55]. Whatever spasmolytic is chosen, it should be administered prior to start insufflation. Specific contraindications to antispasmotic administration must be preliminarly assessed[55].

Bowel distension: Bowel distension is required to permit a better visualization of the colonic surface. To achieve pneumocolon, administration of room air and/or carbon dioxide (CO2) through the rectal probe could be performed either manually, through a balloon pump patient-controlled or physician-controlled, or using automatic insufflators[52,74,83]. Automated dynamic CO2 delivery is the most preferred distension technique[52,55]. In fact, if compared to manual insufflation, automated insufflation with CO2 allows a better colonic distension, particularly in left colon and supine position[74]. Moreover, controlled values of flow rate and pressure minimize the potential risk of perforation and procedure-related discomfort, since CO2 is rapidly reabsorbed and continuous low-pressure CO2 delivery reduces colonic spasm[52,83]. Alternatively, manual distension with room air and/or CO2 can be performed if automated insufflation systems are not available[55,73]. In both cases, pneumocolon should be performed by specifically trained practitioners[55].

A proper colonic distension of the colon is essential to accomplish technical success. The goal is to obtain an adequate colonic distension, rather than maximal lumen dilation[52]. The overall amount of gas administered may vary widely among patients (from 3 to more than 10 L) and, if considered alone, it does not correspond to adequate distension[52,55]. In fact, also other factors, such as patient tolerance to insufflation, colonic appearance at scout scan and colonic pressures should be also taken into account[55]. Bowel distension should be considered as adequate if the luminal surface of each colonic segment could be entirely visualized ideally in both decubitus, but at least in one patient position[55,75]. Appropriateness and degree of bowel distension should be assessed on both scout views prior to perform images acquisition; if necessary, additional insufflation may be performed[55,62,75]. Beyond quality of distension, overall diagnostic quality of the examination should be assessed before the patient leaves the facility; in particular, presence of bowel perforation should be ruled out.

Image acquisition: As widely reported in literature, CT scanning should be performed on multidetector row CT scanners (> 4 rows), which permit a complete evaluation of the whole abdomen with reduced time of acquisition and high spatial resolution[18,55].

Colonic lesions detection is highly influenced by maximum collimation; for this reason, narrow collimations not exceeding 3 mm, are currently recommended[24,55,84]. Moreover, nearly isotropic voxels and acquisition of multiple thin sections reconstructed with a 20%-30% overlap are highly suggested[18,55,75]. Barish et al[24] reported datasets reconstructed as 1 mm sections overlapped every 0.7 mm as adequate to perform high-quality multiplanar reformations (MPR) and 3D reconstructions. Furthermore, acquisitions in cranio-caudal direction are advisable to minimize breathing artifacts, which prevail in the upper abdomen[85].

A preliminar scout should be performed before each full scan acquisition in order to assess adequacy of bowel distension[52,73]. Moreover, in patients at high-risk of bowel perforation, a low-dose basal scan should be considered[55].

The standard image acquisition protocol consists in a combination of supine and prone positions, which helps to differentiate mobile stool from polyps and cancers. In fact, variations in decubitus facilitate gas redistribution, prevent inadequate distension and show colonic surfaces previously hidden by intraluminal fluid, improving sensitivity and specificity in colorectal polyps detection[86,87]. A complete anatomic coverage of colon and rectum should be obtained in at least two decubitus[75,87]. The ESGAR consensus reported little evidence about the influence of the order of patient positioning (i.e., supine or prone position first) and quality of distension[55].

In patients unable to maintain the prone position, an alternative approach with a lateral scan decubitus is advised. Additional scans after re-insufflation or repositioning in alternative lateral (left or right) decubitus should be performed in case of suboptimal and/or inadequate distension (i.e., focal collapsing occurring in the same segment on both supine and prone scans), which may affect segments proper visualization[55,73,75,88,89].

About radiation exposure, the employment of low radiation-dose protocols is strongly advised. In general, 120 kV are suggested for both supine and prone position, but in selected cases lower kV might be used[55,73]. Milliamperage values should be adjusted according to contrast medium administration: When contrast medium is not used, ≤ 50 mAs are suggested for both supine and prone position[55]. However, if IV contrast medium is injected, acquisition parameters should be adjusted to maintain diagnostic image quality[75]. In fact, such mAs values may impair extracolonic structures evaluation and may not be appropriate in overweight patients due to the raise in image noise, so they should be appropriately increased[18,75].

The employment of automated dose modulation techniques and iterative reconstruction may lead to a significant reduction of radiation exposure to patient, so they should always be applied, whenever they are available[55,90,91]. In CT colonography performed for screening purposes, IV contrast medium administration is not mandatory and low-dose protocols should be adopted[92,93]. Macari et al[94] reported excellent results for the detection of polyps > 10 mm using thin beam collimation and an effective tube current of 50 mAs; however, detection of intermediate size polyps (6-9 mm) was compromised. Better results were obtained by Iannaccone et al[95], who evaluated ultra-low-dose protocols (10 mAs) for the detection of colorectal lesions, reporting good sensitivity for both large and intermediate polyps, with a 40%-70% reduction of the radiation dose delivered to patients.

Contrast medium administration: In examination conducted for screening purposes, routinely IV administration of contrast medium is not required for colonic evaluation since it improves visualization of extra-colonic organs but it is not mandatory for colonic evaluation[18,55]. It is important to underline that oral tagging does not preclude IV administration of contrast medium[55].

On the contrary, contrast medium should be always administered to better characterize both intracolonic and/or extracolonic structures in case of diagnostic examination conducted for the following indications: Staging of known CRC; patients with symptoms suggestive of CRC; suspect of local recurrence, metachronous disease, or distant metastasis in case of prior history of CRC[96-98].

If IV contrast is administered, patient should be placed in supine decubitus and images should be acquired in the portal venous phase using standard radiation dose protocols[18,55,96,99]. Lee et al[100] reported polyp attenuation values on portal phase ranging from 50 to 173 HU. Reduction dose settings should be applied when acquiring non-enhanced scans[55].

Data interpretation and reading strategies: Both 2D and 3D readings should be integrated to accurately evaluate presence or absence of significant colonic lesions, in order to avoid errors in detection and better characterize colonic findings[55,75].

A standard 2D analysis consists in a “lumen tracking” bowel evaluation: The reader tracks all the air-distended colonic lumen from one end to the other[18,97]. Supine and prone views are projected together on the monitor and scrolled up and down simultaneously.

A wide CT window width (bone window) and window centre close to that of the lung window setting are advised to enhance intraluminal polyps and allow discernment of the colon wall from mesenteric fat; recommended display settings are, respectively, 1500 HU and -200 HU[101]. Soft tissue window is useful to assess lesion attenuation (density values, homogeneous or heterogeneous attenuation, faecal tagging and IV contrast media characteristics)[18,75]. However, in 2D reading, convoluted folds and diverticula may impair colonic evaluation, and small lesions may be unrecognized[97].

MPR reconstructions allow reconstructing any scan orientation desired by the reader and should be used whenever necessary for problem solving[97,102,103]. 3D volume-rendered views allow endoluminal evaluation of the colon similarly to an endoscopic examination. Since polyps’ conspicuity and duration of visualization are increased, lesions identification is facilitated, but anterograde and retrograde “fly through” are needed to visualize both sides of haustral folds[104,105]. Moreover, in 3D images residual fluids may hide lesions and residual faecal material cannot be distinguished from true polyps, making 2D evaluation mandatory to confirm and characterise any suspected lesion seen on 3D views[97].

Other advanced 3D methods of visualization (e.g., virtual dissection, panoramic view, filet view, unfolded cube projection, and tissue transition projection) may overcome some of 2D and endoluminal 3D views limitations increasing colonic surface visibility, but they should be dedicated to readers with high-experience in 2D and 3D visualization[55,97,104].

There is still some considerable controversy about which approach (2D/3D) should be employed for primary search of colorectal polyp and cancer.

Actually, the most common method of interpretation is primary 2D approach with additional 3D endoluminal views for problem solving[24,97]. However, some authors favour a preferential primary 3D evaluation, turning to 2D images to confirm and characterize colorectal findings[97,102,106]. Pickhardt et al[107] compared primary 2D vs 3D colonic evaluation in low-prevalence screening population, reporting better effectiveness and greater polyp detection in primary 3D approach.

On the other hand, some studies suggested that a combined evaluation of 2D and 3D images provides the highest sensitivity in colorectal lesions detection and avoid potential pitfalls, but it is clearly more time-consuming[102,105,108].

According to the ESGAR consensus statement, both 2D and 3D reading strategies are acceptable for initial interpretation even if primary 2D interpretation is generally faster[55]. Therefore, the choice of the primary reading method is subjective and based on the reader’s own personal preference and experience[97].

Recently, computer aided detection (CAD) algorithms have been developed to assist the radiologist in polyps and cancer detection. In a recent multicenter prospective trial, Regge et al[109] demonstrated that the employment of CAD by experienced readers improves CT colonography sensitivity in the detection of polyps measuring 6-9-mm, with only a little increasing in the reading time (about 2 min).

However, even if second read CAD may increase sensitivity for polyp detection, radiologist must be aware that there is the possibility of misdiagnosing a true positive, with misleading test results. Moreover, CAD tools are less useful in situations at high-likelihood of false positive results (i.e., poor bowel preparation) and should be employed only after specific training in adjunction of unassisted interpretation[55,110,111].

CT colonography reporting: CT colonography should be reported by radiologists with high experience in abdominal imaging and specific training in the technique[55].

As suggested by the ESGAR consensus statement and ACR practice guideline for communication, the following data should be included in the report[55,75]: (1) Anamnestic data (patient medical history, family history, symptoms and signs, previous rectoscopy/colonoscopy or biopsies); (2) technical data (low or normal dose protocol, effective dose in mSv); (3) IV contrast medium administration; (4) patient preparation and tagging (laxative agent, tagging regimen); (5) patient positioning; (6) room air and/or CO2 insufflation; (7) use of spasmolytics; and (8) overall quality and limitations of the examination (i.e., incomplete or impaired colonic visualisation due to inadequate bowel preparation, retained stool, untagged fluid, suboptimal distension, metal or movement artifacts; any colonic segments that cannot be adequately evaluated should be indicated).

If colonic abnormalities are found, the following information should be reported: (1) Colonic anatomy (normal or abnormal) and features (wall thickening, diverticula, strictures, extrinsic compression, post-surgical variations); and (2) polyps and/or cancer characteristics (size, maximum diameter and two or three-dimensional measurements, density, morphology, mobility, location, infiltration of extracolonic fat)[18,55].

In 2005, the Working Group on Virtual Colonoscopy elaborated a consensus statement, the CT colonography Reporting and Data System, aimed to ensure clarity and consistency and standardize reporting of colonic and extracolonic findings in CT colonography[101]. This standardized structure firstly distinguishes polyp lesions from colonic masses.

A “polyp” is defined as a structure with homogeneous soft-tissue attenuation that arises from the colonic mucosa, characterized by fixed point of attachment to the bowel wall and projecting into the colonic lumen.

A “mass” is defined as any colonic lesion with soft-tissue attenuation, greater than 3 cm in its largest dimension.

However, when the presence of cancer is highly suspected, the ESGAR Consensus Group has suggested that the suspected cancer lesions should be designated as such, avoiding the term mass.

Colonic lesion should be characterized in morphology (sessile, pedunculated, flat), size and segmental location[75,85,101]. Sessile lesions are characterised by a broad implant base, with width greater than vertical height. Pedunculated lesions peculiar feature is the presence of a separate stalk. Flat lesions demonstrate a plaquelike morphology, with vertical protrusion < 3 mm above the colonic mucosa[101]; their clinical relevance has been widely debated and lower CT colonography sensitivity rates are reported for flat lesions than for other polyp morphologies[112].

About location, the large bowel should be divided into 6 segments: Rectum, sigmoid colon, descending colon, transverse colon, ascending colon, and caecum. The use of the term “flexure” is discouraged[97,101].

Size still represents the most important criterion to stratify colonic lesions according to the risk of malignancy[18,75,101]. Therefore, polyps are classified as diminutive lesions (< 6 mm), small (6-9 mm), and large polyps (10-30 mm), which are likely to represent advanced adenomas[97,101]. Lesion maximal diameters could be evaluated on both supine and prone views, as well as both 2D and 3D images, but it is advisable to perform measurements on the plane which best demonstrates its dimension[55,70,101]. In case of pedunculated polyps, the largest diameter of the polyp head is measured avoiding the stalk, while the base is measured in case of flat or sessile lesions polyps[75,113].

The main target of CRC screening is detecting the advanced adenoma, defined as a lesion measuring ≥ 10 mm with significant villous features (> 25%), high-grade dysplasia, or early invasive cancer[8,101,114]. However, for screening purposes, polyps measuring ≥ 6 mm should be identified and reported in all patients, symptomatic or not[55,101]. About diminutive polyps (≤ 5 mm), CT colonography has limited diagnostic performance, especially considering that the acquisition techniques (i.e., low dose protocols) are mainly targeted to identify lesion sized 6 mm or more, and do not always allow smaller lesions detection. Furthermore, polyps ≤ 5 mm have slow growth rate, reduced risk for development of colon carcinoma and they are frequently missed even at OC[75,101]. Therefore, ACR currently does not deem necessary reporting diminutive lesions[75,101].

On the other side, ESGAR current recommendation is to report diminutive lesions only if they can be detected with high confidence, especially if measuring ≥ 3 mm[55]. Macari et al[115] recommend a CT colonography follow-up within 3-5 years if lesions smaller than 6 mm are detected.

It must be considered that CT and endoscopic measurements are frequently discordant, influencing patient’s management; in fact, neither 2D nor 3D measurement are entirely accurate nor perfectly reflect lesion dimension, since they are both affected by the way the measurement is made[55]. In particular, MPR views may underestimate the size of irregularly shaped lesions, while a potential overestimation by 3D methods should be taken into account[55,101].

For what concerns lesion attenuation, adenomatous polyps often show homogeneous soft-tissue attenuation. Fat attenuation is suggestive of either a lipoma or an inverted diverticulum, and it is commonly found at the ileocecal valve. Presence of regional infiltration of the pericolonic fat, pathologic lymphadenopathy, extracolonic extension of a mass and distant metastases should also be assessed and reported[101].

Retained stool have variable features: Foci of air within a lesion and angular morphology are typical findings; moreover, residual stools move according to supine/prone decubitus, whilst polyps tend to maintain their position respect to bowel surface[18,101].

According to CT colonography findings and relative follow-up recommendations, patients are sub-classified into categories depending on examination quality, absence of and/or benign colonic findings, number of colonic lesions and their clinical relevance, recommended work-up (routine screening interval, surveillance and/or colonoscopy recommended, need for surgical consultation)[101].

Finally, incidental findings detected in extracolonic structures with potential clinical significance should be included in the report, taking into account potential limitations in accuracy due to unenhanced scan or low dose technique[55,75,97]. Similarly to colonic findings, even extracolonic ones can be classified through a categorization system according to their clinical relevance and necessity for further diagnostic work-up[101].

CONCLUSION

CT colonography is a continuously evolving technique; its sensitivity and specificity in colorectal polyps detection and the advances in bowel preparation, faecal tagging, colonic distention and image interpretation made CT colonography the preferred radiological examination to diagnose colorectal neoplasia. In addition, the minimal invasiveness of CT colonography together with better patient compliance configures its potential role in CRC screening on individual basis.

REFERENCES

1	Edwards BK, Ward E, Kohler BA, Eheman C, Zauber AG, Anderson RN, Jemal A, Schymura MJ, Lansdorp-Vogelaar I, Seeff LC, van Ballegooijen M, Goede SL, Ries LA. Annual report to the nation on the status of cancer, 1975-2006, featuring colorectal cancer trends and impact of interventions (risk factors, screening, and treatment) to reduce future rates. Cancer 2010; 116: 544-573 [PMID: 19998273 DOI: 10.1002/cncr.24760]

2	De Rosa M, Pace U, Rega D, Costabile V, Duraturo F, Izzo P, Delrio P. Genetics, diagnosis and management of colorectal cancer (Review). Oncol Rep 2015; 34: 1087-1096 [PMID: 26151224 DOI: 10.3892/or.2015.4108]

3	Levin B, Lieberman DA, McFarland B, Smith RA, Brooks D, Andrews KS, Dash C, Giardiello FM, Glick S, Levin TR, Pickhardt P, Rex DK, Thorson A, Winawer SJ. Screening and surveillance for the early detection of colorectal cancer and adenomatous polyps, 2008: a joint guideline from the American Cancer Society, the US Multi-Society Task Force on Colorectal Cancer, and the American College of Radiology. CA Cancer J Clin 2008; 58: 130-160 [PMID: 18322143 DOI: 10.3322/CA.2007.0018]

4	Hewitson P, Glasziou P, Irwig L, Towler B, Watson E. Screening for colorectal cancer using the faecal occult blood test, Hemoccult. Cochrane Database Syst Rev 2007; (1): CD001216 [PMID: 17253456]

5	Rembacken B, Hassan C, Riemann JF, Chilton A, Rutter M, Dumonceau JM, Omar M, Ponchon T. Quality in screening colonoscopy: position statement of the European Society of Gastrointestinal Endoscopy (ESGE). Endoscopy 2012; 44: 957-968 [PMID: 22987217 DOI: 10.1055/s-0032-1325686]

6	Geiger TM, Ricciardi R. Screening options and recommendations for colorectal cancer. Clin Colon Rectal Surg 2009; 22: 209-217 [PMID: 21037811 DOI: 10.1055/s-0029-1242460]

7	Kim DH, Pickhardt PJ, Taylor AJ, Leung WK, Winter TC, Hinshaw JL, Gopal DV, Reichelderfer M, Hsu RH, Pfau PR. CT colonography versus colonoscopy for the detection of advanced neoplasia. N Engl J Med 2007; 357: 1403-1412 [PMID: 17914041 DOI: 10.1056/NEJMoa070543]

8	van Dam J, Cotton P, Johnson CD, McFarland BG, Pineau BC, Provenzale D, Ransohoff D, Rex D, Rockey D, Wootton FT. AGA future trends report: CT colonography. Gastroenterology 2004; 127: 970-984 [PMID: 15362051 DOI: 10.1053/j.gastro.2004.07.003]

9	Pickhardt PJ, Hassan C, Laghi A, Zullo A, Kim DH, Morini S. Cost-effectiveness of colorectal cancer screening with computed tomography colonography: the impact of not reporting diminutive lesions. Cancer 2007; 109: 2213-2221 [PMID: 17455218 DOI: 10.1002/cncr.22668]

10	Pickhardt PJ, Hassan C, Laghi A, Zullo A, Kim DH, Iafrate F, Morini S. Small and diminutive polyps detected at screening CT colonography: a decision analysis for referral to colonoscopy. AJR Am J Roentgenol 2008; 190: 136-144 [PMID: 18094303 DOI: 10.2214/AJR.07.2646]

11	Pickhardt PJ, Choi JR, Hwang I, Butler JA, Puckett ML, Hildebrandt HA, Wong RK, Nugent PA, Mysliwiec PA, Schindler WR. Computed tomographic virtual colonoscopy to screen for colorectal neoplasia in asymptomatic adults. N Engl J Med 2003; 349: 2191-2200 [PMID: 14657426 DOI: 10.1056/NEJMoa031618]

12	Martín López JE, Márquez Peláez S, Blanco DA, Navarro Caballero JA, Rodríguez López R, Beltrán Calvo C. Efficacy, safety and efficiency of Computed Tomographic Colonography vs. colonoscopy as colorectal cancer screening test. Executive summary. Sevilla: Agencia de Evaluación de Tecnologías Sanitarias de Andalucía, 2013. Available from: URL: http://www.csalud.dmsas.sda.sas.juntaandalucia.es/contenidos/nuevaaetsa/up/AETSA_2011_1_ColonoscopiaTAC_eng.pdf

13	Spada C, Stoker J, Alarcon O, Barbaro F, Bellini D, Bretthauer M, De Haan MC, Dumonceau JM, Ferlitsch M, Halligan S, Helbren E, Hellstrom M, Kuipers EJ, Lefere P, Mang T, Neri E, Petruzziello L, Plumb A, Regge D, Taylor SA, Hassan C, Laghi A. Clinical indications for computed tomographic colonography: European Society of Gastrointestinal Endoscopy (ESGE) and European Society of Gastrointestinal and Abdominal Radiology (ESGAR) Guideline. Eur Radiol 2015; 25: 331-345 [PMID: 25278245 DOI: 10.1007/s00330-014-3435-z]

14	Morrin MM, Farrell RJ, Raptopoulos V, McGee JB, Bleday R, Kruskal JB. Role of virtual computed tomographic colonography in patients with colorectal cancers and obstructing colorectal lesions. Dis Colon Rectum 2000; 43: 303-311 [PMID: 10733110 DOI: 10.1007/BF02258293]

15	Iannaccone R, Laghi A, Passariello R. Colorectal carcinoma: detection and staging with multislice CT (MSCT) colonography. Abdom Imaging 2005; 30: 13-19 [PMID: 15647866 DOI: 10.1007/s00261-004-0245-9]

16	Neri E, Turini F, Cerri F, Faggioni L, Vagli P, Naldini G, Bartolozzi C. Comparison of CT colonography vs. conventional colonoscopy in mapping the segmental location of colon cancer before surgery. Abdom Imaging 2010; 35: 589-595 [PMID: 19763682 DOI: 10.1007/s00261-009-9570-3]

17	Laghi A. Computed tomography colonography in 2014: an update on technique and indications. World J Gastroenterol 2014; 20: 16858-16867 [PMID: 25492999 DOI: 10.3748/wjg.v20.i45.16858]

18	Mang T, Graser A, Schima W, Maier A. CT colonography: techniques, indications, findings. Eur J Radiol 2007; 61: 388-399 [PMID: 17224254 DOI: 10.1016/j.ejrad.2006.11.019]

19	Laghi A. Virtual colonoscopy: clinical application. Eur Radiol 2005; 15 Suppl 4: D138-D141 [PMID: 16479664 DOI: 10.1007/s10406-005-0125-6]

20	Hong N, Park SH. CT colonography in the diagnosis and management of colorectal cancer: emphasis on pre- and post-surgical evaluation. World J Gastroenterol 2014; 20: 2014-2022 [PMID: 24587676 DOI: 10.3748/wjg.v20.i8.2014]

21	Sali L, Falchini M, Taddei A, Mascalchi M. Role of preoperative CT colonography in patients with colorectal cancer. World J Gastroenterol 2014; 20: 3795-3803 [PMID: 24744573 DOI: 10.3748/wjg.v20.i14.3795]

22	McFarland EG, Fletcher JG, Pickhardt P, Dachman A, Yee J, McCollough CH, Macari M, Knechtges P, Zalis M, Barish M, Kim DH, Keysor KJ, Johnson CD. ACR Colon Cancer Committee white paper: status of CT colonography 2009. J Am Coll Radiol 2009; 6: 756-772.e4 [PMID: 19878883 DOI: 10.1016/j.jacr.2009.09.007]

23	de Haan MC, van Gelder RE, Graser A, Bipat S, Stoker J. Diagnostic value of CT-colonography as compared to colonoscopy in an asymptomatic screening population: a meta-analysis. Eur Radiol 2011; 21: 1747-1763 [PMID: 21455818 DOI: 10.1007/s00330-011-2104-8]

24	Barish MA, Soto JA, Ferrucci JT. Consensus on current clinical practice of virtual colonoscopy. AJR Am J Roentgenol 2005; 184: 786-792 [PMID: 15728598 DOI: 10.2214/ajr.184.3.01840786]

25	Meyerhardt JA, Mangu PB, Flynn PJ, Korde L, Loprinzi CL, Minsky BD, Petrelli NJ, Ryan K, Schrag DH, Wong SL, Benson AB. Follow-up care, surveillance protocol, and secondary prevention measures for survivors of colorectal cancer: American Society of Clinical Oncology clinical practice guideline endorsement. J Clin Oncol 2013; 31: 4465-4470 [PMID: 24220554 DOI: 10.1200/JCO.2013.50.7442]

26	Mang T, Pokieser P, Maier A, Schima W. Virtual Colonoscopy: Beyond Polyp Detection. In: Lefere P, Gryspeerdt S. (Eds.) Virtual colonoscopy: a practical guide. Springer, 2010: 199-217 [DOI: 10.1007/978-3-540-79886-6_16]

27	Rapuri S, Spencer J, Eckels D. Importance of postpolypectomy surveillance and postpolypectomy compliance to follow-up screening--review of literature. Int J Colorectal Dis 2008; 23: 453-459 [PMID: 18193238 DOI: 10.1007/s00384-007-0430-8]

28	Bojarski C. Malignant transformation in inflammatory bowel disease: prevention, surveillance and treatment - new techniques in endoscopy. Dig Dis 2009; 27: 571-575 [PMID: 19897977 DOI: 10.1159/000233300]

29	Jasperson KW, Tuohy TM, Neklason DW, Burt RW. Hereditary and familial colon cancer. Gastroenterology 2010; 138: 2044-2058 [PMID: 20420945 DOI: 10.1053/j.gastro.2010.01.054]

30	Macari M, Bini EJ. CT colonography: where have we been and where are we going? Radiology 2005; 237: 819-833 [PMID: 16237143 DOI: 10.1148/radiol.2373041717]

31	Gatto NM, Frucht H, Sundararajan V, Jacobson JS, Grann VR, Neugut AI. Risk of perforation after colonoscopy and sigmoidoscopy: a population-based study. J Natl Cancer Inst 2003; 95: 230-236 [PMID: 12569145 DOI: 10.1093/jnci/95.3.230]

32	Ko CW, Riffle S, Michaels L, Morris C, Holub J, Shapiro JA, Ciol MA, Kimmey MB, Seeff LC, Lieberman D. Serious complications within 30 days of screening and surveillance colonoscopy are uncommon. Clin Gastroenterol Hepatol 2010; 8: 166-173 [PMID: 19850154 DOI: 10.1016/j.cgh.2009.10.007]

33	Lee JH, Park SH, Lee SS, Kim AY, Kim JC, Yu CS, Ha HK. CT colonography in patients who have undergone sigmoid colostomy: a feasibility study. AJR Am J Roentgenol 2011; 197: W653-W657 [PMID: 21940536 DOI: 10.2214/AJR.10.6225]

34	Koutoukos I, Langebrekke A, Young V, Qvigstad E. Imaging of endometriosis with computerized tomography colonography. Fertil Steril 2011; 95: 259-260 [PMID: 20951984 DOI: 10.1016/j.fertnstert.2010.09.004]

35	Pickhardt PJ, Hanson ME, Vanness DJ, Lo JY, Kim DH, Taylor AJ, Winter TC, Hinshaw JL. Unsuspected extracolonic findings at screening CT colonography: clinical and economic impact. Radiology 2008; 249: 151-159 [PMID: 18796673 DOI: 10.1148/radiol.2491072148]

36	Lefere P, Gryspeerdt S, Baekelandt M, Dewyspelaere J, van Holsbeeck B. Diverticular disease in CT colonography. Eur Radiol 2003; 13 Suppl 4: L62-L74 [PMID: 15018168 DOI: 10.1007/s00330-003-1973-x]

37	Biancone L, Fiori R, Tosti C, Marinetti A, Catarinacci M, De Nigris F, Simonetti G, Pallone F. Virtual colonoscopy compared with conventional colonoscopy for stricturing postoperative recurrence in Crohn’s disease. Inflamm Bowel Dis 2003; 9: 343-350 [PMID: 14671482 DOI: 10.1097/00054725-200311000-00001]

38	Ota Y, Matsui T, Ono H, Uno H, Matake H, Tsuda S, Sakurai T, Yao T. Value of virtual computed tomographic colonography for Crohn’s colitis: comparison with endoscopy and barium enema. Abdom Imaging 2003; 28: 778-783 [PMID: 14753590 DOI: 10.1007/s00261-003-0023-0]

39	Andersen K, Vogt C, Blondin D, Beck A, Heinen W, Aurich V, Häussinger D, Mödder U, Cohnen M. Multi-detector CT-colonography in inflammatory bowel disease: prospective analysis of CT-findings to high-resolution video colonoscopy. Eur J Radiol 2006; 58: 140-146 [PMID: 16337356 DOI: 10.1016/j.ejrad.2005.11.004]

40	Regge D, Neri E, Turini F, Chiara G. Role of CT colonography in inflammatory bowel disease. Eur J Radiol 2009; 69: 404-408 [PMID: 19167180 DOI: 10.1016/j.ejrad.2008.11.027]

41	Gluecker TM, Johnson CD, Harmsen WS, Offord KP, Harris AM, Wilson LA, Ahlquist DA. Colorectal cancer screening with CT colonography, colonoscopy, and double-contrast barium enema examination: prospective assessment of patient perceptions and preferences. Radiology 2003; 227: 378-384 [PMID: 12732696 DOI: 10.1148/radiol.2272020293]

42	Svensson MH, Svensson E, Lasson A, Hellström M. Patient acceptance of CT colonography and conventional colonoscopy: prospective comparative study in patients with or suspected of having colorectal disease. Radiology 2002; 222: 337-345 [PMID: 11818597 DOI: 10.1148/radiol.2222010669]

43	van Gelder RE, Birnie E, Florie J, Schutter MP, Bartelsman JF, Snel P, Laméris JS, Bonsel GJ, Stoker J. CT colonography and colonoscopy: assessment of patient preference in a 5-week follow-up study. Radiology 2004; 233: 328-337 [PMID: 15358854 DOI: 10.1148/radiol.2331031208]

44	Stoop EM, de Haan MC, de Wijkerslooth TR, Bossuyt PM, van Ballegooijen M, Nio CY, van de Vijver MJ, Biermann K, Thomeer M, van Leerdam ME, Fockens P, Stoker J, Kuipers EJ, Dekker E. Participation and yield of colonoscopy versus non-cathartic CT colonography in population-based screening for colorectal cancer: a randomised controlled trial. Lancet Oncol 2012; 13: 55-64 [PMID: 22088831 DOI: 10.1016/S1470-2045(11)70283-2]

45	Sali L, Grazzini G, Carozzi F, Castiglione G, Falchini M, Mallardi B, Mantellini P, Ventura L, Regge D, Zappa M, Mascalchi M, Milani S. Screening for colorectal cancer with FOBT, virtual colonoscopy and optical colonoscopy: study protocol for a randomized controlled trial in the Florence district (SAVE study). Trials 2013; 14: 74 [PMID: 23497601 DOI: 10.1186/1745-6215-14-74]

46	Regge D, Iussich G, Senore C, Correale L, Hassan C, Bert A, Montemezzi S, Segnan N. Population screening for colorectal cancer by flexible sigmoidoscopy or CT colonography: study protocol for a multicenter randomized trial. Trials 2014; 15: 97 [PMID: 24678896 DOI: 10.1186/1745-6215-15-97]

47	Burling D, Halligan S, Slater A, Noakes MJ, Taylor SA. Potentially serious adverse events at CT colonography in symptomatic patients: national survey of the United Kingdom. Radiology 2006; 239: 464-471 [PMID: 16569789 DOI: 10.1148/radiol.2392051101]

48	Pickhardt PJ. Incidence of colonic perforation at CT colonography: review of existing data and implications for screening of asymptomatic adults. Radiology 2006; 239: 313-316 [PMID: 16641348 DOI: 10.1148/radiol.2392052002]

49	Berrington de Gonzalez A, Kim KP, Yee J. CT colonography: perforation rates and potential radiation risks. Gastrointest Endosc Clin N Am 2010; 20: 279-291 [PMID: 20451817 DOI: 10.1016/j.giec.2010.02.003]

50	Kim DH, Pickhardt PJ, Hinshaw JL, Taylor AJ, Mukherjee R, Pfau PR. Prospective blinded trial comparing 45-mL and 90-mL doses of oral sodium phosphate for bowel preparation before computed tomographic colonography. J Comput Assist Tomogr 2007; 31: 53-58 [PMID: 17259833 DOI: 10.1097/01.rct.0000230003.61392.2b]

51	Macari M, Lavelle M, Pedrosa I, Milano A, Dicker M, Megibow AJ, Xue X. Effect of different bowel preparations on residual fluid at CT colonography. Radiology 2001; 218: 274-277 [PMID: 11152814 DOI: 10.1148/radiology.218.1.r01ja31274]

52	Pickhardt PJ. Screening CT colonography: how I do it. AJR Am J Roentgenol 2007; 189: 290-298 [PMID: 17646453 DOI: 10.2214/AJR.07.2136]

53	Fletcher JG, Silva AC, Fidler JL, Cernigliaro JG, Manduca A, Limburg PJ, Wilson LA, Engelby TA, Spencer G, Harmsen WS, Mandrekar J, Johnson CD. Noncathartic CT colonography: Image quality assessment and performance and in a screening cohort. AJR Am J Roentgenol 2013; 201: 787-794 [PMID: 24059367 DOI: 10.2214/AJR.12.9225]

54	Keedy AW, Yee J, Aslam R, Weinstein S, Landeras LA, Shah JN, McQuaid KR, Yeh BM. Reduced cathartic bowel preparation for CT colonography: prospective comparison of 2-L polyethylene glycol and magnesium citrate. Radiology 2011; 261: 156-164 [PMID: 21873253 DOI: 10.1148/radiol.11110217]

55	Neri E, Halligan S, Hellström M, Lefere P, Mang T, Regge D, Stoker J, Taylor S, Laghi A. The second ESGAR consensus statement on CT colonography. Eur Radiol 2013; 23: 720-729 [PMID: 22983280 DOI: 10.1007/s00330-012-2632-x]

56	Neri E, Lefere P, Gryspeerdt S, Bemi P, Mantarro A, Bartolozzi C. Bowel preparation for CT colonography. Eur J Radiol 2013; 82: 1137-1143 [PMID: 23485099 DOI: 10.1016/j.ejrad.2012.11.006]

57	Hookey LC, Depew WT, Vanner SJ. A prospective randomized trial comparing low-dose oral sodium phosphate plus stimulant laxatives with large volume polyethylene glycol solution for colon cleansing. Am J Gastroenterol 2004; 99: 2217-2222 [PMID: 15555005 DOI: 10.1148/radiol.11110217]

58	Hong GS, Park SH, Kim B, Lee JH, Kim JC, Yu CS, Baek S, Lee JS, Kim HJ. Simethicone to prevent colonic bubbles during CT colonography performed with polyethylene glycol lavage and iohexol tagging: a randomized clinical trial. AJR Am J Roentgenol 2015; 204: W429-W438 [PMID: 25794092 DOI: 10.2214/AJR. 14.13024]

59	Sagawa T, Sato K, Tomizawa T, Mizuide M, Yasuoka H, Shimoyama Y, Kuribayashi S, Kakizaki S, Kawamura O, Kusano M, Yamada M. A prospective randomized controlled trial of AJG522 versus standard PEG+E as bowel preparation for colonoscopy. Biomed Res Int 2015; 2015: 521756 [PMID: 25688357 DOI: 10.1155/2015/521756]

60	Curran MP, Plosker GL. Oral sodium phosphate solution: a review of its use as a colorectal cleanser. Drugs 2004; 64: 1697-1714 [PMID: 15257632 DOI: 10.2165/00003495-200464150-00009]

61	Wexner SD, Beck DE, Baron TH, Fanelli RD, Hyman N, Shen B, Wasco KE. A consensus document on bowel preparation before colonoscopy: prepared by a Task Force from the American Society of Colon and Rectal Surgeons (ASCRS), the American Society for Gastrointestinal Endoscopy (ASGE), and the Society of American Gastrointestinal and Endoscopic Surgeons (SAGES). Surg Endosc 2006; 20: 1161 [PMID: 16799744]

62	Yee J, Weinstein S, Morgan T, Alore P, Aslam R. Advances in CT Colonography for Colorectal Cancer Screening and Diagnosis. J Cancer 2013; 4: 200-209 [PMID: 23459511 DOI: 10.7150/jca.5858]

63	Serlie IW, de Vries AH, van Vliet LJ, Nio CY, Truyen R, Stoker J, Vos FM. Lesion conspicuity and efficiency of CT colonography with electronic cleansing based on a three-material transition model. AJR Am J Roentgenol 2008; 191: 1493-1502 [PMID: 18941091 DOI: 10.2214/AJR.07.2776]

64	Bielen D, Thomeer M, Vanbeckevoort D, Kiss G, Maes F, Marchal G, Rutgeerts P. Dry preparation for virtual CT colonography with fecal tagging using water-soluble contrast medium: initial results. Eur Radiol 2003; 13: 453-458 [PMID: 12594546]

65	Lefere PA, Gryspeerdt SS, Dewyspelaere J, Baekelandt M, Van Holsbeeck BG. Dietary fecal tagging as a cleansing method before CT colonography: initial results polyp detection and patient acceptance. Radiology 2002; 224: 393-403 [PMID: 12147834 DOI: 10.1148/radiol.2241011222]

66	Neri E, Turini F, Cerri F, Vagli P, Bartolozzi C. CT colonography: same-day tagging regimen with iodixanol and reduced cathartic preparation. Abdom Imaging 2009; 34: 642-647 [PMID: 18726646 DOI: 10.1007/s00261-008-9453-z]

67	Nagata K, Singh AK, Sangwaiya MJ, Näppi J, Zalis ME, Cai W, Yoshida H. Comparative evaluation of the fecal-tagging quality in CT colonography: barium vs. iodinated oral contrast agent. Acad Radiol 2009; 16: 1393-1399 [PMID: 19596591 DOI: 10.1016/j.acra.2009.05.003]

68	Plavsic BM, Newman AC, Reuther WL, Terry JA, Drnovsek VH. Peripheral blood eosinophilia associated with gastrointestinal administration of iodinated contrast media. AJR Am J Roentgenol 2003; 180: 751-753 [PMID: 12591690 DOI: 10.2214/ajr.180.3. 1800751]

69	Miller SH. Anaphylactoid reaction after oral administration of diatrizoate meglumine and diatrizoate sodium solution. AJR Am J Roentgenol 1997; 168: 959-961 [PMID: 9124149 DOI: 10.2214/ajr.168.4.9124149]

70	Neri E, Mantarro A, Faggioni L, Scalise P, Bemi P, Pancrazi F, D’Ippolito G, Bartolozzi C. CT colonography with rectal iodine tagging: Feasibility and comparison with oral tagging in a colorectal cancer screening population. Eur J Radiol 2015; 84: 1701-1707 [PMID: 26032131 DOI: 10.1016/j.ejrad.2015.05.025]

71	Salamone I, Buda C, Arcadi T, Cutugno G, Picciotto M. Role of virtual colonoscopy following incomplete optical colonoscopy: our experience. G Chir 2011; 32: 388-393 [PMID: 22018264]

72	Copel L, Sosna J, Kruskal JB, Raptopoulos V, Farrell RJ, Morrin MM. CT colonography in 546 patients with incomplete colonoscopy. Radiology 2007; 244: 471-478 [PMID: 17641367 DOI: 10.1148/radiol.2442060837]

73	Burling D. CT colonography standards. Clin Radiol 2010; 65: 474-480 [PMID: 20451015 DOI: 10.1016/j.crad.2009.12.003]

74	Burling D, Taylor SA, Halligan S, Gartner L, Paliwalla M, Peiris C, Singh L, Bassett P, Bartram C. Automated insufflation of carbon dioxide for MDCT colonography: distension and patient experience compared with manual insufflation. AJR Am J Roentgenol 2006; 186: 96-103 [PMID: 16357385 DOI: 10.2214/AJR.04.1506]

75	American College of Radiology (ACR). ACR Revised Practice Guideline for the Performance of Computed Tomography (CT) Colonography in Adults. Philadelphia: ACR, 2009

76	Bellini D, Rengo M, De Cecco CN, Iafrate F, Hassan C, Laghi A. Perforation rate in CT colonography: a systematic review of the literature and meta-analysis. Eur Radiol 2014; 24: 1487-1496 [PMID: 24816935 DOI: 10.1007/s00330-014-3190-1]

77	Sosna J, Blachar A, Amitai M, Barmeir E, Peled N, Goldberg SN, Bar-Ziv J. Colonic perforation at CT colonography: assessment of risk in a multicenter large cohort. Radiology 2006; 239: 457-463 [PMID: 16543590 DOI: 10.1148/radiol.2392050287]

78	Morrin MM, Farrell RJ, Keogan MT, Kruskal JB, Yam CS, Raptopoulos V. CT colonography: colonic distention improved by dual positioning but not intravenous glucagon. Eur Radiol 2002; 12: 525-530 [PMID: 11870464 DOI: 10.1007/s003300100954]

79	Bruzzi JF, Moss AC, Brennan DD, MacMathuna P, Fenlon HM. Efficacy of IV Buscopan as a muscle relaxant in CT colonography. Eur Radiol 2003; 13: 2264-2270 [PMID: 12942279 DOI: 10.1007/s00330-003-2012-7]

80	Nagata K, Fujiwara M, Shimamoto T, Iida N, Mogi T, Mitsushima T. Colonic distention at CT colonography: randomized evaluation of both IV hyoscine butylbromide and automated carbon dioxide insufflation. AJR Am J Roentgenol 2015; 204: 76-82 [PMID: 25539240 DOI: 10.2214/AJR.14.12772]

81	Rogalla P, Lembcke A, Rückert JC, Hein E, Bollow M, Rogalla NE, Hamm B. Spasmolysis at CT colonography: butyl scopolamine versus glucagon. Radiology 2005; 236: 184-188 [PMID: 15987972 DOI: 10.1148/radiol.2353040007]

82	Taylor SA, Halligan S, Goh V, Morley S, Bassett P, Atkin W, Bartram CI. Optimizing colonic distention for multi-detector row CT colonography: effect of hyoscine butylbromide and rectal balloon catheter. Radiology 2003; 229: 99-108 [PMID: 12944595 DOI: 10.1148/radiol.2291021151]

83	Shinners TJ, Pickhardt PJ, Taylor AJ, Jones DA, Olsen CH. Patient-controlled room air insufflation versus automated carbon dioxide delivery for CT colonography. AJR Am J Roentgenol 2006; 186: 1491-1496 [PMID: 16714635 DOI: 10.2214/AJR.05.0416]

84	Neri E, Giusti P, Battolla L, Vagli P, Boraschi P, Lencioni R, Caramella D, Bartolozzi C. Colorectal cancer: role of CT colonography in preoperative evaluation after incomplete colonoscopy. Radiology 2002; 223: 615-619 [PMID: 12034925 DOI: 10.1148/radiol.2233010928]

85	Mang T, Gryspeerdt S, Schima W, Lefere P. Evaluation of colonic lesions and pitfalls in CT colonography: a systematic approach based on morphology, attenuation and mobility. Eur J Radiol 2013; 82: 1177-1186 [PMID: 22817848 DOI: 10.1016/j.ejrad.2012.05.024]

86	Yee J, Kumar NN, Hung RK, Akerkar GA, Kumar PR, Wall SD. Comparison of supine and prone scanning separately and in combination at CT colonography. Radiology 2003; 226: 653-661 [PMID: 12601201 DOI: 10.1148/radiol.2263010701]

87	Chen SC, Lu DS, Hecht JR, Kadell BM. CT colonography: value of scanning in both the supine and prone positions. AJR Am J Roentgenol 1999; 172: 595-599 [PMID: 10063842 DOI: 10.2214/ajr.172.3.10063842]

88	Buchach CM, Kim DH, Pickhardt PJ. Performing an additional decubitus series at CT colonography. Abdom Imaging 2011; 36: 538-544 [PMID: 21184064 DOI: 10.1007/s00261-010-9666-9]

89	Gryspeerdt SS, Herman MJ, Baekelandt MA, van Holsbeeck BG, Lefere PA. Supine/left decubitus scanning: a valuable alternative to supine/prone scanning in CT colonography. Eur Radiol 2004; 14: 768-777 [PMID: 14986055 DOI: 10.1007/s00330-004-2264-x]

90	Graser A, Wintersperger BJ, Suess C, Reiser MF, Becker CR. Dose reduction and image quality in MDCT colonography using tube current modulation. AJR Am J Roentgenol 2006; 187: 695-701 [PMID: 16928932 DOI: 10.2214/AJR.05.0662]

91	Flicek KT, Hara AK, Silva AC, Wu Q, Peter MB, Johnson CD. Reducing the radiation dose for CT colonography using adaptive statistical iterative reconstruction: A pilot study. AJR Am J Roentgenol 2010; 195: 126-131 [PMID: 20566805 DOI: 10.2214/AJR.09.3855]

92	Halligan S, Altman DG, Taylor SA, Mallett S, Deeks JJ, Bartram CI, Atkin W. CT colonography in the detection of colorectal polyps and cancer: systematic review, meta-analysis, and proposed minimum data set for study level reporting. Radiology 2005; 237: 893-904 [PMID: 16304111 DOI: 10.1148/radiol.2373050176]

93	van Gelder RE, Venema HW, Serlie IW, Nio CY, Determann RM, Tipker CA, Vos FM, Glas AS, Bartelsman JF, Bossuyt PM, Laméris JS, Stoker J. CT colonography at different radiation dose levels: feasibility of dose reduction. Radiology 2002; 224: 25-33 [PMID: 12091658 DOI: 10.1148/radiol.2241011126]

94	Macari M, Bini EJ, Xue X, Milano A, Katz SS, Resnick D, Chandarana H, Krinsky G, Klingenbeck K, Marshall CH, Megibow AJ. Colorectal neoplasms: prospective comparison of thin-section low-dose multi-detector row CT colonography and conventional colonoscopy for detection. Radiology 2002; 224: 383-392 [PMID: 12147833 DOI: 10.1148/radiol.2242011382]

95	Iannaccone R, Laghi A, Catalano C, Mangiapane F, Piacentini F, Passariello R. Feasibility of ultra-low-dose multislice CT colonography for the detection of colorectal lesions: preliminary experience. Eur Radiol 2003; 13: 1297-1302 [PMID: 12764645]

96	Morrin MM, Farrell RJ, Kruskal JB, Reynolds K, McGee JB, Raptopoulos V. Utility of intravenously administered contrast material at CT colonography. Radiology 2000; 217: 765-771 [PMID: 11110941 DOI: 10.1148/radiology.217.3.r00nv42765]

97	Neri E, Mang T, Hellstrom M, Mantarro A, Faggioni L, Bartolozzi C. How to read and report CTC. Eur J Radiol 2013; 82: 1166-1170 [PMID: 23088877 DOI: 10.1016/j.ejrad.2012.03.035]

98	Fletcher JG, Johnson CD, Krueger WR, Ahlquist DA, Nelson H, Ilstrup D, Harmsen WS, Corcoran KE. Contrast-enhanced CT colonography in recurrent colorectal carcinoma: feasibility of simultaneous evaluation for metastatic disease, local recurrence, and metachronous neoplasia in colorectal carcinoma. AJR Am J Roentgenol 2002; 178: 283-290 [PMID: 11804881 DOI: 10.2214/ajr.178.2.1780283]

99	Silva AC, Hara AK, Leighton JA, Heppell JP. CT colonography with intravenous contrast material: varied appearances of colorectal carcinoma. Radiographics 2005; 25: 1321-1334 [PMID: 16160114 DOI: 10.1148/rg.255045184]

100	Lee SS, Park SH, Choi EK, Kim SY, Kim MJ, Lee KH, Kim YH. Colorectal polyps on portal phase contrast-enhanced CT colonography: lesion attenuation and distinction from tagged feces. AJR Am J Roentgenol 2007; 189: 35-40 [PMID: 17579149 DOI: 10.2214/AJR.07.2076]

101	Zalis ME, Barish MA, Choi JR, Dachman AH, Fenlon HM, Ferrucci JT, Glick SN, Laghi A, Macari M, McFarland EG, Morrin MM, Pickhardt PJ, Soto J, Yee J. CT colonography reporting and data system: a consensus proposal. Radiology 2005; 236: 3-9 [PMID: 15987959 DOI: 10.1148/radiol.2361041926]

102	Aschoff AJ, Ernst AS, Brambs HJ, Juchems MS. CT colonography: an update. Eur Radiol 2008; 18: 429-437 [PMID: 17899101 DOI: 10.1007/s00330-007-0764-1]

103	Banerjee S, Van Dam J. CT colonography for colon cancer screening. Gastrointest Endosc 2006; 63: 121-133 [PMID: 16377329 DOI: 10.1016/j.gie.2005.07.021]

104	Mang T, Kolligs FT, Schaefer C, Reiser MF, Graser A. Comparison of diagnostic accuracy and interpretation times for a standard and an advanced 3D visualisation technique in CT colonography. Eur Radiol 2011; 21: 653-662 [PMID: 20890763 DOI: 10.1007/s00330-010-1953-x]

105	Neri E, Vannozzi F, Vagli P, Bardine A, Bartolozzi C. Time efficiency of CT colonography: 2D vs 3D visualization. Comput Med Imaging Graph 2006; 30: 175-180 [PMID: 16730160 DOI: 10.1016/j.compmedimag.2006.03.003]

106	McFarland EG, Brink JA, Pilgram TK, Heiken JP, Balfe DM, Hirselj DA, Weinstock L, Littenberg B. Spiral CT colonography: reader agreement and diagnostic performance with two- and three-dimensional image-display techniques. Radiology 2001; 218: 375-383 [PMID: 11161149 DOI: 10.1148/radiology.218.2.r01ja47375]

107	Pickhardt PJ, Lee AD, Taylor AJ, Michel SJ, Winter TC, Shadid A, Meiners RJ, Chase PJ, Hinshaw JL, Williams JG, Prout TM, Husain SH, Kim DH. Primary 2D versus primary 3D polyp detection at screening CT colonography. AJR Am J Roentgenol 2007; 189: 1451-1456 [PMID: 18029884 DOI: 10.2214/AJR.07.2291]

108	Royster AP, Fenlon HM, Clarke PD, Nunes DP, Ferrucci JT. CT colonoscopy of colorectal neoplasms: two-dimensional and three-dimensional virtual-reality techniques with colonoscopic correlation. AJR Am J Roentgenol 1997; 169: 1237-1242 [PMID: 9353434 DOI: 10.2214/ajr.169.5.9353434]

109	Regge D, Della Monica P, Galatola G, Laudi C, Zambon A, Correale L, Asnaghi R, Barbaro B, Borghi C, Campanella D, Cassinis MC, Ferrari R, Ferraris A, Hassan C, Golfieri R, Iafrate F, Iussich G, Laghi A, Massara R, Neri E, Sali L, Venturini S, Gandini G. Efficacy of computer-aided detection as a second reader for 6-9-mm lesions at CT colonography: multicenter prospective trial. Radiology 2013; 266: 168-176 [PMID: 23151831 DOI: 10.1148/radiol.12120376]

110	Taylor SA, Burling D, Roddie M, Honeyfield L, McQuillan J, Bassett P, Halligan S. Computer-aided detection for CT colonography: incremental benefit of observer training. Br J Radiol 2008; 81: 180-186 [PMID: 18180260 DOI: 10.1259/bjr/93375459]

111	Petrick N, Haider M, Summers RM, Yeshwant SC, Brown L, Iuliano EM, Louie A, Choi JR, Pickhardt PJ. CT colonography with computer-aided detection as a second reader: observer performance study. Radiology 2008; 246: 148-156 [PMID: 18096536]

112	Lostumbo A, Suzuki K, Dachman AH. Flat lesions in CT colonography. Abdom Imaging 2010; 35: 578-583 [PMID: 19633882 DOI: 10.1007/s00261-009-9562-3]

113	Summers RM. Polyp size measurement at CT colonography: what do we know and what do we need to know? Radiology 2010; 255: 707-720 [PMID: 20501711 DOI: 10.1148/radiol.10090877]

114	Winawer SJ, Zauber AG. The advanced adenoma as the primary target of screening. Gastrointest Endosc Clin N Am 2002; 12: 1-9, v [PMID: 11916153 DOI: 10.1016/S1052-5157(03)00053-9]

115	Macari M, Bini EJ, Jacobs SL, Lui YW, Laks S, Milano A, Babb J. Significance of missed polyps at CT colonography. AJR Am J Roentgenol 2004; 183: 127-134 [PMID: 15208126 DOI: 10.2214/ajr.183.1.1830127]

Footnotes

Conflict-of-interest statement: No potential conflicts of interest. No financial support.

Open-Access: This article is an open-access article which was selected by an in-house editor and fully peer-reviewed by external reviewers. It is distributed in accordance with the Creative Commons Attribution Non Commercial (CC BY-NC 4.0) license, which permits others to distribute, remix, adapt, build upon this work non-commercially, and license their derivative works on different terms, provided the original work is properly cited and the use is non-commercial. See: http://creativecommons.org/licenses/by-nc/4.0/

Peer-review started: July 27, 2015

First decision: September 22, 2015

Article in press: February 24, 2016

P- Reviewer: Martin-Lopez JE, Sali L    S- Editor: Ji FF    L- Editor: A    E- Editor: Li D