| Rheumatoid arthritis: Nuclear medicine state-of-the-art imaging Paulo Henrique Rosado-de-Castro, Sergio Augusto Lopes de Souza, Dângelo Alexandre, Lea Mirian Barbosa da Fonseca, Bianca Gutfilen |
| --- |
| CITATION | Rosado-de-Castro PH, Lopes de Souza SA, Alexandre D, Barbosa da Fonseca LM, Gutfilen B. Rheumatoid arthritis: Nuclear medicine state-of-the-art imaging. World J Orthop 2014; 5(3): 312-318 |
| URL | http://www.wjgnet.com/2218-5836/full/v5/i3/312.htm |
| DOI | http://dx.doi.org/10.5312/wjo.v5.i3.312 |
| OPEN ACCESS | Articles published by this Open-Access journal are distributed under the terms of the Creative Commons Attribution Non-commercial License, which permits use, distribution, and reproduction in any medium, provided the original work is properly cited, the use is non commercial and is otherwise in compliance with the license. |
| CORE TIP | In recent years, the use of nuclear medicine to characterize and diagnose infectious and inflammatory diseases has been rapidly increasing. In the case of rheumatoid arthritis (RA), the success of treatment requires improvement of early diagnosis and assessment of response to anti-inflammatory therapy. In this setting, Nuclear Medicine may be valuable in the assessment of early inflammatory activity in RA, foreseeing and monitoring response to treatment, and allowing the selection of optimal treatments for each patient. The development of new radiopharmaceuticals and hybrid imaging technologies may improve the potential of molecular imaging in the field. |
| KEY WORDS | Rheumatoid arthritis; Nuclear medicine; Scintigraphy; Single photon emission computed tomography; Positron emission tomography |
| COPYRIGHT | © 2014 Baishideng Publishing Group Inc. All rights reserved. |
| COPYRIGHT LICENSE | Order reprints or request permissions: bpgoffice@wjgnet.com |
| NAME OF JOURNAL | World Journal of Orthopedics |
| ISSN | 2218-5836 ( online) |
| PUBLISHER | Baishideng Publishing Group Co., Limited, 8226 Regency Drive, Pleasanton, CA 94588, USA |
| WEBSITE | http://www.wjgnet.com |

ESPS Manuscript NO: 8419

Columns: TOPIC HIGHLIGHT

Rheumatoid arthritis: Nuclear medicine state-of-the-art imaging

Paulo Henrique Rosado-de-Castro, Sergio Augusto Lopes de Souza, Dângelo Alexandre, Lea Mirian Barbosa da Fonseca, Bianca Gutfilen

Paulo Henrique Rosado-de-Castro, Sergio Augusto Lopes de Souza, Lea Mirian Barbosa da Fonseca, Bianca Gutfilen, Departamento de Radiologia, Hospital Universitário Clementino Fraga Filho, Universidade Federal do Rio de Janeiro, Rio de Janeiro 21941-913, Brazil

Dângelo Alexandre, Instituto Nacional de Traumatologia e Ortopedia, Rio de Janeiro 20940-070, Brazil

Author contributions: Rosado-de-Castro PH, Lopes de Souza SA, Alexandre D, Barbosa da Fonseca LM and Gutfilen B performed the literature review, drafted the article, revised the article critically for important intellectual content and finally approved for print.

Correspondence to: Bianca Gutfilen, PhD, Professor, Departamento de Radiologia, Hospital Universitário Clementino Fraga Filho, Universidade Federal do Rio de Janeiro, Ilha do Fundão, Rio de Janeiro 21941-913, Brazil. bianca.gutfilen@gmail.com

Telephone: +55-21-25622399   Fax: +55-21-25622399

Received: December  27, 2013  Revised: April 4, 2014   Accepted: April 25, 2014

Published online: July 18, 2014

Abstract

Rheumatoid arthritis (RA) is an autoimmune disease, which is associated with systemic and chronic inflammation of the joints, resulting in synovitis and pannus formation. For several decades, the assessment of RA has been limited to conventional radiography, assisting in the diagnosis and monitoring of disease. Nevertheless, conventional radiography has poor sensitivity in the detection of the inflammatory process that happens in the initial stages of RA. In the past years, new drugs that significantly decrease the progression of RA have allowed a more efficient treatment. Nuclear Medicine provides functional assessment of physiological processes and therefore has significant potential for timely diagnosis and adequate follow-up of RA. Several single photon emission computed tomography (SPECT) and positron emission tomography (PET) radiopharmaceuticals have been developed and applied in this field. The use of hybrid imaging, which permits computed tomography (CT) and nuclear medicine data to be acquired and fused, has increased even more the diagnostic accuracy of Nuclear Medicine by providing anatomical localization in SPECT/CT and PET/CT studies. More recently, fusion of PET with magnetic resonance imaging (PET/MRI) was introduced in some centers and demonstrated great potential. In this article, we will review studies that have been published using Nuclear Medicine for RA and examine key topics in the area.

© 2014 Baishideng Publishing Group Inc. All rights reserved.

Key words: Rheumatoid arthritis; Nuclear medicine; Scintigraphy; Single photon emission computed tomography; Positron emission tomography

Core tip: In recent years, the use of nuclear medicine to characterize and diagnose infectious and inflammatory diseases has been rapidly increasing. In the case of rheumatoid arthritis (RA), the success of treatment requires improvement of early diagnosis and assessment of response to anti-inflammatory therapy. In this setting, Nuclear Medicine may be valuable in the assessment of early inflammatory activity in RA, foreseeing and monitoring response to treatment, and allowing the selection of optimal treatments for each patient. The development of new radiopharmaceuticals and hybrid imaging technologies may improve the potential of molecular imaging in the field.

Rosado-de-Castro PH, Lopes de Souza SA, Alexandre D, Barbosa da Fonseca LM, Gutfilen B. Rheumatoid arthritis: Nuclear medicine state-of-the-art imaging. World J Orthop 2014; 5(3): 312-318  Available from: URL: http://www.wjgnet.com/2218-5836/full/v5/i3/312.htm  DOI: http://dx.doi.org/10.5312/wjo.v5.i3.312

INTRODUCTION

For many years, the evaluation of rheumatoid arthritis (RA) has been restricted to conventional radiography, helping to establish the diagnosis and, subsequently, to monitor the progression of disease. However, this modality doesn’t have good sensitivity in identifying the inflammatory process that occurs in the initial stages of the disease. In the past 20 years, new drugs (particularly biological agents) that greatly reduce the progression of RA have allowed a more efficient treatment. Therefore, an early diagnosis and an adequate follow-up of the disease have become major challenges for Rheumatology and Radiology, and better results can only be achieved if technologies from both specialties are developed together.

New imaging systems have been presented in the past years and digital technologies significantly transformed clinical practice. Here, we will review the different studies that have been published using nuclear medicine for evaluation of RA and discuss important aspects in the area.

CONVENTIONAL NUCLEAR MEDICINE

Conventional nuclear medicine techniques are divided basically into two-dimensional planar scans and three-dimensional single photon emission computed tomography (SPECT), which permits reconstruction of images in sagittal, coronal and axial planes[1-3]. SPECT images allow improved localization of the site of uptake (e.g., for differentiating involvement of the facets or pedicle of a vertebra), and increases sensitivity and specificity[1-3]. Hybrid SPECT/computed tomography (CT) imaging, which allows morphological and functional data to be acquired and fused, increases even more the diagnostic accuracy of Nuclear Medicine studies because it provides anatomical localization of SPECT findings[4].

Different radionuclides, including Technetium-99m (99mTc), Gallium-67 (67Ga), Indium-111 (111In) and Iodine-123 (123I) have been used in studies for RA and will be reviewed in the following sections.

99mTc-labeled diphosphonates

Amongst the different radionuclides available, 99mTc is presently the most commonly used[3,5]. For the evaluation of bone diseases, there are different radiopharmaceuticals available including 99mTc labeled hydroxy methylene diphosphonate (HDP), dicarboxy propane diphosphonate (DPD) and methylene-diphosphonate (MDP), with the latter being the most commonly used[1-3]. After intravenous injection, 99mTc-MDP circulates in the vascular system, then equilibrates to the extravascular space and, subsequently, accumulates in the bone. These three phases may be evaluated in a bone scintigraphy, which has high sensitivity but low specificity. In many cases, distinction between degenerative, inflammatory and metastatic bone processes may be difficult[1-3,6]. In RA, bone scintigraphy has a certain degree of usefulness and may allow identification of arthritic joints[7,8]. However, planar scintigraphy and SPECT have the limited spatial resolution in comparison to radiography and magnetic resonance imaging (MRI)[3,5].

Bachkaus et al[6] performed a prospective study comparing clinical evaluation, conventional radiography, ultrasound, three-phase 99mTc-MDP bone scintigraphy and MRI in 60 patients with different types of arthritis including RA, arthritis related to connective tissue disease and spondylarthropathy. They found that clinical assessment, scintigraphy, ultrasound and MRI were more sensitive than radiography in identifying inflammatory processes and destructive joint lesions. However, scintigraphy had limited specificity.

Recently, in an attempt to improve the specificity of SPECT images, Ostendorf et al[9] studied the application of a multipinhole SPECT (MPH-SPECT), originally created for small animal imaging[10]. Six human subjects were studied after injection of 99mTc-DPD: 3 with established RA, 1 with early RA, 1 with osteoarthritis (OA) and 1 healthy volunteer. The authors reported better identification of anatomic landmarks with MPH-SPECT in contrast to planar scintigraphies, but comparison with other methods such as MRI was limited.

In a second study by the same group, the clinically dominant hands of 13 subjects with initial RA, nine with initial OA and five control subjects were evaluated by MPH-SPECT and skeletal scintigraphy. MRI was carried out in RA subjects, and these images were later fused with MPH-SPECT. Bone scintigraphy identified 26 articulations with augmented uptake while MPH-SPECT detected 80 joints. MPH-SPECT indicated a central tracer uptake in RA (10 out of 13 patients) and an eccentric pattern in OA (7 out of 9 patients). Uptake in MPH-SPECT matched areas of marrow edema and destruction in MRI in 11 out of 13 patients.

Buchbender et al[11] compared 3 tesla MRI with 99mTc-DPD scintigraphies using MPH-SPECT in 10 early RA patients. Visual and region of interest (ROI) analyses of MPH-SPECT images were carried out. The authors reported that MPH-SPECT detected higher rates of inflammatory bone involvement compared to MRI.

67Ga-citrate

The accumulation of 67Ga-citrate into inflammatory is complex and involves different mechanisms. It binds to transferrin and suffers extravasation in areas of inflammation where vascular permeability is increased[12,13]. Moreover, 67Ga suffers cross-chelation to lactoferrin, a protein released which is taken up by macrophages and also binds to siderophores, low-molecular-weight products of bacteria[12,13].

Even though 67Ga-citrate scintigraphy has good sensitivity detection of inflammation and has been used in the evaluation of RA[3,13-15], there are numerous drawbacks with this technique. 67Ga scintigraphy leads to relatively elevated radiation burden because of its physical half-life and high-energy gamma radiation (91-393 keV)[16]. It also has elevated background activity and slower imaging times. Additionally, it cannot precisely differentiate inflammation from infection or neoplasias[13].

99mTc and 111In-labeled leukocytes

Leukocytes may be labeled with 99mTc or 111In-oxine for detection of inflammatory and infectious diseases[3,17-20]. Al-Janabi et al[21] labeled leukocytes with 99mTc in subjects with RA and found a 50%-80% decrease in leukocyte uptake after local steroid injection into eight out of nine painful knees, which showed clinical response. Gaál et al[22] performed 99mTc-hexamethylpropylene amine oxime (99mTc-HMPAO) labeled leukocyte scintigraphy in 21 patients with RA. A significant association was seen between the uptake in hands and feet and clinical evaluation. Thurlings et al[23] performed two scintigraphies after injection of 99mTc-HMPAO labeled monocytes in eight RA patients, with a two-week interval. Arthroscopic biopsies were performed one day after the second scintigraphy and synovial macrophage infiltration was evaluated by immunohistochemical staining. The number of scintigraphically positive joints was significantly associated with the number of activated macrophages in the synovium.

99mTc-labeled ciprofloxacin

Appelboom et al[24] investigated the use of 99mTc labeled ciprofloxacin (Infecton scintigraphy) in 106 patients, 17 of them with RA. Subjects received an intravenous injection of 99mTc-ciprofloxacin and whole body scans were acquired after 4 h. Augmented uptake was seen in 12 patients with RA. Association between clinically inflamed joints and articular 99mTc-ciprofloxacin uptake was observed. The authors concluded that the radiotracer was not specific for infection and could potentially identify the presence of inflammation in joints and monitor their response to treatment.

99mTc-labeled human immunoglobulin G

Labeling polyclonal human immunoglobulin G (HIG) with 99mTc allows evaluation of inflammation and infection. Different groups have suggested that these exams may have higher sensitivity than clinical assessment, bone scintigraphy and labeled leukocyte scintigraphy[25,26]. However, similar to radiotracers like 67Ga, the exam has limited specificity.

99mTc and 111In-anti-E-selectin

Chapman et al[27] evaluated the biodistribution of 111In-labeled anti-E-selectin monoclonal antibodies in 14 subjects with RA and compared it with 111In-labeled polyclonal HIG in 6 of these patients. 111In-anti-E-selectin resulted in better sensitivity and image intensity and more focal localization in synovium.

The same group published another study where they used 111In-anti-E-selectin and 99mTc-labeled polyclonal HIG in 11 patients with RA[28]. Scintigraphic images were compared with clinical scores. The authors reported that 111In-anti-E-selectin had greater sensitivity and specificity than 99mTc-HIG. However, the necessity of performing 24 h images with 111In-anti-E-selectin led to the development of a 99mTc-labeled tracer[29]. In this study, the authors performed scintigraphies 4 h and 20-24 h after 111In- or 99mTc-anti-E-selectin injection in a group of 10 patients with RA. They concluded that they led to similar diagnostic accuracy, what favored the use of the 99mTc-labeled tracer. In another group of 16 RA patients, 99mTc-anti-E-selectin was compared with 99mTc-HDP 4h after injection. Although 99mTc-anti-E-selectin seemed to have in vivo instability, as indicated by thyroidal and intestinal uptake, 99mTc-anti-E-selectin was better than 99mTc-HDP (88% vs 57%) in terms of accuracy. Inactive or normal joints didn’t show uptake of 99mTc-anti-E-selectin.

111In-octreotide

Vanhagen et al[30] studied the articulations of 14 subjects with ongoing RA, 4 with intense OA, and 30 controls. The somatostatin analog 125I-Tyr3-octreotide was used for in vitro somatostatin receptor autoradiography and the somatostatin analog 111In-DTPA-D-Phe1-octreotide was used for scintigraphy. A total of 76% of tender and of augmented joints of the subjects with RA were identified by nuclear medicine scans. The authors found that joint uptake was associated with the amount of pain and swelling. In vitro autoradiography of the synovial membranes indicated somatostatin receptors in 2 of the RA patients. In subjects with OA, joint uptake was considerably poorer than in subjects with RA, while the ones of control subjects didn’t exhibit uptake.

99mTc-anti-CD3

Marcus et al[31] studied the biodistribution of a 99mTc-labeled murine monoclonal antibody (Muromonab, Orthoclone OKT3®), specific for T lymphocyte glycoprotein CD3 receptor. Seven patients with RA and two with psoriatic arthritis were included. Scintigraphies of the whole-body and of the articulations were carried out. All joints with intermediate to intense pain showed intermediate to high uptake, while all asymptomatic joints and joints with mild or minimal pain had normal images. Of note, two patients had side effects (shaking chills and neck pain) after 99mTc-OKT-3 injection.

Our group of research developed another technique for labeling OKT3 with 99mTc and also investigated its use to evaluate disease activity in subjects with RA. A total of 38 patients with RA functional classes Ⅱ and Ⅲ according to American College of Rheumatology criteria were evaluated[32]. Planar anterior scans of the patients’ metacarpophalangeal and interphalangeal joints, shoulders, elbows, wrists and knees were carried out 1 h and 3 h after the infusion of 99mTc-OKT3. Significant association (P < 0.05) was found between the 99mTc-OKT3 uptake and swollen or tender joints and the visual analogue scale. It was possible to distinguish subjects in remission from subjects with active synovitis. On the other hand, no association was seen between 99mTc-OKT3 uptake and the patients’ duration of disease, gender and age or erythrocyte sedimentation rate.

In a continuation of the previous report, we have studied 1232 joints from 44 patients with RA were evaluated 1 h and 3 h after injection of anti-CD3 antibody labeled with 99mTc and compared with another 812 joints from 33 patients with juvenile idiopathic arthritis (JIA), OA or gouty arthritis (GA)[33]. RA and JIA showed high uptake at the first scan, which augmented after 3 h. In OA, uptake was minimal or absent. Therefore, it was possible to distinguish RA and JIA from OA and GA. However, it was not possible to distinguish subjects with RA in remission from those with OA.

99mTc-anti-CD4

Becket et al[34] performed three-phase bone scans with 99mTc-HDP and scintigraphies with an anti-CD4 antibody named MAX.16H5 labeled with 99mTc. Six patients with RA were included prospectively and five of them received 99mTc-anti-CD4 scans after 1.5 h, 4 h and 24 h. In all patients, affected joints could be distinctively imaged at as early as 1.5 h. The authors reported that uptake in affected joints was associated with clinical signs and early 99mTc-MDP weakly uptake. However, it was not clear if late uptake of the radiotracer differed from control immunoglobulins.

To evaluate this aspect, the same group later included eight patients with severe, active RA to perform scintigraphies with 99mTc-labeled anti-CD4 or polyclonal HIG, with five of them receiving both radiotracers[35]. Scintigraphies of the whole-body and of the joints were carried out after 1, 4 and 24 h. The authors found that 99mTc-anti-CD4 had higher target-to-background ratio in knee and elbow joints, suggesting higher specificity than 99mTc-HIG.

99mTc-anti-CD20

Malviya et al[36] labeled Rituximab, an anti-CD20 antibody (MabThera®), with 99mTc in 20 patients with chronic inflammatory diseases and acquired scintigraphies after 6 h and 20 h. Five of the patients had RA and presented uptake of the radiotracer in known lesioned joints. Nonetheless, such uptake was variable and not all patients showed uptake in each clinically positive joint.

99mTc-anti-tumor necrosis factor-alpha

Chianelli et al[37] labeled Infliximab (Remicade®), a chimeric mouse/human anti-tumor necrosis factor alpha (anti-TNF-alpha) antibody, with 99mTc and included seven RA patients eligible to receive intra-articular Infliximab therapy for scintigraphic evaluation previously and 3 mo following the therapy. Planar scans of the joints were carried out 3, 6 and 24 h after intravenous infusion of 99mTc-Infliximab. Post-treatment scans indicated that the uptake disappeared in 1 joint, was reduced considerably in 2, was faintly in 4 and remained unchanged in 2. The authors suggested 99mTc-Infliximab could potentially aid in the choice of those subjects who would profit most from treatment with unlabeled Infliximab and provide a more objective assessment of immunotherapy efficacy.

A study from our group of research compared whole body and hand/wrist scintigraphies after injection of 99mTc-anti-TNF- with clinical examination and MRI of wrists joints and hands in subjects with active RA[38]. Eight subjects with active RA and one healthy volunteer were included. With MRI considered as the gold standard, the sensitivity and specificity of scintigraphy was 89.9% and 97.3%, respectively, while pain and edema had sensitivity of 65.3% and 59.2% and specificity of 75.2% and 95.3%, respectively.

123I-IL-1 receptor antagonists

Barrera et al[39] studied the biodistribution of 123I labeled interleukin-1 receptor antagonist (IL-1ra) in four subjects with RA. A comparison of scintigraphies acquired with 123I-IL-1ra and those acquired with a non-specific radiopharmaceutical was made. Although the authors found that labelled IL-1ra allowed the identification of synovial disease in subjects with RA this process did not seem to occur by specific binding.

POSITRON EMISSION TOMOGRAPHY

The radionuclides that have been used for Positron Emission Tomography (PET) include fluorine-18 (18F), carbon-11 (11C) and iodine-124 (124I). PET has two to three times higher spatial resolution than SPECT and permits quantification of standardized uptake value (SUV)[40-42]. In the following sections the studies that used PET for RA monitoring are reviewed.

18F- fluoro-D-glucose

2-deoxy-2-(18F) fluoro-D-glucose (18F-FDG) allows evaluation of tissue metabolism. 18F-FDG accumulation in inflammatory and infectious diseases is based on its increased uptake by polymorphonuclear leukocytes, which adopt glucose after becoming activated. The transportation of 18F-FDG is intermediated by glucose transporters (GLUT), which are also to a higher amount present on the cell membrane of inflammatory and infectious cells. RA is an autoimmune disease, which is associated with systemic and chronic inflammation of the joints, resulting in synovitis and pannus formation, both leading to increased 18F-FDG uptake.

Polisson et al[43] published a seminal report where 18F-FDG PET and MRI were carried out in 2 RA patients with active synovitis in the carpus at baseline and after 14 wk of treatment.  In comparison with baseline, there was marked improvement in clinical parameters and decrease in synovial volume measured by MRI and 18F-FDG uptake measured by PET.

The same group published later another study where 18F-FDG PET and gadolinium-enhanced MRI of the wrist were carried out prospectively in 12 subjects under anti-inflammatory treatment in different moments: without drugs for 2 wk and after 2 and 12 wk of treatment[44]. They found that MRI and 18F-FDG PET were strongly correlated with clinical findings in wrists, and concluded that these techniques permitted quantification of alterations in joint inflammation. In addition to these reports, other articles have indicated the capability of 18F-FDG PET to identify alterations in disease activity, but few have shown it can foretell clinical results[45,46].

Nonetheless, one of the most important breakthroughs in the field of Nuclear Medicine has been the advent of PET/CT hybrid imaging, which allows concomitant acquisition of morphologic and functional information, increasing both sensitivity and specificity of findings. Initial case studies suggested that 18F-FDG PET/CT correctly identifies articular and extra-articular inflammatory areas[47-49]. Kubota et al[50] performed 18F-FDG PET/CT in 18 subjects with RA and evaluated uptake in the atlanto-axial, shoulder, elbow, wrist, carpal, knee and hip joints and in axillary lymph nodes. The total uptake score for all joints was significantly associated with C-reactive protein level. Furthermore, 18F-FDG uptake score of painful/swollen joints were greater than not painful/swollen joints and significantly distinct between subjects in remission and those with active inflammation. Roivainen et al[51] studied 17 subjects with active RA that started to receive disease-modifying antirheumatic drugs. Disease activity was clinically evaluated at screening, at baseline and after 2, 4, 8 and 12 wk of therapy, while 18F-FDG PET/CT of all joints was carried out at baseline and after 2 and 4 wk of therapy. 18F-FDG maximum SUV decreased in 76% and 81% at weeks 2 and 4 in comparison to baseline. The percentage of decline in 18F-FDG activity was associated with disease activity at week 12 and with variations in C-reactive protein levels and erythrocyte sedimentation rate.

More recently, fusion of PET and MRI has been developed. Chaudhari et al[52] performed an extremity 18F-FDG PET/CT immediately after MRI at baseline and 5 wk after TNF-alpha inhibitor therapy in a 57-year-old female with RA.  CT was later used for PET/MRI fusion. The authors reported that PET uptake decreased significantly in the synovium and at sites of erosions and clinical exam at 3 mo corroborated a positive response to therapy. Then, Miese et al[53] reported on the first hybrid hand PET/MRI in intial RA, demonstrating augmented 18F-FDG uptake occurred in synovitis.

11C-choline

Roivainen et al[54] included 10 subjects with inflammatory disorders of the joints, two of them with RA, in a study that compared 11C-choline and 18F-FDG PET with contrast-enhanced MRI. The authors found that the uptake of 18F-FDG as well as 11C-choline had good correlation with synovial volume measured in MRI and suggested 11C-choline could be a promising radiotracer for quantitative assessment of disease activity.

11C-(R)-PK11195

11C-(R)-PK11195 is a radiotracer that suffers macrophage binding. Van der Laken et al[55] studied the knees of 11 RA patients using 11C-(R)-PK11195 PET imaging and arthoscopic assessment of the knee with greatest inflammation in all subjects. The authors found that 11C-(R)-PK11195 had significantly increased uptake in inflamed joints. Moreover, uptake in non-inflamed knees of RA subjects was considerably greater than in the knees of controls, indicating the existence of subclinical RA activity.

124I-anti-CD20

Tran et al[56] included six patients in a study to evaluate the distribution of 124I labeled Rituximab. One patient was excluded due to adverse effects after injection of the unlabeled drug. Whole body PET/CT was carried out in 5 subjects at 10 min, 24 h, 48 h and 72-96 h. Evaluation was carried out based on visual analyses and correlated with disease activity. Accumulation in joints occurred only after 24 h, in 4 out of 5 patients. The authors reported that several exams had uptake in clinically normal joints while a few joints with clinical arthritis had no uptake, but no quantification or comparison with other imaging methods was performed.

CONCLUSION

The success of RA therapy requires improvement of early diagnosis and evaluation of response to anti-inflammatory treatment. New powerful and efficient medications are now offered that can change the natural history of the disease. Molecular imaging may be useful in the evaluation of early inflammatory activity in RA, predicting and monitoring response to treatment, and allowing the selection of optimal treatments for each patient. Nuclear Medicine techniques, particularly SPECT/CT, PET/CT and PET/MRI can deliver important molecular information that may be correlated with biological therapies. However, large prospective, controlled clinical trials comparing imaging methods are still needed to improve the understanding of the potentials of Nuclear Medicine in RA.

REFERENCES

1	Nathan M, Gnanasegaran G, Adamson K, Fogelman I. Bone Scintigraphy: Patterns, Variants, Limitations and Artefacts. In: Fogelman I, Gnanasegaran G, Wall H, editors. Radionuclide and Hybrid Bone Imaging: Springer Berlin Heidelberg, 2012: 377-408 [DOI: 10.1007/978-3-642-02400-9_15]

2	Brooks M. The Skeletal System. In: Sharp P, Gemmell H, Murray A, editors. Practical Nuclear Medicine: Springer London, 2005: 143-161 [DOI: 10.1007/1-84628-018-4_8]

3	Zeman MN, Scott PJ. Current imaging strategies in rheumatoid arthritis. Am J Nucl Med Mol Imaging 2012; 2: 174-220 [PMID: 23133812]

4	Mariani G, Bruselli L, Kuwert T, Kim EE, Flotats A, Israel O, Dondi M, Watanabe N. A review on the clinical uses of SPECT/CT. Eur J Nucl Med Mol Imaging 2010; 37: 1959-1985 [PMID: 20182712 DOI: 10.1007/s00259-010-1390-8]

5	Sharp P, Goatman K. Nuclear Medicine Imaging. In: Sharp P, Gemmell H, Murray A, editors. Practical Nuclear Medicine: Springer London, 2005: 1-19 [DOI: 10.1007/b136183]

6	Backhaus M, Kamradt T, Sandrock D, Loreck D, Fritz J, Wolf KJ, Raber H, Hamm B, Burmester GR, Bollow M. Arthritis of the finger joints: a comprehensive approach comparing conventional radiography, scintigraphy, ultrasound, and contrast-enhanced magnetic resonance imaging. Arthritis Rheum 1999; 42: 1232-1245 [PMID: 10366117 DOI: 10.1002/1529-0131(199906)42:6<1232::AID-ANR21>3.0.CO;2-3]

7	Desaulniers M, Fuks A, Hawkins D, Lacourciere Y, Rosenthall L. Radiotechnetium polyphosphate joint imaging. J Nucl Med 1974; 15: 417-423 [PMID: 4829201]

8	Möttönen TT, Hannonen P, Toivanen J, Rekonen A, Oka M. Value of joint scintigraphy in the prediction of erosiveness in early rheumatoid arthritis. Ann Rheum Dis 1988; 47: 183-189 [PMID: 3355257 DOI: 10.1136/ard.47.3.183]

9	Ostendorf B, Scherer A, Wirrwar A, Hoppin JW, Lackas C, Schramm NU, Cohnen M, Mödder U, van den Berg WB, Müller HW, Schneider M, Joosten LA. High-resolution multipinhole single-photon-emission computed tomography in experimental and human arthritis. Arthritis Rheum 2006; 54: 1096-1104 [PMID: 16572444 DOI: 10.1002/art.21732]

10	Wirrwar A, Schramm N, Vosberg H, Müller-Gärtner HW. High resolution SPECT in small animal research. Rev Neurosci 2001; 12: 187-193 [PMID: 11392458 DOI: 10.1515/REVNEURO.2001.12.2.187]

11	Buchbender C, Ostendorf B, Mattes-György K, Miese F, Wittsack HJ, Quentin M, Specker C, Schneider M, Antoch G, Müller HW, Scherer A. Synovitis and bone inflammation in early rheumatoid arthritis: high-resolution multi-pinhole SPECT versus MRI. Diagn Interv Radiol 2013; 19: 20-24 [PMID: 23255070 DOI: 10.4261/1305-3825.DIR.5922-12.1]

12	Rennen HJM, Bleeker-Rovers C, Oyen WG. Imaging Infection and Inflammation. In: Baert AL, Sartor K, Schiepers C, editors. Diagnostic Nuclear Medicine: Springer Berlin Heidelberg, 2006: 113-126 [DOI: 10.1007/3-540-30005-8_7]

13	Weiner R. The role of transferrin and other receptors in the mechanism of 67Ga localization. Int J Rad Appl Instrum B 1990; 17: 141-149 [PMID: 2155189 DOI: 10.1016/0883-2897(90)90016-T]

14	Coleman RE, Samuelson CO, Baim S, Christian PE, Ward JR. Imaging with Tc-99m MDP and Ga-67 citrate in patients with rheumatoid arthritis and suspected septic arthritis: concise communication. J Nucl Med 1982; 23: 479-482 [PMID: 6210765]

15	McCall IW, Sheppard H, Haddaway M, Park WM, Ward DJ. Gallium 67 scanning in rheumatoid arthritis. Br J Radiol 1983; 56: 241-243 [PMID: 6831147 DOI: 10.1259/0007-1285-56-664-241]

16	Seabold JE, Palestro CJ, Brown ML, Datz FL, Forstrom LA, Greenspan BS, McAfee JG, Schauwecker DS, Royal HD. Procedure guideline for gallium scintigraphy in inflammation. Society of Nuclear Medicine. J Nucl Med 1997; 38: 994-997 [PMID: 9189159]

17	Love C, Palestro CJ. Radionuclide imaging of infection. J Nucl Med Technol 2004; 32: 47-57; quiz 58-59 [PMID: 15175400]

18	Palestro CJ. Radionuclide imaging of infection: in search of the grail. J Nucl Med 2009; 50: 671-673 [PMID: 19372472 DOI: 10.2967/jnumed.108.058297]

19	Gutfilen B, Lopes de Souza SA, Martins FP, Cardoso LR, Pinheiro Pessoa MC, Fonseca LM. Use of 99mTc-mononuclear leukocyte scintigraphy in nosocomial fever. Acta Radiol 2006; 47: 699-704 [PMID: 16950708 DOI: 10.1080/02841850600791526]

20	Gutfilen B, Rossini A, Martins FP, da Fonseca LM. Tc-99m-leukocytes--is it an intracellular labelling? J Clin Lab Immunol 1999; 51: 1-7 [PMID: 11424738]

21	Al-Janabi MA, Jones AK, Solanki K, Sobnack R, Bomanji J, Al-Nahhas AA, Doyle DV, Britton KE, Huskisson EC. 99Tcm-labelled leucocyte imaging in active rheumatoid arthritis. Nucl Med Commun 1988; 9: 987-991 [PMID: 3217068 DOI: 10.1097/00006231-198812000-00007]

22	Gaál J, Mézes A, Síró B, Varga J, Galuska L, Jánoky G, Garai I, Bajnok L, Surányi P. 99m Tc-HMPAO labelled leukocyte scintigraphy in patients with rheumatoid arthritis: a comparison with disease activity. Nucl Med Commun 2002; 23: 39-46 [PMID: 11748436 DOI: 10.1097/00006231-200201000-00007]

23	Thurlings RM, Wijbrandts CA, Bennink RJ, Dohmen SE, Voermans C, Wouters D, Izmailova ES, Gerlag DM, van Eck-Smit BL, Tak PP. Monocyte scintigraphy in rheumatoid arthritis: the dynamics of monocyte migration in immune-mediated inflammatory disease. PLoS One 2009; 4: e7865 [PMID: 19924229 DOI: 10.1371/journal.pone.0007865]

24	Appelboom T, Emery P, Tant L, Dumarey N, Schoutens A. Evaluation of technetium-99m-ciprofloxacin (Infecton) for detecting sites of inflammation in arthritis. Rheumatology (Oxford) 2003; 42: 1179-1182 [PMID: 12777638 DOI: 10.1093/rheumatology/keg321]

25	Liberatore M, Clemente M, Iurilli AP, Zorzin L, Marini M, Di Rocco E, Colella AC. Scintigraphic evaluation of disease activity in rheumatoid arthritis: a comparison of technetium-99m human non-specific immunoglobulins, leucocytes and albumin nanocolloids. Eur J Nucl Med 1992; 19: 853-857 [PMID: 1451700 DOI: 10.1007/BF00168160]

26	Sahin M, Bernay I, Basoglu T, Canturk F. Comparison of Tc-99m MDP, Tc-99m HSA and Tc-99m HIG uptake in rheumatoid arthritis and its variants. Ann Nucl Med 1999; 13: 389-395 [PMID: 10656272 DOI: 10.1007/BF03164932]

27	Chapman PT, Jamar F, Keelan ET, Peters AM, Haskard DO. Use of a radiolabeled monoclonal antibody against E-selectin for imaging of endothelial activation in rheumatoid arthritis. Arthritis Rheum 1996; 39: 1371-1375 [PMID: 8702446 DOI: 10.1002/art.1780390815]

28	Jamar F, Chapman PT, Manicourt DH, Glass DM, Haskard DO, Peters AM. A comparison between 111In-anti-E-selectin mAb and 99Tcm-labelled human non-specific immunoglobulin in radionuclide imaging of rheumatoid arthritis. Br J Radiol 1997; 70: 473-481 [PMID: 9227228]

29	Jamar F, Houssiau FA, Devogelaer JP, Chapman PT, Haskard DO, Beaujean V, Beckers C, Manicourt DH, Peters AM. Scintigraphy using a technetium 99m-labelled anti-E-selectin Fab fragment in rheumatoid arthritis. Rheumatology (Oxford) 2002; 41: 53-61 [PMID: 11792880 DOI: 10.1093/rheumatology/41.1.53]

30	Vanhagen PM, Markusse HM, Lamberts SW, Kwekkeboom DJ, Reubi JC, Krenning EP. Somatostatin receptor imaging. The presence of somatostatin receptors in rheumatoid arthritis. Arthritis Rheum 1994; 37: 1521-1527 [PMID: 7945479 DOI: 10.1002/art.1780371017]

31	Marcus C, Thakur ML, Huynh TV, Louie JS, Leibling M, Minami C, Diggles L. Imaging rheumatic joint diseases with anti-T lymphocyte antibody OKT-3. Nucl Med Commun 1994; 15: 824-830 [PMID: 7838446 DOI: 10.1097/00006231-199410000-00008]

32	Martins FP, Gutfilen B, de Souza SA, de Azevedo MN, Cardoso LR, Fraga R, da Fonseca LM. Monitoring rheumatoid arthritis synovitis with 99mTc-anti-CD3. Br J Radiol 2008; 81: 25-29 [PMID: 18039720 DOI: 10.1259/bjr/63780400]

33	Lopes FP, de Azevedo MN, Marchiori E, da Fonseca LM, de Souza SA, Gutfilen B. Use of 99mTc-anti-CD3 scintigraphy in the differential diagnosis of rheumatic diseases. Rheumatology (Oxford) 2010; 49: 933-939 [PMID: 20129997 DOI: 10.1093/rheumatology/kep471]

34	Becker W, Emmrich F, Horneff G, Burmester G, Seiler F, Schwarz A, Kalden J, Wolf F. Imaging rheumatoid arthritis specifically with technetium 99m CD4-specific (T-helper lymphocytes) antibodies. Eur J Nucl Med 1990; 17: 156-159 [PMID: 2149102 DOI: 10.1007/BF00811445]

35	Kinne RW, Becker W, Schwab J, Horneff G, Schwarz A, Kalden JR, Emmrich F, Burmester GR, Wolf F. Comparison of 99Tcm-labelled specific murine anti-CD4 monoclonal antibodies and nonspecific human immunoglobulin for imaging inflamed joints in rheumatoid arthritis. Nucl Med Commun 1993; 14: 667-675 [PMID: 8371892 DOI: 10.1097/00006231-199308000-00007]

36	Malviya G, Anzola KL, Podestà E, Laganà B, Del Mastro C, Dierckx RA, Scopinaro F, Signore A. (99m)Tc-labeled rituximab for imaging B lymphocyte infiltration in inflammatory autoimmune disease patients. Mol Imaging Biol 2012; 14: 637-646 [PMID: 22127469 DOI: 10.1007/s11307-011-0527-x]

37	Chianelli M, D’Alessandria C, Conti F, Priori R, Valesini G, Annovazzi A, Signore A. New radiopharmaceuticals for imaging rheumatoid arthritis. Q J Nucl Med Mol Imaging 2006; 50: 217-225 [PMID: 16868535]

38	Roimicher L, Lopes FP, de Souza SA, Mendes LF, Domingues RC, da Fonseca LM, Gutfilen B. (99m)Tc-anti-TNF-α scintigraphy in RA: a comparison pilot study with MRI and clinical examination. Rheumatology (Oxford) 2011; 50: 2044-2050 [PMID: 21873267 DOI: 10.1093/rheumatology/ker234]

39	Barrera P, van der Laken CJ, Boerman OC, Oyen WJ, van de Ven MT, van Lent PL, van de Putte LB, Corstens FH. Radiolabelled interleukin-1 receptor antagonist for detection of synovitis in patients with rheumatoid arthritis. Rheumatology (Oxford) 2000; 39: 870-874 [PMID: 10952741 DOI: 10.1093/rheumatology/39.8.870]

40	Cook GJ, Houston S, Rubens R, Maisey MN, Fogelman I. Detection of bone metastases in breast cancer by 18FDG PET: differing metabolic activity in osteoblastic and osteolytic lesions. J Clin Oncol 1998; 16: 3375-3379 [PMID: 9779715]

41	van der Bruggen W, Bleeker-Rovers CP, Boerman OC, Gotthardt M, Oyen WJ. PET and SPECT in osteomyelitis and prosthetic bone and joint infections: a systematic review. Semin Nucl Med 2010; 40: 3-15 [PMID: 19958846 DOI: 10.1053/j.semnuclmed.2009.08.005]

42	Buchmann I, Henze M, Engelbrecht S, Eisenhut M, Runz A, Schäfer M, Schilling T, Haufe S, Herrmann T, Haberkorn U. Comparison of 68Ga-DOTATOC PET and 111In-DTPAOC (Octreoscan) SPECT in patients with neuroendocrine tumours. Eur J Nucl Med Mol Imaging 2007; 34: 1617-1626 [PMID: 17520251 DOI: 10.1007/s00259-007-0450-1]

43	Polisson RP, Schoenberg OI, Fischman A, Rubin R, Simon LS, Rosenthal D, Palmer WE. Use of magnetic resonance imaging and positron emission tomography in the assessment of synovial volume and glucose metabolism in patients with rheumatoid arthritis. Arthritis Rheum 1995; 38: 819-825 [PMID: 7779126 DOI: 10.1002/art.1780380616]

44	Palmer WE, Rosenthal DI, Schoenberg OI, Fischman AJ, Simon LS, Rubin RH, Polisson RP. Quantification of inflammation in the wrist with gadolinium-enhanced MR imaging and PET with 2-[F-18]-fluoro-2-deoxy-D-glucose. Radiology 1995; 196: 647-655 [PMID: 7644624 DOI: 10.1148/radiology.196.3.7644624]

45	Beckers C, Jeukens X, Ribbens C, André B, Marcelis S, Leclercq P, Kaiser MJ, Foidart J, Hustinx R, Malaise MG. (18)F-FDG PET imaging of rheumatoid knee synovitis correlates with dynamic magnetic resonance and sonographic assessments as well as with the serum level of metalloproteinase-3. Eur J Nucl Med Mol Imaging 2006; 33: 275-280 [PMID: 16247604 DOI: 10.1007/s00259-005-1952-3]

46	Goerres GW, Forster A, Uebelhart D, Seifert B, Treyer V, Michel B, von Schulthess GK, Kaim AH. F-18 FDG whole-body PET for the assessment of disease activity in patients with rheumatoid arthritis. Clin Nucl Med 2006; 31: 386-390 [PMID: 16785804 DOI: 10.1097/01.rlu.0000222678.95218.42]

47	Vogel WV, van Riel PL, Oyen WJ. FDG-PET/CT can visualise the extent of inflammation in rheumatoid arthritis of the tarsus. Eur J Nucl Med Mol Imaging 2007; 34: 439 [PMID: 17048035 DOI: 10.1007/s00259-006-0246-8]

48	dos Anjos DA, do Vale GF, Campos Cde M, do Prado LF, Sobrinho AB, da Cunha AL, Santos AC. Extra-articular inflammatory sites detected by F-18 FDG PET/CT in a patient with rheumatoid arthritis. Clin Nucl Med 2010; 35: 540-541 [PMID: 20548154 DOI: 10.1097/RLU.0b013e3181e05eb9]

49	Ju JH, Kang KY, Kim IJ, Yoon JU, Kim HS, Park SH, Kim HY. Visualization and localization of rheumatoid knee synovitis with FDG-PET/CT images. Clin Rheumatol 2008; 27 Suppl 2: S39-S41 [PMID: 18369527 DOI: 10.1007/s10067-008-0849-5]

50	Kubota K, Ito K, Morooka M, Mitsumoto T, Kurihara K, Yamashita H, Takahashi Y, Mimori A. Whole-body FDG-PET/CT on rheumatoid arthritis of large joints. Ann Nucl Med 2009; 23: 783-791 [PMID: 19834653 DOI: 10.1007/s12149-009-0305-x]

51	Roivainen A, Hautaniemi S, Möttönen T, Nuutila P, Oikonen V, Parkkola R, Pricop L, Ress R, Seneca N, Seppänen M, Yli-Kerttula T. Correlation of 18F-FDG PET/CT assessments with disease activity and markers of inflammation in patients with early rheumatoid arthritis following the initiation of combination therapy with triple oral antirheumatic drugs. Eur J Nucl Med Mol Imaging 2013; 40: 403-410 [PMID: 23229747 DOI: 10.1007/s00259-012-2282-x]

52	Chaudhari AJ, Bowen SL, Burkett GW, Packard NJ, Godinez F, Joshi AA, Naguwa SM, Shelton DK, Hunter JC, Boone JM, Buonocore MH, Badawi RD. High-resolution (18)F-FDG PET with MRI for monitoring response to treatment in rheumatoid arthritis. Eur J Nucl Med Mol Imaging 2010; 37: 1047 [PMID: 20119695 DOI: 10.1007/s00259-009-1364-x]

53	Miese F, Scherer A, Ostendorf B, Heinzel A, Lanzman RS, Kröpil P, Blondin D, Hautzel H, Wittsack HJ, Schneider M, Antoch G, Herzog H, Shah NJ. Hybrid 18F-FDG PET-MRI of the hand in rheumatoid arthritis: initial results. Clin Rheumatol 2011; 30: 1247-1250 [PMID: 21590292 DOI: 10.1007/s10067-011-1777-3]

54	Roivainen A, Parkkola R, Yli-Kerttula T, Lehikoinen P, Viljanen T, Möttönen T, Nuutila P, Minn H. Use of positron emission tomography with methyl-11C-choline and 2-18F-fluoro-2-deoxy-D-glucose in comparison with magnetic resonance imaging for the assessment of inflammatory proliferation of synovium. Arthritis Rheum 2003; 48: 3077-3084 [PMID: 14613269 DOI: 10.1002/art.11282]

55	van der Laken CJ, Elzinga EH, Kropholler MA, Molthoff CF, van der Heijden JW, Maruyama K, Boellaard R, Dijkmans BA, Lammertsma AA, Voskuyl AE. Noninvasive imaging of macrophages in rheumatoid synovitis using 11C-(R)-PK11195 and positron emission tomography. Arthritis Rheum 2008; 58: 3350-3355 [PMID: 18975347 DOI: 10.1002/art.23955]

56	Tran L, Huitema AD, van Rijswijk MH, Dinant HJ, Baars JW, Beijnen JH, Vogel WV. CD20 antigen imaging with ¹²⁴I-rituximab PET/CT in patients with rheumatoid arthritis. Hum Antibodies 2011; 20: 29-35 [PMID: 21558621 DOI: 10.3233/HAB20110239]

P- Reviewers: La Montagna G, Soy M    S- Editor: Ji FF    L- Editor: A    E- Editor: Lu YJ