| Considerations in the management of single-piece intraocular lenses outside the capsular bag Anna K Junk |
| --- |
| CITATION | Junk AK. Considerations in the management of single-piece intraocular lenses outside the capsular bag. World J Ophthalmol 2014; 4(3): 87-91 |
| URL | http://www.wjgnet.com/2218-6239/full/v4/i3/87.htm |
| DOI | http://dx.doi.org/10.5318/wjo.v4.i3.87 |
| OPEN ACCESS | Articles published by this Open-Access journal are distributed under the terms of the Creative Commons Attribution Non-commercial License, which permits use, distribution, and reproduction in any medium, provided the original work is properly cited, the use is non commercial and is otherwise in compliance with the license. |
| CORE TIP | Single-piece acrylic intraocular lenses implants are FDA approved for placement into the capsular bag. Their off label placement into the ciliary sulcus is not recommended by the manufacturer and has been the subject of controversy in ophthalmology. This retrospective case series is unique in that patients were followed for 16 mo (range 1.2-37 mo) without intervention and visual outcomes and comorbidities were evaluated and compared with eyes receiving standard of care sulcus placed three-piece intraocular lenses implants. |
| KEY WORDS | Cataract surgery; Sulcus intraocular lens implant; Single piece intraocular lenses; Three piece intraocular lenses; Posterior capsule tear; Cataract surgery complication; Pigment dispersion; Cystoid macula edema; Posterior capsule tear; Anterior vitrectomy |
| COPYRIGHT | © 2014 Baishideng Publishing Group Inc. All rights reserved. |
| COPYRIGHT LICENSE | Order reprints or request permissions: bpgoffice@wjgnet.com |
| NAME OF JOURNAL | World Journal of Ophthalmology |
| ISSN | 2218-6239 ( online) |
| PUBLISHER | Published by Baishideng Publishing Group Inc, 8226 Regency Drive, Pleasanton, CA 94588, USA |
| WEBSITE | http://www.wjgnet.com |

ESPS Manuscript NO: 9350

Columns: RETROSPECTIVE STUDY

Considerations in the management of single-piece intraocular lenses outside the capsular bag

Anna K Junk

Anna K Junk, Bascom Palmer Eye Institute, University of Miami Miller School of Medicine, Miami, FL 33136, United States

Anna K Junk, Miami Veterans Affairs Medical Center, Miami, FL 33125, United States

Author contributions: Junk AK solely contributed to this paper.

Supported by NIH Center Core, No. P30EY014801; Research to Prevent Blindness Unrestricted Grant, Department of Defense, No. DOD- Grant #W81XWH-09-1-0675

Correspondence to: Anna K Junk, MD, Bascom Palmer Eye Institute, University of Miami Miller School of Medicine, 900 NW 17th St, Miami, FL 33136,

United States. ajunk@med.miami.edu

Telephone: +1-305-3266000  Fax: +1-305-4824568

Received: February 9, 2014    Revised: May 23, 2014

Accepted: June 10, 2014

Published online: August 12, 2014

Abstract

AIM: To investigate the outcomes of off label single-piece acrylic intraocular lenses (SPA-IOL) ciliary sulcus placement compared to three-piece IOL (3P-IOL).

METHODS: The charts of eight consecutive eyes of patients who received sulcus-placed SPA-IOLs between 2006 and 2009 were reviewed. None of the patients underwent IOL exchange. Charts of six age-matched patients who received sulcus placed 3P-IOLs were reviewed as a control group.

RESULTS: Mean follow up was 16 mo for SPA-IOL and 23 mo for 3P-IOL. Five of 8 patients in the SPA-IOL group required chronic use of IOP lowering medications at final follow up. Of these, one patient needed glaucoma implant surgery for uncontrolled IOP. One patient in the 3P-IOL group used chronic aqueous suppression pre- and postoperatively. Four of eight eyes with SPA-IOL were treated with chronic topical steroids and or non-steroidal anti-inflammatory drugs for cystoid macula edema, chronic uveitis, pigment dispersion syndrome or a combination of the above, compared to none in the control group. Mean best-corrected visual acuity was 20/35 in the SPA-IOL group and 20/47 in the 3P-IOL group.

CONCLUSION: Sulcus placed SPA-IOLs are associated with increased ocular morbidity. In select cases good visual acuity may be achieved. Due to postoperative rotation of sulcus placed toric SPA-IOLs astigmatism correction cannot be achieved. Alternative intraocular lenses should be considered when in-the-bag placement of SPA-IOL is not possible.

© 2014 Baishideng Publishing Group Inc. All rights reserved.

Key words: Cataract surgery; Sulcus intraocular lens implant; Single piece intraocular lenses; Three piece intraocular lenses; Posterior capsule tear; Cataract surgery complication; Pigment dispersion; Cystoid macula edema; Posterior capsule tear; Anterior vitrectomy

Core tip: Single-piece acrylic intraocular lenses implants are FDA approved for placement into the capsular bag. Their off label placement into the ciliary sulcus is not recommended by the manufacturer and has been the subject of controversy in ophthalmology. This retrospective case series is unique in that patients were followed for 16 mo (range 1.2-37 mo) without intervention and visual outcomes and comorbidities were evaluated and compared with eyes receiving standard of care sulcus placed three-piece intraocular lenses implants.

Junk AK. Considerations in the management of single-piece intraocular lenses outside the capsular bag. World J Ophthalmol 2014; 4(3): 87-91  Available from: URL: http://www.wjgnet.com/2218-6239/full/v4/i3/87.htm  DOI: http://dx.doi.org/10.5318/wjo.v4.i3.87

INTRODUCTION

With the advent of small incision cataract surgery, and the development of premium intraocular lenses foldable single-piece acrylic (SPA) intraocular lenses (IOLs) have gained in popularity. For example, over 50 million AcrySof® (Alcon, Ft. Worth, Texas) IOLs have been implanted world- wide[1]. The SPA-IOL has been modified to allow for concomitant astigmatism (toric IOL) and presbyopia correction (multifocal IOL) at the time of cataract surgery. The SPA-IOL design assures excellent apposition with the posterior capsule allowing stability within the capsular bag. When placed in the bag the SPA-IOL allowed for more posterior position relative to the iris than a 3P-IOL[2]. Excellent biocompatibility and design reduce the incidence of posterior capsule opacification (PCO)[3,4]. Due to zero angulation of the haptic-optic junction it is not recommended to place SPA-IOLs into the ciliary sulcus[5].

Chang et al[6] reported a series of 30 patients in a referral setting with complications related to sulcus placed SPA-IOLs. The authors strongly suggest IOL exchange as primary treatment and review alternative IOL choices for primary cataract surgeons. Conversely, Taskapili et al[7] reports on 89 eyes with sulcus placed SPA-IOL compared with 72 eyes with sulcus placed PMMA IOL and suggesting equal, low rates of complications, glaucoma 19% vs 16%, CME 8% vs 17%, anterior uveitis 6% vs 7%, IOL decentration 4% in both. Endophthalmitis was observed in the control group only (2 of 72 eyes). Other known complications associated with sulcus placed SPA-IOL include pigment dispersion syndrome, iris chafing, uveitis-glaucoma-hyphema syndrome and vitreous hemorrhage[8-12]. Uy et al[13] noted 35% incidence of pigment dispersion and secondary glaucoma in 15% of 20 patients with sulcus placed SPA-IOL.

The cases presented here are unique because they constitute a consecutive case series of eyes with posterior capsular tear, anterior vitrectomy, and off-label placed SPA-IOLs compared with three-piece IOLs in the ciliary sulcus at a single hospital. Within this institution, one surgeon routinely placed SPA-IOLs in the ciliary sulcus if there was capsular support, and other surgeons did not. Given the controversy, we aimed to review cases of sulcus placed SPA-IOLs to determine visual outcomes and complications. No cases were referred from outside centers, and all operative and perioperative data was well documented in the electronic medical record.

MATERIALS AND METHODS

This is a retrospective chart review of fourteen consecutive patients who underwent cataract surgery complicated by posterior capsule tear and sulcus placed IOL at one medical center. The study was approved by the institutional human subjects review board. Eight eyes with sulcus placed SPA-IOLs and six eyes with three-piece (3P) acrylic IOLs were included. One patient was lost to follow up after one month. All patients were male, mean age was 80 years (range 71-87 years) at the time of surgery. Demographic characteristics of the two groups were similar and are summarized in Table 1. During phacoemulsification a posterior capsule tear with vitreous prolapse was encountered. Anterior vitrectomy was performed and the IOL was placed into the ciliary sulcus. None of the eyes had retained lens material at the end of the procedure. Six of the SPA-IOLs were monofocal Acrysof® SN60WF implants, two implants were toric SPA-IOLs. No IOL was suture fixated to the iris or the sclera.

RESULTS

Clinical data on all patients in the two IOL groups are summarized in Table 2. Mean pre-operative spherical equivalent was similar in the SPA-IOL and 3P-IOL groups (+0.47 and +0.32 respectively). Persistent iritis, pigment dispersion and CME were documented in several patients with SPA-IOL, while only one patient with a 3P- IOL had documented CME after surgery. No patient with 3P-IOL had pigment dispersion or prolonged iritis defined as anterior chamber cellular reaction present more than one month after surgery. It is also noteworthy that in the SPA-IOL group, elevated intraocular pressure above 21 mmHg was recorded in 63% of cases. This was treated with intraocular pressure lowering medications beyond postoperative week one. One of the eyes had aqueous drainage implant surgery. The patients were continued on glaucoma medications six month or more after surgery. In contrast, only patient in the three-piece IOL group required intraocular pressure lowering medication after post operative week one, this patient had pre-existing glaucoma. Best corrected visual acuity (BCVA) was 20/30 or better in 4/8 patients in the SPA-IOL group and in 3/7 patients in the 3P-IOL group at post-op month one. In the 3P-IOL group poor vision at month one was attributable to suture-induced astigmatism and resolved after suture removal. Four of eight patients with SPA-IOL and four of six with 3P-IOL achieved a BCVA of 20/30 or better at the time of last follow up. Two patients in the 3P-IOL group had documented comorbidities preoperatively and therefore reduced visual prognosis. One eye was diagnosed with age related macula degeneration (ARMD) and one eye with advanced glaucoma. Loss of follow up after two month or less occurred in two individuals (25%) with SPA-IOL (one patient deceased, one for unknown reason) compared to three patients (43%) in the 3P-IOL group (for unknown reasons). All patients lost to follow up had best corrected visual acuities of 20/30 or better at their last exam.

DISCUSSION

The question of whether SPA-OLs should be placed in the ciliary sulcus is not decisively answered in the peer reviewed literature. Many previous reports have been case reports[7,8,12-17], or are comprised of patients referred to tertiary care centers for management of complications[6,11,18-20]. This case series shows that good corrected visual acuity can be achieved with sulcus placed IOLs of either SPA or three-piece type, however, visual recovery was prolonged in several cases using both types of IOL. Secondary intervention was needed in 20% of cases (two of eight eyes) after SPA-IOL. Importantly, this case series is not based on referral to a tertiary care center for complications associated with the procedure and may therefore represent an unbiased look at a controversial issue.

We believe that SPA-IOL rotation, even months after implantation, did occur in some patients and resulted in unstable manifest refraction in at least one patient who had received an AcrySof® toric SN60T5 lens (Alcon, Ft. Worth, Tx). The AcrySof® SPA-IOL has a diameter of 13 mm from end to end and is thus shorter than the ciliary sulcus diameter of most eyes. There is no accurate way to estimate the ciliary sulcus diameter by external measurements. In addition, the horizontal sulcus diameter is typically shorter than the vertical diameter[21]. Therefore, an initially well centered SPA-IOL in the sulcus may later decenter following rotation into a wider sulcus meridian, unless reverse optic capture can be achieved[22]. SPA-IOL decentration after initial correct placement is particularly undesirable in patients with high visual expectations after premium (toric or multifocal) IOL implantation. Given the possibility of rotation after sulcus implantation of toric SPA IOL, it appears preferable to instead implant an alternate three-piece lens combined with other methods of astigmatism correction such as limbal relaxing incisions. Suture fixation of SPA IOL has been reported to result in stable lens position in the literature but was not attempted our cases.

Placement of any posterior chamber IOL in the ciliary sulcus carries increased risk for complications such as pigment dispersion due to IOL proximity to the iris[23]. A three-piece posterior chamber IOL with posterior angulation of the haptics will move the optic away from the posterior pigment epithelium of the iris. Additionally, a three-piece IOL with a relatively thin optic edge and small, round haptics will reduce potential problems related to iris chafing when placed in the sulcus. The full picture of uveitis-glaucoma-hyphema syndrome was not observed in our case series, though pigment dispersion and iris transillumination defects were noted in three of eight patients with SPA-IOLs and in none of the eyes with 3P-IOLs. Perhaps more importantly, chronic secondary glaucoma developed in several patients with SPA-IOL, although it is unclear whether this was a direct result of pigment dispersion alone. None of the patients in this series underwent IOL exchange as of their most recent follow-up. It should be noted that this study includes a relatively small number of patients and is retrospective in nature. As such, it may lack sufficient power to definitively demonstrate differences between the two IOLs implanted in the cilliary sulcus.

A recent report on complications after SPA-IOL implantation into the sulcus[6] and the corresponding editorial[24] provide a comprehensive review and discussion of associated risks, complications, and management of complications. Surgical alternatives for SPA-IOL placement in the sulcus are detailed and discussed in that publication. Technological advancement in cataract surgery has raised today’s patients’ and surgeons’ expectations for an elegant, fast surgery followed by a smooth postoperative course and rapid visual recovery. While posterior capsular rupture inherently leads to a more complex surgery, our results suggest that a three-piece IOL in the sulcus is preferred over an SPA-IOL in such situations. New developments in IOL design may allow reliable use of SPA-IOL in the sulcus[25].

ACKNOWLEDGMENTS

The author wishes to thank the faculty, residents and staff of the ophthalmology section at the Bruce W Carter VA Hospital for their continued support and engaged discussion during the preparation of this manuscript.

Comments

Background

Single-piece acrylic intraocular lenses (SPA-IOL) implants are FDA approved for in the bag placement. There is controversy about the SPA-IOL placement in the ciliary sulcus when in the bag placement is not feasible. Surgeons at tertiary centers advocate categorical IOL exchange to achieve stable IOL position and eliminate IOL induced complications such as iris chaffing, uveitis-glaucoma-hyphema syndrome, fluctuating visual acuity, glaucoma and others.

Research frontiers

The clinical course after sulcus placed SPA-IOL is not known. The experience with sulcus placed SPA-IOL at tertiary care centers is hampered by selection bias due to referral of more complicated cases. This retrospective case series offers an unbiased evaluation of sulcus placed SPA-IOLs compared to the alternative three-piece IOL (3P-IOL) placement.

Innovations and breakthroughs

With the introduction of small incision phacoemulsification and premium IOLs not necessitating wound enlargement for IOL inserting, the temptation exists to use a SPA-IOL in the sulcus. This off label use does not achieve as stable a placement as when positioned in the capsular bag. Postoperative prevalence of cystoid macula edema, pigment dispersion, and need for glaucoma medications is increased after sulcus placed SPA-IOL compared to 3PA-IOL. IOL exchange can be deferred on a case by case basis.

Applications

This retrospective study illustrates the sequelae of SPA-IOL placement in the sulcus and clinical results in eyes were IOL exchange was not pursued.

Terminology

The terminology used here should be familiar to any eye care specialist.

Peer review

This paper is interesting and can be accepted.

REFERENCES

1	Alcon Ip. Alcon world wide site: Surgical. Hünenberg, Switzerland: Novartis, 2012

2	Robert MC, Harasymowycz P. Intraocular lens position following in-the-bag implantation of single-piece versus three-piece acrylic intraocular lenses. Ophthalmic Surg Lasers Imaging 2012; 43: 472-478 [PMID:23053780 DOI: 10.3928/15428877-20120927-02]

3	Alcon Ip. Acrysof iol product catalog. Alcon, Inc, 2009

4	Bilge AH, Aykan U, Akin T, Unsal U. The effects of three-piece or single-piece acrylic intraocular lens implantation on posterior capsule opacification. Eur J Ophthalmol 2004; 14: 375-380 [PMID: 15506598]

5	Apple DJ, Peng Q, Visessook N, Werner L, Pandey SK, Escobar-Gomez M, Ram J, Auffarth GU. Eradication of posterior capsule opacification: documentation of a marked decrease in Nd: YAG laser posterior capsulotomy rates noted in an analysis of 5416 pseudophakic human eyes obtained postmortem. Ophthalmology 2001; 108: 505-518 [PMID: 11237905 DOI: 10.1016/S0161-6420(00)00589-3]

6	Chang DF, Masket S, Miller KM, Braga-Mele R, Little BC, Mamalis N, Oetting TA, Packer M. Complications of sulcus placement of single-piece acrylic intraocular lenses: recommendations for backup IOL implantation following posterior capsule rupture. J Cataract Refract Surg 2009; 35: 1445-1458 [PMID: 19631134 DOI: 10.1016/j.jcrs.2009.04.027]

7	Taskapili M, Gulkilik G, Kocabora MS, Ozsutcu M, Yilmazli C, Kaya G, Kucuksahin H. Comparison of sulcus implantation of single-piece hydrophilic foldable acrylic and polymethylmethacrylate intraocular lenses in eyes with posterior capsule tear during phacoemulsification surgery. Eur J Ophthalmol 2007; 17: 595-600 [PMID: 17671936]

8	Taskapili M, Engin G, Kaya G, Kucuksahin H, Kocabora MS, Yilmazli C. Single-piece foldable acrylic intraocular lens implantation in the sulcus in eyes with posterior capsule tear during phacoemulsification. J Cataract Refract Surg 2005; 31: 1593-1597 [PMID: 16129297 DOI: 10.1016/j.jcrs.2005.01.029]

9	Wintle R, Austin M. Pigment dispersion with elevated intraocular pressure after AcrySof intraocular lens implantation in the ciliary sulcus. J Cataract Refract Surg 2001; 27: 642-644 [PMID: 11311638 DOI: 10.1016/S0886-3350(00)00792-6]

10	LeBoyer RM, Werner L, Snyder ME, Mamalis N, Riemann CD, Augsberger JJ. Acute haptic-induced ciliary sulcus irritation associated with single-piece AcrySof intraocular lenses. J Cataract Refract Surg 2005; 31: 1421-1427 [PMID: 16105617 DOI: 10.1016/j.jcrs.2004.12.056]

11	Masket S. Pseudophakic posterior iris chafing syndrome. J Cataract Refract Surg 1986; 12: 252-256 [PMID: 3712262 DOI: 10.1016/S0886-3350(86)80003-7]

12	Micheli T, Cheung LM, Sharma S, Assaad NN, Guzowski M, Francis IC, Norman J, Coroneo MT. Acute haptic-induced pigmentary glaucoma with an AcrySof intraocular lens. J Cataract Refract Surg 2002; 28: 1869-1872 [PMID: 12388044 DOI: 10.1016/S0886-3350(02)01644-9]

13	Uy HS, Chan PS. Pigment release and secondary glaucoma after implantation of single-piece acrylic intraocular lenses in the ciliary sulcus. Am J Ophthalmol 2006; 142: 330-332 [PMID: 16876522 DOI: 10.1016/j.ajo.2006.02.033]

14	Bar-Sela SM, Fleissig E. Intermediate term follow-up after a single-piece-acrylic intraocular lens implantation in the ciliary sulcus- a cross-sectional study. BMC Ophthalmol 2013; 13: 76 [PMID: 24321599 DOI: 10.1186/1471-2415-13-76]

15	Renieri G, Herzog D, Niemann S, Becker M, Kurz S, Thieme H. Sulcus implantation of a single-piece foldable acrylic intraocular lens after posterior capsular rupture in cataract surgery. Eur J Ophthalmol 2012; 22: 950-955 [PMID: 22610720 DOI: 10.5301/ejo.5000160]

16	Rosenthal KJ, Venkateswaran N. Transillumination defects following in-the-bag single-piece intraocular lens implantation and trabeculectomy with mini-shunt. J Cataract Refract Surg 2013; 39: 139-141 [PMID: 23149100 DOI: 10.1016/j.jcrs.2012.10.014]

17	Klein JP, Torun N, Berndt S, Rieck P, Bertelmann E. [Early in-the-bag spontaneous intraocular lens dislocation of hydrophilic acryl single piece lenses following uncomplicated phacoemulsification]. Ophthalmologe 2012; 109: 54-58 [PMID: 22130724 DOI: 10.1007/s00347-011-2447-1]

18	Bhattacharjee S, Chakrabarti A, Ghosh A. Minimally invasive relocation of subluxated single piece AcrySof intraocular lens. Br J Ophthalmol 2008; 92: 746 [PMID: 18523079 DOI: 10.1136/bjo.2007.133017]

19	Mamalis N, Davis B, Nilson CD, Hickman MS, Leboyer RM. Complications of foldable intraocular lenses requiring explantation or secondary intervention--2003 survey update. J Cataract Refract Surg 2004; 30: 2209-2218 [PMID: 15474838]

20	Kohnen T, Kook D. Solving intraocular lens-related pigment dispersion syndrome with repositioning of primary sulcus implanted single-piece IOL in the capsular bag. J Cataract Refract Surg 2009; 35: 1459-1463 [PMID: 19631135 DOI: 10.1016/j.jcrs.2009.05.005]

21	Oh J, Shin HH, Kim JH, Kim HM, Song JS. Direct measurement of the ciliary sulcus diameter by 35-megahertz ultrasound biomicroscopy. Ophthalmology 2007; 114: 1685-1688 [PMID: 17822974 DOI: 10.1016/j.ophtha.2006.12.018]

22	Jones JJ, Oetting TA, Rogers GM, Jin GJ. Reverse optic capture of the single-piece acrylic intraocular lens in eyes with posterior capsule rupture. Ophthalmic Surg Lasers Imaging 2012; 43: 480-488 [PMID: 22956638 DOI: 10.3928/15428877-20120830-02]

23	Vasavada AR, Raj SM, Karve S, Vasavada V, Vasavada V, Theoulakis P. Retrospective ultrasound biomicroscopic analysis of single-piece sulcus-fixated acrylic intraocular lenses. J Cataract Refract Surg 2010; 36: 771-777 [PMID: 20457368 DOI: 10.1016/j.jcrs.2009.11.027]

24	Mamalis N. Sulcus placement of single-piece acrylic intraocular lenses. J Cataract Refract Surg 2009; 35: 1327-1328 [PMID: 19631113 DOI: 10.1016/j.jcrs.2009.06.001]

25	Roshdy MM, Riad RF, Morkos FF, Hassouna AK, Wahba SS. Effect of a single-piece aspheric hydrophobic acrylic intraocular lens design on centration and rotation. J Cataract Refract Surg 2013; 39: 408-413 [PMID: 23317780 DOI: 10.1016/j.jcrs.2012.09.020]

P- Reviewer: Wang JK    S- Editor: Song XX    L- Editor: A    E- Editor: Lu YJ

# Text boxes

Table 2  Pre- and postoperative best corrected visual acuity

|  | Case | Pre-op BCVA | Pre-op refraction | POM1 refraction | POM1 BCVA | Most recent BCVA | Re-operation | CME | PDS | Post-op Glc meds | Glc meds last F/U | Months of F/U |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SPA-IOL | 1 | 20/50 | +1.25 + 1.25X012 | -4.50 + 4.75X0011 | 20/40 | 20/20 | Wound leak | No | No | Yes | No | 37 |
|  | 2 | 20/60 | -3.25 + 3.50X180 | -2.75 + 2.25X003 | 20/50 | 20/50 | Bgi | Yes | No | Yes | No | 32 |
|  | 3 | 20/100 | +0.50 + 0.50X180 | -3.75 + 3.00X138 | 20/20 | 20/40 | No | No | Yes | No | No | 7 |
|  | 4 | 20/60 | -0.75 + 1.00X163 | -1.50 + 1.75X0051 | 20/25 | 20/25 | No | No | No | No | No | 15 |
|  | 5 | 20/70 | +3.25 + 1.00X105 | +2.00 + 0.75X1051 | 20/60 | 20/50 | No | Yes | Yes | No | No | 19 |
|  | 6 | 20/40 | +0.50 +2.25X178 | -3.75 + 3.75X0251 | 20/40 | 20/40 | No | Yes | Yes | Yes | Yes | 15 |
|  | 7 | 20/60 | -3.25 sph | -2.75 + 2.00X015 | 20/25 | 20/25 | No | No | No | Yes | Yes | 1.5 |
|  | 8 | 20/40 | +0.75 sph | -0.50 + 1.00X125 | 20/30 | 20/30 | No | No | No | Yes | Yes | 1.2 |
| Three-piece | 9 | 20/60 | -5.75 + 2.00X177 | -2.00 + 1.75X175 | 20/30 | 20/30 | No | Yes | No | No | No | 31 |
| IOL | 10 | 20/80 | -2.50 + 0.50X155 | Unable1 | 20/400 | 20/60 | No | No | No | No | No | 38 |
|  | 11 | 20/60 | +3 | -1.75 + 1.75X0041 | 20/25 | 20/25 | No | No | No | No | No | 2 |
|  | 12 | 20/70 | +2.00 + 1.25X162 | Unable1 | CF | CF2 | No | No | No | No | No | 25 |
|  | 13 | 20/50 | -2.00 + 2.25X005 | -2.50 + 1.00X0061 | 20/60 | 20/25 | No | No | No | No | No | 2 |
|  | 14 | 20/100 | -2.75 + 1.50X165 | Unable1 | CF | CF3 | No | No | No | Yes | Yes | 24 |

1Patients 10, 12, and 14 were not able to achieve a refraction at the post-operative month 1 visit. In all cases, this was attributed to sutures present at the clear corneal incisions; 2Patient 12 achieved a visual acuity of 20/40 at post operative month 7 (-2.50 + 3.75X168) and later lost vision (Count Fingers) attributed to wet age related macular degeneration; 3Patient 14 achieved a visual acuity of 20/50 at post operative month 2 (-2.75 + 3.00X165) and later lost vision (Count Fingers) due to advanced glaucoma. PDS: Pigment dispersion syndrome; SPA-IOL: Single-piece acrylic intraocular lenses.

Table 1  Patient demographics

|  | Case (n) | Age at surgery | Operative eye | IOL implanted | Pre-op glauc- oma diagnosis |
| --- | --- | --- | --- | --- | --- |
| SPA-IOL | 1 | 80 | OD | SN60WF | No |
| group | 2 | 85 | OD | SN60WF | No |
|  | 3 | 87 | OS | SN60T5 | No |
|  | 4 | 76 | OD | SN60WF | No |
|  | 5 | 71 | OS | SN60WF | No |
|  | 6 | 79 | OS | SN60T5 | No |
|  | 7 | 87 | OD | SN60WF | Suspect |
|  | 8 | 76 | OD | SN60WF | No |
| Three-piece | 9 | 86 | OD | MA60AC | Suspect |
| IOL group | 10 | 74 | OD | MA60AC | No |
|  | 11 | 88 | OD | MA60AC | No |
|  | 12 | 86 | OS | MA60AC | No |
|  | 13 | 76 | OS | MA60AC | No |
|  | 14 | 87 | OS | MA60AC | Yes |

SPA-IOL: Single-piece acrylic intraocular lenses.